## Sheet1 (hidden)
234799999999.99 | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## COVER
TAMIL NADU WATER SUPPLY AND DRAINAGE BOARD
COVER – II
PRICE BID
NAME OF WORK : Outsourcing of Operation and Maintenance of CWSS to 227 Habs. in Andimadam union, 13 Habitations in Jayankondam union and 10 Habitations in Thirumanur union in Ariyalur District for the period from 16.07.2022 to 31.03.2023.

## Bill of QTY
a | NAME OF WORK : Outsourcing of Operation and Maintenance of CWSS to 227 Habs. in Andimadam union, 13 Habitations in Jayankondam union and 10 Habitations in Thirumanur union in Ariyalur District for the period from 16.07.2022 to 31.03.2023.
BILL OF QUANTITIES
General
The Bill of Quantities shall contain items for the construction, installation, testing, commissioning and maintenance of the Works to be carried out by the Contractor
The Bill of Quantities will be used to calculate the Contract Price. The contractor shall be paid for the quantum of work done at the rate furnished for each item in the Bill of Quantities.
Where there is a discrepancy between the rates in words and figures, the lesser of the two will only be taken into consideration.
Where there is a discrepancy between the unit rate and line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern.
Where there is an arithmetical discrepancy in the page total as well as grand total, the corrected total by the Employer will govern
The rates furnished in the BOQ shall be for carrying out the work in conformity to the BIS, TNBP and Technical Specifications and other Terms and Conditions set out in the Bid Document
All pages in the BOQ should be signed without omission. All corrections/over writing should be properly attested by the Bidder.
Change in the Quantities
If the final quantity of the work done differs from the quantity in the Bill of Quantities for the particular item/items, the rates as in the agreement for the relevant items shall be paid.
-----------------------------------------------------------------------------------------------------------------
Sl.No. Description of Quantity Specifi Unit Rate Amount
Item of Work cation ---------------------------
in in
Figures Words
-----------------------------------------------------------------------------------------------------------------

## General Abstract
GENERAL ABSTRACT.
NAME OF WORK: Outsourcing of Operation and Maintenance of CWSS to 227 Habs. in Andimadam union, 13 Habitations in Jayankondam union and 10 Habitations in Thirumanur union in Ariyalur District for the period from 16.07.2022 to 31.03.2023.
Sl. No. | Schedule No | NAME OF COMPONENT | AMOUNT IN RUPEES.
1 | A1 | Operation and Maintenance of the Electro Mechanical installations, equipments,components, pipelines valves and appurtenances, water retaining structures | 0
2 | A2 | Carrying out the repair works of the Electrical, Mechanical and Electro-mechanical item | 0
3 | A3 | Attending Leaks and Burst of the Pipe lines | 0
|  | TOTAL | 0
#VALUE!

## A1
SCHEDULE - A1
NAME OF WORK: Outsourcing of Operation and Maintenance of CWSS to 227 Habs. in Andimadam union, 13 Habitations in Jayankondam union and 10 Habitations in Thirumanur union in Ariyalur District for the period from 16.07.2022 to 31.03.2023.
Operation and Maintenance of the Electro Mechanical installations, equipments,components, pipelines valves and appurtenances, water retaining structures
S. No | Description of work | Quantity |  | Specifications | Unit | Rate |  | Amount
[6 empty] | in figures | in words.
1 | Operation and Maintenance of the Electro Mechanical installations, equipements, components,pipelines valves and appurtenances,water retaining structuress including protection of all scheme components from damages /theft undertaking legal actions for such untoward incidents,preventive maintenance, disinfection and deliverance of water as per quality standards and supply of earnmarked quantity of water to the beneficiaries as per stanndard operating procedures,Acts and rules in force and as directected by TWAD Board Oficers and excluding cost towards attending leak,burst repairs and replacement works to electro mechanical installations consumables for disinfection of water,cleaning of all water retaining structure. | 1893.34 | MLD | Special Specifications | 1 MLD (One MLD) |  | #VALUE! | 0
| TOTAL -A1 | [6 empty] | 0
1893.34

## THIRUPARKADAL (hidden)
SUPPLY, DELIVERY AND ERECTION OF CENTRIFUGAL MONOBLOC PUMPSET -CWSS TO 890 Rural habitations in Nagapattinam District.
UNION:THIRUMARUGAL | [5 empty] | Location: | THIRUPARKADAL
S.No. | Description | Qty |  | TNDSS&Specialspecification | Per | Rate |  | Amount (in Rupees)
[6 empty] | infigures | Inwords
1 | 2 | 3 |  | 4 | 5 | 6 | 7 | 8
1 | Supply and Delivery of cetrifugal monobloc pumpset capable of discharging the following 115 lpm against the foiiowing total head of 17m due to all causes (1 Set as Standbye) and suitable for installation in 5 m dia sump having depth of 5 m. | 2 | Sets |  | 1Set | 11246 | #VALUE! | 22492
The pumpset should conform to IS 9079/89.. The motor shall be suitable for operation in 3 phase 50 hetze 300/440 V AC supply. The motor winding will be suitable for D.O.L Starer. The insulation should be of class B type and suitable for operation on 3 phase 300/440 V 50 HZ Ac supply. The motor should conform to IS 7538. The pump should of compact horizontal shaft monobloc type without power transmission losses. The pump should be supplied with suitable size of CI friction less foot valve.with single rubber flab and ci strainer confirming to IS 10805
The pump should be manufactured with highgrade cast iron, casting with bronze impeller, Shaft steel, pump shaft with machanical seal and axuilary gland, speed of pump and motor should in the range of 2700 to 2900 RPM. The pump set should be supplied with suitable starter and panal board as specified below.
SPECIFICATION OF A 3 PHASE MOTOR CONTROL, PANEL BOARD SUITABLE FOR CETIFUGAL MONOBLOC PUMPSETS
1 | Supply and delivery of well mounting type control panel made from M. S. sheet 18 swg vermin proof box type with hinged front door and fixed sides with locking arragements suitable for errection in pumproom, complete with internal wiring, provision for cable fntry and twin earthing complete as per I.E. Rules. Two coats of grey colour enamel paint over one coat of red oxide primer shall be provided.The following accessories should be provided in the control panel.
a | One number three phase ISI standard miniature circuit breaker suitable for the motor (MDS, standard , SIEMENS, S&S Crompton Greaves makes) . It looks after the safety of the personal opening the Panel Board namely the on-off knob of the MCB should be projected outside the Panel Board.
b | Power capacitor Bank of ample capacity with ISI Mark. 2 KVAR .
c | One number 0-500 V.,65mm dia volt meter conforming to ISI 1254 with phase selector switch for all the ranges (MAKE IMF, AE, MICO & SHANTI)
d | One number 0-30 Amps, 65mm dia Ammeter, conforming to ISI 1254 with phase selector switch (Make : AE,IMP. MICO, SHANTHI) The Ammeter scale may be suitably graduated as required to record reading as per duty points .
e | One number DOL strater each with 3 Nos. overload relay and under voltage protection at current setting should have a range of 75% of FLC (make L&T culter-Hammer, Crompton Greaves, Siemens and GECALS and ABB)
f | One number voltage sensing single phasing preventor . The preventor must not trip upto 40 V line voltage unbalance but must trip between 2-10 seconds under single phasing with the rated, capacity motor connected with the panel - Make; Any reputed make.
g | One number 5 Amps 3 pin-socket with pin along with plug for flush mounted emergency lighting for all the ranges.
2 | Supply and Delivery of 1.1 KV grade 3.5 core 6 sq.mm PVC insulated steel armoured Aluminium conductor conform to IS 1554 Part I | 15 | Mts |  | 1 Mtr. | 70.5 | #VALUE! | 1057.5
3 | Laying the above cable inbetween the TNEB Supply point to the MV Panal Boards thorugh the Change Over Switch | 15 | Mts |  | 1 Mtr. | 25 | #VALUE! | 375
4 | Jointing the above cable between the TNEB Supply Point, Change Over Switch and the MV Panal Boards. | 6 | Joints |  | 1 Jt. | 70.5 | #VALUE! | 423
5 | Supply and delivery of 1.1 KV grade 3 core 4 Sq. mm. PVC insulated steel armoured Aluminium conductor conform to IS 1554 part I for the motor of 115 lpm x 17 m pumpset | 2 x = | 10 20 Mts |  | 1 Mtr. | 54.1 | #VALUE! | #VALUE!
6 | Laying the above cable between the MV Panel Boards out going control MCBs to the motors through Starters. | 20 | Mts |  | 1 Mtr. | 25 | #VALUE! | 500
7 | Jointing the above cable between theMVPanel boards out going control MCBs to the motors mentioned in Sl. NO. 1. Through the starters. | 4 | Joints |  | 1Jt. | 54.1 | #VALUE! | 216.4
8 | Supply, delivery and fixing of Wall Mounting type 32 Amps TPN Change over switch | 1 | No. |  | 1 No. | 850 | #VALUE! | 850
9 | Providing pump house lighting as per IE rules using PVC conduit pipes and PVC insulated wire with control switches circuit fuses including PVC insulated two core 2.5 Sq.mm. Copper wire cable and 1 run of 12 SWG Gi wire for earhing with required number of chokes switches, 5 amps plug point and sockets etc., complete suitable for pumphouse wiring with the following 1 No. 16 Amps TPN switch to control lighting circuit, 2nos. of 40 W box type 1200 mm long flouerscent tube light fittings with choke and starter to be fixed inside the pumproom, 1 no, of 250 W Sodium Vapour light fitting with lamp & with suitable GI wall brackets and clamps to fix on the top of the front side outside of the pumproom,1no. 100 w bulkhead water proof light fitting set to be fixed on the other side (outside-Back) of the pump house. | 1 | Set |  | 1 Set. | 3481 | #VALUE! | 3481
10 | Twin copper earthing arrangements for all the plants and equipments in the pumphouse as per rules including construction of masonry pit with RCC slab | 1 | Set |  | 1Set | 5000 | #VALUE! | 5000
11 | Supply and delivery of bulk type interchangeable direct reading water meter conform to IS 2273 to measure the flow with removable machanism suitable to install in the pumping main of following size 140mm PVC Pipe. | 1 | NO. |  | 1 No. | 35200 | #VALUE! | 35200
12 | Erection, testing and comminsioning of the pumping plants and the electrical accessories including meter and gauges etc., as per IE rules and also including laying jointing of pipes and specials and valves with jointing materials, construction of CC bed for pumpset and for supporting the pipes. | 2 | Sets |  | 1 Set | 2008 | #VALUE! | 4016
13 | Supply delivery of 150mm dia pressure gauge 10 Kg /cm2 for suction and delivery of Centrifugal pumpsets with Red marking G.M coke and Copper impulse tube etc., to be fixed on teek wood board to be mounted on the wall of the pump house | 4 | sets |  | 1Set | 1500 | #VALUE! | 6000
14 | Supply and delivery of the following Pipes and Specials
a | 50mm G.I. Medium pipes for the erection of pumpset.(for suction pipe) | 12 | Mtre |  | 1 Mtr. | 153 | #VALUE! | 1836
b | 50mm G.I. Bend | 2 | Nos. |  | Each | 101.5 | #VALUE! | 203
c | 40mm G.I. Medium pipes (Delivery) | 12 | Mtre |  | 1 Mtr. | 109 | #VALUE! | 1308
d. | 40mm G.I. Bend | 2 | Nos |  | Each | 68.97 | #VALUE! | 137.94
e | 40mm G,M, Gate Valve with ISI marks. | 2 | Nos |  | Each | 705 | #VALUE! | 1410
f | 40mm. G.M. Non Return. valve with ISI marks. | 2 | Nos |  | Each | 500 | #VALUE! | 1000
g | 50mm G.I. Flange Set | 3 | Sets |  | 1 Set | 33 | #VALUE! | 99
h | 40mm G.I. Flange Set | 2 | No |  | Each | 25 | #VALUE! | 50
I | 125 mmx40mm GI R educer | 1 | No. |  | Each | 222 | #VALUE! | 222
j | 40 mm GI Nipple | 1 | No |  | Each | 34.2 | #VALUE! | 34.2
k | 40m G.I TEE | 1 | No |  | Each | 61.45 | #VALUE! | 61.45
l | 40mm G.I Union | 1 | Nos |  | Each | 90.15 | #VALUE! | 90.15
m | 140mm PVC Threaded coupler | 1 | No |  | Each | 101.3 | #VALUE! | 101.3
15 | Supply of mannuals giving details description of all the equipments mentioned above with address of the dealer and manufactures operation system and maintainance schedule etc., | 2 | Set
16 | Suply delivery and fixing of a teek wood board ( BOx type ) 18" x18" x2.5 " with 4 nos of suitable fuse carrier and 32 Amps TPN switch to be fixed on the wall rigidly with clamps bolts and nuts to receive supply from T.N.E.B and to control incoming supply | 1 | Set |  | 1Set | 1010 | #VALUE! | 1010
17 | Obtaining power supply including cost of following materilals and eneaging B licence holder.EB fee for Application form and deposit amount will be borne by the board | 1 | Set |  | 1Set | 5000 | #VALUE! | 5000
| 1. Aerial fuse board with suitable aerial fuse carrier ( 3 Nos) | [5 empty] | #VALUE! | 0
| 2. Wall mounting type MS cubical E.B. meter box with fuse carriers ( 3 Nos ) of suitable capacity at E.B supply point. This box is also to accommodate T.N.E.B. energy meter with proper ventilation as approved by T.N.E.B. | [5 empty] | #VALUE! | 0
| 3. Supply and laying of suitable size PVC insulated copper conductor wire from Aerial fuse to E.B. Supply point including cost of G.I wires,reels 25 mm pipes, G.I. Specials , inserting G.I pipes in wall, cement patch up etc complete as per I.E rules. | [5 empty] | #VALUE! | 0
18 | Supply and delivery of Following set of Tools and plants | 1 | Set |  | 1Set | 3690 | #VALUE! | 3690
| 1. 6" Chain Wrench Best Indian make - 1 No. | [5 empty] | #VALUE! | 0
| 2. 200 mm Screw driver 825 Taparia Make - 1 No. | [5 empty] | #VALUE! | 0
| 3. 300 mm Screw driver 829 Taparia Make - 1 No. | [5 empty] | #VALUE! | 0
| 4. Lever Type Grease gun - 1 No. | [5 empty] | #VALUE! | 0
| 5. Hacksaw frame with blade - 1 No. | [5 empty] | #VALUE! | 0
| 6. DE spanner set 6 to 32 Jhalani Make - 1 set | [5 empty] | #VALUE! | 0
| 7. Ring spanner set 6 to 32 Jhalani Make - 1 set | [5 empty] | #VALUE! | 0
| 8. Pipe Wrench 24 " Jhalani Make - 1 set | [5 empty] | #VALUE! | 0
| 9. Pipe Wrench 14 " Jhalani Make - 1 set | [5 empty] | #VALUE! | 0
19 | Supply and delivery of Safety appliances consisting of 8 Nos of electrical quality 1 m x 1m x 6mm thick rubber mat , to be laid in front of the panel board and motors of centrifugal , monoblock pumpsets, one pair of hand gloves tested for 11/22 KV with wooden box tested with french chalk powder and one no of Laminated shock treatment chart. 1 No. of 2 Kg capacity dry chemical powder type fire extinguisher | 1 | SET |  | 1Set | 2920 | #VALUE! | 2920
| Total | [6 empty] | #VALUE!
Free of cost

## A2
SCHEDULE - A2
NAME OF WORK: Outsourcing of Operation and Maintenance of CWSS to 227 Habs. in Andimadam union, 13 Habitations in Jayankondam union and 10 Habitations in Thirumanur union in Ariyalur District for the period from 16.07.2022 to 31.03.2023.
Carrying out the repair works of the Electrical, Mechanical and Electro-mechanical item
S. No | Description of work | Quantity |  | Specifications | Unit | Rate |  | Amount
[6 empty] | in figures | in words.
1 | Rewinding of motors in pumping station in the Electrical, Mechanical and Electro-mechanical items to bring back the scheme / components into normal running conditition as per standard specification including all labour charges, cost of materials and all incidental charges within the stipulated time limit etc., complete as specified in Clause 2.8 of General conditions of Contract Part II etc as directed by TWAD Board officers |  |  | Special Specifications |  |  | #VALUE! | 0
a | Repairing and reconditioning of 125 HP VT Motor with replacement of motor including all material,labour,etc at Vaippur Head works | 2 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
b | Repairing and reconditioning of 125 HP VT Pump labour charges,etc at Vaippur Head works | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
c | Repair works of 125 HP VT Pump (Supply of Materials) at Vaippur Head works | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
d | Repairing and reconditioning of 5 HP Openwell submersible Pumpset including all material,labour,etc at Thoothur sump | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
e | Repairing and reconditioning of 167.50 HP HSC Motor including all material,labour,etc at T.Palur Booster | 2 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
f | Repairing and reconditioning of 167.50 HP HSC Pump including all material,labour,etc at T.Palur Booster | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
g | Repairing and reconditioning of 125 HP HSC Motor including all material,labour,etc at Jayankondam Booster (Andimadam Direction) | 2 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
h | Repairing and reconditioning of 125 HP HSC Pump including all material,labour,etc at Jayankondam Booster (Andimadam Direction) | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
i | Repairing and reconditioning of 25 HP HSC Motor including all material,labour,etc at Jayankondam Booster (Variyankaval Direction) | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
j | Repairing and reconditioning of 25 HP HSC Pumpr including all material,labour,etc at Jayankondam Booster (Variyankaval Direction) | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
k | Repairing and reconditioning of 35 HP HSC Motor including all material,labour,etc at Variyankaval Hospital sump | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
l | Repairing and reconditioning of 35 HP HSC Pump including all material,labour,etc at Variyankaval Hospital sump | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
m | Repairing and reconditioning of 12.50 HP Submersible Pumpset including all material,labour,etc at Variyankaval Hospital sump borewell | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
n | Repairing and reconditioning of 15 HP Monoblock Pumpset including all material,labour,etc at Kuvagam Sump-Kodukkur direction | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
o | Repairing and reconditioning of 1.50 HP Monoblock Pumpset including all material,labour,etc at Kuvagam Sump-Local | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
p | Repairing and reconditioning of 12.50 HP Submersible Pumpset including all material,labour,etc at Kuvagam sump borewell | 1 | Nos. | Special Specifications | 1 No. (One Number) |  | #VALUE! | 0
q | Repairing and reconditioning of 3 HP Monoblock Pumpset including all material,labour,etc at Angarayanallur sump | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
r | Repairing and reconditioning of 5 HP Monoblock Pumpset including all material,labour,etc at Elaiyur Mariamman Koil sump | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
s | Repairing and reconditioning of 2 HP Monoblock Pumpset including all material,labour,etc at Elaiyur Colony sump | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
t | Repairing and reconditioning of 7.50 HP Submersible Pumpset including all material,labour,etc at Koovathur West sump | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
u | Repairing and reconditioning of 1 HP Monoblock Pumpset including all material,labour,etc at Alagapuram OHT sump | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
v | Repairing and reconditioning of Star-delta Starter 12.50 HP | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
w | Repairing and reconditioning of Soft Starter 125 HP | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
x | Repairing and reconditioning of Soft Starter 167.50 HP | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
y | Repairing and reconditioning of Star-delta Starter 35 HP | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
z | Repairing and reconditioning of Star-delta Starter 25 HP | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
aa | Repairing and reconditioning of Star-delta Starter 15 HP | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
ab | Repairing and reconditioning of Star-delta Starter 7.50 HP | 1 | Nos. |  | 1 KVAR (One KVAR) |  | #VALUE! | 0
ac | Repairing and reconditioning of DOL Starter 5 HP | 1 | Nos. |  | 1 Ltr (One Litre) |  | #VALUE! | 0
ad | Repairing and reconditioning of DOL Starter 3 HP | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
ae | Repairing and reconditioning of DOL Starter 2 HP | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
af | Repairing and reconditioning of DOL Starter 1 HP | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
2 | Supply and delivery fixing of the following Electrical works:consumable items at the site of work carry out the general maintenance works | [5 empty] | #VALUE! | 0
a | Volt meter SR 96 600 V-AC | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
b | Ammeter SR 96 5D/5A C.T.operated-AC | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
c | 150 mm upto 60 Kg/Cm2 with s.s.case | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
d | LED Outdoor fittings a)30 W LED street light fittings | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
e | Supply and delivery fixing Moulded case circuit breaker (MCCB) with thermo magneticRelease 400 AMPS 3 Pole | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
f | Supply and delivery of 11 KV Lightening Arrestor for 6 Pole structure at T.Palur and Jayankondam Booster | 2 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
g | Supply, delivery and fixing of 500 AMPS porcelain Fuse unit (500V) with fuse wire in the existing place inside the pump room for Head Works | 6 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
h | Supply, delivery and fixing of 200 AMPS porcelain Fuse unit (500V) with fuse wire in the existing place inside the pump room for sump | 3 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
i | Supply and delivery fixing of 3 Pole 400 A TPN switch disconnector fuse units interior only with HRC fuses Double break | 1 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
j | Supply and delivery fixing of 3 Pole 125 A TPN switch disconnector fuse units interior only with HRC fuses Double break | 4 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
k | Supply and delivery fixing of Power capacitor for power factor improvement with oil filled with discharge resistance 3 phase 415/440V 50 HZ conforming to ISS:2834 with ISI marking | 59 | KVAR |  | 1 kvar. (One KVAR) |  | #VALUE! | 0
| TOTAL - 2 | [6 empty] | 0

## A3
SCHEDULE - A3
NAME OF WORK: Outsourcing of Operation and Maintenance of CWSS to 227 Habs. in Andimadam union, 13 Habitations in Jayankondam union and 10 Habitations in Thirumanur union in Ariyalur District for the period from 16.07.2022 to 31.03.2023.
Attending Leaks and Burst of the Pipe lines
S. No | Description of work | Quantity |  | Specifications | Unit | Rate |  | Amount
[6 empty] | in figures | in words.
1 | Attending Leaks in the pipelines of this CWSS for the following items as per the standard procedure including earthwork excavation, dewatering, removing, relaying,jointing,civil works,cost of materials and all other incidental charges etc complete with in the stipulated time limit as specified in clause 2.6.4 of General conditions of Contact-Part II.(The specifications for attending leaks has to be detailed based on the data prepared and rate approval obtained for each size and material of pipes.The specification has to be mentioned under the clause 1.7 of GCC-Part-I) |  |  | Special Specifications |  |  | #VALUE! | 0
a | 50mm 6 ksc PVC Pipes | 15 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
b | 63mm 4 ksc PVC Pipes | 10 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
c | 75mm 4 ksc PVC Pipes | 8 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
d | 90mm 4 ksc PVC Pipes | 10 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
e | 110mm 4 ksc PVC Pipes | 8 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
f | 140mm 4 ksc PVC Pipes | 5 | Nos. | Special Specifications | 1 No. (One Number) |  | #VALUE! | 0
g | 160mm 4 ksc PVC Pipes | 5 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
h | 200mm 4 ksc PVC Pipes | 5 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
i | 150mm AC pipe using cement joint | 5 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
j | 200mm AC pipe using cement joint | 5 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
k | 250mm AC pipe using cement joint | 8 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
l | 350mm PSC pipe using cement joint | 8 | Nos. | As per IS 1865 and SS AISI 304/316 | 1 No. (One Number) |  | #VALUE! | 0
m | 400mm PSC pipe using cement joint | 8 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
n | 450mm PSC pipe using cement joint | 8 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
o | 600mm PSC pipe using cement joint | 20 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
p | 400 mm MS pipe by welding | 2 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
q | 450 mm MS pipe by welding | 2 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
r | 600 mm MS pipe by welding | 10 | Nos. |  | 1 No. (One Number) |  | #VALUE! | 0
s | AC/PSC minor Burst-Supply of MS Pipe with collar | [5 empty] | #VALUE! | 0
t | 150mm AC pipe (1 Nos x 60.627 Kg) | 60.627 | Kg. |  | 1 Kg. (One Kilogram) |  | #VALUE! | 0
u | 200mm AC pipe (1 Nos x 71.729 Kg) | 71.729 | Kg. |  | 1 Kg. (One Kilogram) |  | #VALUE! | 0
v | 250mm AC pipe (1 Nos x 82.832 Kg) | 82.832 | Kg. |  | 1 Kg. (One Kilogram) |  | #VALUE! | 0
w | 350mm PSC pipe (1 Nos x 105.037 Kg) | 105.037 | Kg. |  | 1 Kg. (One Kilogram) |  | #VALUE! | 0
x | 400mm PSC pipe (1 Nos x 116.140 Kg) | 116.14 | Kg. |  | 1 Kg. (One Kilogram) |  | #VALUE! | 0
y | 450mm PSC pipe (1 Nos x 127.243 Kg) | 127.243 | Kg. |  | 1 Kg. (One Kilogram) |  | #VALUE! | 0
z | 600mm PSC pipe (1 Nos x 160.550 Kg) | 160.55 | Kg. |  | 1 Kg. (One Kilogram) |  | #VALUE! | 0
2 | AC/PSC Major Burst-Supply of MS Pipe with collar | [5 empty] | #VALUE! | 0
a | 150mm AC pipe (1 No x 214.947 Kg) | 214.947 | Kg. |  | 1 Kg. (One Kilogram) |  | #VALUE! | 0
b | 200mm AC pipe (1 Nos x 263.799 Kg) | 263.799 | Kg. |  | 1 Kg. (One Kilogram) |  | #VALUE! | 0
c | 250mm AC pipe (1 Nos x 312.651 Kg) | 312.651 | Kg. |  | 1 Kg. (One Kilogram) |  | #VALUE! | 0
d | 350mm PSC pipe (1 Nos x 410.354 Kg) | 410.354 | Kg. |  | 1 Kg. (One Kilogram) |  | #VALUE! | 0
e | 400mm PSC pipe (1 Nos x 459.206 Kg) | 459.206 | Kg. |  | 1 Kg. (One Kilogram) |  | #VALUE! | 0
f | 450mm PSC pipe (1 Nos x 508.057 Kg) | 508.057 | Kg. |  | 1 Kg. (One Kilogram) |  | #VALUE! | 0
g | 600mm PSC pipe (1 Nos x 654.612 Kg) | 654.612 | Kg. |  | 1 Kg. (One Kilogram) |  | #VALUE! | 0
3 | Repair and reconditioning of valves | [5 empty] | #VALUE! | 0
a | 150mm CI Sluice Valve | 1 | No. |  | 1 No. (One Number) |  | #VALUE! | 0
b | 200mm CI Sluice Valve | 1 | No. |  | 1 No. (One Number) |  | #VALUE! | 0
c | 250mm CI Sluice Valve | 1 | No. |  | 1 No. (One Number) |  | #VALUE! | 0
d | 300mm CI Sluice Valve | 1 | No. |  | 1 No. (One Number) |  | #VALUE! | 0
e | 50mm DI Single Chamber Air release Valve | 1 | No. |  | 1 No. (One Number) |  | #VALUE! | 0
f | 80mm DI Single Chamber Air release Valve | 1 | No. |  | 1 No. (One Number) |  | #VALUE! | 0
g | 100mm DI Single Chamber Air release Valve | 1 | No. |  | 1 No. (One Number) |  | #VALUE! | 0
h | 150mm DI Single Chamber Air release Valve | 1 | No. |  | 1 No. (One Number) |  | #VALUE! | 0
4 | Replacement of Gun Metal Gate Valve including required length of GI nipple , Coupling etc complete | [5 empty] | #VALUE! | 0
a | 50 mm GM Gate valve | 5 | No. |  | 1 No. (One Number) |  | #VALUE! | 0
b | 80 mm GM Gate valve | 4 | No. |  | 1 No. (One Number) |  | #VALUE! | 0
| TOTAL - 3 | [6 empty] | 0