## folder
TAMIL NADU WATER SUPPLY AND DRAINAGE BOARD
OFFICE OF THE CHIEF ENGINEER,
OPPOSITE TO MATTUTHAVANI BUS STAND,
1/1, SAMBAKULAM, MADURAI -625007
OUTSOURSING OF OPERATION AND MAINTENANCE OF CWSS TO KADAYANALLUR, PULIYANGUDI MUNICIPALITIES, SURANDAI, SUNDARAPANDIAPURAM, SAMBAVARVADAKARAI TOWN PANCHAYATS AND 114 WAYSIDE HABITATIONS IN TENKASI DISTRICT Operation and Maintenance of CWSS including repair and rectification works for the period from 16.07.2022 to 31.03.2023 (2nd Call)
BILL OF QUANTITES

## BillofQty
NAME OF SCHEME :- OUTSOURSING OF OPERATION AND MAINTENANCE OF CWSS TO KADAYANALLUR, PULIYANGUDI MUNICIPALITIES, SURANDAI, SUNDARAPANDIAPURAM, SAMBAVARVADAKARAI TOWN PANCHAYATS AND 114 WAYSIDE HABITATIONS IN TENKASI DISTRICT
BILL OF QUANTITIES
General
The Bill of Quantities shall contain items for the construction, installation, testing, commissioning and maintenance of the Works to be carried out by the Contractor
The Bill of Quantities will be used to calculate the Contract Price. The contractor shall be paid for the quantum of work done at the rate furnished for each item in the Bill of Quantities.
Where there is a discrepancy between the rates in words and figures, the lesser of the two will only be taken into consideration.
Where there is a discrepancy between the unit rate and line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern.
Where there is an arithmetical discrepancy in the page total as well as grand total, the corrected total by the Employer will govern
The rates furnished in the BOQ shall be for carrying out the work in conformity to the BIS, TNBP and Technical Specifications and other Terms and Conditions set out in the Bid Document
All pages in the BOQ should be signed without omission. All corrections/over writing should be properly attested by the Bidder.
Change in the Quantities
If the final quantity of the work done differs from the quantity in the Bill of Quantities for the particular item/items, the rates as in the agreement for the relevant items shall be paid.
GST
GST is applicable as per GO. 296, Finance(salaries) Dept. Dt. 09.10.2017, GOI, Ministry of finance – central tax (Rate) New Delhi, notification No. 11/2017/ Dt. 28.06.2017 and as amended from time to time.From every payment made to the firm/ contractor, deduction at source towards GST shall be made for civil works contract as per Government of India, Ministry of Finance/ Department of Revenue, New Delhi Notification No. 20 / 2017 – Central Tax (Rate) / Dt.22.08.2017 subject to issue of amendments from time to time.
Name of Work :
Operation and Maintenance of CWSS including repair and rectification works for the period from 16.07.2022 to 31.03.2023 (2nd Call)
-----------------------------------------------------------------------------------------------------------------
Sl.No. Description of Quantity Specifi Unit Rate Amount
Item of Work cation ---------------------------
in in
Figures Words
-----------------------------------------------------------------------------------------------------------------

## Gl_ABS
GENERAL ABSTRACT
Name of Scheme: OUTSOURSING OF OPERATION AND MAINTENANCE OF CWSS TO KADAYANALLUR, PULIYANGUDI MUNICIPALITIES, SURANDAI, SUNDARAPANDIAPURAM, SAMBAVARVADAKARAI TOWN PANCHAYATS AND 114 WAYSIDE HABITATIONS IN TENKASI DISTRICT
SCHEDULE - A | NAME OF COMPONENT | Amount Rs. Ps.
1 | Operation and Maintenance of CWSS including repair and rectification works for the period from 16.07.2022 to 31.03.2023 | 0
| TOTAL | 0

## Sch A 1
Schedule - A 1
Name of Scheme: OUTSOURSING OF OPERATION AND MAINTENANCE OF CWSS TO KADAYANALLUR, PULIYANGUDI MUNICIPALITIES, SURANDAI, SUNDARAPANDIAPURAM, SAMBAVARVADAKARAI TOWN PANCHAYATS AND 114 WAYSIDE HABITATIONS IN TENKASI DISTRICT
NAME OF WORK : Operation and Maintenance of CWSS including repair and rectification works for the period from 16.07.2022 to 31.03.2023
Sl.No. | Description of work | Quantity |  | TNBP No. Other specification | Unit | Rate |  | Amount
[6 empty] | in figures | in words
1 | Operation and Maintenance of the Electro Mechanical installations, equipments, components, pipelines valves and appurtenances, water retaining structures including protector of all schemee components from damages/ theft undertaking legal actions for such untoward incidents, preventive maintenance, disinfection and deliverance of water as per quality standards and supply of earmarked quantity of water to the beneficiaries as per Annexure 12.18 MLD, carrying out the O&M as per standard operating procedures, Acts and rules in force and as directed by TWAD Board Oficers and excluding cost towards attending leak, burst repair and replacement works to electro mechanical installations consumables for disinfection of water, cleaning of all water retaining structure, electricity etc complete and as directed by TWAD Board officers (12.18*259) | 3154.62 | ML | Special specifications | One ml |  |  | 0
2 | Attending Leaks in the pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract - Part II. | [6 empty] | 0
i) | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. |  |  | SS 20 B,23, 95 and Special specifications |  |  |  | 0
a) | Pipes of various sizes (AC and PSC) | 186.261 | cum |  | One Cubic metre |  |  | 0
3 | Supply and delivery of lead wool as per sample including loading, unoading and transportation charges etc. complete and as directed by TWAD Bd. Officers |  |  | Special specifications |  |  |  | 0
i | 150 mm AC of Various Classes | 25 | Kg |  | One Kilogram |  |  | 0
ii | 200 mm AC of Various Classes | 36 | Kg |  | One Kilogram |  |  | 0
iii) | 300 mm AC of Various Classes | 9 | Kg |  | One Kilogram |  |  | 0
iv) | 350 mm dia PSC Pipe Various Classes | 32 | Kg |  | One Kilogram |  |  | 0
v | 450 mm dia PSC Pipe Various Classes | 48 | Kg |  | One Kilogram |  |  | 0
vi | 500 mm dia PSC Pipe Various Classes | 35 | Kg |  | One Kilogram |  |  | 0
vii | 600 mm dia PSC Pipe Various Classes | 70 | Kg |  | One Kilogram |  |  | 0
viii | 700 mm dia PSC Pipe Various Classes | 21 | Kg |  | One Kilogram |  |  | 0
4 | Supply and delivery of Hard crete oil as per sample including loading, unloading and transportation charges etc. complete and as directed by TWAD Bd. Officers |  |  | Special specifications |  |  |  | 0
i | 150 mm AC of Various Classes | 25 | lit |  | One Litre |  |  | 0
ii | 200 mm AC of Various Classes | 36 | lit |  | One Litre |  |  | 0
iii | 300 mm AC of Various Classes | 9 | lit |  | One Litre |  |  | 0
iv | 350 mm dia PSC Pipe Various Classes | 32 | lit |  | One Litre |  |  | 0
v | 450 mm dia PSC Pipe Various Classes | 24 | lit |  | One Litre |  |  | 0
vi | 500 mm dia PSC Pipe Various Classes | 20 | lit |  | One Litre |  |  | 0
vii | 600 mm dia PSC Pipe Various Classes | 50 | lit |  | One Litre |  |  | 0
viii | 700 mm dia PSC Pipe Various Classes | 18 | lit |  | One Litre |  |  | 0
5 | Supply and delivery of cement |  |  | Special specifications |  |  |  | 0
i | 150 mm AC of Various Classes | 25 | Kg |  | One Kilogram |  |  | 0
ii | 200 mm AC of Various Classes | 36 | Kg |  | One Kilogram |  |  | 0
iii | 300 mm AC of Various Classes | 9 | Kg |  | One Kilogram |  |  | 0
iv | 350 mm PSC of Various Classes | 40 | Kg |  | One Kilogram |  |  | 0
v | 450 mm PSC of Various Classes | 48 | Kg |  | One Kilogram |  |  | 0
vi | 500 mm dia PSC Pipe Various Classes | 35 | Kg |  | One Kilogram |  |  | 0
vii | 600 mm dia PSC Pipe Various Classes | 135 | Kg |  | One Kilogram |  |  | 0
viii | 700 mm dia PSC Pipe Various Classes | 30 | Kg |  | One Kilogram |  |  | 0
6 | Dewatering using 5HP diesel engine pumpset including Hire charges, cost of Diesel, Engine oil, pump operator, labour charges, conveyance of pumpset and fuel to site and back, loading, unloading and any other incidental charges etc., complete and as directed by TWAD Board officers |  |  | Special specifications |  |  |  | 0
i | 150 mm AC of Various Classes | 20 | Hrs |  | One Hour |  |  | 0
ii | 200 mm AC of Various Classes | 30 | Hrs |  | One Hour |  |  | 0
iii | 300 mm AC of Various Classes | 7 | Hrs |  | One Hour |  |  | 0
iv | 350 mm PSC of Various Classes | 5 | Hrs |  | One Hour |  |  | 0
v | 450 mm PSC of Various Classes | 21 | Hrs |  | One Hour |  |  | 0
vi | 500 mm dia PSC Pipe Various Classes | 5 | Hrs |  | One Hour |  |  | 0
vii | 600 mm dia PSC Pipe Various Classes | 12 | Hrs |  | One Hour |  |  | 0
viii | 700 mm dia PSC Pipe Various Classes | 18 | Hrs |  | One Hour |  |  | 0
7 | Refilling with excavated soil (other than sand)complying with standard specification in layers of 15cm watered well rammed and consolidated after the pipes and specials are laid,jointed and tested etc. and removing and depositing the surplus earth at the places shown by the TWAD Board Officers. |  |  | SS 24, 95 and Special specifications |  |  |  | 0
a) | Pipes of various classes (AC and PSC) | 186.261 | m3 |  | One cubic metre |  |  | 0
b) | Attending burst occurred in all the size, class and material of pipes in all the pipelines of this CWSS for the following items with replacing the pipes round the clock as per the standard specifications including earthwork excavation ,removal of slushy soil , labour charges, civil works, cost of materials, dewatering , genset, welding unit,and providing night lamps, barrigading arrangements, caution sign boards ,trafic diversion arrangements and all other incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract Part II.and as directed by TWAD Board officers | [6 empty] | 0
i) | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of AC pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. |  |  | SS 20 B,23, 95 and Special specifications |  |  |  | 0
a) | Pipes of various classes | 101.012 | m3 |  | One cubic metre |  |  | 0
8 | Supply and delivery of the following sizes of Rigid pipes and specials confirming to IS other specifications as amended from time to time with ISI marking as specified in ISI and having the required working pressure and delivery at site of work including transportation to stock yard any where in Tamilnadu etc., complete and as directed by TWAD Board officers |  |  | IS 4985/2000 & IS 10124/1982 Part-II |  |  |  | 0
i | 50mm PVC 6KSC | 4.5 | m |  | One metre |  |  | 0
ii | 63mm PVC 4KSC | 6 | m |  | One metre |  |  | 0
iii | 75mm PVC 4KSC | 9 | m |  | One metre |  |  | 0
iv | 90mm PVC 4 KSC | 7.5 | m |  | One metre |  |  | 0
v | 110mm PVC 4KSC | 12 | m |  | One metre |  |  | 0
vi | 140mm PVC 4KSC | 7.5 | m |  | One metre |  |  | 0
vii | 160mm PVC 4KSC | 3 | m |  | One metre |  |  | 0
viii | 150 mm DI K7 Class | 1.5 | m |  | One metre |  |  | 0
ix | 200 mm DI K7 Class | 3 | m |  | One metre |  |  | 0
x | 300 mm DI K7 Class | 1.5 | m |  | One metre |  |  | 0
xi | 355.6 mm x 4 mm thick MS PIPE | 4 | m |  | One metre |  |  | 0
xii | 457 mm x 4 mm thick PIPE | 8 | m |  | One metre |  |  | 0
xiii | 508 mm x 5 mm thick MS PIPE | 8 | m |  | One metre |  |  | 0
xiv | 610 mm x 5.8 mm thick MS PIPE | 12 | m |  | One metre |  |  | 0
9 | Supply and delivery of following sizes of PVC/DI/MS Specials conforming to IS specifications at site of work inclusive of transportation charges anywhere in Tamilnadu etc., complete and as directed by TWAD Board officers |  |  | IS 7834/1987 & IS 10124/1982 Part-II and IS 10124/1982 Part-II |  |  |  | 0
i | 50 mm PVC Coupler Fabricated 6 KSC | 6 | Nos |  | each |  |  | 0
ii | 63 mm PVC Coupler Fabricated 4 KSC | 8 | Nos |  | each |  |  | 0
iii | 75 mm PVC Coupler Fabricated 4 KSC | 12 | Nos |  | each |  |  | 0
iv | 90 mm PVC Coupler Fabricated 4 KSC | 10 | Nos |  | each |  |  | 0
v | 110 mm PVC Coupler Fabricated 4 KSC | 16 | Nos |  | each |  |  | 0
vi | 140 mm PVC Coupler Fabricated 4 KSC | 10 | Nos |  | each |  |  | 0
vii | 160 mm PVC Coupler Fabricated 4 KSC | 4 | Nos |  | each |  |  | 0
viii | 150mm MJ Collars for DI pipe | 2 | Nos |  | each |  |  | 0
ix | 200mm MJ Collars for DI pipe | 4 | Nos |  | each |  |  | 0
x | 300mm MJ Collars for DI pipe | 2 | Nos |  | each |  |  | 0
xi | 350mm MJ Collars for MS pipe | 2 | Nos |  | each |  |  | 0
xii | 450mm MJ Collars for MS pipe | 4 | Nos |  | each |  |  | 0
xiii | 500mm MJ Collars for MS pipe | 4 | Nos |  | each |  |  | 0
xiv | 600mm MJ Collars for MS pipe | 6 | Nos |  | each |  |  | 0
10 | Removing following the burst PVC Pipes from the pipe line and removal of slushy soil and baling out water and replacing the pipe line with sound pipe including jointing and cost of refilling the pipe line with water for retesting the pipe line etc complete (excluding cost of sound pipe and jointing materials and earth work) and as directed by the TWAD Board Officers |  |  | Special specifications |  |  |  | 0
i | 50mm PVC 6KSC | 3 | Nos |  | each |  |  | 0
ii | 63mm PVC 4KSC | 4 | Nos |  | each |  |  | 0
iii | 75mm PVC 4KSC | 6 | Nos |  | each |  |  | 0
iv | 90mm PVC 4 KSC | 5 | Nos |  | each |  |  | 0
v | 110mm PVC 4KSC | 8 | Nos |  | each |  |  | 0
vi | 140mm PVC 4KSC | 5 | Nos |  | each |  |  | 0
vii | 160mm PVC 4KSC | 2 | Nos |  | each |  |  | 0
viii | 150 mm dia AC Class 15 Pipe | 1 | No. |  | each |  |  | 0
ix | 200 mm dia AC Class 15 Pipe | 2 | Nos |  | each |  |  | 0
x | 300 mm dia AC Class 15 Pipe | 1 | No. |  | each |  |  | 0
xi | For 350 mm PSC Pipes of various classes | 1 | Nos |  | each |  |  | 0
xii | For 450 mm PSC Pipes of various classes | 2 | Nos |  | each |  |  | 0
xiii | For 500 mm PSC Pipes of various classes | 2 | Nos |  | each |  |  | 0
xiv | For 600 mm PSC Pipes of various classes | 3 | Nos |  | each |  |  | 0
11 | Carrying out the following repair works occuring during the maintenance period in the Electrical, Mechanical and Elctro-mechanical items to bring back the scheme / components into normal running conditition as per standard specification including all labour charges, cost of materials and all incidental charges within the stipulated time limit etc., complete as specified in Clause 2.2.6 of General conditions of Contract Part II etc as directed by TWAD Board officers. |  |  | Special specifications |  |  |  | 0
a | Rewinding of motor and reconditioning pump and repair works to 10 HP Open Well Submersible Pump Set ( 1490 LPM X 16 M ) including cost of all material ,conveyance ,labour charges for removing and re-erection of Submersible pumpset at Head Works in Infiltration Well etc as directed by TWAD Board officers. | 5 | Nos |  | each |  |  | 0
b | Rewinding of motor and reconditioning pump and repair works to 7.5 Open Well Submersible Pump Set ( 1000 LPM X 14 M ) including cost of all material ,conveyance ,labour charges for removing and re-erection of Submersible pumpset at Head Works in Infiltration Well | 5 | Nos | Special specifications | each |  |  | 0
c | Rewinding of motor and repair works to170 HP centrifugal HSC Motor (11920 X 47 m Head ) including cost of all material ,conveyance ,labour charges for removing and re-erection of centrifugal HSC Motor at Head Works Pump Room | 1 | No. | Special specifications | each |  |  | 0
| SUMP AT THALAISUBRAMANIYAPURAM | [6 empty] | 0
d | Rewinding of motor and repair works to 270 HP centrifugal HSC Motor (11920 X 75 m Head ) including cost of all material ,conveyance ,labour charges for removing and re-erection of centrifugal HSC Motor at Pump Room | 1 | No. | Special specifications | each |  |  | 0
| ATHIYOUTH SUMP | [6 empty] | 0
f | Rewinding of motor and reconditioning pump and repair works to 4 HP CENTRIFUGAL Pump set (466 lpm x 16m Head ) including cost of all material ,conveyance ,labour charges for removing and re-erection of Monobloc Pump set at AthiyouthuPump Room | 1 | No. | Special specifications | each |  |  | 0
| VK PUDUR SUMP | [6 empty] | 0
g | Rewinding of motor and reconditioning pump and repair works to 5HP CENTRIFUGAL Pump set (191 lpm x 43 m Head ) including cost of all material ,conveyance ,labour charges for removing and re-erection of Monobloc Pump set at VK PUDURPump Room | 1 | No. | Special specifications | each |  |  | 0
| Sump at kalingapatty | [6 empty] | 0
h | Rewinding of motor and repair works to170 HP centrifugal HSC Motor (11065 X 52 m Head) including cost of all material ,conveyance ,labour charges for removing and re-erection of centrifugal HSC Motor at Pump Room | 1 | No. | Special specifications | each |  |  | 0
| Surandai sump | [6 empty] | 0
j | Rewinding of motor and reconditioning pump and repair works to 20 HP CENTRIFUGAL Pump set (1011 lpm x 50 m Head ) including cost of all material ,conveyance ,labour charges for removing and re-erection of Monobloc Pump set at Kulayaneri & Anaikulam | 1 | No. | Special specifications | each |  |  | 0
| Rewinding of motor and reconditioning pump and repair works to4 HP CENTRIFUGAL Pump set (249 lpm x 28m Head ) including cost of all material ,conveyance ,labour charges for removing and re-erection of Monobloc Pump set to Sambavarvadakarai 2 nos | 1 | No. | Special specifications | each |  |  | 0
| KADAYALURITY SUMP | [6 empty] | 0
k | Rewinding of motor and reconditioning pump and repair works to 2HP CENTRIFUGAL Pump set (149 lpm x 30 m Head) including cost of all material ,conveyance ,labour charges for removing and re-erection of Monobloc Pumpset to Nochikulam | 1 | No. | Special specifications | each |  |  | 0
| VELAUTHAPURAM SUMP | [6 empty] | 0
l | Rewinding of motor and repair works to150 HP centrifugal HSC Motor (7423 X 61m Head ) including cost of all material ,conveyance ,labour charges for removing and re-erection of centrifugal HSC Motor at Velayuthapuram Pump Room | 1 | No. | Special specifications | each |  |  | 0
n | Rewinding of motor and reconditioning pump and repair works to 7.5 HP CENTRIFUGAL Pump set (599 lpm x 27 m Head) including cost of all material ,conveyance ,labour charges for removing and re-erection of Monobloc Pump set toUrmelalagiyan | 1 | Nos | Special specifications | each |  |  | 0
| SANGUPURAM pump room | [6 empty] | 0
p | Rewinding of motor and reconditioning pump and repair works to 7.5 HP CENTRIFUGAL Pump set ( 439 lpm x 42m )including cost of all material ,conveyance ,labour charges for removing and re-erection of Monobloc Pump set to Nainagaram 2 nos | 1 | No. | Special specifications | each |  |  | 0
| SIVARAMANPATTAI PUMP ROOM | [6 empty] | 0
r | Rewinding of motor and reconditioning pump and repair works to 5 HP Submercible Pump set (100 lpm x 34m) including cost of all material ,conveyance ,labour charges for removing and re-erection Pump set to Neduvayal | 1 | No. | Special specifications | each |  |  | 0
| PUDUKUDI SUMP | [6 empty] | 0
u | Rewinding of motor and reconditioning pump and repair works to 15 HP CENTRIFUGAL Pump set (406 lpm x 70m) including cost of all material ,conveyance ,labour charges for removing and re-erection of Monobloc Pump set to Thirikoodapuram | 1 | No. | Special specifications | each |  |  | 0
| BALAARUNACHALAPURAM SUMP | [6 empty] | 0
w | Rewinding of motor and reconditioning pump and repair works to 75 HPCentrifugal pump sett (3623 lpm x 54m head ) of all material, conveyance, labour charges for removing and re-erection of Monobloc Pump set to Puliyangudi | 1 | No. | Special specifications | each |  |  | 0
| SINGILIPATTY | [6 empty] | 0
ae | Rewinding of motor and reconditioning pump and repair works to 3HPCentrifugal pump sett (50 lpm x 18m head) of all material ,conveyance ,labour charges for removing and re-erection of Monobloc Pump set to Singlipatty colony | 1 | No. | Special specifications | each |  |  | 0
| VETRAMPATTYI SUMP | [6 empty] | 0
ai | Rewinding of motor and reconditioning pump and repair works to 5 HP centrifugal Monobloc Pump set (180lpm x 60m )including cost of all material ,conveyance ,labour charges for removing and re-erection of Monobloc Pump set to Thiruvettanallur | 1 | No. | Special specifications | each |  |  | 0
| KADAYANALUR SUMP | [6 empty] | 0
ak | Rewinding of motor and reconditioning pump and repair works to 15HP centrifugal Monobloc Pump set ( 1591lpm x 27m )including cost of all material ,conveyance ,labour charges for removing and re-erection of Pump set to Kadayanallur | 1 | No. | Special specifications | each |  |  | 0
| PULIYANGUDI SUMP | [6 empty] | 0
ap | Rewinding of motor and reconditioning pump and repair works to 20HP centrifugal Monobloc Pump set (2303 lpm x 20m )including cost of all material ,conveyance ,labour charges for removing and re-erection of Pump set to Puliyangudi | 1 | No. | Special specifications | each |  |  | 0
as | Repair and reconditioning works in 2 HP HSC centrifugal Pump (347 lpm x 8 m Head) including cost of all material exluding Bronze impeller, conveyance ,labour charges for removing and re-erection of centrifugal HSC Pumpset to Chinthamani | 1 | No. | Special specifications | each |  |  | 0
14 | Replacement of 32-400 Amps 3 Pole MCCB Switch in the Head works and other pumprooms |  |  | Special Specification |  |  |  | 0
i) | 63 Amps 3 Pole MCCB Switch | 2 | No. |  | each |  |  | 0
ii) | 100 Amps 3 Pole MCCB Switch | 4 | No. |  | each |  |  | 0
iii) | 250 Amps 3 Pole MCCB Switch | 1 | No. |  | each |  |  | 0
ix) | 600 Amps 3 Pole MCCB Switch | 2 | No. |  | each |  |  | 0
16 | Repairing/ reconditioning of Sluice valve (for line valve/ for Scour valve) including all material, labour (Specify type of sluice valve and type of repair to be carried out) |  |  | Special Specification |  |  |  | 0
a | 350 mm CI Sluice valve | 1 | No. |  | each |  |  | 0
b | 250 mm CI Sluice valve | 1 | No. |  | each |  |  | 0
c | 150 mm CI Sluice valve | 1 | No. |  | each |  |  | 0
d | 350 mm CI Scour valve | 1 | No. |  | each |  |  | 0
e | 250 mm CI Scour valve | 1 | No. |  | each |  |  | 0
f | 200 mm CI Scour valve | 1 | No. |  | each |  |  | 0
g | 350 mm CI NRV valve | 1 | No. |  | each |  |  | 0
h | 250 mm CI NRV valve | 2 | No. |  | each |  |  | 0
19 | Removal of sediments and deposition of sludge, silt,Particles inside the sump at various capacities by engaging required labours and diesel pumpsets and cleaning the side wall using wire brushes, brooms, collecting , lifting of the deposited slit particles on above the sump and washing side wall and the slab using bleaching powder etc., complete and as directed by TWAD Board officers |  |  | Special Specification |  |  |  | 0
i | 3.00 LL capacity of sump @ head works, Sattupathu | 1 | No. |  | Each |  |  | 0
ii | 10.00 LL capacity of sump @ Thalaisubramaniapuram, | 1 | No. |  | Each |  |  | 0
iii | 9.00 LL capacity of sump @ kalinkapatty | 1 | No. |  | Each |  |  | 0
iv | 7.00 LL capacity of sump @ Velayuthapuram | 1 | No. |  | Each |  |  | 0
v | 3.50 LL capacity of sump @ Balaarunachalapuram | 1 | No. |  | Each |  |  | 0
vi | 3.00 LL capacity of sump @ Kadayanallur & Puliyangudi | 1 | Nos |  | Each |  |  | 0
vii | 1.50 LL capacity of sump @ Athiyoothu, Surandai and Kadayalurutti | 2 | Nos |  | Each |  |  | 0
viii | 0.60 LL capacity of sump @ Pudukudi, Sambavarvadakarai | 2 | Nos |  | Each |  |  | 0
ix | 0.30 LL capacity of sump @ V.K.Pudur, Sangupuram, Mangalapuram & Sivaramapetti | 2 | Nos |  | Each |  |  | 0
| Total | [6 empty] | 0
i)
ii)
iii)
iv)
v)
vi)
vii)
viii)
ix)
x)
xi)
xii)
xiii)
xiv)
xv)
xvi)
xvii)
xviii)
xix)
xx)
xi)
7
a)
b)
c)
i)
ii)
iii)
iv)
8)
a)
i)
ii)
iii)
iv)
9)
a)
b)
i)
ii)
iii)
iv)
v)
vi)
vii)
viii)
c)
d)
10)
i)
ii)
iii)
iv)
v)
vi)
vii)
viii)