## folder
TAMIL NADU WATER SUPPLY AND DRAINAGE BOARD
OFFICE OF THE CHIEF ENGINEER,
OPPOSITE TO MATTUTHAVANI BUS STAND,
1/1, SAMBAKULAM, MADURAI -625007
Operation and maintenance of the CWSS to Manur and 400 other habitations in Manur and 7 other Panchayat unions, Sankarankoil Municipality, Thiruvenkadam Town Panchayat in Tirunelveli Dist and Bulk provision to Sivakasi and Thiruthangal Municipalities in Virudhunagar Dist including repair and rectification works for the period From 16.07.2022 To 31.03.2023 (II call)
BILL OF QUANTITES

## BillofQty
NAME OF SCHEME :- Operation and maintenance of the CWSS to Manur and 400 other habitations in Manur and 7 other Panchayat unions, Sankarankoil Municipality, Thiruvenkadam Town Panchayat in Tirunelveli Dist and Bulk provision to Sivakasi and Thiruthangal Municipalities in Virudhunagar Dist including repair and rectification works for the period From 16.07.2022 To 31.03.2023 (II call)
BILL OF QUANTITIES
General
The Bill of Quantities shall contain items for the construction, installation, testing, commissioning and maintenance of the Works to be carried out by the Contractor
The Bill of Quantities will be used to calculate the Contract Price. The contractor shall be paid for the quantum of work done at the rate furnished for each item in the Bill of Quantities.
Where there is a discrepancy between the rates in words and figures, the lesser of the two will only be taken into consideration.
Where there is a discrepancy between the unit rate and line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern.
Where there is an arithmetical discrepancy in the page total as well as grand total, the corrected total by the Employer will govern
The rates furnished in the BOQ shall be for carrying out the work in conformity to the BIS, TNBP and Technical Specifications and other Terms and Conditions set out in the Bid Document
All pages in the BOQ should be signed without omission. All corrections/over writing should be properly attested by the Bidder.
Change in the Quantities
If the final quantity of the work done differs from the quantity in the Bill of Quantities for the particular item/items, the rates as in the agreement for the relevant items shall be paid.
GST
GST is applicable as per GO. 296, Finance(salaries) Dept. Dt. 09.10.2017, GOI, Ministry of finance – central tax (Rate) New Delhi, notification No. 11/2017/ Dt. 28.06.2017 and as amended from time to time.From every payment made to the firm/ contractor, deduction at source towards GST shall be made for civil works contract as per Government of India, Ministry of Finance/ Department of Revenue, New Delhi Notification No. 20 / 2017 – Central Tax (Rate) / Dt.22.08.2017 subject to issue of amendments from time to time.
Name of Work :
Operation and maintenance of the CWSS to Manur and 400 other habitations in Manur and 7 other Panchayat unions, Sankarankoil Municipality, Thiruvenkadam Town Panchayat in Tirunelveli Dist and Bulk provision to Sivakasi and Thiruthangal Municipalities in Virudhunagar Dist including repair and rectification works for the period From 16.07.2022 To 31.03.2023 (II call)
-----------------------------------------------------------------------------------------------------------------
Sl.No. Description of Quantity Specifi Unit Rate Amount
Item of Work cation ---------------------------
in in
Figures Words
-----------------------------------------------------------------------------------------------------------------

## General Abstract
General Abstract
NAME OF WORK : Operation and maintenance of the CWSS to Manur and 400 other habitations in Manur and 7 other Panchayat unions, Sankarankoil Municipality, Thiruvenkadam Town Panchayat in Tirunelveli Dist and Bulk provision to Sivakasi and Thiruthangal Municipalities in Virudhunagar Dist including repair and rectification works for the period From 16.07.2022 To 31.03.2023 (II call)
Schedule | Description | Amount in Rs.
OPERATION AND MAINTENANCE OF THE FOLLOWING CWSS TO SUPPLY EARMARKED QUANTITY OF WATER NOTED AGAINST EACH CWSS IN THIRUNELVELI DISTRICT BY CARRYING OUT ALL THE NECESSARY WORKS SUCH AS PUMPING, ATTENDING TO LEAK AND BURST, ATTENDING TO ELECTRICAL AND MECHANICAL REPAIR WORKS, PROVIDING DISINFECTION, PREVENTIVE MAINTENANCE OF ALL INSTALLATIONS, SUMP CLEANING AND DELIVERANCE OF EARMARKED QUANTITY OF WATER TO THE BENEFICIARIES AS PER SCHEDULE AND STANDARD OPERATING PROCEDURES AND AS DIRECTED BY THE TWAD BOARD OFFICERS From 16.07.2022 To 31.03.2023
A1 | CWSS to Manur and 400 other habitations in Manur and 7 other Panchayat unions, Sankarankoil Municipality, Thiruvenkadam Town Panchayat in Tirunelveli Dist and | 0
A2 | CWSS to Sivakasi and Thiruthangal Municipalities and 63 wayside habitations in Virudhunagar Dist | 0
| TOTAL | 0

## A1
SCHUDLE - A1
NAME OF WORK : CWSS to Manur and 400 other habitations in Manur and 7 other Panchayat unions, Sankarankoil Municipality, Thiruvenkadam Town Panchayat in Tirunelveli Dist
Sl. No | Description of work | Quantity |  | TNBP No. Other specification | Unit | Rate |  | Amount
[6 empty] | in figures | in words | Rs.
1 | Operation and Maintenance of the Electro Mechanical installations, equipments, components, pipelines valves and appurtenances, water retaining structures including protecton of all schemee components from damages/ theft undertaking legal actions for such untoward incidents, preventive maintenance, disinfection and deliverance of water as per quality standards and supply of earmarked quantity of water 27.82 MLD to the beneficiaries as per Annexure carrying out the O&M as per standard operating procedures, Acts and rules in force etc., complete and as directed by TWAD Board Oficers and excluding cost towards attending leak, burst repair and replacement works to electro mechanical installations consumables for disinfection of water, cleaning of all water retaining structure, electricity .- 7205.380 ML (27.82 x 259) | 7205.38 | ML | Special specifications
2.a) | Attending collar Leaks occurred in all the size, class and material of pipes in all the pipelines of this CWSS for the following items round the clock as per the standard specifications including earthwork excavation ,removal of slushy soil , labour charges, civil works, cost of materials, dewatering , genset, welding unit,and providing night lamps, barrigading arrangements, caution sign boards ,trafic diversion arrangements and all other incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract Part II.and as directed by TWAD Board officers
i) | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. |  |  | SS 20 B, 95 and Special specifications
a | AC Class 15 Pipe | 47.026 | m3 |  | One Cubic metre
b | PSC Pipe Various Classes | 494.063 | m3 |  | One Cubic metre
ii) | Supply and delivery of lead wool as per sample including loading, umloading and transportation charges etc. complete and as directed by TWAD Bd. Officers |  |  | Special specifications
a) | 200 mm dia AC Class 15 Pipe | 6 | kg |  | One Kilogram
b) | 250 mm dia AC Class 15 Pipe | 30 | kg |  | One Kilogram
c) | 300 mm dia AC Class 15 Pipe | 6 | kg |  | One Kilogram
d | 800 mm dia PSC Pipe Various Classes | 330 | kg |  | One Kilogram
e) | 500 mm dia PSC Pipe Various Classes | 27 | kg |  | One Kilogram
f) | 450 mm dia PSC Pipe Various Classes | 14 | kg |  | One Kilogram
g) | 350 mm dia PSC Pipe Various Classes | 36 | kg |  | One Kilogram
iii) | Supply and delivery of Hard crete oil including loading, unloading and transportation charges etc. complete and as directed by TWAD Bd. Officers | 463 | Lit | Special specifications | One liter
iv) | Supply and delivery of ordinary portland cement as per relavent IS specification including loading, unloading and transportation charges etc. complete and as directed by TWAD Bd. Officers | 421 | kg | SS 10 and Special Specification | One Kilogram
v) | Dewatering using 5HP diesel engine pumpset including Hire charges, cost of Diesel, Engine oil, pump operator, labour charges, conveyance of pumpset and fuel to site and back, loading, unloading and any other incidental charges etc., complete for attending Leak in all types of pipe line as directed by TWAD Board officers | 739 | Hours | Special specifications | One Hour
vi) | Refilling with excavated soil (other than sand)complying with standard specification in layers of 15cm watered well rammed and consolidated after the pipes and specials are laid,jointed and tested etc. and removing and depositing the surplus earth at the places shown by the TWAD Board Officers. | 541.089 | m3 | SS 24, 95 and Special specifications | One Cubic metre
2) b | Attending Leaks occurred in all the size, class and material of pipes in all the pipelines of this CWSS for the following items with CID Joint round the clock as per the standard specifications including earthwork excavation, removal of slushy soi, labour charges, civil works, cost of materials, dewatering , and providing night lamps, barrigading arrangements, caution sign boards ,trafic diversion arrangements and all other incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract Part II.and as directed by TWAD Board officers.
i) | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. | 81.986 | m3 | SS 20 B, 95 and Special specifications | One Cubic metre
ii) | Supply and delivery of Leak Arresting CID joint Class 15 - as per IS 8794/1988 |  |  | Special specifications
a) | For 300 mm dia AC Class 15 Pipe with CID Joint | 5 | Nos |  | Each
b) | For 250 mm dia AC Class 15 Pipe with CID Joint | 15 | Nos |  | Each
c) | For 200 mm dia AC Class 15 Pipe with CID Joint | 5 | Nos |  | Each
iii) | Refilling with excavated soil (other than sand)complying with standard specification in layers of 15cm watered well rammed and consolidated after the pipes and specials are laid,jointed and tested etc. and removing and depositing the surplus earth at the places shown by the TWAD Board Officers. |  |  | SS 24, 95 and Special specifications
| AC Pipe | 81.986 | m3 |  | One Cubic metre |  |  |  | 0
3 | Attending burst occurred in all the size, class and material of pipes in all the pipelines of this CWSS for the following items with replacing the pipes round the clock as per the standard specifications including earthwork excavation ,removal of slushy soil , labour charges, civil works, cost of materials, dewatering , genset, welding unit,and providing night lamps, barrigading arrangements, caution sign boards ,trafic diversion arrangements and all other incidental charges, etc complete within the stipulated time limit as specified in Clause 2.8 of General conditions of Contract Part II.and as directed by TWAD Board officers
i) | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. |  |  | SS 20 B, 95 and Special specifications
a) | PVC pipe for various sizes | 616.649 | m3 |  | One Cubic metre
b | 200 mm dia AC Class 15 Pipe | 194.124 | m3 |  | One Cubic metre
c | PSC pipe for various sizes | 172.051 | m3 |  | One Cubic metre
ii) | Removing following the burst Pipes from the pipe line and removal of slushy soil and baling out water and replacing the pipe line with sound pipe including jointing and cost of refilling the pipe line with water for retesting the pipe line etc complete (excluding cost of sound pipe and jointing materials and earth work) and as directed by the TWAD Board Officers |  |  | Special specifications
a | 50mm PVC 6KSC | 6 | Nos |  | Each
b | 63mm PVC 4KSC | 35 | Nos |  | Each
c | 75mm PVC 4KSC | 35 | Nos |  | Each
d | 90mm PVC 4 KSC | 70 | Nos |  | Each
e) | 110mm PVC 4KSC | 52 | Nos |  | Each
f) | 140mm PVC 4KSC | 30 | Nos |  | Each
g) | 160mm PVC 4KSC | 20 | Nos |  | Each
h | 200 mm dia AC Class 15 Pipe | 5 | Nos |  | Each
i | 250 mm dia AC Class 15 Pipe | 20 | Nos |  | Each
j | 300 mm dia AC Class 15 Pipe | 4 | Nos |  | Each
iii) | Supply and delivery of the following sizes of PVC pipes confirming to IS specifications including transportation any where in Tamilnadu etc., complete and as directed by TWAD Board Officers |  |  | IS 4985/2000 and amended from time to time and special specification
a | 50mm PVC 6KSC | 12 | m |  | One metre
b | 63mm PVC 4KSC | 70 | m |  | One metre
c | 75mm PVC 4KSC | 70 | m |  | One metre
d | 90mm PVC 4 KSC | 140 | m |  | One metre
e) | 110mm PVC 4KSC | 104 | m |  | One metre
f) | 140mm PVC 4KSC | 60 | m |  | One metre
g) | 160mm PVC 4KSC | 40 | m |  | One metre
h | 200 mm dia AC Class 15 Pipe | 10 | m |  | One Metre
i | 250 mm dia AC Class 15 Pipe | 40 | m |  | One Metre
j | 300 mm dia AC Class 15 Pipe | 8 | m |  | One Metre
k | 914 mm x 4 mm thick MS PIPE | 24 | m |  | One metre
l | 814 mm x 4 mm thick MS PIPE | 12 | m |  | One metre
m | 350 mm x 4 mm thick MS PIPE | 16 | m |  | One metre
iv) | Supply and delivery of following sizes of Specials conforming to IS specifications at site of work including loading, unloading,transportation, insurance, etc., Complete and as directed by TWAD Bd. officers. |  |  | IS 10124/1982 Part - II, IS 9523/2000 and amended from time to time and special specification
a) | 50 mm PVC Coupler Fabricated 6 KSC | 12 | Nos |  | Each
b) | 63 mm PVC Coupler Fabricated 4 KSC | 70 | Nos |  | Each
c) | 75 mm PVC Coupler Fabricated 4 KSC | 70 | Nos |  | Each
d) | 90 mm PVC Coupler Fabricated 4 KSC | 140 | Nos |  | Each
e) | 110 mm PVC Coupler Fabricated 4 KSC | 104 | Nos |  | Each
f) | 140 mm PVC Coupler Fabricated 4 KSC | 60 | Nos |  | Each
g) | 160 mm PVC Coupler Fabricated 4 KSC | 40 | Nos |  | Each
iv) | Supply and delivery of CID joint as directed by TWAD Board officers IS 8794/1988 |  |  | Special specifications
a) | 200 mm dia AC Class 15 Pipe | 2 | Nos |  | Each
b) | 250 mm dia AC Class 15 Pipe | 2 | Nos |  | Each
c) | 300 mm dia AC Class 15 Pipe | 2 | Nos |  | Each
ii) | Leak Arresting work with MS Clamps using generators, Welding plant | 13 | Nos | Special specifications | Each
v) | Refilling with excavated soil (other than sand)complying with standard specification in layers of 15cm watered well rammed and consolidated after the pipes and specials are laid,jointed and tested etc. and removing and depositing the surplus earth at the places shown by the TWAD Board Officers. |  |  | SS 24, 95 and Special specifications
a) | PVC pipe for various sizes | 616.65 | m3 |  | One Cubic metre
4 | Carrying out the repair works occuring during the maintenance period in the Electrical, Mechanical and Elctro-mechanical items to bring back the scheme / components into normal running conditition as per specification including all charges for dismantling, repair, reinstallation, conveyance, cost of materials and all other incidental charges within the stipulated time limit etc., complete as specified in Clause 2.2.6 of General conditions of Contract Part II.etc as directed by TWAD Board officers |  |  | Special specifications
i) | Rewinding of motor and reconditioning pump and repair works to 7.5 HP Submersible Pump Set (10220 LPM X 18 M ) including cost of all material ,conveyance ,labour charges for removing and re-erection of Submersible pumpset at Pazhavoor Head Works - 19 Nos | 14 | Nos |  | Each
iii) | Rewinding of motor and repair works to 150 HP Vertical turbine pumpset ( 11600 lpm x 45 m Head ) including cost of all material ,conveyance ,labour charges for removing and re-erection of Vertical turbine pumpset at Pazhavoor Head Works Pump Room - 3 Nos | 1 | Nos |  | Each
iv) | Rewinding of motor and repair works to 170 HP Vertical turbine pumpset ( 11600 lpm x 46 m Head ) including cost of all material ,conveyance ,labour charges for removing and re-erection of centrifugal HSC Motor at Sirukankuruchi Head Works Pump Room - 3 Nos | 1 | Nos |  | Each
vii) | Rewinding of motor and repair works to 200 HP Vertical turbine pumpset ( 10145 lpm x 66 m Head ) including cost of all material ,conveyance ,labour charges for removing and re-erection of Vertical turbine pumpset at Alagiyapandiyapuram Pump Room - 3 Nos | 1 | Nos |  | Each
viii) | Rewinding of motor and repair works to 90 HP Vertical turbine pumpset ( 9740 lpm x 27 m Head ) including cost of all material ,conveyance ,labour charges for removing and re-erection of Vertical turbine pumpset at Vadakkuachampatti Pump Room - 3 Nos | 1 | Nos |  | Each
xi) | Rewinding of motor and repair works to 170 HP Vertical turbine pumpset ( 7833 lpm x 70 m Head ) including cost of all material ,conveyance ,labour charges for removing and re-erection of Vertical turbine pumpset at Naluvasankottai Pump Room - 2 Nos | 1 | Nos |  | Each
x) | Rewinding of motor and repair works to 75 HP Vertical turbine pumpset ( 9263 lpm x 24 m Head ) including cost of all material ,conveyance ,labour charges for removing and re-erection of Vertical turbine pumpset at Naluvasankottai Pump Room - 2 Nos | 1 | Nos |  | Each
xi) | Rewinding of motor and reconditioning pump and repair works to centrifugal Monobloc Pump set including cost of all material ,conveyance ,labour charges for removing and re-erection of Monobloc Pump set at Pump Room
1 | Vadakkuachampaati - 3 HP - 1no., Sankarankoil 3 HP - 1 no., Thiruvedagam - 3HP - 2 nos. | 4 | Nos |  | Each
2 | VadakkuAchampaati - 2HP - 1no, Devarkulam - 2 HP - 1 no, Melapillaiyarkulam - 2 HP - 1 No, Therkupulliyarpatti - 2 HP - 1no | 4 | Nos |  | Each
3 | VadakkuAchampaati - 0.5 HP | 1 | Nos |  | Each
4 | Naluvasankottai - 15HP | 1 | Nos |  | Each
4 | Naluvasankottai - 7.5HP | 1 | Nos |  | Each
5 | Sankarankovil - 22.5HP | 1 | Nos |  | Each
6 | Sankarankovil - 17.5 HP | 1 | Nos |  | Each
6 | Sankarankovil - 3HP | 1 | Nos |  | Each
7 | Thiruvengadam - 25HP | 1 | Nos |  | Each
8 | Thiruvengadam - 22HP | 1 | Nos |  | Each
9 | Thiruvengadam - 10HP | 1 | Nos |  | Each
10 | Thiruvengadam - 5HP | 1 | Nos |  | Each
10 | Thiruvengadam - 3HP | 1 | Nos |  | Each
11 | Vettuvankualm - 1 HP | 1 | Nos |  | Each
12 | Vettuvankualm - 1.5HP | 1 | Nos |  | Each
13 | Manur - 7.5HP | 1 | Nos |  | Each
14 | Devarkualm - 2HP | 1 | Nos |  | Each
15 | Thalavaipuram -7.5HP | 1 | Nos |  | Each
16 | Nakkalmuthampatti - 10HP | 1 | Nos |  | Each
17 | Melapillayarkulam - 5HP | 1 | Nos |  | Each
xii) | Rewinding of motor and reconditioning pump and repair works to Submersible Pump Set including cost of all material ,conveyance ,labour charges for removing and re-erection of Submersible pumpset at sump
1 | Alagiyapandiyapuram 3HP | 1 | Nos |  | Each
2 | Manur 3 HP | 1 | Nos |  | Each
3 | Madathupatti 5HP | 1 | Nos |  | Each
4 | Panaiyur 2 HP | 1 | Nos |  | Each
5 | Vadanathampatti 3HP | 1 | Nos |  | Each
6 | Muthukrishnapuram 2HP | 1 | Nos |  | Each
xiii | Repair and reconditioning works in Vertical turbine pumpset including cost of all material exluding Bronze impeller ,conveyance ,labour charges for removing and re-erection of Vertical turbine pumpset at Pump Room |  |  | Special specifications
a) | Head works( 11600LPM x 45m) - 150HP - 3Nos | 1 | Nos |  | Each
b) | Sirukankuruchi ( 11500LPM x 46m) - 170HP - 3Nos | 1 | Nos |  | Each
c) | Alagiyapandiyapuram ( 10145LPM x 66m) - 200HP - 3Nos | 1 | Nos |  | Each
d) | Vadakuachampatti ( 9740LPM x 27m) - 90HP - 3Nos | 1 | Nos |  | Each
e) | Naluvasankottai ( 9263 LPM x 24m) - 75HP - 2Nos | 1 | Nos |  | Each
f) | Naluvasankottai ( 7833 LPM x 70m) - 170HP - 2Nos | 1 | Nos |  | Each
xiv | Repair and reconditioning works to HSC centrifugal Pump including cost of all material exluding Bronze impeller,conveyance ,labour charges for removing and re-erection of centrifugal HSC Pump at Pump Room |  |  | Special specifications
a) | Sankarankovil 22.5HP | 1 | Nos |  | Each
b) | Sankarankovil 17.5 HP | 1 | Nos |  | Each
c) | Thiruvengadam 22HP | 1 | Nos |  | Each
d) | Thiruvengadam 25HP | 1 | Nos |  | Each
5 | Attending Cable fault for Infiltration Well for 7.5 & 5 H.P Submersible motor to main panel board at Pazhavoor Head Works Pump room. |  |  | Special specifications
i | Supply, delivery of 1.1 KV Grade 3 core 70 Sq. mm PVC insulated and steel Armoured aluminium cable as per I.S.1554 for following Wells submersible motor to main panel board.
a | 3 core 70 Sq. mm aluminium cable | 50 | m |  | One Metre
ii | Laying of 1.1 KV Grade 3 core 70 Sq. mm PVC insulated steel Armoured aluminium cable as per I.E. rules to be laid in between Well Submersible motor and main panel board.
a | 3 core 70 Sq. mm aluminium cable | 50 | m |  | One Metre
iii) | Jonting the 1.1KV grade 3 Core 70 SQ mm PVC Insulated Steel armoured aluminum cable as per I E Rules including Jointing materials etc complete directed by the TWAD Board officers
a | 3 core 70 Sq. mm aluminium cable | 5 | Nos |  | Each
iv) | Supply, delivery of 1.1 KV Grade 3 core 50 Sq. mm PVC insulated and steel Armoured aluminium cable as per I.S.1554 for following Wells submersible motor to main panel board.
a | 3 core 50 Sq. mm aluminium cable | 50 | m |  | One Metre
v | Laying of 1.1 KV Grade 3 core 50 Sq. mm PVC insulated steel Armoured aluminium cable as per I.E. rules to be laid in between Well Submersible motor and main panel board.
a | 3 core 50 Sq. mm aluminium cable | 50 | m |  | One Metre
vi | Jonting the 1.1KV grade 3 Core 50 SQ mm PVC Insulated Steel armoured aluminum cable as per I E Rules including Jointing materials etc complete directed by the TWAD Board officers
a | 3 core 50 Sq. mm aluminium cable | 5 | Nos |  | Each
6) a | Supply and delivery of following Range AMPS 4 Pole MCCB Switch ( Moulted case circuit breakers) to control EB supply from E.B Pole to Main Panel Board
i) | 400 Amps MCCB | 1 | Nos |  | Each
ii) | 320 Amps MCCB | 1 | Nos |  | Each
iii) | 100 Amps MCCB | 1 | Nos |  | Each
iv) | 63 Amps MCCB | 1 | Nos |  | Each
7 | Supply and delivery Power capacitor for power factor improvement with oil filled with discharge resistance 3 phase 415/440V 50 HZ conforming to ISS:2834 with ISI marking | 100 | KVAR | Special specifications | Each
9) a | Repairing/ reconditioning of Sluice valve (for line valve/ for Scour valve) including all material, labour (Specify type of sluice valve and type of repair to be carried out)
a) | 350 mm CI Sluice valve | 1 | Nos | Special specifications | Each
b) | 350 mm CI NRV valve | 1 | Nos |  | Each
c) | 300 mm CI Sluice valve | 1 | Nos |  | Each
d) | 150 mm CI Sluice valve | 1 | Nos |  | Each
e) | 150 mm CI Scour valve | 1 | Nos |  | Each
f) | 100 mm CI Sluice valve | 1 | Nos |  | Each
g) | 100 mm CI NRV valve | 1 | Nos |  | Each
j) | 500 mm CI Sluice valve | 1 | Nos |  | Each
k) | 450 mm CI Sluice valve | 1 | Nos |  | Each
m) | 150mm Double air valve | 1 | Nos |  | Each
o) | 80 mm Double air valve | 1 | Nos |  | Each
p) | 50 mm Double air valve | 1 | Nos |  | Each
q) | 40 mm Double air valve | 1 | Nos |  | Each
8 | Removal of sediments and depositions of sludge, silt particles inside the sump at various capacities by engaging required labours and diesel pumpsets and cleaning the sidewall and bottom of sump using wirebrushes, brooms, collecting, lifting of the deposited silt particles outside the sump, washing side wall and floor slab using bleaching powdre etc complete and as directed by TWAD Board officers |  |  | Special specifications
a) | Major Sumps
1 | 15.00 LL capacity of sump @ Pazhavoor(Headworks) | 1 | Nos |  | Each
2 | 1.50 LL capacity of sump @ Pazhavoor(Headworks) (Sump cum pumphouse) | 1 | Nos |  | Each
b) | Group Sump
1 | 0.10 LL capacity of sump @ Vettuvankulam | 1 | Nos |  | Each
2 | 0.30 LL capacity of sump @ Kankeyankulam | 1 | Nos |  | Each
3 | 0.30 LL capacity of sump @ Rastha | 1 | Nos |  | Each
4 | 0.10 LL capacity of sump @ Ayubhkanpuram | 1 | Nos |  | Each
5 | 0.30 LL capacity of sump @ Ettankulam | 1 | Nos |  | Each
6 | 0.10 LL capacity of sump @ Vadakku Cheliyanallur | 1 | Nos |  | Each
7 | 0.30 LL capacity of sump @ Therkku Puliyampatti | 1 | Nos |  | Each
8 | 0.10 LL capacity of sump @ Therkku Achampatti | 1 | Nos |  | Each
9 | 0.10 LL capacity of sump @ Karisalkulam | 1 | Nos |  | Each
10 | 1.00 LL capacity of sump @ Thalavaipuram | 1 | Nos |  | Each
11 | 0.60 LL capacity of sump @ Nakkalamuthampatti | 1 | Nos |  | Each
12 | 0.10 LL capacity of sump @ Muthukrishnapuram | 1 | Nos |  | Each
13 | Desilting light or sandy soil or silt from infiltration wells below water level including the charges for special tools and plants and air compressor etc.complete and as directed by the TWAD Board Officers.- 12 nos. | 127.95 | m3 | Special specifications | One Cubic metre
| Grand Total | [6 empty] | 0

## A2
SCHUDLE - A2
NAME OF WORK : CWSS to Sivakasi and Thiruthangal Municipalities and 63 wayside habitations in Virudhunagar Dist
Sl. No | Description of work | Quantity |  | TNBP No. Other specification | Unit | Rate |  | Amount
[6 empty] | in figures | in words | Rs.
1) | Attending collar Leaks occurred in all the size, class and material of pipes in all the pipelines of this CWSS for the following items round the clock as per the standard specifications including earthwork excavation ,removal of slushy soil , labour charges, civil works, cost of materials, dewatering , genset, welding unit,and providing night lamps, barrigading arrangements, caution sign boards ,trafic diversion arrangements and all other incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract Part II.and as directed by TWAD Board officers
i) | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. |  |  | SS 20 B, 95 and Special specifications
a | PSC Pipe Various Classes | 44.777 | m3 |  | One Cubic metre
b | AC Class 15 Pipe | 6.104 | m3 |  | One Cubic metre
ii) | Supply and delivery of lead wool as per sample including loading, umloading and transportation charges etc. complete and as directed by TWAD Bd. Officers | 10 | kg | Special specifications | One Kilogram
iii) | Supply and delivery of Hard crete oil as per sample including loading, umloading and transportation charges etc. complete and as directed by TWAD Bd. Officers | 50 | lit | Special specifications | One liter
iv) | Supply and delivery of ordinary portland cement as per relavent IS specification | 92 | kg | SS 10 and Special Specification | One Kilogram
v) | Dewatering using 5HP diesel engine pumpset including Hire charges, cost of Diesel, Engine oil, pump operator, labour charges, conveyance of pumpset and fuel to site and back, loading, unloading and any other incidental charges etc., complete for attending leaks in various types and class of pipe as directed by TWAD Board officers | 55 | Hours | Special specifications | One Hour |  |  |  | #REF!
vi) | Refilling with excavated soil (other than sand)complying with standard specification in layers of 15cm watered well rammed and consolidated after the pipes and specials are laid,jointed and tested etc. and removing and depositing the surplus earth at the places shown by the TWAD Board Officers. |  |  | SS 24, 95 and Special specifications
a | PSC Pipe Various Classes | 44.777 | m3 |  | One Cubic metre
b | AC Class 15 Pipe | 6.104 | m3 |  | One Cubic metre
2 a) | Attending Leaks occurred in all the size, class and material of pipes in all the pipelines of this CWSS for the following items with MS Clampsets round the clock as per the standard specifications including earthwork excavation, removal of slushy soi, labour charges, civil works, cost of materials, dewatering , and providing night lamps, barrigading arrangements, caution sign boards ,trafic diversion arrangements and all other incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract Part II.and as directed by TWAD Board officers.
i) | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. |  |  | SS 20 B, 95 and Special specifications
a | AC Class 15 Pipe | 30.52 | m3 |  | One Cubic metre
b | PSC Pipe Various Classes | 41.957 | m3 |  | One Cubic metre
ii) | Supply and delivery of CID joint as directed by TWAD Board officers IS 8794/1988 For 300 mm dia Pipe | 10 |  | Special specifications
iii) | Supply and delivery of Leak Arresting Flexible SS Clamps of Wrap Around Single Section type upto 500 mm diameter and Maxi Range double section type beyond 500 mm OD of all rigid pipe sections. The Clamps made of stainless steel SS304 metallic body of 0.8 to 1.0 mm maximum thickness pasted with Waffle gaskets of Natural / Nitrile / EPDM grade (BS EN681-1) and fitted with self stabilizing Finger type clamps of 200 mm length SG grade malleable cast iron duly powder coated (BS 2789 grade 400/12) and connected through fasteners of EN8 material with Zinc Coating (BS 970). Suitable width of the clamps to be decided by the engineer incharge at site depending on the nature of pipe crack. |  |  | Special specifications
a | For 350 NB PSC of various classes Pipe wrap around Single Section Clamp 400 mm Width | 1 | Nos |  | Each
b | For 400 NB PSC of various classes Pipe wrap around Single Section Clamp 400 mm Width | 1 | Nos |  | Each
c | For 450 NB PSC of various classes Pipe wrap around Single Section Clamp 400 mm Width | 1 | Nos |  | Each
d | For 450 NB PSC of various classes Pipe wrap around Single Section Clamp 400 mm Width | 1 | Nos |  | Each
iv) | Refilling with excavated soil (other than sand)complying with standard specification in layers of 15cm watered well rammed and consolidated after the pipes and specials are laid,jointed and tested etc. and removing and depositing the surplus earth at the places shown by the TWAD Board Officers. |  |  | SS 24, 95 and Special specifications
a | AC Class 15 Pipe | 30.52 | m3 |  | One Cubic metre
b | PSC Pipe Various Classes | 41.957 | m3 |  | One Cubic metre
3) | Attending burst occurred in all the size, class and material of pipes in all the pipelines of this CWSS for the following items with replacing the pipes round the clock as per the standard specifications including earthwork excavation ,removal of slushy soil , labour charges, civil works, cost of materials, dewatering , genset, welding unit,and providing night lamps, barrigading arrangements, caution sign boards ,trafic diversion arrangements and all other incidental charges, etc complete within the stipulated time limit as specified in Clause 2.8 of General conditions of Contract Part II.and as directed by TWAD Board officers
i) | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. |  |  | SS 20 B, 95 and Special specifications
a | PVC pipe | 87.296 | m3 |  | One Cubic metre
b | AC pipe | 12.314 | m3 |  | One Cubic metre
ii) | Supply and delivery of the following sizes of PVC pipes confirming to IS specifications including transportation to stock yard any where in Tamilnadu etc., complete and as directed by TWAD Board Officers |  |  | IS 4985/2000 and amended from time to time and special specification
a | 50mm PVC 6KSC | 2 | m |  | One metre
b | 63mm PVC 4KSC | 8 | m |  | One metre
c | 75mm PVC 4KSC | 20 | m |  | One metre
d | 90mm PVC 4 KSC | 8 | m |  | One metre
e | 110mm PVC 4KSC | 24 | m |  | One metre
f) | 250mm dia AC class 15 pipe | 4 | m |  | One metre
iii) | Supply and delivery of following sizes of Specials conforming to IS specifications at site of work including loading, unloading,transportation, insurance, etc., Complete and as directed by TWAD Bd. officers. |  |  | IS 10124/1982 Part - II, IS 9523/2000 and amended from time to time and special specification
a | 50 mm PVC Coupler Fabricated 6 KSC | 2 | Nos |  | Each
b | 63 mm PVC Coupler Fabricated 4 KSC | 8 | Nos |  | Each
c | 75 mm PVC Coupler Fabricated 4 KSC | 20 | Nos |  | Each
d | 90 mm PVC Coupler Fabricated 4 KSC | 8 | Nos |  | Each
e | 110 mm PVC Coupler Fabricated 4 KSC | 24 | Nos |  | Each
iv) | Removing following the burst Pipes from the pipe line and removal of slushy soil and baling out water and replacing the pipe line with sound pipe including jointing and cost of refilling the pipe line with water for retesting the pipe line etc complete (excluding cost of sound pipe and jointing materials and earth work) and as directed by the TWAD Board Officers |  |  | Special specifications
a | 50mm PVC 6KSC | 1 | Nos |  | Each
b | 63mm PVC 4KSC | 4 | Nos |  | Each
c | 75mm PVC 4KSC | 12 | Nos |  | Each
d | 90mm PVC 4 KSC | 4 | Nos |  | Each
e | 110mm PVC 4KSC | 14 | Nos |  | Each
f) | 250mm AC class | 2 | Nos |  | Each
v) | Refilling with excavated soil (other than sand)complying with standard specification in layers of 15cm watered well rammed and consolidated after the pipes and specials are laid,jointed and tested etc. and removing and depositing the surplus earth at the places shown by the TWAD Board Officers. | 87.296 | m3 | SS 24, 95 and Special specifications | One Cubic metre
4) | Carrying out the repair works occuring during the maintenance period in the Electrical, Mechanical and Elctro-mechanical items to bring back the scheme / components into normal running conditition as per specification including all charges for dismantling, repair, reinstallation, conveyance, cost of materials and all other incidental charges within the stipulated time limit etc., complete as specified in Clause 2.2.6 of General conditions of Contract Part II.etc as directed by TWAD Board officers |  |  | Special specifications
i) | Rewinding of motor and reconditioning pump and repair works to Open Well Submersible Pump Set including cost of all material ,conveyance ,labour charges for removing and re-erection of Submersible pumpset
ii) | Rewinding of motor and works in HSC centrifugal motor including cost of all material exluding,conveyance ,labour charges for removing and re-erection of centrifugal HSC motor
b | 60 HP HSC centrifugal Pump set | 1 | Nos |  | Each
iii) | Repair and reconditioning works in HSC centrifugal Pump including cost of all material exluding Bronze impeller ,conveyance ,labour charges for removing and re-erection of centrifugal HSC Pump
a | 50 HP HSC centrifugal Pump set | 1 | Nos |  | Each
iv) | Supply and delivery of direct online starter confirming to IS13947 and IEC60947-1 suitable KW rating for operation in AC/ three Phase/50HZ(+/- 5%) and 415V (+/- 10%) including Ammeter, Overload relay, under Voltage release with no Volt coil, Air Break contactors suitable for next Standard higher KW rating, Single phasing preventor, dry running preventor and On/Off Push button switches, including the capacitor(the cost of capacitor is to be taken separately).
a | 3 HP Starter | 1 | Nos |  | Each
| Grand Total | [6 empty] | 0