## folder
TAMIL NADU WATER SUPPLY AND DRAINAGE BOARD
OFFICE OF THE CHIEF ENGINEER,
OPPOSITE TO MATTUTHAVANI BUS STAND,
1/1, SAMBAKULAM, MADURAI -625007
Operation and maintenance of the CWSS to 637 rural habitations in Virudhunagar District including repair and rectification works for the period from 16.07.2022 to 31.03.2023.(II call)
BILL OF QUANTITES

## BillofQty
NAME OF SCHEME :- Operation and maintenance of the CWSS to 637 rural habitations in Virudhunagar District including repair and rectification works for the period from 16.07.2022 to 31.03.2023.
BILL OF QUANTITIES
General
The Bill of Quantities shall contain items for the construction, installation, testing, commissioning and maintenance of the Works to be carried out by the Contractor
The Bill of Quantities will be used to calculate the Contract Price. The contractor shall be paid for the quantum of work done at the rate furnished for each item in the Bill of Quantities.
Where there is a discrepancy between the rates in words and figures, the lesser of the two will only be taken into consideration.
Where there is a discrepancy between the unit rate and line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern.
Where there is an arithmetical discrepancy in the page total as well as grand total, the corrected total by the Employer will govern
The rates furnished in the BOQ shall be for carrying out the work in conformity to the BIS, TNBP and Technical Specifications and other Terms and Conditions set out in the Bid Document
All pages in the BOQ should be signed without omission. All corrections/over writing should be properly attested by the Bidder.
Change in the Quantities
If the final quantity of the work done differs from the quantity in the Bill of Quantities for the particular item/items, the rates as in the agreement for the relevant items shall be paid.
GST
GST is applicable as per GO. 296, Finance(salaries) Dept. Dt. 09.10.2017, GOI, Ministry of finance – central tax (Rate) New Delhi, notification No. 11/2017/ Dt. 28.06.2017 and as amended from time to time.From every payment made to the firm/ contractor, deduction at source towards GST shall be made for civil works contract as per Government of India, Ministry of Finance/ Department of Revenue, New Delhi Notification No. 20 / 2017 – Central Tax (Rate) / Dt.22.08.2017 subject to issue of amendments from time to time.
Name of Work :
Operation and maintenance of the CWSS to 637 rural habitations in Virudhunagar District including repair and rectification works for the period from 16.07.2022 to 31.03.2023.
-----------------------------------------------------------------------------------------------------------------
Sl.No. Description of Quantity Specifi Unit Rate Amount
Item of Work cation ---------------------------
in in
Figures Words
-----------------------------------------------------------------------------------------------------------------

## General Abstract
General Abstract
NAME OF WORK : Operation and maintenance of the CWSS to 637 rural habitations in Virudhunagar District including repair and rectification works for the period from 16.07.2022 to 31.03.2023.
Schedule | Description | Amount in Rs.
OPERATION AND MAINTENANCE OF THE FOLLOWING CWSS TO SUPPLY EARMARKED QUANTITY OF WATER NOTED AGAINST EACH CWSS IN THIRUNELVELI DISTRICT BY CARRYING OUT ALL THE NECESSARY WORKS SUCH AS PUMPING, ATTENDING TO LEAK AND BURST, ATTENDING TO ELECTRICAL AND MECHANICAL REPAIR WORKS, PROVIDING DISINFECTION, PREVENTIVE MAINTENANCE OF ALL INSTALLATIONS, SUMP CLEANING AND DELIVERANCE OF EARMARKED QUANTITY OF WATER TO THE BENEFICIARIES AS PER SCHEDULE AND STANDARD OPERATING PROCEDURES AND AS DIRECTED BY THE TWAD BOARD OFFICERS FOR the period from 16.07.2022 to 31.03.2023
A1 | Operation and maintenance of the 637 rural habitations in Virudhunagar District including repair and rectification works for the period from 16.07.2022 to 31.03.2023. | 0
| TOTAL | 0

## 637 Rural
SCHEDULE - A 1
Name of Work: Operation and maintenance of the CWSS to 637 rural habitations in Virudhunagar District including repair and rectification works for the period from 16.07.2022 to 31.03.2023.
Sl No | Description of item of works | Quantity |  | TNBP No. Other specification | Unit | Rate |  | Amount
[6 empty] | in figures | in words
1 | Operation and Maintenance of the Electro Mechanical installations, equipments, components, pipelines valves and appurtenances, water retaining structures including protector of all schemee components from damages/ theft undertaking legal actions for such untoward incidents, preventive maintenance, disinfection and deliverance of water as per quality standards and supply of earmarked quantity of water to the beneficiaries as per Annexure 12.25 MLD, carrying out the O&M as per standard operating procedures, Acts and rules in force and as directed by TWAD Board Oficers and excluding cost towards attending leak, burst repair and replacement works to electro mechanical installations consumables for disinfection of water, cleaning of all water retaining structure, electricity etc complete and as directed by TWAD Board officers Totally 3172.750 ML (12.25*259) | 3172.75 | ML | Special specifications | one ML |  |  | 0
2 | Attending Burst in the pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract - Part II. etc complete and as directed by TWAD Board officers | [6 empty] | 0
a | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of PVC pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. |  |  | SS 20 B,23, 95 and Special specifications |  |  |  | 0
i | Pipes of various classes Ist Depth of 2m (50 mm to 160 mm PVC) | 3487.83 | m3 |  | One cubic metre |  |  | 0
3 | Removing the burst P.V.C. Pipes from the pipe line and removal of slushy soil and baling out water and replacing the pipe line with sound pipe including jointing and cost of refilling the pipe line with water for retesting the pipe line etc., complete (excluding cost of sound pipe and jointing materials and earth work) and as directed by the TWAD Board Officers |  |  | Special specifications |  |  |  | 0
i | 50 mm PVC 6 KSC | 201 | Nos |  | each |  |  | 0
ii | 63mm PVC 4KSC | 424 | Nos |  | each |  |  | 0
iii | 75mm PVC 4KSC | 232 | Nos |  | each |  |  | 0
iv | 90mm PVC 4 KSC | 169 | Nos |  | each |  |  | 0
iv | 90mm PVC 6 KSC | 19 | Nos |  | each |  |  | 0
v | 110mm PVC 4KSC | 131 | Nos |  | each |  |  | 0
vi | 140mm PVC 4KSC | 155 | Nos |  | each |  |  | 0
vi | 140mm PVC 6 KSC | 27 | Nos |  | each |  |  | 0
vii | 160mm PVC 4KSC | 40 | Nos |  | each |  |  | 0
4 | Supply and delivery of the following sizes of unplastisized PVC Rigid pipes and specials confirming to IS other specifications as amended from time to time with ISI marking as specified in ISI and having the required working pressure and delivery at site of work including loading, unloading, freight, stacking and transportation, insurance charges, etc., complete and as directed by TWAD Board officers. |  |  | IS 7834/1987 & IS 10124/1982 Part- I & II and Special specifications |  |  |  | 0
i | 50 mm PVC6 KSC | 201 | m |  | One metre |  |  | 0
ii | 63mm PVC 4KSC | 424 | m |  | One metre |  |  | 0
iii | 75mm PVC 4KSC | 232 | m |  | One metre |  |  | 0
iv | 90mm PVC 4 KSC | 169 | m |  | One metre |  |  | 0
iv | 90mm PVC 6 KSC | 19 | m |  | One metre |  |  | 0
v | 110mm PVC 4KSC | 131 | m |  | One metre |  |  | 0
vi | 140mm PVC 4KSC | 155 | m |  | One metre |  |  | 0
vi | 140mm PVC 6 KSC | 27 | m |  | One metre |  |  | 0
vii | 160mm PVC 4KSC | 40 | m |  | One metre |  |  | 0
5 | PVC COUPLER FABRICATED | 0 | 0 |  |  |  |  | 0
i | 50 mm PVC Coupler Fabricated 6 KSC | 402 | Nos |  | each |  |  | 0
ii | 63 mm PVC Coupler Fabricated 4 KSC | 848 | Nos |  | each |  |  | 0
iii | 75 mm PVC Coupler Fabricated 4 KSC | 464 | Nos |  | each |  |  | 0
iv | 90 mm PVC Coupler Fabricated 4 KSC | 338 | Nos |  | each |  |  | 0
iv | 90 mm PVC Coupler Fabricated 6 KSC | 38 | Nos |  | each |  |  | 0
v | 110 mm PVC Coupler Fabricated 4 KSC | 262 | Nos |  | each |  |  | 0
vi | 140 mm PVC Coupler Fabricated 4 KSC | 310 | Nos |  | each |  |  | 0
vi | 140 mm PVC Coupler Fabricated 6 KSC | 54 | Nos |  | each |  |  | 0
vii | 160 mm PVC Coupler Fabricated 4 KSC | 80 | Nos |  | each |  |  | 0
6 | Attending Leaks in the DI pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all other incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract - Part II. | [6 empty] | 0
a | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of DI pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. |  |  | SS 20 B,23, 95 and Special specifications |  |  |  | 0
i) | DI Pipe of various sizes (150 mm to 600 mm) Ist Depth of 2m | 624.02 | m3 |  | One cubic metre |  |  | 0
7 | Dewatering using 7.5 HP diesel engine pumpset including Hire charges, cost of Diesel, Engine oil, pump operator, labour charges, conveyance of pumpset and fuel to site and back, loading, unloading and any other incidental charges etc., complete and as directed by the TWAD Board officers. |  |  | Special specifications |  |  |  | 0
i | 600 mm DI K7 Pipe | 18 | Hrs |  | One hour |  |  | 0
i | 600 mm DI K9 Pipe | 18 | Hrs |  | One hour |  |  | 0
ii | 500 mm DI K7 Pipe | 180 | Hrs |  | One hour |  |  | 0
iii | 450 mm DI K7 Pipe | 72 | Hrs |  | One hour |  |  | 0
vi | 300 mm DI K7 Pipe | 4 | Hrs |  | One hour |  |  | 0
vii | 250 mm DI K7 Pipe | 120 | Hrs |  | One hour |  |  | 0
viii | 200 mm DI K7 Pipe | 24 | Hrs |  | One hour |  |  | 0
ix | 150 mm DI K7 Pipe | 3 | Hrs |  | One hour |  |  | 0
8 | Cost of Cement ( D.I Pipes) |  |  | Special specifications |  |  |  | 0
i | 600 mm DI K7 Pipe | 30 | Kg |  | One Kilogram |  |  | 0
i | 600 mm DI K9 Pipe | 30 | Kg |  | One Kilogram |  |  | 0
ii | 500 mm DI K7 Pipe | 300 | Kg |  | One Kilogram |  |  | 0
iii | 450 mm DI K7 Pipe | 96 | Kg |  | One Kilogram |  |  | 0
vi | 300 mm DI K7 Pipe | 5 | Kg |  | One Kilogram |  |  | 0
vii | 250 mm DI K7 Pipe | 120 | Kg |  | One Kilogram |  |  | 0
viii | 200 mm DI K7 Pipe | 32 | Kg |  | One Kilogram |  |  | 0
ix | 150 mm DI K7 Pipe | 4 | Kg |  | One Kilogram |  |  | 0
9 | Supply and delivery of Lead wool for leak work D.I. pipe line inculding loading, unloading transporting charges etc., complete and as directed by the TWAD Board officers. |  |  | Special specifications |  |  |  | 0
i | 600 mm DI K7 Pipe | 15 | Kg |  | One Kilogram |  |  | 0
i | 600 mm DI K9 Pipe | 15 | Kg |  | One Kilogram |  |  | 0
ii | 500 mm DI K7 Pipe | 150 | Kg |  | One Kilogram |  |  | 0
iii | 450 mm DI K7 Pipe | 48 | Kg |  | One Kilogram |  |  | 0
vi | 300 mm DI K7 Pipe | 3 | Kg |  | One Kilogram |  |  | 0
vii | 250 mm DI K7 Pipe | 60 | Kg |  | One Kilogram |  |  | 0
viii | 200 mm DI K7 Pipe | 16 | Kg |  | One Kilogram |  |  | 0
ix | 150 mm DI K7 Pipe | 1 | Kg |  | One Kilogram |  |  | 0
10 | Refilling with excavated soil (other than sand)complying with standard specification in layers of 15cm watered well rammed and consolidated after the pipes and specials are laid,jointed and tested etc. and removing and depositing the surplus earth at the places shown by the TWAD Board Officers. | 0 | 0 | SS 24, 95 and Special specifications |  |  |  | 0
a | For DI Pipes of various sizes ( 150 mm to 600 mm) | 624.02 | m3 |  | One cubic metre |  |  | 0
10 | Rewinding of Motors/ Coil in pumping stations iod in the Electrical, Mechanical and Elctro- mechanical items to bring back the scheme / components into normal running conditition as per specification including all labour charges, cost of materials and all incidental charges within the stipulated time limit etc., complete as specified in Clause 2.2.6. of General conditions of Contract Part II. complete and as directed by the TWAD Board officers. |  |  | Special specifications |  |  |  | 0
a | Open Well Submersible Pump Set | [6 empty] | 0
i) | Rewinding of Coil for 240 HP Motor of Vertical Turbine Pumpset at Headworks including all material,labour etc | 1 | No. |  | Each |  |  | 0
ii) | Rewinding of Coil for 125 HP Motor of HSC Pumpsets at Maniyachi BS including all material,labour etc | 1 | No. |  | Each |  |  | 0
iii) | Rewinding of Coil for 125 HP Motor of HSC Pumpsets at Keelaeral BS including all material,labour etc | 1 | No. |  | Each |  |  | 0
iv) | Rewinding of Coil for 50 HP Motor of HSC Pumpsets at Kulasekaranallur including all material,labour etc | 1 | No. |  | Each |  |  | 0
v) | Rewinding of Coil for 40 HP Motor of HSC Pumpsets at Kanjanaickenpatti including all material,labour etc | 1 | No. |  | Each |  |  | 0
vi) | Rewinding of coil for 1HP Motor of Openwell Submersible Pumpset at rural pumping stations including all material ,labour etc | 25 | Nos |  | Each |  |  | 0
vii) | Rewinding of coil for 1.50HP Motor of Openwell Submersible Pumpset at rural pumping stations including all material ,labour etc | 13 | Nos. |  | Each |  |  | 0
viii) | Rewinding of coil for 2HP Motor of Openwell Submersible Pumpset at rural pumping stationsincluding all material ,labour etc | 15 | Nos. |  | Each |  |  | 0
ix) | Rewinding of coil for 3HP Motor of Openwell Submersible Pumpset at rural pumping stations including all material ,labour etc | 26 | Nos. |  | Each |  |  | 0
x) | Rewinding of coil for 5HP Motor of Openwell Submersible Pumpset at Headworks including all material ,labour etc | 3 | Nos. |  | Each |  |  | 0
xi) | Rewinding of coil for 7.50HP Motor of Openwell Submersible Pumpset at Headworks including all material ,labour etc | 2 | Nos. |  | Each |  |  | 0
iii) | Rewinding of coil for 7.50HP Motor of Openwell Submersible Pumpset at rural pumping stations including all material ,labour etc | 2 | Nos |  | Each |  |  | 0
iv) | Rewinding of coil for 10HP Motor of Openwell Submersible Pumpset at rural pumping stations including all material ,labour etc | 4 | Nos |  | Each |  |  | 0
v) | Rewinding of coil for 15HP Motor of Openwell Submersible Pumpset at rural pumping stations including all material ,labour etc | 1 | No. |  | Each |  |  | 0
vi) | Rewinding of coil for 20HP Motor of Openwell Submersible Pumpset at rural pumping stations including all material ,labour etc | 1 | No. |  | Each |  |  | 0
vii) | Rewinding of coil for 35HP Motor of Openwell Submersible Pumpset at rural pumping stations including all material ,labour etc | 1 | No. |  | Each |  |  | 0
11 | Carrying out the repair works occuring during the maintenance period in the Electrical, Mechanical and Elctro-mechanical items to bring back the scheme / components into normal running conditition as per specification including all charges for dismantling, repair, reinstallation, conveyance, cost of materials and all other incidental charges within the stipulated time limit etc., complete as specified in Clause 2.2.6 of General conditions of Contract Part II.B74 complete and as directed by the TWAD Board officers. |  |  | Special specification and as per IE rules |  |  |  | 0
i) | 240HP Vertical Turbine Pumpset at Headworks | 1 | No |  | Each |  |  | 0
ii) | 125HP HSC Pumpset at Maniyachi | 1 | No |  | Each |  |  | 0
iii) | 50HP HSC Pumpset at Kulasekaranallur | 1 | No |  | Each |  |  | 0
a | Repairing / reconditioning of CI Sluice valve / NRV Valve including cost of all materials, conveyance, labour charges for removeing and re-erection. | [6 empty] | 0
i) | Repairing /reconditioning of 50mm size Sluice valve (for line valve/for Scour valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
ii) | Repairing /reconditioning of 65mm size Sluice valve (for line valve/for Scour valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
iii) | Repairing /reconditioning of 80mm size Sluice valve (for line valve/for Scour valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
iv) | Repairing /reconditioning of 100mm size Sluice valve (for line valve/for Scour valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
v) | Repairing /reconditioning of 125mm size Sluice valve (for line valve/for Scour valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
vi) | Repairing /reconditioning of 150mm size Sluice valve (for line valve/for Scour valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
vii) | Repairing /reconditioning of 200mm size Sluice valve (for line valve/for Scour valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
viii) | Repairing /reconditioning of 200mm size NRV including all material,labour etc | 1 | No |  | Each |  |  | 0
ix) | Repairing /reconditioning of 250mm size Sluice valve (for line valve/for Scour valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
x) | Repairing /reconditioning of 250mm size NRV including all material,labour etc | 1 | No |  | Each |  |  | 0
xi) | Repairing /reconditioning of 300mm size Sluice valve (for line valve/for Scour valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
xii) | Repairing /reconditioning of 300mm size NRV including all material,labour etc | 1 | No |  | Each |  |  | 0
xiii) | Repairing /reconditioning of 350mm size Sluice valve (for line valve/for Scour valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
xiv) | Repairing /reconditioning of 350mm size NRV including all material,labour etc | 1 | No |  | Each |  |  | 0
xv) | Repairing /reconditioning of 450mm size Sluice valve (for line valve/for Scour valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
xiv) | Repairing /reconditioning of 450mm size NRV including all material,labour etc | 1 | No |  | Each |  |  | 0
xvii) | Repairing /reconditioning of 500mm size Sluice valve (for line valve/for Scour valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
xviii) | Repairing /reconditioning of 500mm size NRV including all material,labour etc | 1 | No |  | Each |  |  | 0
xix) | Repairing /reconditioning of 600mm size Sluice valve (for line valve/for Scour valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
xx) | Repairing /reconditioning of 600mm size NRV including all material,labour etc | 1 | No |  | Each |  |  | 0
xxi) | Repairing /reconditioning of 40mm Double Air valve including all material,labour etc | 1 | No |  | Each |  |  | 0
xxii) | Repairing /reconditioning of 50mm DI Single Air release valve (Duojet Air valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
xxiii) | Repairing /reconditioning of 80mm DI Single Air release valve (Duojet Air valve) including all material,labour etc | 1 | No |  | Each |  |  | 0
C | Repairing /reconditioning of 100mm DI Single Air release valve (Duojet Air valve) including all material,labour etc | 1 | No |  |  |  |  | 0
i) | Repairing /reconditioning of 150mm DI Single Air release valve (Duojet Air valve) including all material,labour etc | 1 | No. |  | Each |  |  | 0
D | Attending cable fault by replacing the cable | [6 empty] | 0
a) | Supply, delivery of 1.1 KV Grade PVC insulated and steel Armoured aluminium cable as per I.S.1554 for following Wells submersible motor to main panel board. |  |  | IS 1554, 7098 (part I)/ 1988 with ISI Marking and Special Specification |  |  |  | 0
i) | 3.50 core 400 Sq. mm aluminium cable | 30 | m |  | One meter |  |  | 0
ii) | 3.50 core 300 Sq. mm aluminium cable | 30 | m |  | One meter |  |  | 0
iii) | 3 core 185 Sq. mm aluminium cable | 30 | m |  | One meter |  |  | 0
iv) | 3 core 120 Sq. mm aluminium cable | 30 | m |  | One meter |  |  | 0
v) | 3 core 50 Sq. mm aluminium cable | 30 | m |  | One meter |  |  | 0
vi) | 3core 35 Sq. mm aluminium cable | 30 | m |  | One meter |  |  | 0
vii) | 3core 25 Sq. mm aluminium cable | 30 | m |  | One meter |  |  | 0
b) | Laying of 1.1 KV Grade PVC insulated steel Armoured aluminium cable as per I.E. rules to be laid in between Well Submersible motor and main panel board. | [6 empty] | 0
i) | 3.50 core 400 Sq. mm aluminium cable | 30 | m |  | One metre |  |  | 0
ii) | 3.50 core 300 Sq. mm aluminium cable | 30 | m |  | One metre |  |  | 0
iii) | 3 core 185 Sq. mm aluminium cable | 30 | m |  | One metre |  |  | 0
iv) | 3 core 120 Sq. mm aluminium cable | 30 | m |  | One metre |  |  | 0
v) | 3 core 50 Sq. mm aluminium cable | 30 | m |  | One metre |  |  | 0
vi) | 3core 35 Sq. mm aluminium cable | 30 | m |  | One metre |  |  | 0
vii) | 3core 25 Sq. mm aluminium cable | 30 | m |  | One metre |  |  | 0
c) | Jonting the 1.1KV grade PVC Insulated Steel armoured aluminum cable as per I E Rules including Jointing materials etc complete directed by the TWAD Board officers | [6 empty] | 0
i) | 3.50 core 400 Sq. mm aluminium cable | 30 | Joint |  | Each Joint |  |  | 0
ii) | 3.50 core 300 Sq. mm aluminium cable | 30 | Joint |  | Each Joint |  |  | 0
iii) | 3 core 185 Sq. mm aluminium cable | 30 | Joint |  | Each Joint |  |  | 0
iv) | 3 core 120 Sq. mm aluminium cable | 30 | Joint |  | Each Joint |  |  | 0
v) | 3 core 50 Sq. mm aluminium cable | 30 | Joint |  | Each Joint |  |  | 0
vi) | 3core 35 Sq. mm aluminium cable | 30 | Joint |  | Each Joint |  |  | 0
vii) | 3core 25 Sq. mm aluminium cable | 30 | Joint |  | Each Joint |  |  | 0
G | Electro magnetic Contactors |  |  | Special specification and as per IE rules |  |  |  | 0
i) | Supply and delivery of 550 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No |  | Each |  |  | 0
ii) | Supply and delivery of 250 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No |  | Each |  |  | 0
iii) | Supply and delivery of 110 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No |  | Each |  |  | 0
iv) | Supply and delivery of 140 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-2 | 1 | No |  | Each |  |  | 0
v) | Supply and delivery of 185 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No |  | Each |  |  | 0
vi) | Supply and delivery of 80 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No |  | Each |  |  | 0
vii) | Supply and delivery of 50 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No |  | Each |  |  | 0
viii) | Supply and delivery of 40 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No |  | Each |  |  | 0
ix) | Supply and delivery of 32 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No |  | Each |  |  | 0
x) | Supply and delivery of 22 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No |  | Each |  |  | 0
xi) | Supply and delivery of 9 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No |  | Each |  |  | 0
H | Thermal overload relay | [6 empty] | 0
i) | Supply and delivery of Directly operated Bimetallic Thermal overload relay Upto 5A which operates in case of overload and also in case of under voltage with manual and auto reset mode | 46 | Nos |  | Each |  |  | 0
ii) | Supply and delivery of Directly operated Bimetallic Thermal overload relay Upto 5A-10A which operates in case of overload and also in case of under voltage with manual and auto reset mode | 12 | Nos |  | Each |  |  | 0
iii) | Supply and delivery of Directly operated Bimetallic Thermal overload relay Upto 10A-20A which operates in case of overload and also in case of under voltage with manual and auto reset mode | 6 | Nos |  | Each |  |  | 0
iv) | Supply and delivery of Directly operated Bimetallic Thermal overload relay Upto 20A-30A which operates in case of overload and also in case of under voltage with manual and auto reset mode | 1 | No. |  | Each |  |  | 0
v) | Supply and delivery of Directly operated Bimetallic Thermal overload relay Upto 30A-50A which operates in case of overload and also in case of under voltage with manual and auto reset mode | 1 | No. |  | Each |  |  | 0
iii) | Supply and delivery of Directly operated Bimetallic Thermal overload relay Upto 50A-75A which operates in case of overload and also in case of under voltage with manual and auto reset mode | 1 | No. |  | Each |  |  | 0
iv) | Supply and delivery of Directly operated Bimetallic Thermal overload relay Upto 75A-110A which operates in case of overload and also in case of under voltage with manual and auto reset mode | 1 | No. |  | Each |  |  | 0
v) | Supply and delivery of Directly operated Bimetallic Thermal overload relay Upto 200A-300A which operates in case of overload and also in case of under voltage with manual and auto reset mode | 1 | No. |  | Each |  |  | 0
vi) | Electric Motor protection device against single phasing. The device should protect the motor against single phasing, reverse phasing and unbalance supply. The device should be suitable for any device and have provisions for mounting in panel boards. Operate without need of any auxiliary supply. | 1 | No. |  | Each |  |  | 0
vii) | Electric Motor protection device against dry running. The device should protect the motor against Dry running. The device should be suitable for any device and have provisions for mounting in panel boards. Operate without need of any auxiliary supply | 1 | No. |  | Each |  |  | 0
J | Supply and delivery of following Range AMPS 4 Pole & 3 Pole MCCB Switch (Moulted case circuit breakers) to control EB supply from E.B Pole to Main Panel Board |  |  | Special specification and as per IE rules |  |  |  | 0
a) | 4 Pole MCCB
i) | 500Amps MCCB | 1 | No |  | Each |  |  | 0
ii) | 400 Amps MCCB | 1 | No. |  | Each |  |  | 0
iii) | 200Amps MCCB | 1 | No |  | Each |  |  | 0
iv) | 150Amps MCCB | 1 | No |  | Each |  |  | 0
v) | 100Amps MCCB | 1 | No |  | Each |  |  | 0
b) | 3 Pole MCCB
vi) | 63 Amps MCCB | 1 | No |  | Each |  |  | 0
vii) | 110 Amps MCCB | 1 | No |  | Each |  |  | 0
iii) | 300 Amps MCCB | 1 | No |  | Each |  |  | 0
iv) | 315Amps MCCB | 1 | No |  | Each |  |  | 0
v) | 400Amps MCCB | 1 | No |  | Each |  |  | 0
L | Supply and delivery of the following Electrical Works :consumabIe items at the site of work to carryout the general maintenace works |  |  | Special specification and as per IE rules |  |  |  | 0
i) | Voltmeter | 5 | Nos |  | Each |  |  | 0
ii) | Ammeter | 5 | Nos |  | Each |  |  | 0
iii) | Capacitor | 393 | KVAR |  | Each KVAR |  |  | 0
N | Supply and delivery of the following consumable items for Valve repairs at the site of work to carryout the general maintenace works |  |  | Special specification and as per IE rules |  |  |  | 0
i) | 50 mm Gate valve | 1 | No. |  | Each |  |  | 0
ii) | 65 mm Gate valve | 1 | No. |  | Each |  |  | 0
iii) | 80 mm Gate valve | 1 | No. |  | Each |  |  | 0
iv) | 100 mm Gate valve | 1 | No. |  | Each |  |  | 0
O | Supply and delivery of the following Electrical works, consumables at the site of work to carry out the general maintenance work
i) | No Volt coil for ACB and OCB | 20 | Nos |  | Each |  |  | 0
ii) | Cable lugs including terminators | [6 empty] | 0
a) | 4sq mm Aluminium lug | 10 | Nos |  | Each |  |  | 0
b) | 6sq mm Aluminium lug | 10 | Nos |  | Each |  |  | 0
c) | 25sq mm Aluminium lug | 10 | Nos |  | Each |  |  | 0
d | 35sq mm Aluminium lug | 10 | Nos |  | Each |  |  | 0
e | 50sq mm Aluminium lug | 10 | Nos |  | Each |  |  | 0
f | 120sq mm Aluminium lug | 10 | Nos |  | Each |  |  | 0
g | 150sq mm Aluminium lug | 10 | Nos |  | Each |  |  | 0
h | 300sq mm Aluminium lug | 10 | Nos |  | Each |  |  | 0
iii) | H.R.C.Fuses
| 63Amps | 4 | Nos |  | Each |  |  | 0
| 125Amps | 4 | Nos |  | Each |  |  | 0
12 | Cleaning of all storage points like sumps, elevated reservoirs of various capacities available in this scheme at a frequency of once in two months including scrapping the inner side of compartment completely, scouring / dewatering / desilting using required machineries, materials, labour and all other incidental charges, application of bleaching powder/ solution etc complete. |  |  | Special Specifications |  |  |  | 0
i) | 0.10 LL capacity Sump | 5 | Nos |  | Each |  |  | 0
ii) | 0.15 LL capacity Sump | 4 | Nos |  | Each |  |  | 0
iii) | 0.20 LL capacity Sump | 9 | Nos |  | Each |  |  | 0
iv) | 0.25 LL capacity Sump | 14 | Nos |  | Each |  |  | 0
v) | 0.30 LL capacity Sump | 12 | Nos |  | Each |  |  | 0
vi) | 0.35 LL capacity Sump | 5 | Nos |  | Each |  |  | 0
vii) | 0.40 LL capacity Sump | 12 | Nos |  | Each |  |  | 0
viii) | 0.45 LL capacity Sump | 18 | Nos |  | Each |  |  | 0
ix) | 0.50 LL capacity Sump | 9 | Nos |  | Each |  |  | 0
x) | 0.55 LL capacity Sump | 5 | Nos |  | Each |  |  | 0
xi) | 0.60 LL capacity Sump | 10 | Nos |  | Each |  |  | 0
xii) | 0.65 LL capacity Sump | 4 | Nos |  | Each |  |  | 0
xiii) | 0.70 LL capacity Sump | 2 | Nos |  | Each |  |  | 0
xiv) | 0.75 LL capacity Sump | 2 | Nos |  | Each |  |  | 0
xv) | 0.80 LL capacity Sump | 4 | Nos |  | Each |  |  | 0
xvi) | 0.85 LL capacity Sump | 1 | No |  | Each |  |  | 0
xvii) | 1.00 LL capacity Sump | 1 | No |  | Each |  |  | 0
xviii) | 1.05 LL capacity Sump | 4 | Nos |  | Each |  |  | 0
xix) | 1.10 LL capacity Sump | 1 | No |  | Each |  |  | 0
xx) | 1.15 LL capacity Sump | 5 | Nos |  | Each |  |  | 0
xxi) | 1.25 LL capacity Sump | 1 | No |  | Each |  |  | 0
xxii) | 1.50 LL capacity Sump | 1 | No |  | Each |  |  | 0
xxiii) | 1.60 LL capacity Sump | 3 | Nos |  | Each |  |  | 0
xxiv) | 1.65 LL capacity Sump | 1 | No |  | Each |  |  | 0
xxv) | 1.70 LL capacity Sump | 1 | No |  | Each |  |  | 0
xxvi) | 1.85 LL capacity Sump | 1 | No |  | Each |  |  | 0
xxvii) | 2.65 LL capacity Sump | 2 | Nos |  | Each |  |  | 0
xxviii) | 3.60 LL capacity Sump | 1 | No |  | Each |  |  | 0
xxix) | 4.00 LL capacity Sump | 1 | No |  | Each |  |  | 0
xxx) | 4.15 LL capacity Sump | 1 | No |  | Each |  |  | 0
xxxi) | 4.65 LL capacity Sump | 1 | No. |  | Each |  |  | 0
xxxii) | 6.25 LL capacity Sump | 2 | Nos. |  | Each |  |  | 0
13 | Desilting light or sandysoil or silt from infiltration wells below water level including the charges for special T&P and air compressor etc., complete and as directed by TWAD Board officers. | 7.95 | m3 |  | One cubic metre |  |  | 0
| Total | [6 empty] | 0