#### TENDER DOCUMENTS

2021-22

For the purchase of Equipment, Machinery and Furniture in the PSDP Project Titled

“Up-gradation and Establishment of Animal Quarantine Stations in Pakistan Phase-II”

Executed by the

Animal Quarantine Department

# CONTENTS

- Bids Invitation Notice.

- Tender Terms & Conditions.

- Additional Terms & Conditions.

- Bid Evaluation Criteria.

- List & Specifications of Items

GOVERNMENT OF PAKISTAN

MINISTRY OF NATIONAL FOOD SECURITY AND RESEARCH

(Animal Quarantine Department)

*****

Bids Invitation Notice

Animal Quarantine Department, an attached department of Ministry of National Food Security & Research invites Single stage – two envelope procedure sealed bids (The bids shall comprise a single package containing two separate envelopes from well reputed firms. Each envelope shall contain separately the financial proposal and the technical proposal; the envelopes shall be marked as “FINANCIAL PROPOSAL” and “TECHNICAL PROPOSAL” in bold and legible letters to avoid Confusion) from the original manufacturers/authorized distributors/suppliers, registered with Income Tax and Sales Tax Departments and who are on Active Taxpayers List of the Federal Board of Revenue for supply of Equipment, Machinery and Furniture for the Project titled ““Up-gradation and Establishment of Animal Quarantine Stations in Pakistan Phase-II” executed by Animal Quarantine Department (AQD) at Islamabad, Sialkot and Multan.

2.	Bidding documents, containing detailed terms and conditions, etc. can be obtained from Animal Quarantine Department offices till 18th April, 2022 before closing of office hours on payment of Rs. 300 as per Rule 23(5) of Public Procurement Rules, 2004 by submitting a written application on firm/company’s letterhead and in case of company representative by submitting an authority letter along with the written application from respective firm/company’s owner including details of the owner.

3.	The bids, prepared in accordance with the instructions in the bidding documents, must reach at the office of the concerned Quarantine Officer, Animal Quarantine Department at Islamabad, Sialkot and Multan on or before 20th April 2022 till 11:30 am. Technical proposal(s) will be opened on the same day at 12:30 pm in the office of Quarantine Officer of the Animal Quarantine Department at Islamabad, Sialkot and Multan whereas the financial proposal of the technically qualified bids will be opened at the same venue on 25th April 2022 at Islamabad, 26th April 2022 at Sialkot and 28th April 2022 at Multan at 12:30 pm in the presence of bidders or their authorized representatives at the same venue. This advertisement is also available on PPRA website at www.ppra.org.pk and AQD website at www.aqd.gov.pk.

(Dr. Muhammad Ilyas)

Project Director

(Tel:  021 34552679. Fax: 021 34380646)

TERMS & CONDITIONS

- The firm should be well established, having sales tax registration number and must be present on Active Taxpayers List (ATL) of FBR and registered dealer of the quoted items. The tender should be submitted on the letterhead of the firm; cutting/overwriting will not be acceptable.

- Bids of only those bidders will be entertained in whose name Tender Documents have been purchased directly or through a local agent.

- Call deposit/Bid Security of 2% of the total quoted price (including accessories, if any) in form of pay order or bank draft as earnest money in favor of Quarantine Officer, Animal Quarantine Department at Islamabad, Sialkot and Multan should be attached with the bids. The amount of the bid security mentioned in pay order/demand draft should be in Pak rupees and must be issued from a scheduled bank in Pakistan.

- Rates offered should be valid at least 40 days after tender closing date.

- Supplies are to be made to the concerned Quarantine Officer at Islamabad, Sialkot abd Multan within 15 days of the issuance of supply orders; in case of failure of the supplies, AQD reserves the right to forfeit/confiscate the earnest money/call deposit.

- The price quoted should be inclusive of All Taxes and General Sales Tax etc., if any.  Income Tax shall be deducted as per government rules.

- The bidding procedure is single stage – two envelope of sealed bids (The bids shall comprise a single package containing two separate envelopes from well reputed firms. Each envelope shall contain separately the financial proposal and the technical proposal; the envelopes shall be marked as “FINANCIAL PROPOSAL” and “TECHNICAL PROPOSAL” in bold and legible letters to avoid Confusion), otherwise the proposal will be rejected straightaway. No leniency will be granted to any participant in this regard.

- Other terms and conditions of the tender are available in the Tender Documents. However, the same can also be seen in the office of the undersigned.

- In case any holiday is announced or unforeseen circumstances, occur on the day of tendering, the tender documents shall be submitted and opened on next working day, respectively.

- It is advised that Technical Proposal may be well documented and clearly indicate the contents with page numbers/ flags.

- The Animal Quarantine Department reserves the right to accept or reject all or any bid or proposal subject to relevant provisions of PPRA Rules, 2004 (Amended to date) at any stage of the procurement process.

### ADDITIONAL TERMS & CONDITIONS

- Specifications of items tendered for should be clearly mentioned in the bids. Bids received after due date and time or incomplete in any sense will not be entertained.

- The bidder will be responsible for un-interrupted after sale service/support, maintenance, replacement, warranty & guarantee, etc for one year. Suppliers will be required to install/ configures the equipment and train the users for its operation. All necessary support equipment & essential accessories will have to be arranged by the bidder for operation. The substandard items will be rejected/replaced/returned on expense of bidder.

- An affidavit on Stamp Paper properly attested by the Oath Commissioner be attached with the bid to the effect that the firm has neither been black listed, nor having any dispute with any government organization and also there is no litigation against the firm.

- Complete literature/specification sheets for the offered items should be submitted, where necessary.

- In case of items being generally specified, the bidder shall present the sample items for the review of the purchase committee or may arrange the visit of production unit for better visualization and understanding at its own cost.

- The offered items should be brand new. Brand/origin of equivalents be quoted with the undertaking of being genuine/original products with a supporting certificate of the agent of respective company/brand in Pakistan. Equipment of genuine brands will only be acceptable. Equipment should be according to the specifications given. However, bidder may quote the equivalents or better specifications of the indicated models/brands.

- Sales Tax Invoice of bill of entry of the manufacturers/suppliers, where applicable shall be submitted along with the goods.

- The bids without call deposit or conditional bids will not be accepted. Previous call deposit will not be valid / accepted for the tender in question and Cheque are also not acceptable.

- The quantity of items will be fixed subject to the availability of funds.

- A certificate duly supported by copies of relevant documents from the firm regarding, technical capabilities, previous track record of executing similar nature of work and a financial stability certificate from any scheduled bank is essential. Also attached copies of Sales Tax Registration Certificate and NTN (National Tax Number). Company/Firm’s profile with complete mail address (present) and Bank Account Number must be mentioned.

- A performance guarantee (ten percent of the contract amount) in form of pay order or bank draft will be furnished by the successful bidders in favor of Quarantine Officer of the concerned station of AQD, that will be returned after the expiry of the period of warranty/guarantee.

- In case of issuance of supply order to the successful bidder, the bidder will be responsible for the supply of these items with in the specified period (anywhere in Pakistan) and will also bear the cost of installation (if required).

- In case of failure of supplies within stipulated time, AQD may forfeit/confiscate the earnest money/ performance guarantee and the firm may be black listed.

- The department reserve the right to modify any term(s)/condition(s) by intimating all the participating firms before the issuance of supply order.

- Submission of any false statement/document including concealment of any information is likely to disqualify the bidder.

(Dr. Muhammad Ilyas)

Project Director

(Tel:  021 34552679. Fax: 021 34380646

Bid(s) Evaluation Criteria

| Sr. No. | Assessment Parameter | Marks (Max.) |
| --- | --- | --- |
| 1. | Physical features of the Product - Having required Specifications (65 Marks) - Products not having required specifications (0 Mark) | 65 |
| 2. | Financial Position/Soundness - Income Tax Filing Return of 2020-21 (10 Marks) - Execution of govt. contracts of more than Rs. 0.5 million in current financial Year (10 Marks) 1-3 contracts (05 marks) - contracts (07 marks) More than 5 contracts (10 marks) - Annual Turnover of the Firm (10 Marks) Rs. 1-2 million (03 marks) Rs. 2.1-4 million (05 marks) Rs. 4.1-7 million (07 marks) Rs. 7.1-10 million (09 marks) Rs. 10.1 million and above (10 marks) | 30 |
| 3. | Successful Operationalization of the contracting firm - Last 03 years or less than 03 years (02 Marks) - More than three years but up to 05 years (03 Marks) - More than five years (05 Marks) | 05 |

Physical Assets for Animal Quarantine Station, Islamabad

List of Equipment

| S. No. | Items | Number required | Estimated Cost (Million Rs.) |
| --- | --- | --- | --- |
| 1. | Desktop Computer | 01 | 0.20 |
| 2. | Laserjet Printer | 01 | 0.06 |
| 3. | Refrigerator | 01 | 0.10 |
| 4. | Air Conditioner | 01 | 0.12 |
| 5. | Water Dispenser | 01 | 0.03 |
| 6 | Photocopier | 01 | 0.50 |
| 7 | UPS Inverter and Battery | 01 | 0.052 |
| Total |  |  | 1.062 |

List of Furniture

| S. No. | Items | Number required | Estimated Cost (Million Rs.) |
| --- | --- | --- | --- |
| 1. | Officer Chairs | 02 | 0.03 |
| 2. | Executive office table | 02 | 0.06 |
| 3. | Office Chairs | 08 | 0.07 |
| 4. | Visitor Chairs | 04 | 0.03 |
| 5. | Steel Almirahs | 02 | 0.05 |
| 6. | File Cabinets | 01 | 0.02 |
| 7. | Steel Bench | 01 | 0.03 |
| Total |  |  | 0.29 |

Physical Assets for Animal Quarantine Station, Sialkot

List of Equipment

| S. No. | Items | Number required | Estimated Cost (Million Rs.) |
| --- | --- | --- | --- |
| 1. | Desktop Computer | 01 | 0.20 |
| 2. | Laserjet Printer | 01 | 0.06 |
| 3. | Refrigerator | 01 | 0.10 |
| 4. | Air Conditioner | 01 | 0.12 |
| 5. | Water Dispenser | 01 | 0.03 |
| 6 | Photocopier | 01 | 0.50 |
| 7 | UPS Inverter and Battery | 01 | 0.052 |
| Total |  |  | 1.062 |

List of Furniture

| S. No. | Items | Number required | Estimated Cost (Million Rs.) |
| --- | --- | --- | --- |
| 1. | Officer Chairs | 02 | 0.03 |
| 2. | Executive office table | 02 | 0.06 |
| 3. | Office Chairs | 08 | 0.07 |
| 4. | Visitor Chairs | 04 | 0.03 |
| 5. | Steel Almirahs | 02 | 0.05 |
| 6. | File Cabinets | 01 | 0.02 |
| 7. | Steel Bench | 01 | 0.03 |
| Total |  |  | 0.29 |

Physical Assets for Animal Quarantine Station, Multan

List of Equipment

| S. No. | Items | Number required | Estimated Cost (Million Rs.) |
| --- | --- | --- | --- |
| 1. | Desktop Computer | 01 | 0.20 |
| 2. | Laserjet Printer | 01 | 0.06 |
| 3. | Refrigerator | 01 | 0.10 |
| 4. | Air Conditioner | 01 | 0.12 |
| 5. | Water Dispenser | 01 | 0.03 |
| 6 | Photocopier | 01 | 0.50 |
| 7 | UPS Inverter and Battery | 01 | 0.052 |
| Total |  |  | 1.062 |

List of Furniture

| S. No. | Items | Number required | Estimated Cost (Million Rs.) |
| --- | --- | --- | --- |
| 1. | Officer Chairs | 02 | 0.03 |
| 2. | Executive office table | 02 | 0.06 |
| 3. | Office Chairs | 08 | 0.07 |
| 4. | Visitor Chairs | 04 | 0.03 |
| 5. | Steel Almirahs | 02 | 0.05 |
| 6. | File Cabinets | 01 | 0.02 |
| 7. | Steel Bench | 01 | 0.03 |
| Total |  |  | 0.29 |

| Item No. 01 | Desktop Computer |
| --- | --- |
| - HP Microtower PC- 10th Gen Core i7-10700, 8 GB Ram 2666MHZ, 500 GB SATA Hard Drive, Intel Chipset Q470 motherboard, Intel Integrated Graphics, DVD R/W - Ergonomic Mouse +Keyboard of A4Tech Brand OR equivalent - TP Link OR equivalent 150M High Gain Wireless USB Lan Card alongwith antenna - 1-year Local Warranty and service offering including 01 years of parts, labor charges and free on-site repair OR equivalent - LED Size 24”, HD 1920×1080 resolution, 60Hz Refresh Rate, 16:9 Aspect Ratio, HDMI 1.4 x 1, VGA port (cable included) 1-year Local Warranty and service offering including 01 years of parts, labor and on-site repair |  |

| Item No. 02 | Laser Jet Printer |
| --- | --- |
| HP or Equivalent brand LaserJet Duplex wireless printer having following specifications: Function Print Toner Yield 3,000 pages Print Speed Up to 38 ppm Print Resolution Technologies 600 dpi Duty Cycle (Monthly, A4) Up to 80,000 pages Recommended Monthly Page Volume 750 to 4000 Processor Speed 1200 MHz Display 2-line backlit LCD graphic display Mobile EPRINT CAPABILITY Yes Wireless Capability Yes, built-in Ethernet, Wi-Fi Connectivity, Standard 1 Hi-Speed USB 2.0; 1 Host USB; 1 Gigabit Ethernet 10/100/1000T network; 1 Wireless 802.11b/g/n Network Ready Standard (built-in Ethernet, Wi-Fi) [Operates as both an AP (with Wi-Fi Direct) and STA] Minimum System Requirements Windows 10, Windows 8.1, Windows 8, Windows 7 Maximum Memory 128MB DRAM Paper Handling Output, Standard 150-sheet output bin Paper Handling Input, Optional Optional third 550-sheet tray Paper Handling Input, Standard 100-sheet multipurpose Tray 1, 250-sheet input Tray 2 Maximum Output Capacity (Sheets) Up to 150 sheets Duplex Printing Automatic (standard) Media Weight, Supported Tray 1: 60 to 175 g/m²; Tray 2, Optional 550-sheet Tray 3: 60 to 120 g/m² Energy Efficiency ENERGY STAR® qualified; EPEAT® Silver Warranty - 1 Year local warranty including 01 years of parts, labor and free on-site repair |  |

| Item No. 03 | Refrigerator |
| --- | --- |
| - Inverter Type PEL or Equivalent - Capacity - 440 Liters - Internal Capacity - Freezer 150 Liters - Refrigerator 290 Liters - Voltage/Frequency - 220/50 Volts/Hz - Power Consumption - 110 Watt - Current Consumption - 0.8 Ampere - Climate Class - Tropical - Refrigerant - R-134a - Evaporator - D.Roll Bond - Condenser (Ins.) - Copper - 1-year Local Warranty and service offering including 01 years of parts, labor and on-site repair |  |

| Item No. 04 | Air Conditioner |
| --- | --- |
| - Inverter Type PEL Brand or Equivalent Type Wall mounted, Split Type, DC Inverter Capacity (in Tons) 1.5 Tons Functions Heat & Cool Cooling/Heating Capacity 18000 Btu/h Air Circulation (m3/h) 1150 Running Current (A) Cooling/Heating 6.5 A (1.5-12A) Power Supply (Ph/V/Hz) Single phase,220 volts,50 Hz Seasonal Energy Efficiency Ratio/Energy Efficiency Ratio 4.0 w/w or above Refrigerant R410a Warranty - 1 Year Parts,2 Years PCB Kit warranty, 10 Years compressor warranty including labor charges and on-site repair for one year |  |

| Item No. 05 | Water Dispenser |
| --- | --- |
| - Inverter Type PEL Brand or Equivalent - Cooling Current - 0.6 Amperes - Heating Current - 2.2 Amperes - Cooling Power - 100 Watt - Heating Power - 500 Watt - Cold Tank Capacity - 3.7 Liters - Hot Tank Capacity - 1.2 Liters - Refrigerant - (R134a) - Refrigerator Volume - 20 Liters - 1-year Local Warranty and service offering including 01 years of parts, labor and on-site repair |  |

| Item No. 06 | Photocopier |
| --- | --- |
| - Ricoh IM 2702 OR Equivalent - Functions - Copy, print, scan - Toner (high yield) - 12,000 prints - Memory - standard - 2 GB - Operation panel - 7" colour touch operation panel - Standard input capacity (sheets) - 600 - Maximum input capacity (sheets) - 1,600 - Standard output capacity (sheets) - 250 - Maximum output capacity (sheets) - 250 - Paper input configuration - standard - 500-sheet paper input tray, duplex unit, 100-sheet bypass tray, 100-sheet ARDF - Paper output configuration - standard - 250-sheet face-down output tray - Copy speed - 27 cpm - First copy time - 6.5 seconds or less - Copy resolution - 300 x 600 dpi (default), 600 x 600 dpi - Zoom range - 25–400% - Enlargement ratios - 115%, 122%, 141%, 200%, 400% - Reduction ratios - 93%, 82%, 71%, 50%, 25% - Duplex copy - Standard - ID card copy - Supported - Print speed black and white - 27 ppm - First print time - 6.5 seconds or less - Print resolution - 600 x 600 dpi - Duplex printing - Standard - Mobile printing - AirPrint, Mopria® - Print from USB/SD - Supported - Scan to file types - Single- and multi-page TIFF - Single- and multi-page PDF - Single-page JPEG (greyscale) - Single- and multi-page high compression PDF - Scan to email - Scan resolution - 100 x 100 dpi, 200 x 200 dpi (default), 300 x 300 dpi, 400 x 400 dpi, 600 x 600 dpi - Scan to email file types - JPEG, PDF—true colour, greyscale - TIFF, PDF—black and white - Power source - 220–240 V, 50/60 Hz, 8 Amps - Power consumption - 1,550 W or less—mainframe, maximum power - 500 W or less—printing - 113 W or less—Ready Mode - 55 W or less—Low Power Mode - 1 W or less—Energy Saver Mode (Sleep Mode) - Typical Electricity Consumption (TEC) - 1,309 Wh - Warm-up time - 25 seconds—Quick Mode - 65 seconds—Normal Mode - Power saving mode - 30 minutes shift time—to Low Power Mode - 1 minute shift time—to Energy Saver Mode (Sleep Mode) - Recovery time - 10 seconds or less—from Low Power Mode - 13 seconds or less—from Energy Saver Mode (Sleep Mode) - Note: - 1 Year Parts,2 Years panel warranty including labor charges and free on-site repair for one year. The successful bidder has to train 02 personnel of the department for machine operation at each site with in one week of the supply of machine. |  |

| Item No. 07 | UPS and Battery |
| --- | --- |
| UPS: Homage or Equivalent Brand simulated sine wave inverter 2400VA/1800Watt/24VDC/230VAC that can accept utility and solar input at the same time with wide input voltage range: 90-280 VAC. Having built-in MPPT solar charge controller 55A Selectable AC charger current 10A or 25A. Overload and short circuit protection. User-friendly LCD operation Replaceable fan design for ease of maintenance LCD with LED indication for comprehensive information Usage Load Range 12 Tube Lights or 30 Energy Savers or 60 LED Bulbs & 12 Fans (12Cuft) Battery Deep cycle gel type Cells Per Unit (06) Voltage Per Unit (12 V) Capacity (150Ah@10hr-rate to 1.80V per cell @25 C0) Max. Discharge Current 1500 A (5 sec) 1-year local warranty and service offering including 01 years of parts, labor and on-site repair |  |

| Item No. 01 | Officer Chair |
| --- | --- |
| Ergonomically designed, Rugged, High Back Revolving Executive Chair with wider heavy base 1-year performance guarantee including 01 years of parts, labor and on-site repair Note: The bidder shall present the sample items for the review of the purchase committee or may arrange the visit of production unit for better visualization and understanding at its own cost. |  |

| Item No. 02 | Executive Office Table |
| --- | --- |
| Executive table 5x3 made of sesham wood or equivalent with side rack and 06mm glass 1-year performance guarantee including 01 years of parts, labor and on-site repair Note: The bidder shall present the sample items for the review of the purchase committee or may arrange the visit of production unit for better visualization and understanding at its own cost. |  |

| Item No. 03 | Office Chairs |
| --- | --- |
| Office chairs made of steel pipe of 20 guage and arm rest and back of sesham wood or equivalent 1-year performance guarantee including 01 years of parts, labor and on-site repair Note: The bidder shall present the sample items for the review of the purchase committee or may arrange the visit of production unit for better visualization and understanding at its own cost. |  |

| Item No. 04 | Visitor Chairs |
| --- | --- |
| Executive cushioned visitor chair made of sesham wood or equivalent with leatheride finish 1-year performance guarantee including 01 years of parts, labor and on-site repair Note: The bidder shall present the sample items for the review of the purchase committee or may arrange the visit of production unit for better visualization and understanding at its own cost. |  |

| Item No. 05 | Steel Almirah |
| --- | --- |
| Steel Almirah, Dimension 6x4 ft, 20-gauge Thickness (Five shelves) 1-year performance guarantee including 01 years of parts, labor and on-site repair Note: The bidder shall present the sample items for the review of the purchase committee or may arrange the visit of production unit for better visualization and understanding at its own cost. |  |

| Item No. 06 | File Cabinet |
| --- | --- |
| File Cabinet with 04 drawer, 20-gauge thickness with separate lock for each drawer 1-year performance guarantee including 01 years of parts, labor and on-site repair Note: The bidder shall present the sample items for the review of the purchase committee or may arrange the visit of production unit for better visualization and understanding at its own cost. |  |

| Item No. 07 | Steel Bench |
| --- | --- |
| Three-Seater Steel Seating Bench having 30 Kg weight 1-year performance guarantee including 01 years of parts, labor and on-site repair Note: The bidder shall present the sample items for the review of the purchase committee or may arrange the visit of production unit for better visualization and understanding at its own cost. |  |