Ministry of Health and Wellness

Expressions of Interest (EOI)

Terms of Reference

For

Renting of Office Space with amenities to relocate Belle Vue Maurel Community Health Centre

- Introduction

The Ministry of Health and Wellness intends to rent office space with amenities to relocate Belle Vue Maurel Community Health Centre to an area which is in the vicinity of Belle Vue Maurel as detailed below:

General Requirements:

| Floor space: | 200 to 250 m2 with partitioning |
| --- | --- |
| Accessible to: | Vehicles and public transport |
| Infrastructure /Space Required | Waiting area 30-50 patients of 40 m2 |
|  | Medical Records Room/Nurses station of 20 m2 |
|  | Consultation Room of 10 m2 |
|  | Treatment/Dressing Room of 15 m2 |
|  | NCD/Nutritionist/ECG Room of 15 m2 |
|  | CBR/Family planning/ANC Room including space for vaccination session of 25 m2 |
|  | Pharmacy + Pharmacy store of 35 m2 |
|  | General Store of 10 m2. |
|  | Mess/Kitchen/Changing room male/female of 15 m2 |
|  | Toilets for staff, patients (1 male + 1 female) of 10 m2 |
|  | Toilets for disabled of 10 m2 |
| Other Requirements | Access should be easy to the public. |
|  | The office space should be on a standalone building. |
|  | Ramp access for wheelchairs. |
|  | Building should have sufficient lighting, power points and 2 data points. Yard should be fenced and asphalted. |
|  | Water supply including water tanks. |
|  | A/C required in Doctor’s Consultation room and pharmacy + wall fans in other places. |
|  | Telephone facilities (2 direct lines) |
|  | Parking facilities for 5 vehicles |
|  | Fire clearance certificate and emergency exit |
|  | Openings which can withstand cyclonic conditions |
|  | Burglar proofing |
|  | The type of flooring available should be indicated but tiling is preferable. |
|  | The owner will have to provide for partitioning and other structural/modifications. |
|  | External dumping shed/General & Clinical waste segregated (5 m2). |
|  | The building should be available for rent as soon as possible. |
|  | In the region of Belle Vue Maurel. |

2.	Objective

The objective of this exercise is to shortlist proposals of buildings that meet the general requirements and required amenities of the Ministry as more fully defined in the Terms of Reference.

The shortlist will comprise:

(i) Proposals that meet the general requirements and required amenities of the Ministry and

(ii) Proposals that may meet the general requirements subject to minor works.

The shortlisted proposals shall be invited thereafter to participate in a bidding process.

3. 	The proposals at this stage should not contain rates and other costs

4.	Scope of Amenities

The bidder shall be required to carry out the necessary required amenities to customise the proposed building according to the needs and requirements of the relevant Ministries/Departments and to the satisfaction of the Ministry of Health and Wellness.

5.	Documents to be submitted

With a view to assess the proposals for shortlisting, owners of proposed building are required to submit the following:

- Name of owner of proposed building

- Type of building proposed

- Location of building

- Floor space area proposed

- No. of Parking slots proposed

- Date from which the proposed building will be available.

6.	Submission of Expressions of Interest

Expressions of Interest in sealed envelope clearly marked “Expressions of Interest - Renting of Office Space with amenities to relocate Belle Vue Maurel Community Health Centre – Reference No. MHPQ/NMW&S/2020-2021/EOI/Q144.” and indicating the closing date should be addressed to the Senior Chief Executive, Ministry of Health and Wellness, and should be deposited in the Bid Box, at the undermentioned address on or before Wednesday 27 April 2022 up to 10.00 hours (local time) at latest.

7.	Any clarifications sought by any bidder in respect of the shortlisting exercise shall be addressed in writing to the, Ministry of Health and Wellness,10th Floor, Emmanuel Anquetil Building, SSR Street, Port Louis, Attn: Manager Procurement and Supply, Fax No. +230 211 6864 or +230 210 5940 so as to reach him at least seven (7) days before the deadline for the submission of the application.

8.	The Ministry is under no obligation to shortlist any bidder who expresses interest.

9.	The address referred to, for submission of proposals and to attend to opening of the Expressions of Interest is:

Ministry of Health and Wellness

5th Floor, Emmanuel Anquetil Building,

SSR Street, Port Louis

Date: 31 March 2022