MINISTRY OF AGRO INDUSTRY AND FOOD SECURITY

Open National Bidding

for Works

For

# _CLEANING AND REHABILITATION OF WASTE WATER SYSTEM AT ST MARTIN PIG FARM PHASE1

_______________________________

Procurement Reference No:MOAIFS Q123/2021-22/OAB

(Open National Bidding)

Closing Date: 04 May 2022

Ministry of Agro-Industry and Food Security

Procurement and Supply Division

Reduit

Tel No: 463 1054

Fax No: 466 9371

Email: moa-sto-proc@govmu.org

Ref: W/ONB1/12-21

Issued on 05 April 2022

Foreword

The Standard Bidding Documents in this publication follow the Standard Bidding Documents of the World Bank and have been prepared pursuant to section 7(c) of the Public Procurement Act 2006 for use by public bodies for procurement of works of values up to 50 million rupees under Open National Bidding method.  It has been simplified to facilitate participation of Small and Medium Enterprises.

Procurement proceedings for this standard bidding document have to be conducted as per the process specified in the Instructions contained below. Additionally, the principles governing standard clauses as contained in the Standard Bidding Document for Procurement of Works for values up to Rs. 300m  shall apply to the this SBD as well.

Those wishing to submit comments or suggestions on the Bidding Documents or to obtain additional information on procurement in Mauritius are encouraged to contact:

Procurement Policy Office

Ministry of Finance, Economic Planning and Development

Level 8, Emmanuel Anquetil Building, Port Louis, Mauritius

Tel: No. (+230)201-3760 & Fax: No. (230)201-3758

Email: pposecretariat@govmu.org

# Section I: Instruction to Bidders

### 1.	Introduction

The Ministry of Agro Industry and Food Security also referred as the Employer, invites eligible local contractors to submit their bid for the works described in detail hereunder. Any resulting contract shall be subject to the terms and conditions referred to in this document.

The Works are Cleaning and Rehabilitation of Waste Water System at St Martin Pig Farm – Phase 1.

Participation is limited to citizens of Mauritius or entities incorporated in Mauritius. Joint Ventures should be among entities incorporated in Mauritius

  - Clarifications, if any, should be addressed to: Manager Procurement & Supply

Ministry of Agro Industry and Food Security

Procurement & Supply Division

Reduit

Tel: 463 1054

Fax: 466 9255

Contact Person: Mr B.Ramchuriter

Email:bramchuriter@govmu,org

The Employer will respond in writing to any request for clarification, provided that such request is received 14 days prior to the deadline for submission of bids.

The Employer shall respond to such request at latest 7 days prior to the deadline set for submission of bids.

1.2    Bidders are advised to carefully read the complete Bidding document, including the 	Particular Conditions of Contract in Section IV, before preparing their bids. The standard 	forms in this document may be retyped for completion but the Bidder is responsible for 	their accurate reproduction.

### 2.	Validity of Bids

The bid validity period shall be 90 days from the date of bid submission deadline or up to 03 August 2022 whichever is later.

### 3.	Works Completion Period

The Intended Completion period is Five (5) Months after start date of works.

### 4.        Site Visit

Bidders or their designated representatives are invited to attend a pre-bid meeting on Wednesday 13 April 2022 at 10.30 am in the Conference Room 9th Floor Ministry of Agro Industry Food Security, Renganaden Seeneevassen Building (ex NPF) Building, contact person is Mr B.R Baumee on Tel No: 233 0030 The purpose of the pre-bid meeting will be to clarify issues and to answer questions on any matter that may be raised at that stage.

### 5.	Sealing and Marking of Bids

Bids should be sealed in a single envelope, clearly marked with the Procurement 	Reference Number, addressed to the Public Body with the Bidder’s name at the back of the envelope.

### 6.	Submission of Bids

Bids should be deposited in the Bid Box located at

Ministry of Agro Industry and Food Security

8th Floor, Renganaden Seeneevassen (ex NPF) Building,

Cnr, Jules Koenig & Maillard Street,

Port Louis

Date: 04 May 2022

Time: Not later than: 13.30 hours.

Bids by post or hand delivered should reach the above-mentioned address by the same date and time at latest. Late bids will be rejected. Bids received by e-mail will not be considered.

### 7.	Bid Opening

Bids will be opened by the “Public body” at

Ministry of Agro Industry and Food Security

Conference room at

9th Floor, Renganaden Seeneevassen (ex NPF) Building

Cnr, Jules Koenig & Maillard Street

Port Louis

Date: 04 May 2022 at 13.45 hours.  Bidders or their representatives may attend the Bid Opening if they choose to do so.

### 8.	Evaluation of Bids

The Public Body shall have the right to request for clarification during evaluation. Offers that are substantially responsive shall be compared on the basis of evaluated cost to determine the lowest evaluated bid.

### 9.	Eligibility Criteria

To be eligible to participate in this bidding exercise, Bidder should:

- have the legal capacity to enter into a contract to execute the works;

- be duly registered with the CIDB under the grade that would allow him to perform the value of works for which he is submitting his bid. ( Note 1)

- not be insolvent, in receivership, bankrupt, subject to legal proceedings for any of    these circumstances or in the process of being wound up;

- not have had your business activities suspended;

- not be under a declaration of ineligibility by the Government of Mauritius in accordance with applicable laws at the date of the deadline for bid submission or appearing on the ineligibility lists of African Development Bank, Asian Development Bank, European Bank for Reconstruction and Development, Inter-American Development Bank Group and World Bank Group;

- not have a conflict of interest in relation to this procurement requirement; and

- have a Business Registration Card.

- Any other requirements by the Public body (Open to SMEs?)

- Note 1 Sub-contractors undertaking works are also subject to registration with CIDB as     applicable to Contractors.

### 10.	Qualification and Experience Criteria

Bidders should have the following minimum qualifications and experience:

(a)	valid registration certificate with the CIDB under the grade that will enable the contractor to perform the works quoted for, under the following class(es) :Civil Engineering Construction Works

(b)	experience in two works of a similar nature over the last 5 years, each of value not less than Rs 1,000,000

(c)	Contract Manager having as minimum qualification: A diploma in construction related field and 5 years’ experience in the construction sector; or any equivalent qualifications acceptable to the Public body.

(d) 	minimum amount of liquid assets and/or credit facilities net of other 				contractual commitments of the Bidder of Rs 500,000.

### 11.		Contents of bid

The Bid shall comprise the following:

(a)	duly filled Bid Submission Form;

(b)	duly filled Priced Bill of Quantities

(c)	duly filled Qualification Information Form and attachments required

(d)		report on the financial standing of the Bidder for the last three years, such as certified copies of Financial Statements or Audited Accounts as filed at the                           Registrar of Companies before the deadline set for submission of bids

(e)		Valid Registration certificate with the CIDB, as applicable

(f)		Signed C.V of Contract Manager;

(g)		Documentary evidence of liquid assets and/or credit facilities (Note 1);

(h)		Any other documents deemed necessary as per the requirements of this bidding document

Note 1

Bidders to demonstrate access to, or availability of, financial resources such as liquid assets, lines of credit, and other financial means, other than any contractual advance payments to meet the overall cash flow requirements for the contract and its current commitments. Documentary evidence may comprise but not limited to Bank certificate, Certificate from Auditors, Certificate from a Professional Accountant registered with MIPA, Certificate from Insurance companies.

12.   Joint Venture

Bids submitted by a joint venture of two or more firms as partners shall comply with the following requirements:

- the Bid shall include all the information required as per the Qualification 		Information form for each joint venture partner;

ii.	 the Bid shall be signed so as to be legally binding on all partners;

iii.	 the Bid shall include a copy of the agreement entered into by the joint venture partners defining the division of assignments to each partner and establishing that all partners shall be jointly and severally liable for the execution of the Contract in 	accordance with the Contract terms; alternatively, a Letter of Intent to execute a joint venture agreement in the event of a successful bid shall be signed by all partners and submitted with the bid, together with a copy of the proposed agreement;

iv.	one of the partners shall be nominated as being in charge, authorized to 	incur liabilities, and receive instructions for and on behalf of any and all partners of 	the joint venture; and

v.	 the execution of the entire Contract, including payment, shall be done 	exclusively with the partner in charge.

### 13.	Prices and Currency of Payment

Bidders should quote for the whole works. Prices for the execution of works shall be quoted and fixed in Mauritian Rupees. Items for which no rate or price is entered by Bidders, shall not be paid for by the Public Body when executed and shall be deemed covered by the other rates and prices in the Bill of Quantities.

Bids shall cover all costs of labour, materials, equipment, overheads, profits and all associated costs for performing the works, and shall include all duties. The whole cost of performing the works shall be included in the items stated, and the cost of any incidental works shall be deemed to be included in the prices quoted.  	Bidders are required to submit their bid prices exclusive of VAT.

### 14.	Bid Securing Declaration

Bidders are required to subscribe to a Bid Securing Declaration in the Bid Submission Form.

### 15.	Margin of Preference

Margin of Preference shall not apply.

### 16. 	Award of Contract

The Bidder having submitted the lowest evaluated responsive bid and qualified to perform the works shall be selected for award of contract. Award of contract shall be by issue of a Letter of Acceptance in accordance with terms and conditions contained in Section IV: General Conditions of Contract and Particular Conditions of Contract.

### 17.	Performance Security and signing of contract

Within twenty-eight (28) days of the receipt of the Letter of Acceptance from the Employer, the successful Bidder shall furnish a Performance Security, in the amount equal to 10% of the Bid price (exclusive of VAT), in accordance with the conditions of contract, using for that purpose the Performance Security Form included in Section V Contract Forms.

The contract agreement shall be signed within 28 days after the successful bidder receives the letter of acceptance unless the parties agree otherwise.

Failure of the successful Bidder to submit the above-mentioned Performance Security or sign the contract within the required time may constitute sufficient grounds for the annulment of the award.

### 18.	Notification of Award and Debriefing

Prior to the expiration of the period of bid validity, the Employer shall, for contract amount above Rs 15 million, notify the selected bidder of the proposed award and accordingly notify unsuccessful bidders. Subject to Challenge and Appeal, the Employer shall notify the selected Bidder, in writing, by a Letter of Acceptance for award of contract. Until a formal contract is prepared and executed, the notification of award shall constitute a binding Contract.

The Public Body shall after award of contract, exceeding Rs 1 million and up to Rs 15 million, promptly inform all unsuccessful bidders in writing of the name and address of the successful bidder and the contract amount.

Furthermore, the Public Body shall attend to all requests for debriefing for contract exceeding Rs 1 million, made in writing within 30 days the unsuccessful bidders are informed of the award.

### 19. 	Advance Payment

The Public Body shall provide an Advance Payment on the Contract Price as stipulated in 	the General Conditions of Contract. The Advance Payment shall be guaranteed by an Advance Payment Security as per the format contained in Section V.

The Advance Payment shall be limited to 10% percent of the Contract Price, less any 	provisional and contingencies sums.

### 20.	Integrity Clause

The Public Body commits itself to take all measures necessary to prevent corruption and ensures that none of its staff, personally or through his/her close relatives or through a third party, will in connection with the bid for, or the execution of a contract, demand, take a promise for or accept, for him/herself or third person, any material or immaterial benefit which he/she is not legally entitled to.

### 21. 	Rights of Public Body

The Ministry of Agro Industry and Food Security reserves the right:

(a) 	to accept or reject any bid or to cancel the bidding process and reject all bids at any time prior to contract award without incurring any liability to the Public body.

### 22. 	Challenge and Appeal

Unsatisfied bidders shall follow procedures prescribed in Regulations 48, 49 and 50 of the 	Public Procurement Regulations 2008 to challenge procurement proceedings and award of procurement contracts or to file application for review at the Independent Review Panel.

    - The address, Tel. & Fax No... & Email address  to file Challenges in respect of this procurement is:

Senior Chief Executive

Ministry of Agro Industry& Food Security

8th Foor, Renganaden Seeneevassen (ex NPF) Building

Cnr Jules Koenig & Maillard Streets Port Louis

Tel: 2102713

Fax: 212 4427

    - The address to file Application for Review is:

The Chairperson

Independent Review Panel,

5th Floor,

Belmont House

Intendence Street

Port Louis

Tel : +230 2602228

Emal : irp@govmu.org

# Section II: Bidding Forms

Note: Bidders are required to fill all the forms in this section and submit as part of their bid. Non-submission of any form may lead to rejection of the bid

Bid Submission Form

Date: _______________

Bid’s Reference No.: _______________

Procurement Reference No: MOAIFS Q123/2021-22/OAB

To:

We, the undersigned, declare that:

- We have examined and have no reservations to the Bidding Documents, including Addenda issued;

- We offer to execute in conformity with the Bidding Documents the following Works: _Cleaning and Rehabilitation of waste water system at St Martin Pig Farm Phase 1.

- The total price of our Bid excluding VAT is: _____________________(MUR):

- Our bid shall be valid for a period of 90 DAYS from the date fixed for the bid submission deadline in accordance with the Bidding Documents or up to ………………., whichever is later, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

- We hereby confirm that we have read and understood the content of the Bid Securing Declaration attached hereto and subscribe fully to the terms and conditions contained therein, if required. We understand that non-compliance to the conditions mentioned may lead to disqualification.

- If our bid is accepted, we commit to obtain a Performance Security in accordance with the Bidding Document;

- We, including any subcontractors or suppliers for any part of the contract, do not have any conflict of interest in accordance with ITB 8;

- We are not participating, as a Bidder in more than one bid in this bidding process;

- Our firm, its affiliates or subsidiaries, including any Subcontractors or Suppliers for any part of the contract, has not been declared ineligible under the laws of Mauritius;

- We have taken steps to ensure that no person acting for us or on our behalf will engage in any type of fraud and corruption as per the principles described hereunder, during the bidding process and contract execution:

- We shall not, directly or through any other person or firm, offer, promise or give to any of the Public Body’s employees involved in the bidding process or the execution of the contract or to any third person any material or immaterial benefit which he/she is not legally entitled to, in order to obtain in exchange any advantage of any kind whatsoever during the tender process or during the execution of the contract.

- We shall not enter with other Bidders into any undisclosed agreement or understanding, whether formal or informal. This applies in particular to prices, specifications, certifications, subsidiary contracts, submission or non-submission of bids or any other actions to restrict competitiveness or to introduce cartelisation in the bidding process.

- We shall not use falsified documents, erroneous data or deliberately not disclose requested facts to obtain a benefit in a procurement proceeding.

We understand that transgression of the above is a serious offence and appropriate actions will be taken against such bidders.

- We understand that this bid, together with your written acceptance, shall constitute a binding contract between us, until a formal contract is prepared and executed;

- We understand that you are not bound to accept the lowest evaluated bid or any other bid that you may receive; and

- If awarded the contract, the person named below shall act as Contractor’s Representative:

| Name: |  |
| --- | --- |
| In the capacity of: |  |
| Signed: |  |
| Duly authorized to sign the Bid for and on behalf of: |  |
| Date: |  |
| Seal of Company |  |

Appendix to Bid Submission Form

Bid Securing Declaration

By subscribing to the undertaking in the Bid Submission Form:

I/We accept that I/we may be disqualified from bidding for any contract with any Public Body for the period of time that may be determined by the Procurement Policy Office under section 35 of the Public Procurement Act, if I am/we are in breach of any obligation under the Bid conditions, because I/we:

- have modified or withdrawn my/our bid after the deadline for submission of  bids during  the period of bid validity specified by the Bidder in the Bid Submission Form; or

- have refused to accept a correction of an error appearing on the face of the bid; or

- having been notified of the acceptance of our bid during the period of bid validity, (i) have failed or refused to execute the Contract, if required, or (ii) have failed or refused to furnish the Performance Security, in accordance with the Instructions to Quote.

I/We understand this Bid Securing Declaration shall cease to be valid (a) in case I/we am/are  the successful bidder, upon our receipt of copies of the contract signed by you and the Performance Security issued to you by me/us ; or (b) if I am/we are not the successful Bidder, upon the earlier of (i) the receipt of your notification of the name of the successful Bidder; or (ii) thirty days after the expiration of the validity of my/our bid.

In case of a Joint Venture, all the partners of the Joint Venture shall be jointly and severally liable.

Qualification Information

[The information to be filled in by bidders in the following pages shall be used for purposes of post-qualification or for verification of prequalification as provided for in ITB Clause 6.  This information shall not be incorporated in the Contract.  Attach additional pages as necessary.  Pertinent sections of attached documents should be translated into English.  If used for prequalification verification, the Bidder should fill in updated information only.]

| 1. Individual Bidders or Individual Members of Joint Ventures | 1.1 Constitution or legal status of Bidder: [attach copy] Place of registration: [insert] Principal place of business: [insert] |
| --- | --- |

1.2	Bidder shall provide [insert number] of works of a nature and amount similar to the Works performed as Contractor over the last 5 years.

| Project/Contract name and country | Name of client and contact person | Type of work performed and year of completion | Value of contract (national currency ) |
| --- | --- | --- | --- |
| (a) (b) |  |  |  |

|  | 1.3 Proposed subcontracts and firms involved. Refer to General Conditions of Contract Clause 7. |
| --- | --- |

| Sections of the Works | Value of subcontract | Subcontractor (name and address) | Experience in similar work |
| --- | --- | --- | --- |
| (a) (b) |  |  |  |

[Bidders have to ascertain that sub-contractors executing works are duly registered with the CIDB in accordance with CIDB Act 2008.

1.4	Name, address, and telephone, telex, and facsimile numbers of banks that may provide references if contacted by the Public Body.

2. Additional 	2.1 Bidders should provide any additional information Requirements                           	requested in the Bidding Document.

Bill of quantities

This text hereunder is a guidance for the preparation of the Bill of Quantities and should not form part of the final document.

Objectives

The objectives of the Bill of Quantities are:

(a)	to provide sufficient information on the quantities of Works to be performed to enable bids to be prepared efficiently and accurately; and

(b)	when a Contract has been entered into, to provide a priced Bill of Quantities for use in the periodic valuation of Works executed.

In order to attain these objectives, Works should be itemized in the Bill of Quantities in sufficient detail to distinguish between the different classes of Works, or between Works of the same nature carried out in different locations or in other circumstances which may give rise to different considerations of cost.  Consistent with these requirements, the layout and contents of the Bill of Quantities should be as simple and brief as possible.

Dayworks Schedule

A Dayworks Schedule should be included only if the probability of unforeseen work, outside the items included in the Bill of Quantities, is high.  To facilitate checking by the Public Body of the realism of rates quoted by the bidders, the Dayworks Schedule should normally comprise the following:

(a)	A list of the various classes of labour, materials, and Constructional Plant for which basic day work rates or prices are to be inserted by the Bidder, together with a statement of the conditions under which the Contractor shall be paid for work executed on a day work basis.

(b)	Nominal quantities for each item of day work, to be priced by each Bidder at day work rates as Bid.  The rate to be entered by the Bidder against each basic day work item should include the Contractor’s profit, overheads, supervision, and other charges.

Provisional Sums

A general provision for physical contingencies (quantity overruns) may be made by including a provisional sum in the Summary Bill of Quantities.  Similarly, a contingency allowance for possible price increases should be provided as a provisional sum in the Summary priced Bill of Quantities.  The inclusion of such provisional sums often facilitates budgetary approval by avoiding the need to request periodic supplementary approvals as the future need arises.  Where such provisional sums or contingency allowances are used, the Particular Conditions of Contract should state the manner in which they shall be used, and under whose authority (usually the Employer’s Representative).

The estimated cost of specialized work to be carried out, or of special goods to be supplied, by other contractors (refer to GCC Clause 8) should be indicated in the relevant part of the Bill of Quantities as a particular provisional sum with an appropriate brief description.  A separate procurement procedure is normally carried out by the Public Body to select such specialized contractors.  To provide an element of competition among the bidders in respect of any facilities, amenities, attendance, etc., to be provided by the successful Bidder as prime Contractor for the use and convenience of the specialist contractors, each related provisional sum should be followed by an item in the Bill of Quantities inviting the Bidder to quote a sum for such amenities, facilities, attendance, etc.

BILL OF QUANTITIES

Procurement Reference Number: _MOAIFS Q123/2021/22/RB

[Complete the unit and total prices for each item listed below. Where Bill of Quantities are not detailed by the Public body, Bidders to fill each Bill separately and may add as many rows as required]

Bill No. 1: Title…Cleaning and Rehabilitation of waste water system at St Martin Pig Farm Phase I

| Item No | Description of Works | Quantity | Unit of Measure | Unit Price (Rs) | Total Price (Rs) |
| --- | --- | --- | --- | --- | --- |
| 1 | Preliminaries and Generals | 1 | Lot |  |  |
| 2 | Cleaning of waste reticulation system | 1 | Lot |  |  |
| 3 | Cleaning of concrete septic tanks and manholes | 1 | Lot |  |  |
| 4 | Fixing of frames and covers for concrete septic tanks | 1 | Lot |  |  |
| 5 | Replacement of manhole covers on asphalted roads | 1 | Lot |  |  |
| 6 | Reinstatement of open canal | 1 | Lot |  |  |
| 7 | Replacement of digestors by new ones | 1 | Lot |  |  |
| 8 | Cleaning and Repair of shallow basins and sedimentation basins | 1 | Lot |  |  |
| 9 | Cleaning and Reinstatement of | 1 | Lot |  |  |
| 10 | Cleaning of ponds | 1 | Lot |  |  |
| 11 | Provision for access to Waste Treatment Plant | 1 | Lot |  |  |
| 12 | Site Cleaning | 1 | Lot |  |  |
| 13 | Contingencies |  |  |  | 400,000.00 |
|  |  |  | Subtotal- Exclusive of VAT(carried to summary) |  |  |

Bill No. N: Title……………………

| Item No | Description of Works | Quantity | Unit of Measure | Unit Price (Rs) | Total Price (Rs) |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Subtotal- Exclusive of VAT(carried to summary) |  |  |

Summary

| General Summary | Amount |
| --- | --- |
| Bill No. 1: |  |
| Bill No. 2: |  |
| Bill No. n: |  |
| Subtotal of Bills |  |
| Provisional Sum, if any |  |
| Bid Price –Exclusive of VAT (Carried forward to Bid Submission Form) |  |

Schedule of Daywork Rates

| Item no. | Description | Unit | Nominal quantity | Rate | Extended amount |
| --- | --- | --- | --- | --- | --- |
|  | Forklift | hour |  |  |  |
|  | Labourer | hour |  |  |  |
|  | Bricklayer | hour |  |  |  |
|  | Crane | hour |  |  |  |
|  | —etc.— | hour |  |  |  |
| a. To be entered by the bidder. |  |  |  |  |  |

Bill of Quantities Authorised By:

| Name: |  |  | Signature: |  |  |
| --- | --- | --- | --- | --- | --- |
| Position: |  |  | Date: |  |  |
| Authorised for and on behalf of: |  | Company |  |  |  |

# Section III: Statement of Requirements

- SCOPE OF WORKS, SPECIFICATIONS AND PERFORMANCE REQUIREMENTS

Cleaning & Rehabilitation of wastewater system at St Martin Pig Farm-Phase 1

The works consist of the supply of all necessary materials, plants, equipment and workmanship for the cleaning and rehabilitation of wastewater system at St Martin Pig Farm – Phase 1.

The whole of the works shall be carried out in the strict accordance with the Scope of Works, Specifications, conditions of contract and drawings No. PIG-01, PIG-02 & PIG-03.

Note:

1. All dimensions are indicative and approximate in the drawing. The tenderer must take his own measurements on site prior to quoting.

2. The tenderer shall mandatorily visit and inspect the site prior to submission of his offer as no claims will be allowed on:

- The grounds of ignorance of the conditions under which the works will be executed.

- Any discrepancies in dimensions, etc.

The works consist of:

- Cleaning of all wastewater lines

- Cleaning of concrete septic tanks and manholes

- Manufacture, Supply and Fixing of frames and covers for concrete septic tanks

- Supply and Replacement of manhole covers on asphalted road

- Supply and Replacement of digestors

- Cleaning of sedimentation basins and shallow basins

- Cleaning and Reinstatement of leaching fields

- Cleaning of ponds

| ITEM | DESCRIPTION |
| --- | --- |
|  | Cleaning of Wastewater System at St Martin Pig Farm – Phase 1 The works consist of the Cleaning and Rehabilitation of the waste system as per Drawings (No. PIG-01, PIG-02 & PIG-03), instructions and specifications and inclusive of the following. |
| 1.0 | Preliminaries & General Costs |
|  | The Contractor is to allow for costs related to Preliminaries and General Conditions of Contract requirements including the following but not limited to: setting out of the works, Site Management, Site Office, Overheads, tools, plants, store, stacking and storage of materials, insurances, bonds, watchmen, light, electricity, protection, security of workmen, works on site, temporary hoardings, tanker lorries, slurry pumps, jetting equipment, etc. |
| 2.0 | Cleaning of Waste Reticulation System |
|  | Jetting Operation should be performed in the wastewater lines/reticulation system of an approximate length of 1.5km to flush all accumulated waste. The waste should be properly pumped out of the system and safely cart away by the contractor at approved site by the local authority. The preliminary layout of the wastewater system is as per drawing No PIG-02. The contractor shall however carry out a detailed investigation of the waste reticulation system while working on site and ensure the complete system is cleaned and is in full operation after the works have been completed to the satisfaction of the Ministry. In case of blockage and damaged sewer line, the contractor shall replace the blocked/damaged sewer line. This will include excavation, provision of plugging of line, supply of necessary fittings and stretch of pipe for replacement of pipe of same diameter, backfilling and reinstatement of asphalt to original state. |
| 3.0 | Cleaning of concrete septic tanks and manholes |
|  | The cleaning of all concrete septic tanks found on the premises of the breeders shall be carried out (Around 50 Nos). All waste material shall be removed and cart away by the contractor at approved site by the local authority. All manholes found within the site shall be properly cleaned and removed of all waste and discarded away to an approved site. |
| 4.0 | Fixing of Frames and Covers for septic tanks |
|  | The manufacture, supply and fixing of galvanised metal covers of thickness 1/8’’ and frame made of galvanised angle bar 2’’ x 2’’ to cover all concrete septic tanks. Welding to be grinded and frames shall be completely primed and painted in two coats of gloss paint. The exact number of covers to be fixed on site shall be ascertained on site by the potential bidder before quoting. Hinges shall be fixed to the metal covers with appropriate metal handles. Note that exact dimensions of concrete septic tanks shall be taken on site as they vary in dimensions (1200mm x 2000mm) and (2000mm x 3000mm). Refer to drawing PIG-03. |
| 5.0 | Replacement of manhole covers on asphalted access road |
|  | All Damaged/missing manhole covers for manholes found on the asphalted access road shall be supplied and replaced by heavy duty manhole covers. The exact dimension of the manhole cover shall be taken on site. |
| 6.0 | Reinstatement of open canal |
|  | The open canal carrying waste into the digestor shall be repaired/reinstated in good condition (clean and free from any debris, waste, etc.) |
| 7.0 | Replacement of digestors |
|  | The contractor shall replace existing digestors on site of total capacity 60m3 by new ones. Digestors may be of modular type of 10m3 each or any other configuration. Any existing digestor, in good condition shall be cleaned, disinfected and added to the new system. Supply and fix all fittings and materials. |
| 8.0 | Cleaning of sedimentation basins and shallow basins |
|  | The contractor shall clean all the sedimentation and shallow basins on site, connected to the digestors. All the waste material shall be pumped, scrapped out and tanks shall be washed with high pressure water jet. All waste material shall be cart away by the contractor at approved site. The shallow and sedimentation tanks shall be inspected for any cracks and repair works to ensure good state of the tanks shall be undertaken by the contractor. Any damaged piping/fitting shall be made good/replaced by the contractor to ensure good running of the basins. |
| 9.0 | Cleaning and Reinstatement of leaching field |
|  | The waste material shall be pumped out and cart away. The contractor shall excavate and renew the filling materials in the leaching field. Any damaged piping/fitting shall be made good/replaced by the contractor to ensure good running of the leaching field. |
| 10.0 | Cleaning of ponds |
|  | Waste material in the ponds shall be pumped/excavated out and cart away. The contractor shall excavate till the earthen subgrade is visible and soil is visible on the sides as wall. |
| 12.0 | Access to Waste Treatment Plant |
|  | Access to the Waste Treatment Plant in Phase 1 is restricted in its passageway. The contractor shall arrange and construct a temporary alternate passageway from Phase 2 for any equipment to be mobilised. This includes cleaning and clearing, excavation, backfilling and compaction. The passageway shall be reinstated in its original state to the satisfaction of the Ministry. |
| 13.0 | Site Cleaning |
|  | The cleaning of site on completion of works, and carting away of material debris arising out of the works to an approved dumping site, all as per Engineer’s instructions. |

B.	DRAWINGS

Please refer to www.publicprocurement.govmu.org to download the drawings which have been attached therein

Or

same can be collected from the Secretary Departmental Bid Committee, Ministry of Agro Industry & Food Security, 9th Floor, Renganaden Seeneevassen (ex NPF) Building, Cnr Jules Koenig & Maillard Streets Port Louis

# Section IV:  General Conditions of Contract and Particular Conditions Of Contract

Any resulting contract shall be placed by means of a Letter of Acceptance and shall be subject to the General Conditions of Contract (GCC), 
(Ref: W/GCC10/12-21)*, for the Procurement of Works (available on website ppo.govmu.org) except where modified by the Particular Conditions of Contract below.

Procurement Reference Number:	MOAIFS Q123/2021/22/RB

The clause numbers given in the first column correspond to the relevant clause number of the General Conditions of Contract.

# Particular Conditions of Contract

| A. General |  |
| --- | --- |
| GCC 1.1 (r) | The Employer is Senior Chief Executive Ministry of Agro Industry& Food Security 8th Foor, Renganaden Seeneevassen (ex NPF) Building Cnr Jules Koenig & Maillard Streets Port Louis |
| GCC 1.1 (v) | The Intended Completion Date for the whole of the Works shall be: Five (5) Months after start date. |
| GCC 1.1 (y) | The Project Manager shall be a representative from the Ministry of Agro Industry and Food Security. |
| GCC 1.1 (aa) | The Site is located at St Martin Pig Farm and is defined in drawings No.1, 2 & 3 |
| GCC 1.1 (dd) | “The Start Date shall be: Fifteen (15) Days after Handing Over of Site. |
| GCC 1.1 (hh) | The Works consist of Cleaning and rehabilitation of wastewater system at St Martin Pig Farm Phase 1. |
| GCC 2.2 | Sectional Completions are: Not Applicable |
| GCC 2.3(i) | The following documents also form part of the Contract: Insurance Policies, scope of Works, drawings, specifications, Conditions of contract, Particular conditions of contract and addenda if any. The insurance policies shall be submitted within 21 days as from Letter of Acceptance before the handing over of site. |
| GCC 3.1 | The language of the contract is English The law that applies to the Contract is the law of Mauritius. |
| GCC 5.1 | The Project manager may delegate any of his duties and responsibilities. |
| GCC 8.1 | Schedule of other contractors: Not Applicable |
| GCC 13.1 | Except for the cover mentioned in (d)(i) hereunder, the other insurance covers shall be in the joint names of the Contractor and the Employer and the minimum insurance amounts shall be: (a) for the Works, Plant and Materials: Rs 1,000.000.00 for the full amount of the works including removal of debris, professional fee etc...) (b) for loss or damage to Equipment: Rs 1,000.000.00 (for the replacement value of the equipment that the contractor intends to use on site until the taking over by the Employer. (c) for loss or damage to property: Rs 1000,000.00 (except the Works, Plant, Materials, and Equipment) in connection with Contract for an amount representing the value of the properties that are exposed to the action of the contractor in the execution of the works. It will extend to the property of the Procuring Entity as well). (d) for personal injury or death: - of the Contractor’s employees: Rs 2000,000.00 [The Contractor shall take an adequate insurance cover for its employees for any claim arising in the execution of the works]. (ii) of other people: Rs 1000,000.00 [This cover shall be for an adequate amount for Third Party extended to the Employer and its representatives]. (e) for loss or damage to materials on-site and for which payment have been included in the Interim Payment Certificate, where applicable. The Contractor shall choose to take the insurance covers indicated above as separate covers or a combination of the Contractor’s All Risks coupled with the Employer’s liability and First Loss Burglary, after approval of the Employer. All insurance covers shall be of nil or the minimum possible deductibles at sole expense of the contractor. |
| GCC 14.1 | Site Data are: Bidders are advised to visit the site prior to submission of bid. To contact Mr Baumee of the Engineering Division on 2330030 |
| GCC 20.1 | The Site Possession Date(s) shall be: On Handing Over of site. |
| GCC 23.1 & GCC 23.2 | Appointing Authority for the Adjudicator: No Adjudicator shall be appointed for this Contract. |
| GCC 24. | In case a dispute of any kind arises between the Employer and the Contractor in connection with, or arising out of, the contract or the execution of works or after completion of works and whether before or after repudiation or other termination of Contract, including any dispute as to any opinion, instruction, determination, certificate or valuation of the Employer’s Representative, the matter in dispute shall, in the first place, be referred in writing to the employer’s representative, with a copy to the other party. The Employer and the Contractor shall make every effort to resolve the dispute amicably by direct informal negotiation. If, after twenty-eight (28) days, the parties have failed to resolve their dispute or difference by such mutual consultation, then either the Public Body or the Contractor may give notice to the other party of its intention to refer the matter to “ the competent courts of Mauritius” |
| B. Time Control |  |
| GCC 25.1 | The Contractor shall submit for approval a Program for the Works within 28 days from the date of the Letter of Acceptance. |
| GCC 25.3 | The period between Program updates is 30 days. |
| C. Quality Control |  |
| GCC 33.1 | The Defects Liability Period is: 365 days. |
| GCC 34.1 | Delete sub-clause 34.1 and replace by the following: Should any defect arise during the contractual period and up to the end of the Defects Liability Period and the Contractor fails to correct the Defect within the time specified in the Project Manager’s notice, this shall constitute a breach of the Contractor’s obligations under the contract. The Project Manager shall assess the cost of having the defect corrected and recover the money from monies due to the contractor or from the Performance Security. |
| GCC 39.7 | Interim Payment for Plant and Material on site is not applicable. |
| D. Cost Control |  |
| GCC 40.1 | Amend clause 40.1 by replacing 21 days by 7 and 42 days by 28 days. |
| GCC 41.1 (l) | Not Applicable |
| GCC 43.1 | The currency of the Employer’s country is: Mauritian Rupees. |
| GCC 44.1 | The Contract is not subject to price adjustment. |
| GCC 45.1 | GCC Clause 45 is not applicable. |
| GCC 46.1 | The liquidated damages for the whole of the Works are 1 % per week (of the contract price) The maximum amount of liquidated damages for the whole of the Works is 10% of the Contract price. |
| GCC 47.1 | The Bonus for the whole of the Works is not applicable. |
| GCC 48.1 | The Advance Payments shall be: Not Applicable |
| GCC 49.1 | The Performance Security amount is: Not Applicable |
| E. Finishing the Contract |  |
| GCC 56.1 | The date by which operating and maintenance manuals are required is: on handing over. |
| GCC 57.2 (g) | The maximum number of days is: 60 days |
| GCC 59.1 | The percentage to apply to the value of the work not completed, representing the Employer’s additional cost for completing the Works, is 20 %. |

# Section V- Contract forms

Letter of Acceptance

[ on letterhead paper of the Employer]

. . . . . . . [date]. . . . . ..

To:	. . . . . . . . ..  [ name and address of the Contractor] . . . . . . . . ..

Subject:	. . . . . . . . ..   [Notification of Award Contract No].  . . . . . . . . . .

This is to notify you that your Bid dated . . . . [insert date] . . . .  for execution of the . . . . . . . . . .[insert name of the contract and identification number, as given in the Appendix to Bid] . . . . . . . . . . for the Accepted Contract Amount of .Rs . . . . . . . .[insert amount in numbers and words and name of currency], exclusive of VAT, as corrected and modified in accordance with the Instructions to Bidders is hereby accepted by (insert name of Public Body).

You are requested to furnish the Performance Security in accordance with the General Conditions of Contract, using for that purpose of the Performance Security Form included in Section   V (Contract Forms) of the Bidding Document.

Authorized Signature:

Name and Title of Signatory:

Name of Agency:

Attachment:  Contract Agreement

Contract Agreement

THIS AGREEMENT made the . . . . . .day of . . . . . . . . . . . . . . . . ., . . . . . . ., between . . . . . [name of the Employer]. . . . .. . . . . (hereinafter “the Employer”), of the one part, and . . . . . [name of the Contractor]. . . . .(hereinafter “the Contractor”), of the other part:

WHEREAS the Employer desires that the Works known as . . . . . [name of the Contract]. . . . .should be executed by the Contractor, and has accepted a Bid by the Contractor for the execution and completion of these Works and the remedying of any defects therein,

The Employer and the Contractor agree as follows:

1.	In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Contract documents referred to.

2.	The following documents shall be deemed to form and be read and construed as part of this Agreement. This Agreement shall prevail over all other Contract documents.

    - the Letter of Acceptance

    - the Bid

    - the Addenda Nos . . . . . [insert addenda numbers if any]. . . . .

    - the Appendix to the General Conditions of Contract

    - the General Conditions of Contract;

    - the Specification

    - the Drawings; and

    - the completed Schedules,

3.	In consideration of the payments to be made by the Employer to the Contractor as indicated in this Agreement, the Contractor hereby covenants with the Employer to execute the Works and to remedy defects therein in conformity in all respects with the provisions of the Contract.

4.	The Employer hereby covenants to pay the Contractor in consideration of the execution and completion of the Works and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with the laws of Mauritius on the day, month and year indicated above.

| Signed by: |  | Signed by: |  |
| --- | --- | --- | --- |
| for and on behalf of the Employer |  | for and on behalf the Contractor |  |
| in the presence of: |  | in the presence of: |  |
| Witness, Name, Signature, Address, Date |  | Witness, Name, Signature, Address, Date |  |

* Public Body to insert complete reference of the document applicable as at this date by consulting PPO’s website.