Ministry of Health and Wellness

Expression of Interest (EOI)

Terms of Reference

For

Renting of Office Space with Amenities to Accommodate

the Human Resource and Finance Section of

Dr Bruno Cheong Hospital

- Introduction

The Ministry of Health and Wellness intends to rent office space with amenities to accommodate Human Resource and Finance Section of Dr Bruno Cheong Hospital in the vicinity of the hospital as detailed below:

General Requirements:

| Floor space: | Not less than 2,850 sq ft with fireproof materials partition and allow the flexibility of re-organising the space to meet the user requirements |
| --- | --- |
| Accessible to: | Vehicles, public transport, staff and the public |
| Amenities: | Kitchenette & Mess room of about 200 sq ft |
|  | Toilet facilities (about 100 sq ft per toilet) for: Staff (Male: 2 & Female: 2) Public (Male: 1 & Female: 1) |
| Other Requirements | The building should be either on the ground floor or the first floor and be of reinforced concrete with security and emergency exits |
|  | Security and emergency exits should conform to the Health, Safety and Welfare Act and to the requirements of the Fire Services |
|  | The partitioning and structural modifications in the building to be done to the satisfaction of the user and will have to be effected by the owner at his own costs |
|  | Flooring to be fitted with anti-skid tiles |
|  | All openings to be fitted with burglar proof reinforcement and should withstand cyclonic winds at 275 km/hr |
|  | The premises should be provided with essential amenities such as electricity, electrical lighting, power point telephone lines, data points, water supply and adequate roof water tank |
|  | Building to be provided with fire fighting facilities as per established standards. Building to possess a valid fir certificate |
|  | The areas such as corridor, toilet and kitchen should be properly ventilated. All office rooms to be fitted with electric fans and to be well aerated |
|  | Parking space for six cars |
|  | Air conditioner in offices |
|  | Premises should be properly fenced with a gate entrance |
|  | Provision of dumping sheds for keeping of general waste |

2.	Objective

The objective of this exercise is to shortlist proposals that meet the general requirements and required amenities of the Ministry as more fully defined in the Terms of Reference.

The shortlist will comprise:

(i) Proposals that meet the general requirements and required amenities of the Ministry and

(ii) Proposals that may meet the general requirements subject to minor works.

The shortlisted proposals shall be invited thereafter to participate in a bidding process.

3. 	The proposals at this stage should not contain rates and other costs.

4.	Scope of Amenities

The owner shall be required to carry out the necessary works, at its own cost, to customise the proposed office space according to the needs and requirements of the Ministry of Health and Wellness.

5.	Documents to be submitted

With a view to assess the proposals for short listing, owners of proposed building/office space are required to submit the following:

- Name of owner of proposed building for the office space;

- Type of building proposed;

- Location of building;

- Floor space area proposed;

- No. of Parking slots proposed; and

- Date from which the proposed building/office space will be available.

6.	Submission of the Proposals

Proposals in sealed envelope clearly marked “Expressions of Interest - Renting of Office Space with amenities to Accommodate the Human Resource and Finance Section of Dr Bruno Cheong Hospital – Reference No. MHPQ/NMW&S/2021-2022/EOI/Q137.” and indicating the closing date should be addressed to the Senior Chief Executive, Ministry of Health and Wellness, and should be deposited in the Bid Box, at the under mentioned address on or before Thursday 05 May 2022 up to 10.00 hours (local time) at latest.

7.	Any clarifications sought in respect of the short-listing exercise shall be addressed in writing to the, Ministry of Health and Wellness, 10th Floor, Emmanuel Anquetil Building, SSR Street, Port Louis, Attn: Assistant Manager Procurement and Supply, Fax No. +230 210 5940 so as to reach him at least seven (7) days before the deadline for the submission of the application.

8.	The Ministry is under no obligation to shortlist any bidder who expresses interest.

9.	The address referred to, for submission of proposals and to attend to opening of the proposals is:

Ministry of Health and Wellness

5th Floor, Emmanuel Anquetil Building,

SSR Street, Port Louis

Date: 06 April 2022