Republic of Mauritius

Ministry of Land Transport and Light Rail

(National Land Transport Authority)

Open National Bidding

for

Renting of Office Space with amenities

For

National Land Transport Authority Sub Office

Southbound

- Procurement Reference No: NLTA 14/40/ONB 05/2021-2022

National Land Transport Authority

MSI Building, Royal Road

Les Cassis, Port Louis

Tel:2022801 Fax:2109608/2110607

Table of Contents               				Page

- Invitation to Bid ………………………………………………...……………………….	. 3

- Section I – Examples of Bid rejection reasons …………………...……………………...4

- Section II – Instructions to Bidders …………………………………………………...... 5

- Section III – Bid Data Sheet ………………………………………................................  15

- Section IV – Draft Lease Agreement ………………………….………………………   20

- Section V – Schedule of Requirements ………………………………………………...  25

Annex A – Electrical and Air Conditioning …………………………………………... 28

Annex B – Indicative Accommodation Schedule of Office …………………………....31

- Section VI – Bid Submission Form ……………………………………………………. 34

- Section VII – Checklist …………………………………………...….............................. 35

MINISTRY OF LAND TRANSPORT AND LIGHT RAIL

NATIONAL LAND TRANSPORT AUTHORITY

Invitation for Bid

Renting of Office Space with amenities for National Land Transport Authority (NLTA) Sub Office – Southbound

The Ministry of Land Transport and Light Rail intends to rent a building of approximately 110 – 175 m2 within the vicinity of  Mahebourg,  Plaine Magnien, Rose Belle, Chemin Grenier, Riviere des Anguilles or Souillac with  partitioning and complete with amenities such as, power points, air conditioning, data connections, CCTV camera, established utilities, provision of standby generator, telephone lines, burglar proof openings, etc. to serve as office for NTLA Sub office for counter service regarding Registration, Licensing and Finance (MVL) Sections with provision for a minimum of five parking slots to commensurate with the number of staff and customers expected for a period of 3 years and which may be extended on mutual agreement.

Bidding documents will be available by downloading free of charge from the public procurement portal (publicprocurement.govmu.org).

Amendments, if any, to the bidding documents prior to the deadline for submission of bids will be forwarded simultaneously to all prospective bidders who have received the documents directly from Ministry of Land Transport and Light Rail or downloaded from the portal.

Bids containing the Proposals in a sealed envelope shall be deposited at the designated tender box at the Ministry of Land Transport and Light Rail, 12th floor Air Mauritius Building, John Kennedy Street, Port Louis not later than Wednesday 15 June 2022 up to 13.00 hours (Local Time). The cover of the envelope should contain – Bid reference Number, the closing date for submission and name of the Bidder. All bids should be duly signed and stamped.

Bids that are not duly signed, as well as late bids will be disqualified automatically.

The Ministry of Land Transport and Light Rail reserves the right to (a) accept or reject any bid and (b) to annul the bidding process and (c) reject all bids at any time prior to award of the contract, without thereby incurring any liability to any Bidder.

The envelope containing the Proposals will be opened in the presence of Bidders/Bidders’ Representatives, who choose to attend the Bid Opening on Wednesday 15 June 2022 up to 13.05 hours (Local Time) at the following address:

Conference Room,

Ministry of Land Transport and Light Rail

10th floor Air Mauritius Building,

John Kennedy Street,

Port Louis. 											17 May 2022

Section I

Examples of Bid Rejection Reasons

Bids have been rejected at the submission stage or found to be technically noncompliant due to errors in presentation and failure to follow bidding instructions. The invitation to Bid contains detailed instructions for preparation and submission that need to be followed carefully.

Below are some of the more common examples of why bids are rejected by public bodies. Bidders are urged to read this before submission and to check whether their bid conforms to each of these points and the instructions as noted in the bidding documents.

- The bid is handed in after the deadline for submission, either by hand or electronically if so allowed. Note submissions after the deadline will be rejected.

- Bids not submitted to correct physical address. Note that the address for bid submission is different to the address for bid clarification.

- The bid is not signed as per instructions in the ITB.

- Not sufficient documents have been provided.

- Documents provided do not directly address each point of the mandatory evaluation.

- Proposal is more like brochure for the firm without specifically addressing the specific criteria of the ITB.

- Bids do not offer goods or services, which have been specifically requested by the procuring entity.

- Failure to enclose the signed Bid Submission Forms(s).

The above examples illustrate some common errors, which may be made by bidders.

The bidding documents contain the full list of instruction relevant to each particular bid and should be followed carefully.

Section II

INSTRUCTIONS TO BIDDERS

- Introduction

1. General

The National Land Transport Authority intends to rent a building of approximately 110 – 175 m2 within the vicinity of  Mahebourg,  Plaine Magnien, Rose Belle, Chemin Grenier, Riviere des Anguilles or Souillac with partitioning and complete amenities such as, power points, air conditioning, data connections, CCTV camera, established utilities, provision of standby generator, telephone lines, burglar proof opening, etc. to serve as office for NLTA Sub office for Registration, Licensing and Finance (MVL) Sections with provision for a minimum of five parking slots. Openings for counters shall have to be accommodated as per client’s requirements.

2. Eligible Bidders

Bidders should not be associated, or have been associated in the past, directly or indirectly, with a firm or any of its affiliates which have been engaged by the public body to provide consulting services for the preparation of the design, specifications, and other documents to be used for the procurement under this Invitation for Bids.

Bidders are not eligible if their participation in procurement activities in the Republic of Mauritius is prohibited under the laws of Mauritius.

3. Cost of Bid

The Bidder shall bear all costs associated with the preparation and submission of the Bid, and the National Land Transport Authority will in no case be responsible or liable for those costs, regardless of the conduct or outcome of the invitation for bids.

B. Solicitation Documents

4. Examination of Bidding Documents

The Bidder is expected to examine all corresponding instructions, forms, terms and specifications contained in the Bidding Documents. Failure to comply with these documents will be at the Bidder’s risk and may affect the evaluation of the Bid.

5. Clarification of Bidding Documents

5.1 A prospective Bidder requiring any clarification of the Bidding Documents may notify the Ministry of Land Transport and Light Rail, addressed to The Permanent Secretary, 10th floor Air Mauritius Building, John Kennedy Street, Port Louis. The response will be made in writing to any request for clarification of the Bidding Documents that is received earlier than 14 days prior to the deadline for the submission of bids. Written copies of the response (including an explanation of the query but without identifying the source of inquiry) will be made available to all Bidders who have obtained the bidding document directly from the National Land Transport Authority or downloaded from the portal.

6. Amendments of Bidding Documents

Not later than 7 days prior to the deadline for submission of bids, the procuring entity may, for any reason, whether at its own initiative or in response to a clarification requested by a prospective Bidder, amend the Bidding Documents. All prospective Bidders that have received the Bidding documents will be notified in writing of any amendments. In order to afford prospective Bidders reasonable time in which to take the amendments into account in preparing their offers, the procuring entity may, at its discretion, extend the deadline for the Submission of Bids.

C. Preparation of Bids

7. Language of the Bid

The Bid prepared by the Bidder and all correspondence and documents relating to the Bid exchanged by the Bidder and the Ministry of Land Transport and Light Rail shall be written in English.

8. Documents Comprising the Bid

- The Bid submitted shall, amongst others, comprise the following documents:

- Documentary evidence established in accordance with clause 9 of Instructions to Bidders that the Bidder is eligible to and is qualified to perform the contract if the Bid is accepted,

- Documentary evidence established in accordance with clause 10 of Instructions to Bidders that the office spaces proposed by the Bidder conform to the Bidding Documents; and

- The Bid Submission form with a price breakdown completed in accordance with the Sections III, IV and V and clause 11 of Instructions to Bidders, as applicable.

9. Documents Establishing Bidder’s Eligibility and Qualifications

The Bidder shall furnish evidence of its status as qualified Supplier. The documentary evidence of the Bidder’s qualifications to perform the contract if its Bid is accepted shall be established to the procuring entity’s satisfaction:

- Bidders should produce evidence of ownership of the building space and/or being duly authorized to enter into a lease Agreement with a third party for the proposed building space;

- Bidders shall provide such evidence of their continued eligibility satisfactory to the Ministry of Land Transport and Light Rail, as the latter shall reasonably request;

- Bidder shall submit any information on debarment/suspension, if any;

- In case of legal entities, bidders shall submit copies of original documents defining the constitution or legal status, place of registration, and principal place of business of the Bidder;

10. Documents Establishing Conformity to Bidding Documents

10.1 The Bidder shall also furnish as part of its Bid, documents establishing the conformity to the Bidding Documents of all related services which the Bidder proposes to supply under the contract.

10.2 The documentary evidence of conformity to the Bidding Documents may be in the form of literature, drawings, and data, and shall consist of:

- A detailed description of the essential technical and functional characteristics of the offered premises;

- Full details of the office space, including but not limited to: location, administrative and security arrangements in place, scheduled maintenance, availability, etc.;

- Documents authorizing the use of the offered premises as an office space;

- Documents certifying that the offered premises are in compliance with fire safety regulations and accessible, with amenities, to disabled persons;

- Written confirmation from the notary or other relevant authority that the premises are not under encumbrance and are not exposed to any other restriction/limitation, in case your bid have been accepted;

- A detailed description of the qualities of the offered office premises completed in accordance with Section IV.

- Bid security, not applicable

- Monthly rentals inclusive of all collateral expenses to reflect the market rental price of the locality.

11. Bid Currencies/Bid Prices

All prices shall be quoted in Mauritian Rupees. The Bidder shall indicate a breakdown of the costs included in the monthly rates in the format provided in the Bid Submission Form Section VI.

12. Period of Validity of Bids

Bids shall remain valid for 90 days after the deadline for Bid Submission prescribed by the Ministry of Land Transport and Light Rail, pursuant to clause 15 of Instructions to Bidders. A Bid valid for a shorter period may be rejected as non-responsive pursuant to clause 18 of Instructions to Bidders. In exceptional circumstances, the procuring entity may solicit the Bidder’s consent to an extension of the period of validity. The request and the responses thereto shall be made in writing. Bidders granting the request will not be required nor permitted to modify their Bids.

13. Bid Security (Not Applicable)

The Bid Security shall be in the format of a bank guarantee from a commercial bank for the amount indicated therein and valid for 30 days beyond the validity period of the bid. Proposals not accompanied with the bid security shall be considered as non-responsive and will be rejected.

D. Submission of Bids

14. Formats and Signing of Bid

14.1 The Bidder shall prepare one original and one copy of the Bid. A Bid shall contain no interlineations, erasures, or overwriting except, as necessary to correct errors made by the Bidder, in which case such corrections shall be initialled.

14.2 The Bid shall contain the original and one copy of the proposal. The envelope should be marked with the name and address of the bidder on the outside.

The other envelope shall be:

Addressed to:

The Permanent Secretary,

Ministry of Land Transport and Light Rail,

10th floor

Air Mauritius Building,

John Kennedy Street,

Port Louis

- Marked with –

INVITATION TO BID

“Renting of Office Space with amenities for the National Land Transport Authority Sub Office - Southbound” and DO NOT OPEN TILL Wednesday 15 June 2022.

15. Deadline for Submission of Bids/Late Bids

15.1 Bids must be delivered or deposited in the Bid/Tender Box situated on 12th floor, Air Mauritius Building, John Kennedy Street, Port Louis on or before Wednesday 15 June 2022 up to 13.00 hours at latest.

15.2 The Ministry of Land Transport and Light Rail may, at its discretion, extend this deadline for the submission of the bids by amending the Bidding Documents in accordance with clause 6 of Instructions to Bidders, in which case all rights and obligations of the procuring entity and Bidders previously subject to the deadline will thereafter be subject to the deadline as extended.

15.3 Any Bid received by the procuring entity after the Deadline for Submission of Bids will be rejected and returned unopened to the Bidder.

16. Modification, Substitution and Withdrawal of Bids

The Bidder may modify, substitute or withdraw its Bid after submission, provided that written notice of the modification, substitution and withdrawal is received by the procuring entity prior to the deadline for submission. No Bid may be modified after passing of the Deadline for Submission of Bids. No Bid may be withdrawn in the interval between the Deadline for Submission of Bids and the expiration of the Period of Bid Validity.

E. Opening and Evaluation of Bids

17. Opening of Bids

17.1 The Ministry of Land Transport and Light Rail, will open all Bids in the presence of Bidders/Bidders’ Representatives who choose to attend, at the time, on the date, and at the place specified in section III of this Bidding Documents. The Bidders’ Representatives who are present shall sign a register evidencing their attendance.

17.2 The Ministry of Land Transport and Light Rail, shall open the envelope containing the proposal on the date, time and place indicated in the BDS.

17.3 The Bidders’ names, bid modifications, substitutions or withdrawals, and the presence or absence of requisite Bid Security and such other details, as the procuring entity, at its discretion, may consider appropriate, will be announced at the opening. No Bid shall be rejected at Bid Opening, except for late bids, which shall be returned unopened to the Bidder pursuant to clause 19 of Instructions to Bidders.

17.4 Bids (and modifications sent pursuant to clause 16 of Instructions to Bidders) that are not opened and read out at Bid Opening shall not be considered further for evaluation, irrespective of the circumstances. Withdrawn Bids will be returned unopened to the Bidders.

17.5 The Ministry of Land Transport and Light Rail, will prepare minutes of the Bid Opening.

18. Preliminary Examination

18.1 Prior to the detailed evaluation, the Ministry of Land Transport and Light Rail, will determine the substantial responsiveness of each Bid to the Invitation for Bid (IFB). A Substantially responsive bid is one which conforms to all the terms and conditions of the ITB without material deviations.

18.2 The procuring entity will examine the bids to determine whether they are complete, whether the documents have been properly signed, and whether the bids are generally in order.

18.3 A Bid determined as not substantially responsive will be rejected by the Ministry of Land Transport and Light Rail, and may not subsequently be made responsive by the Bidder by correction of the non-conformity.

19. Technical conformity

Bids will then be assessed in respect of its conformity with specified requirements.

19.1	Compliance with requirements relating to features and ability of the office space to satisfy 	functional requirements of the Ministry of Land Transport and Light Rail, (as per Section V).

19.2 	Compliance with General Conditions specified in these Bidding Documents.

19.3	Compliance with administrative and security requirement of the procuring entity (as per Section 	V)

19.4	Demonstrated ability to honour important responsibilities and liabilities allocated to Supplier in this ITB (e.g. designing and building the participation layout, flooring works, amenities and other services specifically required for the offices).

19.5	Compliance with legal requirements (premises not under encumbrance, etc.).

Availability of documents confirming compliance of the Bidder to the requirements of the ITB.

Note: Ministry of Land Transport and Light Rail, may conduct an inspection (site visit) of the premises and/or due diligence of the bidder (premises owner) prior to the award being made. Procuring entity reserves the right to reject any offer/bid based on the findings made during such inspection, in case non-compliance of the offer with any requirements set forth in this ITB has been factually revealed.

20. Clarification of Bids

20.1 To assist in the examination, evaluation and comparison of Bids the Ministry of Land Transport and Light Rail, may at its discretion ask the Bidder for clarification of its proposal. The request for clarification and the response shall be in writing and no change in the substance of the Bid shall be sought, offered or permitted.

20.2 The procuring entity may conduct clarification meetings with each or any Bidder to discuss any matter, technical or otherwise, where the procuring entity requires amendments or changes to be made to the Proposals. The changes to be made shall be recorded and signed by both parties.

20.3 Where amendments or changes are required by the Ministry of Land Transport and Light Rail, bidders will be requested in writing to adjust their proposals accordingly and confirm same as per ITB 8. Bidders should note that, if the Ministry of Land Transport and Light Rail, during the evaluation of the rental proposal, considers that the changes in rental are unrealistic in comparison with the original rental proposal the bid is liable to be rejected.  Bidders not wishing to make the change to their proposal may withdraw from the bidding process without their Bid Security being forfeited.

21 Evaluation of the Proposals on a marking system

21.1 Prior to the detailed evaluation, the Ministry of Land Transport and Light Rail, will determine the substantial responsiveness of the Proposal. A substantially responsive bid is one, which conforms to all the terms and conditions of the ITB, without material deviations.

21.2 The procuring entity will examine the bids to determine whether they are complete, whether any computational errors have been made, whether the documents have been properly signed, and whether the bids are generally in order.

21.3 Arithmetical errors, as appropriate and relevant, will be rectified on the following basis: If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected. If the Bidder does not accept the correction of errors, its Bid will be rejected. If there is a discrepancy between words and figures the amount in words will prevail.

21.4 With a view to selecting the most advantageous proposal the bids responding substantially to the requirements of the procuring entity shall be evaluated as per a marking system as follows:

Table of Rating Factors for Rental - Marking for technical merit (Tm)

|  | Rating Factors | Weight (%) | Rating |
| --- | --- | --- | --- |
| I | Location and Site Condition |  |  |
|  | - Accessibility to customers | (35) |  |
|  | - Sidewalk and waiting shed | (20) |  |
|  | - Parking space | (25) |  |
|  | - Rented space on ground floor | (20) |  |
|  |  | (100) |  |
| II | Neighbourhood Data |  |  |
|  | - Prevailing rental rate | (40) |  |
|  | - Sanitation and health condition | (25) |  |
|  | - Nearby facilities such as shops, banks, Public transport | (35) |  |
|  |  | (100) |  |
| III | Property |  |  |
|  | - Structural condition | (15) |  |
|  | - Functionality | (25) |  |
|  | - Module | (5) |  |
|  | - Room arrangement | (5) |  |
|  | - Circulation | (5) |  |
|  | - Light and ventilation | (5) |  |
|  | - Space requirements | (10) |  |
|  | - Facilities |  |  |
|  | - Water supply and toilet | (5) |  |
|  | - Lighting system | (5) |  |
|  | - Fire escapes | (5) |  |
|  | - Firefighting equipment | (5) |  |
|  | - Other requirements |  |  |
|  | - Maintenance | (5) |  |
|  | - Attractiveness | (5) |  |
|  |  | 100 |  |
| IV | Free Services and Facilities |  |  |
|  | - Security | (20) |  |
|  | - Air conditioning | (20) |  |
|  | - Repair and maintenance | (20) |  |
|  | - Water and light consumption | (20) |  |
|  | - Secured parking space | (20) |  |
|  |  | 100 |  |

|  | Rating Factors | Weight (%) |  | Rating |
| --- | --- | --- | --- | --- |
|  | Location and Site Condition | x (0.35) = |  |  |
|  | II. Neighbourhood Data | x (0.35) = |  |  |
|  | III. Property | x (0.20) = |  |  |
|  | IV. Free Services and Facilities | x (0.10) = |  |  |
|  | Factor Value |  |  |  |

[Note: Weight of each rating factor may be changed as long as total weight per classification is equivalent to 100. Figures in parenthesis are samples.]

F. Award of Contract and Negotiation

22. Award Criteria

Ministry of Land Transport and Light Rail, will select the highest marked proposal for negotiation, as the case may be, and if not successful, the second highest proposal will be considered for negotiation, and continues up to a proposal is retained. The selected highest marked proposal may be retained without negotiations if the requirements and rental are found to be fair and reasonable.

23. Rights of the Public Body

The Ministry of Land Transport and Light Rail, reserves the right to accept or reject any Bid, to annul the bidding process and reject all bids at any time prior to award of contract without thereby incurring any liability to the affected Bidder(s).

24. Notification of Award

Prior to the expiration of the period of Bid Validity the Ministry of Land Transport and Light Rail, shall notify the successful bidder of its selection for award while at the same time informing the unsuccessful bidders of the name of the selected bidder and the amount of rent payable.

The contract period and renewal conditions, if any, shall be as defined in the Bid Data Sheet.

25. Signing of the Contract

25.1 Subject to the Challenge and Review as per ITB 27, the public body shall promptly issue its letter of acceptance to the successful bidder and forward to him a draft contract.

25.2 Within 30 days of receipt of the Contract the successful shall sign, date and return it to the Ministry of Land Transport and Light Rail.

26. Challenge and Review

A bidder who feels aggrieved with the award decision of the Ministry of Land Transport and Light Rail, may submit a challenge to the Ministry of Land Transport and Light Rail, and apply for review to the Independent Review Panel in case of unsatisfactory response or absence of response from the public body within a period of 7 days.

Challenges and applications for Review shall be forwarded to the addresses indicated in the BDS; Procedures for Challenge and Appeal are annexed to the BDS.

27. Corrupt or Fraudulent Practices

27.1 It is the policy of the Government of the Republic of Mauritius to require Public Bodies, as well as bidders, suppliers and contractors and their agents (whether declared or not), personnel, sub-contractors, sub-consultants, service providers and suppliers, observe the highest standard of ethics during the procurement and execution of contracts. In pursuance of this policy, the Government of the Republic of Mauritius:

(a) will reject a proposal for award if it determines that the Bidder recommended for award has, directly or through an agent, engaged in corrupt, fraudulent, collusive, coercive or obstructive practices in competing for the contract in question; and

(b) will sanction a firm or an individual, at any time, in accordance with prevailing legislations, including by publicly declaring such firm or individual ineligible, for a stated period of time:

(i) to be awarded a public contract; and

(ii) to be a nominated sub-contractor, consultant, manufacturer or supplier, or service provider for an otherwise eligible firm being awarded a public contract.

27.2 In further pursuance to this policy, bidders, suppliers and public officials shall also be aware of the provisions stated in sections 51 and 52 of the Public Procurement Act which can be consulted on the website of the Procurement Policy Office (PPO): (publicprocurement.govmu.org).

Section III

BID DATA SHEET

The following specific data for the rental to be procured shall complement, supplement, or amend the provisions in the Instruction to Bidders.  Whenever there is a conflict, the provisions herein shall prevail over those in the Instructions to Bidders.

| Relevant clause(s) of Instruction to Bidders | Specific data complementing, supplementing, or amending instructions to Bidders |
| --- | --- |
| Bid Price | The prices quoted shall be inclusive of VAT and all collaterals. |
| Documents Comprising the Bid | The following must be included in the Bid submission: - Bid submission form for the proposal (Section VI) including contact details of Bidder are properly filled and signed. - Conceptual design drawings and technical proposals to substantiate understanding of requirements and manner in which these would be met. - Compliance technical schedules where required in the technical specifications are properly filled and signed - Set of valid ownership documentation (copy); Engineer’s certificate for building; layout; building insurance certificate, also - in case of individuals copy of National Identity Card or Passport; TAN (Tax Account Number); bank statement on availability of bank account and BRN (Business Registration Number); - in case of legal entity: Firm/Company Profile covering copy of company registration, technical and financial capacity etc., TAN (Tax Account Number); and BRN (Business Registration Number); - The monthly rentals including VAT and all collaterals/covenants. All documents should bear signature of authorized person(s) and company seal. N.B. Incomplete Bids may be deemed non-responsive and rejected. |
| Deadline for Submission of Bids | Bids should be received by the procuring entity on or before Wednesday 15 June 2022 up to 13.00 hours. |
| Bid Opening | Envelopes containing the proposals shall be opened on Wednesday 15 June 2022 at 13.05 hours, at the conference room of The Ministry of Land Transport and Light Rail, 10th floor Air Mauritius Building, John Kennedy Street, Port Louis. |
| Documents Establishing Bidder’s Eligibility & Qualifications | Required, as per clause 9 of the Instruction to Bidders (Section II) |
| Bid Validity Period | 90 days from the date from the submission of bids. |
| Bid Security | Not Applicable. |
| Preliminary Examination of Financial Proposals – completeness of bid. | Rates with breakdown costs is clearly filled and signed to reflect the monthly rentals and any increases within the contract period which shall be over an initial period of 3 years, renewable or otherwise. |
| Evaluation of Bids | Bids will be evaluated based on following criteria: - Compliance with pricing conditions set in the ITB - Compliance with requirements relating to features and ability of the office space to satisfy functional requirements of the National Land Transport Authority - Compliance with General Conditions specified by these Bidding Documents - Compliance with administrative and security requirements of the relevant authorities - Demonstrated ability to honor important responsibilities and liabilities allocated to Supplier in this ITB (e.g. design and build partition, supply of IT networks and other amenities) - Compliance with legal requirements (premises not under encumbrance, etc). / Availability of documents confirming compliance of the Bidder to the requirements of the ITB. |
| Payment terms | It is not the policy of the Ministry of Land Transport and Light Rail to approve advance payments. |
| All communication must be directed to: | The Permanent Secretary, Attn. Mr Rawoo U. Secretary, Ministry of Land Transport and Light Rail 10th floor Air Mauritius Building, John Kennedy Street, Port Louis. |
| Requests for additional information | Request for additional information must be received at least 14 (fourteen) days before the Deadline for Submission of bids. Bidders are encouraged to raise queries as early as possible. |
| Challenge and Review | - The address to file challenge in respect of this procurement is: The Permanent Secretary, Ministry of Land Transport and Light Rail 10th floor Air Mauritius Building, John Kennedy Street, Port Louis. - The address to file application for review is: Independent Review Panel, First Floor, Stratton Court, Poudrière Street, Port Louis Tel: 212 3065 |
| Contract period | The contract agreement will be valid for three years at fixed rate and may be extended as may be mutually agreed between the parties |

Annex

Challenge and Appeal

- A bidder who feels aggrieved with the award decision of the public body may submit a challenge to the Officer in Charge of the public body and, apply for review to the Independent Review Panel in case of unsatisfactory response or absence of response from the public body within a period of 7 days.

- A challenge shall be in writing to the Officer in Charge of the public body concerned.  The bidder shall identify the specific act or omission alleged to contravene these regulations.

- A challenge shall not be entertained unless it is submitted within 7 days of the notice of decision issued to the successful bidder.

- Unless the challenge is resolved, the Officer in Charge of the public body shall suspend the procurement proceedings and shall, within 7 days of the filing of the application, issue a written decision, stating his reasons, and, if the challenge is upheld, indicating the corrective measures to be taken.

- A challenge or an application for review may be filed by hand delivery, mail or commercial courier.  A challenge or an application for review is deemed to be filed on a particular day when the public body receives it, or, where applicable, by the Review Panel, by close of business on that day.

- A statement of case shall contain precisely and concisely the facts of the case; where a challenge has not been resolved, the outcome of the challenge pursuant to the section on challenge of the act; the issues under dispute and the arguments relating thereto; submissions on any point of law; and other submissions on the case.  Any witness statement shall contain a signed statement by the witness, certifying the facts obtained from the examination of records, statements or other documents or from any other source in relation to the case before the Review Panel.

- Together with the application for review, the unsatisfied bidder shall be required to make a non-refundable processing fee of Rs 5,000 and a security deposit of Rs 100,000.  The security deposit shall be forfeited where the Review Panel dismisses the application as frivolous.

- The unsatisfied bidder shall, at the time of his application for review, submit to the public body a complete copy of the application not later than one day after the application for review is filed with the Review Panel.

- Where an application for review is made to the Review Panel, the Review Panel shall promptly send a written acknowledgement to the applicant with copy to the public body.

- Where an application for review is made in accordance with these procedures, the procurement proceedings shall be suspended until the appeal is heard and determined by the Review Panel.  This shall not apply where the public body certifies that urgent public interest considerations require the procurement proceedings to proceed.  A certificate issued by a public body shall expressly state the grounds of the urgent public interest considerations and shall be made a part of the record of the public procurement proceedings.  The certificate shall be binding on the Review Panel and the procurement proceedings shall proceed unless an application for leave to seek a judicial review is successful.

- Where the procurement proceedings have not been suspended due to urgent public interest considerations and the application for review of an unsatisfied bidder is determined in his favour, the Review Panel shall award him compensation limited to the recovery of the costs of bid preparation and participation in the procurement proceedings.

- The Review Panel may dismiss an application for review or may, if it determines that there is merit in it, prohibit the pubic body from acting or deciding in an unauthorized manner or from following an incorrect procedure; recommend the annulment in whole or in part of any unauthorized act or decision of the public body; recommend a re-evaluation of the bids or a review of the decision for an award, specifying the grounds for such recommendation; or recommend payment of reasonable costs incurred in participating in the bidding process where a legally binding contract has been awarded which, in the opinion of the Review Panel, should have been awarded to the applicant.

- The public body shall promptly make available to the Review Panel any information and documentation that the Review Panel may request, such as the bid or proposal submitted by the applicant; the bid or proposal of the bidder that is being considered for award, or whose bid or proposal is being reviewed; all qualification assessment and evaluation documents; the invitation to bid or request for proposals; request for clarification of the bidding documents or request for proposals and responses thereto; and any other relevant documents.  In appropriate cases, the Review Panel may request the applicant to produce relevant documents that are not in the custody of the public body.

- The Review Panel may request or allow the submission of additional statements by the parties and by other parties not participating in the application for review as may be necessary for the fair resolution of the application for review.

- All communications related to the application for review shall be sent promptly to the Review Panel.

- Where an application for review is filed with the Review Panel, the public body shall provide to the Review Panel comments on the application within 7 days of the notice of the filing of the application for review with the Review Panel.  The comments of the public body shall include a statement of the relevant facts; a best estimate of the contract value; an assessment of the grounds for review; a list of all documents relevant to the procurement proceedings; and a statement of any point of law relating to the application.

- The public body may file a request for dismissal before filing the comments to the Review Panel.

- The public body shall simultaneously send a copy of its comments on the application for review to the applicant within one day of the submission of the comments to the Review Panel.  The applicant shall be given an opportunity to comment on the comments of the public body on the application for review.  The applicant may submit to the Review Panel a reply on the comments made by the public body within 7 days of the receipt by the applicant of the public body’s comments, and copied to the public body.

- An application for review may be dismissed for failure to comply with any of the requirements of these procedures, setting forth allegations that do not state a valid basis for an application for review, or that do not set forth a detailed legal and factual statement; having been filed in an untimely manner, either at the initial level of review by the public body, or with respect to deadlines for filing an application for review by the Review Panel; or contract implementation or administration instead of contract award.

- At the request of the applicant for review or on its own initiative, the Review Panel may, where it deems appropriate, conduct a hearing.  A hearing shall be completed within 7 days from the date of receipt of reply, if any, from the applicant; or within 14 days from date of comments made by the public body on the application.  The Review Panel shall request the applicant and the public body concerned to attend a hearing and may restrict attendance during all or part of the proceeding where it considers appropriate.  During the hearing all proceedings shall be recorded and transcribed.  The Review Panel shall make a decision within 9 days from the completion of the hearing.

- Any decision by the public body or the Review Panel pursuant to these regulations shall be made part of the record of the procurement proceedings.

- The public body shall promptly notify the Review Panel and the Policy Office of the action it has taken in response to the decision of the Review Panel.

Section IV

General Conditions

DRAFT LEASE AGREEMENT

BETWEEN

XYZ COMPANY LIMITED

Registered office situated at ………………………………………………………………, duly represented by its General Manager, hereinafter referred to as The Lessor.

ON THE ONE PART

AND

The National Land Transport Authority duly represented by its Officer in Charge hereinafter referred to as The Tenant.

The Lessor agrees to let the Floor/s (of an area of ……………………………. square meter) of its premises situated at ………………………………., to The Tenant.

The Tenant declares that he has visited and inspected the aforesaid premises and is in all respect satisfied with the state of the premises, more especially their state of repairs and fitness for occupation of the said premises.

The tenancy shall be governed by the Code Civil, and in default by the following terms and conditions: -

- Duration, renewal and Termination

  - The tenancy shall be for an initial period of three years, starting as from the date of signature of the lease.

  - In case of renewal, it shall be open for either party to renegotiate the terms of the agreement but in any case the amount of increase in rent shall be either the market rent of the amount provided for by the Landlord and Tenant Act.

  - The lease may be renewed at the Tenant’s option for further periods of ……………… years at a time.

  - Notwithstanding paragraph 1.1, the Tenant may terminate the lease by giving, at least, three months’ advance notice to The Lessor without any financial implications whatsoever.

- Financial Terms

  - The rent shall be Rs ……………………… (Mauritian Rupees.) plus Value Added Tax (VAT) annually, payable in equal monthly instalment, in advance at the offices of The Lessor.

- Parking

  - The lessor will provide ……………………………… parking slots for the exclusive use of the tenant and customers.

- INSURANCE

  - The Lessor shall insure the building leased and consequential loss against the risk of fire, full explosion, riots, strikes and malicious damage, cyclone and flood, earthquake and air crash.

  - Furthermore, The Lessor shall also have its insurance policies covering all the building and consequential loss endorsed to waive all rights of subrogation against The Tenants of the building.

- MAINTENANCE OF PREMISES

  - The Tenant shall keep the premises in good tenantable repair and condition, fair wear and tear excepted, to the satisfaction of the Lessor.

  - The Tenant shall not cause any damage and/or modification to any component part of the building, without the consent of the Lessor, such consent shall not be unreasonably withheld.

- STRUCTURAL ADDITIONS, ALTERATIONS, NON-STRUCTURAL PARTITIONING AND REPAIRS

  - Structural repairs shall be carried out by the Lessor, at its own costs, and at such time convenient to the Tenant.

  - In case the Lessor fails to undertake any of the repairs, the Tenant may, after having duly notified the Lessor by way of written notice, undertake to effect the repairs at the Lessor’s cost.

  - The Landlord shall be responsible and shall bear all costs for the erection of further internal partitioning that the tenant may require, subject to renegotiation of the rent.

  - All the partitioning and diving walls to be erected by the Tenant shall have the prior approval of the Lessor and shall be to such specification and standard as may be approved by the Tenant in writing provided that such approval is not unreasonably withheld.

  - The Tenant may paint or fix an advertisement, signboard or any other inscription on the external walls, of the building.

  - The Tenant shall bear the cost for making good major defects in the building and its appurtenances arising from his activities on the premises, except for normal wear and tear.

  - (a) Except for minor and urgent works, including any partitioning or works associated with counters, the Tenant shall carry out no alteration, addition, installation and work of any nature whatsoever to the building or to fixtures, except with the Lessor’s prior written approval and the permission of the Authorities concerned, if any.

- Any such alteration, addition, installation or work so made may be removed by the Tenant at the expiry of the lease or of any of its renewals but the Tenant will have to restore at its cost the said premises to its former state, fair wear and tear excepted.

- Should the Tenant decide not to remove any such alteration, addition, installation or work, it shall accrue to the Lessor without the latter having to pay indemnity and compensation whatsoever to the Tenant or to any other person, article 555 of the Civil Code or any other enactment notwithstanding.

- SERVICES

  - The Landlord shall supply telephone and data cabling services according to the requirements of the Tenant.

  - The Tenant shall not modify or extend the plumbing, electrical and drainage installations on the premises without first obtaining the prior approval of the Lessor.

- DRAINAGE AND SANITARY FACILITIES

  - The Tenant shall ensure that no foreign substance of any nature is flushed down the drainage system, which will cause malfunctioning of the system or of septic tanks and absorption pits provided.  The normal sanitary norm should be observed in all toilet and mess room facilities.

  - The Tenant shall be solely responsible for repairs to these items arising out of blockages, damage or any other cause, arising out of its fault and negligence.

  - The Tenant may remove, on vacation of the premises, all supplementary installation carried out by him, provided that any damage caused during removal of same is made good at his own cost.  Any installation not removed shall become the property of the Lessor without any compensation or indemnity.

- SUB-LETTING

The Tenant shall not sub-let all or part of the property leased to him nor cedes, transfer or assign in all or in part his rights to the lease.

- PAYMENT OF RENT, WATER ELECTRICITY CHARGES, ETC

  - The Tenant shall settle his rent regularly by arranging with his bank for this to be paid through a standing order in favour of the Lessor so as to reach him by the tenth of each month.

  - The Tenant shall make his own arrangement for payment of his bills with respect to electricity, water, telephone, and any other services, and shall pay regularly all amount due and payable in respect thereof.

  - The Tenant shall be responsible for payment of all Tenant’s taxes and related charges, if any, which may be levied on the space occupied by him.

- USE OF PREMISES

  - The Tenant shall use the said property for its official use and counter services only.

  - The Tenant shall ensure that all litter, garbage, waste generated from his use of the premises are stored in an orderly way and be not spilled on any part of the premises, including staircase, passages or thrown on the floor at any point.

  - The Tenant, its employees, agents, licensees, and customers shall have full access and the right to use all common passageways, stairways, lifts and entrances as they exist at the date of this lease for the purpose of entering and leaving the premises.  The Tenant shall have the right to affix nameplates in appropriate places in the building to indicate the location of its premise.

  - The Tenant shall be responsible for wrongful and actionable acts and doings of any person failing under its responsibility, and shall make good to the Lessor any damage due to such act or doings of any such person.

- SAFETY PRECAUTIONS

  - The Tenant shall not without the Lessor’s prior written approval and that of the competent Authorities stock or store on the premises any inflammable or dangerous materials or noxious substances or any articles, stores or other merchandise generally whatsoever whether edible or not which are in a state of putrefaction of which can give off any noxious odour and which are hazardous to health.

  - The Tenant shall keep the landing and the staircase free of obstructions so as to facilitate evacuation of the building in case of emergency and shall keep unlocked all emergency doors in the building during working hours.

  - The Tenant shall ensure that emergency exits are at all times free from any obstruction.

  - The Tenant shall comply with all the conditions, which the Authorities may require for the safety, health and welfare of employees and/or the safety of the premises.

  - The Lessor shall keep and maintain on the premises adequate fire prevention and fire control apparatus and shall ensure that such apparatus is at all times in good working order.  Whenever

appropriate, the Tenant shall seek the advice of the Fire Services on necessary fire safety measures he needs to maintain on the premises.

- INSPECTION OF PREMISES

  - The Tenant shall permit the Lessor and/or his agents, with or without workmen or officers to enter the premises, at any convenient time to him (the Tenant), to view the state of repair and/or for the purpose of taking inventories of the Lessor’s fixtures and fittings therein, or of doing such works and things as may be required for any repair, alteration or improvement to the premises.  The Lessor and/or his agents and workmen in so doing will cause as little inconvenience as possible to the Tenant.

  - The Tenant shall authorize the Lessor or its accredited representative to visit and inspect the premises leased to ensure that all the conditions of the present lease are being complied with or implemented by the Tenant, at any time which is convenient to the Tenant.

- EXPENSES AND CHARGES

  - The Lessor will assure through its own organization the security of the premises.

  - The maintenance of the common passages, lifts, stairways, entrances, yards and common parts and services will be undertaken by the Lessor.

- ARBITRATION

In the event of any dispute as to the meaning and intention of this lease it is hereby agreed by both parties that the dispute shall be referred to the Permanent Secretary of the Ministry responsible of the NLTA in the first instance.  If no positive determination is reached, the parties may then refer the dispute to a Court of Law.

- NOTICES

Any notice or other correspondence requires to be served or exchanged under this agreement shall be so served or exchanged, as the case may be, at the following address: -

For THE LESSOR at his office

The General Manager, XYZ Co. Ltd, No. ……………………………………………………………

Port Louis

For THE TENANT at …………………………………………………………………………….

Port Louis

Made in two originals and in good faith at Port Louis

This …………………………………………. Day of ………………………… 20………………..

LESSOR								TENANT

(s) ……………………………………			(s) ………………………………………

Section V

SCHEDULE OF REQUIREMENTS

1. Office space      Proposals for renting of office space shall meet the following requirements:

requirements

- The office space should be available with all the specified amenities and ready for occupation, within (3) three months of the letter of award.

- Office area of approximately 110-175 m2 with provision for adequate partitioning and complete with amenities such as power points, air conditioning, Data connections, WIFI connections, CCTV Camera, established utilities provision for standby generator, etc. shall exclude reception area, corridors, and toilets to accommodate the indicative requirement of the Public Body as listed at Annex B.

- in addition, provision is required for kitchenettes, and adequate toilet facilities separate for ladies and gents, over and above, the space requirements for an approximate labour force of 10 employees;

- Preference will be given to buildings with the best technical facilities including number and, air conditioning system, electrical system, water and plumbing system, data cabling with speed of at least 1 Gigabit and telephone system, size, functionality and accessibility of lobby/reception area and corridors and the best security provisions particularly for lower floors and access;

- The building should be easily accessible and provided with facilities for disabled persons. The premises should be provided with water storage facilities and standby generators;

- The building should meet the minimum requirements with regard to electrical, air conditioning, lifts, fire alarm and detection system and water pumps as per Annex A;

- Building should meet basic standards as specified in the relevant legislation.  Security and emergency exits should conform to the Occupational, Safety and Health Act 2005 and to the requirements of the Fire Services.  This should include a valid Fire Certificate issued by the Fire Services Department under the Occupational Safety and Health Act No 28 of 2005 and shall comply to the conditions imposed in the Schedule One Sheet 1 and/or Sheet 2 and Schedule Two of the Fire Certificate.  Building should be provided with fire/smoke detectors, fire alarm and firefighting facilities as per established standards;

- Prospective bidders should propose office environment that provides for comfort, functionality and aesthetics that are of high standing.

- Parking facilities are highly valued.  Bidders are invited to specify number of parking slots available;

- In case there are commercial entities in the proposed building, arrangements will be required that do not handicap security and ease of access to the government offices.  At a minimum there will need to be a separate access for the government offices.

- Bidders should submit the layout plans and detailed drawings of the building being proposed and give full description and specifications of materials to be used for the fit-out works;

- The proposed accommodation schedule for offices at Annex B is only indicative at this stage.  On award of the contract, the bidder shall make necessary arrangement in connection with partitioning as per requirements of the client.

- The Public Body reserves the right to bring in amendments to the bidder’s proposal to meet its requirements;

- The fit-out works will be supervised by the authorized officer appointed by the Public Body, who will oversee that the works are performed according to specifications above;

- The Public Body reserves the right to change some materials proposed after discussions with the Lessor;

- The bidder shall provide building with an Integrated Communication Network with some 10 data points, telephony equipment, relocation of IT equipment and requirements for server room.

- In submitting the offer, prospective bidder should also propose separate quotes earmarked for each of the following:

- floor finishes (to be specified);

- Partitioning works and doors, false ceilings;

- All M&E services and

- Data cabling and telephony facilities (Integrated Communication Network)

This is an important issue to be considered in the evaluation of bids.  Failure to submit the information shall lead to disqualification.

- Prospective bidder(s) will be invited to quote for the building in terms of the following:

Rental of office space/per sq. m/month + VAT

Cost of amenities (as specified at paragraph (s) above) /per sq. m/month + VAT

Prospective bidders are informed that the Ministry of Land Transport and Light Rail does not make any deposit to prospective bidders.

2. Earliest The Bidder should also state the earliest date as from which the office space fitted with

dates 	all of availability the amenities as defined in clause 1 shall be available to the Ministry of Land Transport and Light Rail.

3. Contract 	The initial contract period shall be three (3) years renewable thereafter on terms and

Period	conditions agreeable to both parties.

4. Lease      Agreement

A draft proposed lease agreement is herewith contained in Section IV. Bidders may submit their comments/suggestions which may be subject to negotiation and finalization, prior to award of contract.

Annex A

Electrical and Air Conditioning

Electrical and air conditioning services have to be provided as specified below: -

Minimum requirements

- Electrical Services

- The design and installation shall conform in all respect to the 17th Edition of the I.E.E Wiring Regulation (U.K) and to British Standard 7671 requirements for electrical installation or MS63.

- Electrical supply to the building shall be taken from an independent secure sub-station to be located preferably within the site facility.

- Electrical light and power loads shall be segregated from mechanical loads throughout the installation.

- Final volt drop in sub circuits shall not exceed 2.5% when operating at their ultimate load capacity.

- All final circuits and distribution panels are to be properly labelled.

- A certificate of conformity to current electrical standards and regulations, signed by an Independent Registered Electrical Engineer is to be provided before signing of agreement.

- All As-made drawing for electrical installation and instruction manuals for all equipment shall be available on site.

- Lighting System

- Light level for working areas shall be at minimum 500 lux

- Low glare luminaries shall be provided in all office areas.

- Special lighting systems shall be provided for areas like Conference room, Minister’s office etc. to suit the particular application according to client’s requirement.

- Security lights shall be provided at the main entrance, exits and surrounding areas.

- Emergency lighting systems shall be provided in common areas.

- Emergency lighting systems shall be adequate to maintain a minimum light level of 20 lux throughout periods of power failure of 10 minutes duration.

- Directional emergency lights are to be provided to show exit paths.

- Lift System: Applicable if floor space is proposed above Ground Floor

- The lift shall be based on a comprehensive traffic flow calculation for the building. The lift control system shall incorporate advanced microprocessor and intelligent capabilities. The control system

shall allow real time management of elevator and shall use sophisticated traffic analysis program with the following feature:

- Up peak feature

- Down peak feature

- Split group feature program to operate as 2 individual sub groups, each one serving its own segment of building occupants.

- Lift Alarm Systems & Emergency lights and Communication System in cabin operated on batteries in case of power failure.

- Trained personal should be on site permanently to make rescue operation in case passengers are trapped in lift.

- At least one lift should operate on standby generator

- Fire Alarm System

The fire alarm system shall be of addressable analogue type and shall include the following:

- Fire Alarm control panels to include backlit LCD alphanumeric keypad for field control c/w with all auxiliary controls;

- Intelligent addressable smoke detectors, heat detectors, manual call point, line isolator, interface units and sounder.

- Dynamic and interactive color graphic, PC Work station display status alarm and layout of building complex;

- All necessary hardware/software to make the system fully operational;

- Repeater alarms panels;

- Mimic display for the complex showing status of normal, fire and fault.

- System to communicate and interface to Security Management System.

- Generator

A minimum of one standby generator shall be provided for the complex.

- The generator shall be of automatic mains failure type, with water cooled diesel engine and bulk storage tank.

- Bulk diesel storage tank shall have a minimum capacity of 2500 litres

- Generator shall be provided with microprocessor based control system, which is designed to provide automatic starting, monitoring and control functions for the generator sets.

- The control system shall allow local monitoring and control of the generator set and remote monitoring. All hardware / software shall be provided.

- The sets shall be within soundproof enclosure of the generator room shall be soundproofed to reduce noise level to 76 dbA at 1 meter.

- The stand-by generator shall be sized for a 24 hours’ continuous operation.

All circuits including lighting for the offices shall be connected to the essential feed from the generator.

6.	Air Conditioning and Ventilation

- The design of the cooling and ventilation system shall conform to the relevant British Standards. Areas requiring 24-hour operation like sever room shall be served by air-conditioning systems that minimize control plant operation and running costs.

- The capacity of the cooling equipment shall be based on detailed cooling load calculations, taking all the relevant factors into consideration. The design shall be based on outside conditions of 35o C and alternative humidity 80% during summer period. The comfort condition to be achieved during peak summer time is 22o C+/- oC and relative humidity of 50% in occupied areas.

- The refrigerant used shall be one approved by the Montreal Protocol.

- Noise Levels of the equipment must be within limits prescribed in the British Standards.

- The Building shall have a fresh air supply to the different occupied areas.

- Exhaust provisions shall be provided in particular kitchen, tearooms, toilet and any special areas like photocopy/print rooms.

- The controls of the air conditioning systems shall be modular, user friendly and simple Direct Digital Control System.

7.  Water Supply Pumps

- The booster pump sets for the potable water supply shall be pressure switch controlled packaged unit with duty and standby pumps accumulators and control panels and shall have the required duty.

- The duty and standby pumps shall be vertical multi-stage, quiet running, high efficiency type with stainless steel housing and, impellers and shaft.

- The complete set shall be located in the building basement.

- The pumps shall be connected to the generator circuits.

Annex B

Indicative Accommodation Schedule of Offices for

Finance, Registration & Licensing Sections and Amenities.

| No | List of Offices | No of Offices | Area (Type of m2) Partitioning |
| --- | --- | --- | --- |
| 1 | Office Management Assistant | 1 | 10 half glazed |
| 2 | Finance Section | 1 | 10 half glazed |
| 3 | Secured Counters for registration and Licensing (MVL) | 2(with provision for 1 additional for any future activation) | 50 Extended desk type with top half glazed |
| 4 | Secured Safe Room | 1 | 10 With burglar-proof partitioning and doors |
| 5 | Waiting area (Public) | 1 | 20 Open space with building |
| 6 | Mess room for Office Attendants | 1 | 10 Full |
| 7 | Mess for Lunch | 1 | 10 Full |
|  | TOTAL |  | 120 Full |
| 8 | Parking Facilities | Minimum of 5 Slots |  |
| 9 | Provision of utilities - Electricity - Water - Air Conditioners - Telephone lines - Partitioning according to requirement - Burglar Proof Openings - Power points - Data Connections - Provision of Standby Generators - CCTV Camera |  |  |
| 10 | Toilet Facilities: Two Toilets 1 Male and 1 for Female Provision for each Toilet 2 sanitary appliances and 2 wash basins |  |  |
| 12 | Flooring should be in ceramic tiles |  |  |

Note: The above list is only indicative at this stage. Detailed office plan layouts requirements including data points and electrical points as approved by management will be submitted by the Project Manager to be appointed by the Public Body.

TECHNICAL SPECIFICATIONS FOR INTEGRATED NETWORK

SPECIFICATION AND COMPLAINCE SHEET AUTHORIZED BY:

Signature ……………………………            	Name: …………………………………………

Position……………………………	           Date…………………………………………             (DD/MM/YY)

Authorized for and on behalf of:

Company……………………………………………………………

Reference Sites & Profiles of Technical Support Staff (As applicable)

The “Tables for Reference sites & Profiles of Technical Support Staff “should be completed. Non submission or incomplete table may entail elimination.

CUSTOMER REFERENCE SITES FOR MULTI SITE, IP –PBX

| Customer site Company NAME, Address , Fax | Customer Contact person Telephone | Project Description | No of sites connected | Hardware or software IP Phones - Quantity | Date of Implementation |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Month | Year |

TECHNICAL SUPPORT STAFF PROFILES

| Person |  | Qualifications |  |  | Experience |  |  | Date of Appointment |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name | Designation | Date | Institution | Qualifications | Company | Duration | Nature of Work | Month | Year |

Section VI

BID SUBMISSION FORM

(TO BE FILLED BY THE BIDDER)

1. Name and address of Bidder:  …………………………………………………………….

…………………………………………………………….

…………………………………………………………….

…………………………………………………………….

2. Telephone No: ………………………………	3. Mobile No: ……………………….

4. Fax No: ……………………………………	5. E-mail address: …………………….

6. Having examined the bidding documents, including addendum Nos [ insert numbers). The receipt of which is hereby acknowledged, and rectifications to the proposal as applicable, i am /we are submitting our proposal of office space/building for rental as agreed in response to the invitation for bids …………………….

| Location of the office space/building (give brief description) | Size of the office space | Monthly Rental (Rs) Inclusive of VAT |
| --- | --- | --- |
| Site and locations: (Drawings to be submitted) Rental of office space (Plan layout proposed to be submitted with dimensions) | ……………………/sq.m |  |
| Total monthly rental excluding VAT | …………………. |  |
| VAT | ………………… |  |
| TOTAL |  |  |
| Syndic Fees |  |  |

7.  This bid shall remain valid for a period of 90 days as from the deadline set for the submission of bids at the first stage.

8. We undertake to abide by the Conduct for Bidders and Contractors as provided under section 52 of Public Procurement Act 2006 during the procurement process and the execution of any resulting contract.

SIGNATURE OF BIDDER: .....................................................................................

POSITION IN COMPANY (IF APPLICABLE): ……………………………………………

Date…………………………………………………

Annex C

Section VII

CHECKLIST

Checklist for submission of bids

(to be filled by bidder)

| Item | List of document | Checked |
| --- | --- | --- |
| 1. | The following documents shall be included (i) Drawings, location plan, parking location and layout and site plan for the proposed office space. (ii) Bid submission Form for technical proposal duly signed (iii) Suggestion(s) on draft lease Agreement (iv) Proof of Ownership of Building (v) Engineer’s Certificate (vi) Copy of the land use permit for the Building (vii) List of proposed works to be executed and expected duration period to arrange for the office space to suit the requirements of the Public Body. (viii) Any other document(s) required to complete the bid submission, as specified in this bidding document. Rental Proposal inclusive of VAT and all collaterals. |  |

Disclaimer: The above list is meant to assist the bidder in submitting a complete proposal. However, the onus remains on the bidder to ensure that its submission is complete for a proper evaluation as guided by the bidding document.