## Wrapper
TAMILNADU WATER SUPPLY AND DRAINAGE BOARD
BILL OF QUANTITY
Operation and Maintenance of CWSS to Vellore Corporation, 11 Municipalities, 5 Town Panchayats and 944 rural habitations under Package – I, II and III to supply earmarked quantity of water noted against each Package in Vellore, Tirupathur and Ranipet Districts, by carrying out all the necessary works such as pumping, attending to leak and burst, attending to electrical and mechanical repair works, providing disinfection, preventive maintenance of all installations, sump cleaning and deliverance of earmarked quantity of water to the beneficiaries as per schedule and standard operating procedures and as directed by the TWAD Board officers for a period of 8 months – 2022 – 23 year from 01.08.2022 to 31.03.2023.(Second call)

## Preamble
SCHEDULE- A
BILL OF QUANTITIES
PREAMBLE
1 | The Bill of Quantities shall contain items for the construction, installation, testing, commissioning and maintenance of the Works to be carried out by the Contractor
2 | The Bill of Quantities will be used to calculate the Contract Price. The contractor shall be paid for the quantum of work done at the rate quoted for each item in the Bill of Quantities.
3 | Where there is a discrepancy between the rates in words and figures, the lesser of the two will only be taken in to consideration.
4 | Where there is a discrepancy between the unit rate and line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern.
5 | Where there is an arithmetical discrepancy in the page total as well as grand total, the corrected total by the Employer will govern
6 | The rates quoted in the BOQ shall be for carrying out the work in conformity to the BIS, TNBP and Technical Specifications and other Terms and Conditions set out in the Bid Document
7 | All pages in the BOQ should be signed without omission. All corrections/over writing should be properly attested by the Bidder.
8 | Change in the Quantities - If the final quantity of the work done differs from the quantity in the Bill of Quantities for the particular item/items, the rates as in the agreement for the relevant items shall be paid.
9 | GST is applicable as per G.O. 296, Finance (Salaries) Dept. Dt. 09.10.2017, GOI, Ministry of Finance - Central Tax (Rate), New Delhi Notification No. 12/2017 / Dt: 28.06.2017 and 20/2017/ Dt. 22.08.2017 and as amended from time to time. From every payment made to the firm/ contractor, deduction at source towards GST shall be made for civil works contract as per Government of India, Ministry of Finance/ Department of Revenue, New Delhi Notification No. 20 / 2017 – Central Tax (Rate) / Dt.22.08.2017 subject to issue of amendments from time to time.
Operation and Maintenance of CWSS to Vellore Corporation, 11 Municipalities, 5 Town Panchayats and 944 rural habitations under Package – I, II and III to supply earmarked quantity of water noted against each Package in Vellore, Tirupathur and Ranipet Districts, by carrying out all the necessary works such as pumping, attending to leak and burst, attending to electrical and mechanical repair works, providing disinfection, preventive maintenance of all installations, sump cleaning and deliverance of earmarked quantity of water to the beneficiaries as per schedule and standard operating procedures and as directed by the TWAD Board officers for a period of 8 months – 2022 – 23 year from 01.08.2022 to 31.03.2023.(Second call)
Item No. | Description of work | Probable quantity Figures | TNBP No. Other specification | Units in | Rates in |  | Amount in figures
[5 empty] | Figures | Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Vide separate sheets attached.
Note: All the Materials / work to be procured /executed as per IS standards specification. If the material is not covered under IS standards BS standard specifications are to be adopted, and as directed by the Department Officials.

## GA rev
GENERAL ABSTRACT
Name of Work : | Operation and Maintenance of CWSS to Vellore Corporation, 11 Municipalities, 5 Town Panchayats and 944 rural habitations under Package – I, II and III to supply earmarked quantity of water noted against each Package in Vellore, Tirupathur and Ranipet Districts, by carrying out all the necessary works such as pumping, attending to leak and burst, attending to electrical and mechanical repair works, providing disinfection, preventive maintenance of all installations, sump cleaning and deliverance of earmarked quantity of water to the beneficiaries as per schedule and standard operating procedures and as directed by the TWAD Board officers for a period of 8 months – 2022 – 23 year from 01.08.2022 to 31.03.2023.(Second call)
Sl. No. | Description | Amount Rs.
1 | SCHEDULE - A | 0
| TOTAL Rs. | 0

## Price Schedule A1 (hidden)
SCHEDULE - A 1 (Package I)
NAME OF WORK: CWSS to Vellore Corporation, 11 Municipalities, 5 Town Panchayats and 944 Rural habitations under Package I To III in Vellore, Tirupathur and Ranipet Districts for the period of 10 months from 01.06.2022 to 31.03.2023.
Sl. No. | Description of Work | Unit | Quantity | Rate (Both in figures and words) | Amount (in Rs.)
1 | Operation and Maintenance of the Electro Mechanical installations, equipments, components, pipelines valves and appurtenances, water retaining structures including protecton of all schemee components from damages/ theft undertaking legal actions for such untoward incidents, preventive maintenance, disinfection and deliverance of water as per quality standards and supply of earmarked quantity of water to the beneficiaries as per Annexure .........., carrying out the O&M as per standard operating procedures, Acts and rules in force etc., complete and as directed by TWAD Board Oficers and excluding cost towards attending leak, burst repair and replacement works to electro mechanical installations consumables for disinfection of water, cleaning of all water retaining structure, electricity . | 1 MLD | ..... MLD /
2 | Attending Leaks in the pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all other incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract - Part II. (The specifications for attending leaks has to be detailed based on the data prepared and rate approval obtained for each size and material of pipes. The specifictaion has to be mentioned under the clause 1.7 of GCC - Part- I)
i) | ____mm OD PVC pipes of all Classes. | No. | ____ Nos.
ii) | and so on.................. | No. | ____ Nos.
iii) | ____mm OD HDPE pipes of all Classes. | No. | ____ Nos.
iv) | and so on.................. | No. | ____ Nos.
v) | ____mm AC pipes of all Classes. | No. | ____ Nos.
vi) | and so on.................. | No. | ____ Nos.
vii) | ____mm PSC pipes of all Classes. | No. | ____ Nos.
viii) | and so on.................. | No. | ____ Nos.
ix) | ____mm CI pipes of all Classes. | No. | ____ Nos.
x) | and so on.................. | No. | ____ Nos.
xi) | ____mm DI pipes of all Classes. | No. | ____ Nos.
xii) | and so on.................. | No. | ____ Nos.
xiii) | ____mm MS pipes of all Classes. | No. | ____ Nos.
xiv) | and so on.................. | No. | ____ Nos.
and all other pipes available in this scheme / Package (if applicable as the case may be)
3 | Attending Bursts in the pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract - Part II. (The specifications for attending leaks has to be detailed based on the data prepared and rate approval obtained for each size and material of pipes. The specifictaion has to be mentioned under the clause 1.7 of GCC - Part- I)
i) | ____mm OD PVC pipes of all Classes. | No. | ____ Nos.
ii) | and so on.................. | No. | ____ Nos.
iii) | ____mm OD HDPE pipes of all Classes. | No. | ____ Nos.
iv) | and so on.................. | No. | ____ Nos.
v) | ____mm AC pipes of all Classes. | No. | ____ Nos.
vi) | and so on.................. | No. | ____ Nos.
vii) | ____mm PSC pipes of all Classes. | No. | ____ Nos.
viii) | and so on.................. | No. | ____ Nos.
ix) | ____mm CI pipes of all Classes. | No. | ____ Nos.
x) | and so on.................. | No. | ____ Nos.
xi) | ____mm DI pipes of all Classes. | No. | ____ Nos.
xii) | and so on.................. | No. | ____ Nos.
xiii) | ____mm MS pipes of all Classes. | No. | ____ Nos.
xiv) | and so on.................. | No. | ____ Nos.
and all other pipes available in this scheme / Package (if applicable as the case may be)
4 | Rewinding of Motors in pumping stations iod in the Electrical, Mechanical and Elctro-mechanical items to bring back the scheme / components into normal running conditition as per specification including all labour charges, cost of materials and all incidental charges within the stipulated time limit etc., complete as specified in Clause 2.2.6 of General conditions of Contract Part II.
i) | Rewinding of coil for ____HP Motor of Open well type submersible Pumpsets including all material, labour, etc. | No. | ____ Nos.
ii) | and so on.................. | No. | ____ Nos.
iii) | Rewinding of coil for ____HP Motor of Bore well type submersible Pumpsets including all material, labour, etc. | No. | ____ Nos.
iv) | and so on.................. | No. | ____ Nos.
v) | Rewinding of coil for ____HP Motor of HSC Pumpsets including all material, labour, etc. | No. | ____ Nos.
vi) | and so on.................. | No. | ____ Nos.
vii) | Rewinding of coil for ____HP Motor of Verticle Turbine Pumpsets including all material, labour, etc. | No. | ____ Nos.
viii) | and so on.................. | No. | ____ Nos.
5 | Carrying out the repair works occuring during the maintenance period in the Electrical, Mechanical and Elctro-mechanical items to bring back the scheme / components into normal running conditition as per specification including all charges for dismantling, repair, reinstallation, conveyance, cost of materials and all other incidental charges within the stipulated time limit etc., complete as specified in Clause 2.2.6 of General conditions of Contract Part II.B74 (The specifications for attending to repair / reconditing works of pumpsets, panel boards, Valves, etc has to be detailed based on the data prepared and rate approval obtained for each items. The specifictaion has to be mentioned under the clause 1.7 of GCC - Part- I)
i) | Repairing / reconditioning of Pump for ____HP Open well type submersible Pumpsets including all material, labour, etc. | No. | ____ Nos.
ii) | and so on.................. | No. | ____ Nos.
iii) | Repairing / reconditioning of Pump for ____HP Bore well type submersible Pumpsets including all material, labour, etc. | No. | ____ Nos.
iv) | and so on.................. | No. | ____ Nos.
v) | Repairing / reconditioning of Pump for ____HP HSC Pumpsets including all material, labour, etc. | No. | ____ Nos.
vi) | and so on.................. | No. | ____ Nos.
vii) | Repairing / reconditioning of Pump for ____HP Verticle Turbine Pumpsets including all material, labour, etc. | No. | ____ Nos.
viii) | and so on.................. | No. | ____ Nos.
ix) | Repairing / reconditioning of ____HP panel board including all material, labour (specify type of panel board and type of repair to be carried out). | No. | ____ Nos.
x) | and so on.................. | No. | ____ Nos.
xi) | Repairing / reconditioning of ____mm size Sluice Valve (for line valve / for Scour valve) including all material, labour (specify type of Sluice Valve and type of repair to be carried out). | No. | ____ Nos.
xii) | and so on.................. | No. | ____ Nos.
xiii) | Repairing / reconditioning of ____mm size Air Valve including all material, labour (specify type of Air Valve and type of repair to be carried out). | No. | ____ Nos.
xiv) | and so on.................. | No. | ____ Nos.
xv) | and all other repair works anticipated in this scheme / Package (if applicable as the case may be)
6 | Supply, delivery and application of disinfection dosages as per standard norms / guidelines including cost of all disinfectents (such as bleaching powder, chlorine cylinder, silver ionization rods as applicable to this CWSS), labour charges and all incidental charges for disinfection of the water supplied from this CWSS to ensure the portable quality of disinfected water at all delivery points / tail ends, testing of water samples including additional / required / instructed dosage during the period of Flood/ Calamities etc., complete.
i) | Bleaching powder of _____% concentration as per standard specification. | MT | _____ MT
ii) | Chlorine Cylinder of ____ capacity as per standard specification. | No. | ____ Nos.
iii) | Silver Ionization rod as per standard specification. | No. | ____ Nos.
iv) | and so on.................. | No. | ____ Nos.
7 | Cleaning of all storage points like sumps, elevated reservoirs of various capacities available in this scheme at a frequency of once in two months including scrapping the inner side of compartment completely, scouring / dewatering / desilting using required machineries, materials, labour and all other incidental charges, application of bleaching powder/ solution etc complete.
i) | ____ LL capacity of sump | No. | ____ Nos.
ii) | and so on …. | No. | ____ Nos.
iii) | ____ LL capacity of Elevated Reservoirs | No. | ____ Nos.
iv) | and so on ………………. | No. | ____ Nos.
8 | Supply and delivery of the following Electrical Works :consumable items at the site of work to carryout the general maintenace works
H.G. Fuses
Jumpers
Insulator (porcelein) – one phase
A-B switch – one phase
No-volt coil for A.C.B. and O.C.B
Jumper with socket inside the panel
Cable lugs including terminations
H.R.C. Fuses
contacts or contactors, repairs to isolators
Volt Meter
Ammeter
Bulbs ( LED / Tube / Incandescent / others)
Choke
Starter
Others if any shall be entered
9 | Supply and delivery of the following consumable items for Pump Set repairs at the site of work to carryout the general maintenace works
Coupling bolt & nuts including
Rubber bushes
Gland
Impeller nut
Terminal plate in the motor
Carbon brushes
Brush holder
Grease
Packing rope 10mm
Packing rope 12 mm
Packing rope 16 mm
R I Sheet
Others if any shall be entered
10 | Supply and delivery of the following consumable items for Valve repairs at the site of work to carryout the general maintenace works
Spindle nut in sluice valves
Glands in valves
Ball in air valves
Others if any shall be entered
11 | Supply and delivery of the following consumable items for D G Set at the site of work to carryout the general maintenace works
Burnt-out spares in the battery charger of D.G.
Self-starter in the case of D.G.
Cut-out of D.G.
Others if any shall be entered
Rs.
(Rupees _______________________________________________________________________________________ only )

## Price Schedule A2 (hidden)
SCHEDULE - A 2 (Package II)
NAME OF WORK: CWSS to Vellore Corporation, 11 Municipalities, 5 Town Panchayats and 944 Rural habitations under Package I To III in Vellore, Tirupathur and Ranipet Districts for the period of 10 months from 01.06.2022 to 31.03.2023.
Sl. No. | Description of Work | Unit | Quantity | Rate (Both in figures and words) | Amount (in Rs.)
1 | Operation and Maintenance of the Electro Mechanical installations, equipments, components, pipelines valves and appurtenances, water retaining structures including protecton of all schemee components from damages/ theft undertaking legal actions for such untoward incidents, preventive maintenance, disinfection and deliverance of water as per quality standards and supply of earmarked quantity of water to the beneficiaries as per Annexure .........., carrying out the O&M as per standard operating procedures, Acts and rules in force etc., complete and as directed by TWAD Board Oficers and excluding cost towards attending leak, burst repair and replacement works to electro mechanical installations consumables for disinfection of water, cleaning of all water retaining structure, electricity . | 1 MLD | ..... MLD /
2 | Attending Leaks in the pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all other incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract - Part II. (The specifications for attending leaks has to be detailed based on the data prepared and rate approval obtained for each size and material of pipes. The specifictaion has to be mentioned under the clause 1.7 of GCC - Part- I)
i) | ____mm OD PVC pipes of all Classes. | No. | ____ Nos.
ii) | and so on.................. | No. | ____ Nos.
iii) | ____mm OD HDPE pipes of all Classes. | No. | ____ Nos.
iv) | and so on.................. | No. | ____ Nos.
v) | ____mm AC pipes of all Classes. | No. | ____ Nos.
vi) | and so on.................. | No. | ____ Nos.
vii) | ____mm PSC pipes of all Classes. | No. | ____ Nos.
viii) | and so on.................. | No. | ____ Nos.
ix) | ____mm CI pipes of all Classes. | No. | ____ Nos.
x) | and so on.................. | No. | ____ Nos.
xi) | ____mm DI pipes of all Classes. | No. | ____ Nos.
xii) | and so on.................. | No. | ____ Nos.
xiii) | ____mm MS pipes of all Classes. | No. | ____ Nos.
xiv) | and so on.................. | No. | ____ Nos.
and all other pipes available in this scheme / Package (if applicable as the case may be)
3 | Attending Bursts in the pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract - Part II. (The specifications for attending leaks has to be detailed based on the data prepared and rate approval obtained for each size and material of pipes. The specifictaion has to be mentioned under the clause 1.7 of GCC - Part- I)
i) | ____mm OD PVC pipes of all Classes. | No. | ____ Nos.
ii) | and so on.................. | No. | ____ Nos.
iii) | ____mm OD HDPE pipes of all Classes. | No. | ____ Nos.
iv) | and so on.................. | No. | ____ Nos.
v) | ____mm AC pipes of all Classes. | No. | ____ Nos.
vi) | and so on.................. | No. | ____ Nos.
vii) | ____mm PSC pipes of all Classes. | No. | ____ Nos.
viii) | and so on.................. | No. | ____ Nos.
ix) | ____mm CI pipes of all Classes. | No. | ____ Nos.
x) | and so on.................. | No. | ____ Nos.
xi) | ____mm DI pipes of all Classes. | No. | ____ Nos.
xii) | and so on.................. | No. | ____ Nos.
xiii) | ____mm MS pipes of all Classes. | No. | ____ Nos.
xiv) | and so on.................. | No. | ____ Nos.
and all other pipes available in this scheme / Package (if applicable as the case may be)
4 | Rewinding of Motors in pumping stations iod in the Electrical, Mechanical and Elctro-mechanical items to bring back the scheme / components into normal running conditition as per specification including all labour charges, cost of materials and all incidental charges within the stipulated time limit etc., complete as specified in Clause 2.2.6 of General conditions of Contract Part II.
i) | Rewinding of coil for ____HP Motor of Open well type submersible Pumpsets including all material, labour, etc. | No. | ____ Nos.
ii) | and so on.................. | No. | ____ Nos.
iii) | Rewinding of coil for ____HP Motor of Bore well type submersible Pumpsets including all material, labour, etc. | No. | ____ Nos.
iv) | and so on.................. | No. | ____ Nos.
v) | Rewinding of coil for ____HP Motor of HSC Pumpsets including all material, labour, etc. | No. | ____ Nos.
vi) | and so on.................. | No. | ____ Nos.
vii) | Rewinding of coil for ____HP Motor of Verticle Turbine Pumpsets including all material, labour, etc. | No. | ____ Nos.
viii) | and so on.................. | No. | ____ Nos.
5 | Carrying out the repair works occuring during the maintenance period in the Electrical, Mechanical and Elctro-mechanical items to bring back the scheme / components into normal running conditition as per specification including all charges for dismantling, repair, reinstallation, conveyance, cost of materials and all other incidental charges within the stipulated time limit etc., complete as specified in Clause 2.2.6 of General conditions of Contract Part II.B74 (The specifications for attending to repair / reconditing works of pumpsets, panel boards, Valves, etc has to be detailed based on the data prepared and rate approval obtained for each items. The specifictaion has to be mentioned under the clause 1.7 of GCC - Part- I)
i) | Repairing / reconditioning of Pump for ____HP Open well type submersible Pumpsets including all material, labour, etc. | No. | ____ Nos.
ii) | and so on.................. | No. | ____ Nos.
iii) | Repairing / reconditioning of Pump for ____HP Bore well type submersible Pumpsets including all material, labour, etc. | No. | ____ Nos.
iv) | and so on.................. | No. | ____ Nos.
v) | Repairing / reconditioning of Pump for ____HP HSC Pumpsets including all material, labour, etc. | No. | ____ Nos.
vi) | and so on.................. | No. | ____ Nos.
vii) | Repairing / reconditioning of Pump for ____HP Verticle Turbine Pumpsets including all material, labour, etc. | No. | ____ Nos.
viii) | and so on.................. | No. | ____ Nos.
ix) | Repairing / reconditioning of ____HP panel board including all material, labour (specify type of panel board and type of repair to be carried out). | No. | ____ Nos.
x) | and so on.................. | No. | ____ Nos.
xi) | Repairing / reconditioning of ____mm size Sluice Valve (for line valve / for Scour valve) including all material, labour (specify type of Sluice Valve and type of repair to be carried out). | No. | ____ Nos.
xii) | and so on.................. | No. | ____ Nos.
xiii) | Repairing / reconditioning of ____mm size Air Valve including all material, labour (specify type of Air Valve and type of repair to be carried out). | No. | ____ Nos.
xiv) | and so on.................. | No. | ____ Nos.
xv) | and all other repair works anticipated in this scheme / Package (if applicable as the case may be)
6 | Supply, delivery and application of disinfection dosages as per standard norms / guidelines including cost of all disinfectents (such as bleaching powder, chlorine cylinder, silver ionization rods as applicable to this CWSS), labour charges and all incidental charges for disinfection of the water supplied from this CWSS to ensure the portable quality of disinfected water at all delivery points / tail ends, testing of water samples including additional / required / instructed dosage during the period of Flood/ Calamities etc., complete.
i) | Bleaching powder of _____% concentration as per standard specification. | MT | _____ MT
ii) | Chlorine Cylinder of ____ capacity as per standard specification. | No. | ____ Nos.
iii) | Silver Ionization rod as per standard specification. | No. | ____ Nos.
iv) | and so on.................. | No. | ____ Nos.
7 | Cleaning of all storage points like sumps, elevated reservoirs of various capacities available in this scheme at a frequency of once in two months including scrapping the inner side of compartment completely, scouring / dewatering / desilting using required machineries, materials, labour and all other incidental charges, application of bleaching powder/ solution etc complete.
i) | ____ LL capacity of sump | No. | ____ Nos.
ii) | and so on …. | No. | ____ Nos.
iii) | ____ LL capacity of Elevated Reservoirs | No. | ____ Nos.
iv) | and so on ………………. | No. | ____ Nos.
8 | Supply and delivery of the following Electrical Works :consumable items at the site of work to carryout the general maintenace works
H.G. Fuses
Jumpers
Insulator (porcelein) – one phase
A-B switch – one phase
No-volt coil for A.C.B. and O.C.B
Jumper with socket inside the panel
Cable lugs including terminations
H.R.C. Fuses
contacts or contactors, repairs to isolators
Volt Meter
Ammeter
Bulbs ( LED / Tube / Incandescent / others)
Choke
Starter
Others if any shall be entered
9 | Supply and delivery of the following consumable items for Pump Set repairs at the site of work to carryout the general maintenace works
Coupling bolt & nuts including
Rubber bushes
Gland
Impeller nut
Terminal plate in the motor
Carbon brushes
Brush holder
Grease
Packing rope 10mm
Packing rope 12 mm
Packing rope 16 mm
R I Sheet
Others if any shall be entered
10 | Supply and delivery of the following consumable items for Valve repairs at the site of work to carryout the general maintenace works
Spindle nut in sluice valves
Glands in valves
Ball in air valves
Others if any shall be entered
11 | Supply and delivery of the following consumable items for D G Set at the site of work to carryout the general maintenace works
Burnt-out spares in the battery charger of D.G.
Self-starter in the case of D.G.
Cut-out of D.G.
Others if any shall be entered
Rs.
(Rupees _______________________________________________________________________________________ only )

## Schedule A
SCHEDULE - A
NAME OF WORK: CWSS to Vellore Corporation, 11 Municipalities, 5 Town Panchayats and 944 Rural habitations under Package I To III in Vellore, Tirupathur and Ranipet Districts for the period of 8 months from 01.08.2022 to 31.03.2023.- (Second call)
Sl. No. | Description of Work | Unit | Quantity | Rate (Both in figures and words) |  | Amount (in Rs.)
|  |  |  | In Fig | In Words
1 | Operation and Maintenance of the Electro Mechanical installations, equipments, components, pipelines valves and appurtenances, water retaining structures including protecton of all schemee components from damages/ theft undertaking legal actions for such untoward incidents, preventive maintenance, disinfection and deliverance of water as per quality standards and supply of earmarked quantity of water to the beneficiaries as per Annexure - I, carrying out the O&M as per standard operating procedures, Acts and rules in force etc., complete and as directed by TWAD Board Oficers and excluding cost towards attending leak, burst repair and replacement works to electro mechanical installations consumables for disinfection of water, cleaning of all water retaining structure, electricity . | 1 MLD | 34960.41
2 | Attending Leaks in the pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all other incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract - Part II. (The specifications for attending leaks has to be detailed based on the data prepared and rate approval obtained for each size and material of pipes. The specifictaion has to be mentioned under the clause 1.7 of GCC - Part- I)
Attending Leaks in the PVC pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all other incidental charges, etc complete within the stipulated time limit as directed by the TWAD Board officers.
I | 4 KSC Pipes
a | 63mm OD PVC 4 KSC pipes | M | 236
b | 75mm OD PVC 4 KSC pipes | M | 72
c | 90mm OD PVC 4 KSC pipes | M | 125
d | 110mm OD PVC 4 KSC pipes | M | 170
e | 140mm OD PVC 4 KSC pipes | M | 100
f | 160mm OD PVC 4 KSC pipes | M | 42
g | 180mm OD PVC 4 KSC pipes | M | 10
h | 200mm OD PVC 4 KSC pipes | M | 86
II | 6 KSC Pipes
a | 63mm OD PVC 6 KSC pipes | M | 22
b | 75mm OD PVC 6 KSC pipes | M | 16
c | 90mm OD PVC 6 KSC pipes | M | 35
d | 110mm OD PVC 6 KSC pipes | M | 22
e | 140mm OD PVC 6 KSC pipes | M | 10
f | 160mm OD PVC 6 KSC pipes | M | 10
g | 180mm OD PVC 6 KSC pipes | M | 10
h | 200mm OD PVC 6 KSC pipes | M | 52
III | 10 KSC Pipes
a | 90mm OD PVC 10 KSC pipes | M | 22
b | 110mm OD PVC 10 KSC pipes | M | 10
c | 140mm OD PVC 10 KSC pipes | M | 20
d | 200mm OD PVC 10 KSC pipes | M | 55
3 | Attending joint Leaks in the DI pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all incidental charges, etc complete within the stipulated time limit as specified in Clause 2.6.4 of General conditions of Contract
a | 100mm DI pipes | Nos. | 12
b | 150mm DI pipes | Nos. | 12
c | 200mm DI pipes | Nos. | 18
d | 250mm DI pipes | Nos. | 20
e | 300mm DI pipes | Nos. | 33
f | 350mm DI pipes | Nos. | 10
g | 400mm DI pipes | Nos. | 20
h | 450mm DI pipes | Nos. | 10
i | 500mm DI pipes | Nos. | 5
j | 600mm DI pipes | Nos. | 5
4 | Attending leaks using welding works in the DI pipelines damaged by highways, local bodies and etc., of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all incidental charges, etc complete within the stipulated time limit as specified in Clause 2.6.4 of General conditions of Contract
a | 100mm DI pipes | Nos. | 10
b | 150mm DI pipes | Nos. | 10
c | 200mm DI pipes | Nos. | 10
d | 250mm DI pipes | Nos. | 10
e | 300mm DI pipes | Nos. | 10
f | 350mm DI pipes | Nos. | 5
g | 400mm DI pipes | Nos. | 5
h | 450mm DI pipes | Nos. | 5
i | 500mm DI pipes | Nos. | 5
j | 600mm DI pipes | Nos. | 5
5 | Attending leaks using clampset works in the DI pipelines damaged by highways, local bodies and etc., of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all incidental charges, etc complete within the stipulated time limit as specified in Clause 2.6.4 of General conditions of Contract
a | 100mm DI pipes | Nos. | 10
b | 150mm DI pipes | Nos. | 10
c | 200mm DI pipes | Nos. | 10
d | 250mm DI pipes | Nos. | 10
e | 300mm DI pipes | Nos. | 10
f | 350mm DI pipes | Nos. | 5
g | 400mm DI pipes | Nos. | 5
h | 450mm DI pipes | Nos. | 5
i | 500mm DI pipes | Nos. | 5
j | 600mm DI pipes | Nos. | 5
6 | Open Well Submersible Pump Set
a | Rewinding of motor and reconditioning of pumpset and repair works to 1 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 2 Nos | No. | 1
b | Rewinding of motor and reconditioning of pumpset and repair works to 2 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 14 Nos | Nos. | 4
c | Rewinding of motor and reconditioning of pumpset and repair works to 3 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 37+13 Nos | Nos. | 18
d | Rewinding of motor and reconditioning of pumpset and repair works to 4 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 1 Nos | No. | 1
e | Rewinding of motor and reconditioning of pumpset and repair works to 5 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 33+3 Nos | Nos. | 14
f | Rewinding of motor and reconditioning of pumpset and repair works to 7.5 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 10 + 2 Nos | Nos. | 8
g | Rewinding of motor and reconditioning of pumpset and repair works to 10 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 4 + 6 Nos | Nos. | 4
h | Rewinding of motor and reconditioning of pumpset and repair works to 12.5 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 5 + 2 Nos | Nos. | 4
i | Rewinding of motor and reconditioning of pumpset and repair works to 15 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 6 + 1 Nos | Nos. | 4
j | Rewinding of motor and reconditioning of pumpset and repair works to 20 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 8 + 1 Nos | Nos. | 3
k | Rewinding of motor and reconditioning of pumpset and repair works to 25 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 1 +1 Nos | Nos. | 2
l | Rewinding of motor and reconditioning of pumpset and repair works to 30 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 3 +3 Nos | Nos. | 2
m | Rewinding of motor and reconditioning of pumpset and repair works to 35 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 1 Nos | No. | 1
n | Rewinding of motor and reconditioning of pumpset and repair works to 40 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 1 Nos | Job. | 1
o | Rewinding of motor and reconditioning of pumpset and repair works to 45 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 1 Nos | No. | 1
p | Rewinding of motor and reconditioning of pumpset and repair works to 50 HP Open Well Submersible Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 1 Nos | No. | 1
7 | HSC Pumpsets
a | Rewinding of motor and reconditioning of pumpset and repair works to 20HP centrifugal HSC Motor Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 3 Nos | No. | 1
b | Rewinding of motor and reconditioning of pumpset and repair works to 30HP centrifugal HSC Motor Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 2 Nos | No. | 1
c | Rewinding of motor and reconditioning of pumpset and repair works to 35HP centrifugal HSC Motor Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 1 Nos | No. | 1
d | Rewinding of motor and reconditioning of pumpset and repair works to 40HP centrifugal HSC Motor Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 3 Nos | No. | 1
e | Rewinding of motor and reconditioning of pumpset and repair works to 50HP centrifugal HSC Motor Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 1 Nos | No. | 1
f | Rewinding of motor and reconditioning of pumpset and repair works to 60HP centrifugal HSC Motor Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 4 Nos | No. | 1
g | Rewinding of motor and reconditioning of pumpset and repair works to 75HP centrifugal HSC Motor Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 2 Nos | No. | 1
h | Rewinding of motor and reconditioning of pumpset and repair works to 120HP centrifugal HSC Motor Pump Set including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 2 Nos | No. | 1
8 | VT Pumpsets
a | Rewinding of motor and reconditioning of pumpset and repair works to 45 HP- vertical turbine pumpset at Tirupattur Muncipality including cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 1 Nos | Job. | 1
b | Rewinding of motor and reconditioning of pumpset and repair works to 60 HP Vertical Turbain Motor ncluding cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 1No | No. | 1
c | Rewinding of motor and reconditioning of pumpset and repair works to 75 HP Vertical Turbain Motor ncluding cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 1No | No. | 1
d | Rewinding of motor and reconditioning of pumpset and repair works to 100 HP Vertical Turbain Motor ncluding cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 1No | No. | 1
e | Rewinding of motor and reconditioning of pumpset and repair works to 150 HP Vertical Turbain Motor ncluding cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers - 2Nos | No. | 1
f | Rewinding of motor and reconditioning of pumpset and repair works to 200 HP Vertical Turbain Motor ncluding cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers at Muthumandapam sump - 1 Nos | No. | 1
g | Rewinding of motor and reconditioning of pumpset and repair works to 270 HP Vertical Turbain Motor ncluding cost of rewinding, bearing, bush, shaft and impeller sleeve, conveyance, labour charges for removing and re-erection of Submersible pumpset etc., complete and as directed by the TWAD Board Officers at Muthumandapam sump - 1 Nos | No. | 1
9 | ALUMINIUM CABLE
a | SUPPLY AND DELIVERY OF L.T. CABLES 25 sq mm 3.5 CORE 1.1 KV GRADE ARMOURED ALUMINIUM CONDUCTOR CROSS LINKED POLY ETHYLENE INSULATED PVC SHEATHED CABLES CONFORMING TO IS 7098 (PART I)/1988 WITH ISI MARKING | M | 35
b | SUPPLY AND DELIVERY OF L.T. CABLES 35 sq mm 3.5 CORE 1.1 KV GRADE ARMOURED ALUMINIUM CONDUCTOR CROSS LINKED POLY ETHYLENE INSULATED PVC SHEATHED CABLES CONFORMING TO IS 7098 (PART I)/1988 WITH ISI MARKING | M | 25
c | SUPPLY AND DELIVERY OF L.T. CABLES 50 sq mm 3.5 CORE 1.1 KV GRADE ARMOURED ALUMINIUM CONDUCTOR CROSS LINKED POLY ETHYLENE INSULATED PVC SHEATHED CABLES CONFORMING TO IS 7098 (PART I)/1988 WITH ISI MARKING | M | 30
d | SUPPLY AND DELIVERY OF L.T. CABLES 70 sq mm 3.5 CORE 1.1 KV GRADE ARMOURED ALUMINIUM CONDUCTOR CROSS LINKED POLY ETHYLENE INSULATED PVC SHEATHED CABLES CONFORMING TO IS 7098 (PART I)/1988 WITH ISI MARKING | M | 20
e | SUPPLY AND DELIVERY OF L.T. CABLES 95 sq mm 3.5 CORE 1.1 KV GRADE ARMOURED ALUMINIUM CONDUCTOR CROSS LINKED POLY ETHYLENE INSULATED PVC SHEATHED CABLES CONFORMING TO IS 7098 (PART I)/1988 WITH ISI MARKING | M | 20
f | SUPPLY AND DELIVERY OF L.T. CABLES 25 sq mm 3.0 CORE 1.1 KV GRADE ARMOURED ALUMINIUM CONDUCTOR CROSS LINKED POLY ETHYLENE INSULATED PVC SHEATHED CABLES CONFORMING TO IS 7098 (PART I)/1988 WITH ISI MARKING | M | 30
g | SUPPLY AND DELIVERY OF L.T. CABLES 35 sq mm 3.0 CORE 1.1 KV GRADE ARMOURED ALUMINIUM CONDUCTOR CROSS LINKED POLY ETHYLENE INSULATED PVC SHEATHED CABLES CONFORMING TO IS 7098 (PART I)/1988 WITH ISI MARKING | M | 25
h | SUPPLY AND DELIVERY OF L.T. CABLES 50 sq mm 3.0 CORE 1.1 KV GRADE ARMOURED ALUMINIUM CONDUCTOR CROSS LINKED POLY ETHYLENE INSULATED PVC SHEATHED CABLES CONFORMING TO IS 7098 (PART I)/1988 WITH ISI MARKING | M | 25
i | SUPPLY AND DELIVERY OF L.T. CABLES 70 sq mm 3.0 CORE 1.1 KV GRADE ARMOURED ALUMINIUM CONDUCTOR CROSS LINKED POLY ETHYLENE INSULATED PVC SHEATHED CABLES CONFORMING TO IS 7098 (PART I)/1988 WITH ISI MARKING | M | 20
j | SUPPLY AND DELIVERY OF L.T. CABLES 95 sq mm 3.0 CORE 1.1 KV GRADE ARMOURED ALUMINIUM CONDUCTOR CROSS LINKED POLY ETHYLENE INSULATED PVC SHEATHED CABLES CONFORMING TO IS 7098 (PART I)/1988 WITH ISI MARKING | M | 20
10 | COPPER CABLE
a | SUPPLY AND DELIVERY OF PVC INSULATED AND SHEATHED 4 sq mm 3 CORE FLAT TYPE COPPER CABLE CONFORMING TO IS 694/1990 | M | 90
b | SUPPLY AND DELIVERY OF PVC INSULATED AND SHEATHED 6 sq mm 3 CORE FLAT TYPE COPPER CABLE CONFORMING TO IS 694/1990 | M | 25
c | SUPPLY AND DELIVERY OF PVC INSULATED AND SHEATHED 10 sq mm 3 CORE FLAT TYPE COPPER CABLE CONFORMING TO IS 694/1990 | M | 60
d | SUPPLY AND DELIVERY OF PVC INSULATED AND SHEATHED 16 sq mm 3 CORE FLAT TYPE COPPER CABLE CONFORMING TO IS 694/1990 | M | 20
e | SUPPLY AND DELIVERY OF PVC INSULATED AND SHEATHED 25 sq mm 3 CORE FLAT TYPE COPPER CABLE CONFORMING TO IS 694/1990 | M | 20
11 | Maintenance of UPS, Battery Chargers & stabilizers (1KVA / 5KVA) at 9 nos in 6 locations in Vellore CWSS(Pkg-1) | Nos. | 9
12 | Maintenance of PLC Panel at 11Nos in 6 locations in Vellore CWSS(Pkg-1) | Nos. | 11
13 | Maintenance of Electro Magnetic Flow meters of Sizes from DN 1500 at 6 locations in Vellore CWSS Package-I. | Nos. | 6
14 | Maintenance of Ultrasonic Level Transmitters and conductivity level switch Pressure transmitters in at 6 locations in Vellore CWSS (Pkg-1) | No. | 6
15 | Labour charges for Repair and renewal of Electrical, Mechanical and ICA equipments installed at Raw Water Pumping Station, Treated Water pumping Station and Booster pumping Stations complete and as directed by the TWAD Board officers. | Nos. | 6
16 | Labour charges for Repair and renewal of Electrical, Mechanical and ICA equipments of surge protection systems installed at Raw Water Pumping Station, Treated Water pumping Station and Booster pumping Stations and cathotic protection system for M.S pipeline etc.,complete and as directed by the TWAD Board officers. | Nos. | 4
17 | Labour charges Periodic checkup and preventive maintenance, conducting Earth value test, testing of Transformer oil and required tests for yearly inspection of Electrical Inspector (CEIG) for HT installations at Intake, Water Treatment Plant and Booster Pumping Station etc.,complete and as directed by the TWAD Board officers. | No. | 1
18 | Cleaning of all storage points like sumps, elevated reservoirs of various capacities available in this scheme at a frequency of once in two months including scrapping the inner side of compartment completely, scouring / dewatering / desilting using required machineries, materials, labour and all other incidental charges, application of bleaching powder/ solution etc complete.
a | 90 LL capacity of sump at Head works,BPS- I,BPS- II,BPS- III, and GLSR. | Nos. | 5
b | 31M Dia 4.5M depth Clarifier in WTP at Head works | Nos. | 6
19 | Chlorine contact tank , Treated water reservoir, Treated water sump cum pump well, Wash water recovery tank, sludge balancing tank at WTP, sump cum pump well at BPS, Master balancing reservoir as and when required and removal of dry sludge from sludge drying beds and disposal at dumping site as and when required etc., | No. | 1
a | 0.05LL to 0.20LL Capacity sump | No. | 14
b | 0.25LL to 0.35LL Capacity sumps | No. | 7
c | 0.40 to 0.60LL, Capacity sump | No. | 2
d | 0.65,LL to 1.05LL Capacity sump | No. | 5
e | 1.20LL to 2.50LL Capacity sump | No. | 5
f | 3.0LL to 6.05LL Capacity sump | No. | 4
g | 7.0LL to 10.00 LL Capacity of Sump | No. | 7
h | 12.0LL to 18.00LL Capacity of Sump | No. | 4
i | 23.00LL to 28.50 LL Capacity of Sump | No. | 1
j | 32.00LL to 33.50LL Capacity of Sump | No. | 1
20 | Supply and delivery of 150mm dia Pressure Gauge and Vaccum guage including all accessories as per specification (For Suction and Delivery to be mounted on wall on Teak Wood Board) | Nos., | 10
21 | Supply, delivey and fixing of MOULDED CASE CIRCUIT BREAKER (MCCB) WITH THERMO MAGNETIC RELEASE - 4 Pole
a | Range - 32-100 | No. | 1
b | Range - 125 | No. | 1
c | Range - 160 | No. | 1
d | Range - 200 | No. | 1
e | Range - 250 | No. | 1
f | Range - 320 | No. | 1
g | Range - 400 | No. | 1
h | Range - 630 | No. | 1
22 | Supply, delivey and fixing of RATE FOR MIXED DI-ELECTRIC CAPACITOR WITH TNEB TEST CERTIFICATE WITH ACCESSORIES INCLUDING BANKING CONFORMIING TO IS 2834. | KVAR | 100
23 | Supply, delivey and fixing of Electro magnetic contactors of suitable capacity in AC Three Phase rating, conforming to IS/IEC 60947-4-1.
a | 22 Amps | No. | 1
b | 32 Amps | No. | 1
c | 40 Amps | No. | 1
d | 50 Amps | No. | 1
e | 70 Amps | No. | 1
f | 80 Amps | No. | 1
g | 95 Amps | No. | 1
h | 110 Amps | No. | 1
i | 140 Amps | No. | 1
j | 185 Amps | No. | 1
k | 225 Amps | No. | 1
l | 250 Amps | No. | 1
m | 400 Amps | No. | 1
24 | Supply, delivey and fixing of Overload Relays: Directly operated Bimetallic Thermal overload relay which operates in case of overload and also in case of under voltage with manual and auto reset mode.
a | 10 A to 20 A | No. | 10
b | 20 A to 30 A | No. | 7
c | 30 A to 50 A | No. | 2
d | 50 A to 75 A | No. | 1
e | 75 A to 110 A | No. | 1
f | 110 A to 150 A | No. | 1
g | 150 A to 200 A | No. | 1
h | 200 A to 300 A | No. | 1
25 | Supply, delivey and fixing of Preventer – Single Phasing - Electric Motor protection device against single phasing. The device should protect the motor against single phasing, reverse phasing and unbalance supply. The device should be suitable for any auxillary device and have provisions for mounting in panel boards. Operate without need of any auxiliary supply. | Nos. | 100
26 | Supply, delivey and fixing of FUSE UNITS (ANCHOR /EQUIVALENT)
a | 63 Amps Porcelain fuse unit (500 V) | Nos. | 10
b | 100 Amps Porcelain fuse unit (500 V) | Nos. | 20
c | 200 Amps Porcelain fuse unit (500 V) | Nos. | 20
27 | Supply, delivey and fixing of CHANGE OVER SWITCHES
a | 16 Amps three phase 500 V 4 pole Change over switch | Nos. | 5
b | 32 Amps three phase 500 V 4 pole Change over switch | Nos. | 10
c | 63 Amps three phase 500 V 4 pole Change over switch | Nos. | 10
d | 100 Amps three phase 500 V 4 pole Change over switch | Nos. | 5
e | 125 A 4 pole Change Over Switch | Nos. | 2
f | 200 Amps three phase 500 V 4 pole Change over switch | No. | 1
g | 250A 3 phase 4 pole change over switch | No. | 1
28 | Supply, delivey and fixing of PVC INSULATED SINGLE CORE MULTI STRAND FIRE RETARDANT FLEXIBLE COPPER CABLE WITH ISI MARK CONFORMING TO IS
a | 36/0.3 ( 2.5 sq.mm ) | Nos. | 10
b | 56/0.3 ( 4 sq.mm ) | Nos. | 10
c | 84/0.3 ( 6 sq.mm ) | Nos. | 10
d | 140/0.3 ( 10 sq.mm ) | Nos. | 10
e | 101/0.45 ( 16 sq.mm ) | Nos. | 10
f | 168/0.45 ( 25 sq.mm ) | Nos. | 10
g | Volt Meter | Nos. | 13
h | Ammeter | Nos. | 13
i | Bulbs ( LED / Tube / Incandescent / others) | Nos. | 58
j | Choke | Nos. | 54
Others if any shall be entered
29 | Supply and delivery of the following consumable items for Pump Set repairs at the site of work to carryout the general maintenace works
a | 50mm GM Gate valve | No | 15
b | 80mm GM Gate valve | No | 25
c | 100mm GM Gate valve | No | 8
d | R I Sheet | Kg | 12
e | Bolts and Nuts - All sizes | Kg | 300
f | 50mm GI Pipe | m | 60
g | 80mm GI Pipe | m | 60
h | 100mm GI pipe | m | 42
Rs.
(Rupees ……………………………………………………………………………………………………………. only )