SALIENT DETAILS

1)	Name of the Scheme		CWSS to 227 Habitations in Andimadam Union

13 Wayside Habitation in Jayankondam Union

and Varatharajan Pettai RTP in Ariyalur District

2)        Scheme Cost

- Installation cost                    : Rs.

b.   Annual Maintenance cost   : Rs.

3)	Administrative Sanction	     : Rs. 3565.00 Lakhs

(Amount and No.)		        GO MS. No. 113/MA&WS/Dt. 23.08.2000

4) 	Technical Sanction 		      : Rs. 3158.00  Lakhs

(Amount and No.)		         CE/ER/TNJ/ No. 22/2000-2001/dt. 26.09.2000

5) 	Population

| S. No. | ## Particulars | ## Population |  |  |
| --- | --- | --- | --- | --- |
|  |  | Pre (2001) | Int. (2016) | Ult. (2031) |
| 1 | Rural Habitation in Andimadam Union | 114827 | 137793 | 160763 |
| 2 | Wayside Rural Habitation in Jayankondam Union | 9981 | 11978 | 13972 |
| 3 | Varatharajan Pettai RTP | 9000 | 11000 | 14000 |
|  | # Total | 133808 | 160771 | 188735 |

6) 	Designed Quantity:

| S. No. | ## Particulars | ## Population |  |  |
| --- | --- | --- | --- | --- |
|  |  | Pre (2001) | Int. (2016) | Ult. (2031) |
|  | # Total | 7.49 MLD | 9.00 MLD | 10.59 MLD |

7)	Hours of Pumping		                       16 Hrs.		16 Hrs.		16 Hrs.

8)	Level of Service

Rural			                   :  55 lpcd

Rural Town Panchayat 	       :  70 lpcd

9) 	Head Works details

a) Source			                   : River Coleroon – Near Valkai

Infiltration well – 6.00m Dia.

b) Pump set			                   : 125 HP: 10317 lpm x 41 M Head

10)  Booster Stations

T. Palur      	       			   Jayankodam

Sump		  	8.00 lakhs				    8.00 lakhs

Pump House	  	9.00 x 6.00m                         		   12.00 x 8.00m

Pump Sets	 	167.50HP 10317 lpm x 46m  		   125HP 7017 lpm x 57m

25 HP 3052 lpm x 24m

11) Pumping Main

- Pumping Main	 - I (Head Work to T.Palur Sump)

600mm PSC 8 KSC 	9167 M

600mm PSC 4 KSC  11723 M

# Total	          20890 M

- Pumping Main – II (T.Palur Sump to Jayankondam Sump)

600mm PSC 12 KSC 	 8240  M

600mm PSC   8 KSC   6325  M

# Total	           14565  M

# 12) Group Sumps

| Sl. No. | Name of Location |  | HP | Capacity of Sump in Lakh Litres | Pump House Size | Duty of Pumpset |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Angarayanallur |  | 3.00 | 0.20 | 4 x 3 | 248 lpm x 17m |
| 2. | Elayur Mariamman Kovil |  | 5.00 | 0.20 | 4 x 3 | 275 lpm x 30m |
| 3. | Elayur Colony |  | 2.00 | 0.20 | 4 x 3 | 200 lpm x 18m |
| 4. | Devanur |  | 5.00 | 1.50 | 4 x 3 | 416 lpm x 29m |
| 5. | Variyankaval East |  | 2.00 | 0.20 | 4 x 3 | 260 lpm x 18m |
| 6. | Variyankaval Hospital |  | 3.50 | 1.00 | 6 x 4 | 1783 lpm x 55m |
| 7. | Kuwagam | 15.00 1.50 |  | 1.00 | 6 x 4 | 715 lpm x 46m 212 lpm x 14m |
| 8. | Edayakurichi | 5.00 |  | 2.00 | 4 x 3 | 402 lpm x 20m |
| 9. | Agneshpuram | 5.00 |  | 2.00 | 4 x 3 | 426 lpm x 23m |
| 10. | Koovathur West | 7.50 |  | 2.00 | 4 x 3 | 449 lpm x 29m |
| 11. | Ayyur | 2.00 |  | 1.00 | 4 x 3 | 227 lpm x 17m |
| 12. | Kavarapalayam | 1.00 |  | 1.00 | 4 x 3 | 157 lpm x 14m |
| 13. | Manakollai | 1.00 |  | 0.30 | 4 x 3 | 79 lpm x 15m |
| 14. | Agaram | 2.00 |  | 1.00 | 4 x 3 | 231 lpm x 15m |
| 15. | Kumalankudi | 3.00 |  | 2.00 | 4 x 3 | 492 lpm x 16m |
| 16. | Silambur | 1.50 |  | 1.00 | 4 x 3 | 141 lpm x 18m |
| 17. | Pukkuli | 1.50 |  | 1.00 | 4 x 3 | 180 lpm x 14m |
| 18. | Alagapuram | 1.00 |  | 0.60 | 4 x 3 | 163 lpm x 13m |
| 19. | Alagapuram Colony | 1.00 |  | 0.60 | 4 x 3 | 96 lpm x 15 m |
| 20. | Alagapuram Naidu Street | 3.00 1.00 |  | 2.00 | 6 x 4 | 394 lpm x 19m 67 lpm x 14 m |

13) Branch Main Details

# Branch Main  - 1 to Angarayanallur Sump :  110mm PVC 4 KSC  - 174 m

# Branch Main –  2 to Variyankavar Hospital Sump

350mm PSC 8 KSC –   5838  M

350mm PSC 6 KSC –   2045  M

350mm PSC 4 KSC –   1282  M

250mm AC CL 15    –    700  M

Total		              9865  M

- Branch Main – 3 to Agneshpuram Sump   :  75  mm PVC 6 KSC  – 1308  M

# Branch Main – 4 to Koovathur Sump         : 90mm PVC 6 KSC   – 431  M

75mm PVC 6 KSC   – 538   M

Total	                969  M

e.   Branch Main – 5 to Ayyur Sump                :140mm PVC 4 KSC – 5196    M

110mm PVC 4 KSC – 2250    M

Total                          7446   M

- Branch Main – 6 to Vilathai Stand post     : 250mm AC CL-15 –      300    M

200mm AC CL-15 –     1645    M

Total	     	                1945    M

g. Branch Main – 7 to Soorakuzhi Standpost :450mm PSC 16 KSC -  3899   M

450mm PSC 14 KSC -  4331   M

400mm PSC 14 KSC -  1478   M

400mm PSC 12 KSC -  2925   M

400mm PSC  8 KSC	-       52    M

300mm AC CL – 15 -    1153   M

200mm AC CL – 15	-        20   M

Total		            -  13858   M

# h.Branch Main – 8 to Alagapuram Naidu Street Sump

250mm AC CL-15	-   5102    M

200mm AC CL-15	-     420    M

140mm PVC 4 KSC	-   2093    M

110mm PVC 4 KSC	-     998    M

Total                       -    8613    M

i.Branch Main – 11 to Kwagam Sump    : 250mm AC CL-15	-    1685    M

200mm AC CL-15	-    3060    M

150mm AC CL-15	-    1189    M

140mm PVC 4 KSC	-      582    M

Total		-                6516    M

# j. Branch Main – 12 to Edayakurichi Sump :  200mm AC CL-15    -       4212    m

140mm PVC 4 KSC  -	  4375    m

110mm PVC 4 KSC  -          30    m

Total		       -        617    m

# Branch Main to Agaram Sump		-	75mm PVC 4 KSC – 348   m

Branch Main to Kumalankudi Sump			-	110mm PVC 4 KSC –139  m

Branch Main to Alagapuram Sump			-	63mm PVC 4 KSC –    30  m

Branch Main to Alagapuram Colony Sump		-	63mm PVC 4 KSC –  696  m

Branch Main to Kavarapalayam Sump		-	63mm PVC 4 KSC –    55  m

Branch ain to Manakollai Sump			-	50mm PVC 6 KSC –    20  m

Branch Main to Silambur Sump			-	75mm PVC 4 KSC –  579  m

Branch Main to Pukkuli Sump			-	140mm PVC 4 KSC –  2162  M

110mm PVC 4 KSC –    289  M

90mm PVC 4 KSC –    473  M

110mm PVC 4 KSC –  4123  M

Branch Main to Elayur Mariamman Kovil Sump	-	63mm PVC 4 KSC – 50    M

Branch Main to Elayur Colony Sump			-	63mm PVC 4 KSC – 50    M

Branch Main to Variyankavar East Sump		-	90mm PVC 4 KSC – 80    M

Branch Main to Devanur Sump			-	150mm AC CL-15 – 3985 M

Branch Main to Sengamedu Sump (Varatharajan Pettai) -	200mm AC CL-15 – 5574  M

# Gravity Main – I

From Surakuli Standpost to Viluthudaiyan

150mm AC CL-10   -   2616   m

140mm PVC 4 KSC -   2958   m

110mm PVC 4 KSC -   3075   m

90mm PVC 4 KSC -   1395   m

63 mm PVC 6 KSC-     613   m

Total	                      10657   m

j) Booster Main Details

# Booster Main  - 1 to Angarayanallur Sump

110mm PVC 4 KSC  - 174 m

# Booster Main –  2 to Variyankavar Hospital Sump

350mm PSC 8 KSC –   5838  M

350mm PSC 6 KSC –   2045  M

350mm PSC 4 KSC –   1282  M          9.165 Km

250mm AC CL 15    –    700  M

------------

Total		              9865  M

------------

# Booster Main – 3 to Agneshpuram Sump

75mm PVC 6 KSC  – 1308  M

# Booster Main – 4 to Koovathur Sump

90mm PVC 6 KSC   – 431   M

75mm PVC 6 KSC   – 538   M

-----------

Total		             969   M

-----------

# Booster Main – 5 to Ayyur Sump

140mm PVC 4 KSC – 	5196    M

110mm PVC 4 KSC – 	2250    M

-------

Total		          	7446   M

------

# Booster Main – 6 to Vilathai Stand post

250mm AC CL-15 –   	       300     M

200mm AC CL-15 –		    1645    M

--------

Total		         		    1945   M

--------

Booster Main – 7 to Soorakuzhi Standpost

450mm PSC 16 KSC	-	3899   m                    8.230 Km

450mm PSC 14 KSC	-	4331   m

400mm PSC 14 KSC	-	1478   m

400mm PSC 12 KSC	-	2925   m                    4.455 Km

400mm PSC  8 KSC	-	    52  m

300mm AC CL – 15 	-	   1153    m

200mm AC CL – 15	-	       20    m

--------

Total		-      13858    m

---------

# Booster Main – 8 to Alagapuram Naidu Street Sump

250mm AC CL-15	-	5102    m

200mm AC CL-15	-	   420    m

140mm PVC 4 KSC	-	 2093    m

110mm PVC 4 KSC	-	    998    m

-----------

Total		-	  8613     m

----------

# Booster Main – 11 to Kwagam Sump

250mm AC CL-15	-	1685m

200mm AC CL-15	-	3060 m

150mm AC CL-15	-	1189 m

140mm PVC 4 KSC	-	582  m

110mm PVC 4 KSC	-

----------

Total		-	6516 m

# Booster Main – 12 to Edayakurichi Sump

200mm AC CL-15	-	4212    m

140mm PVC 4 KSC	-	4375    m

110mm PVC 4 KSC	-	    30    m

-------

Total			-	8617m

---------

# Branch Main to Agaram Sump		-	75mm PVC 4 KSC – 348   m

Branch Main to Kumalankudi Sump			-	110mm PVC 4 KSC –139  m

Branch Main to Alagapuram Sump			-	63mm PVC 4 KSC –    30  m

Branch Main to Alagapuram Colony Sump		-	63mm PVC 4 KSC –  696  m

Branch Main to Kavarapalayam Sump		-	63mm PVC 4 KSC –    55  m

Branch ain to Manakollai Sump			-	50mm PVC 6 KSC –    20  m

Branch Main to Silambur Sump			-	75mm PVC 4 KSC –  579  m

Branch Main to Pukkuli Sump			-	140mm PVC 4 KSC –  2162  M

110mm PVC 4 KSC –    289  M

90mm PVC 4 KSC –    473  M

110mm PVC 4 KSC –  4123  M

Branch Main to Elayur Mariamman Kovil Sump	-	63mm PVC 4 KSC – 50    M

Branch Main to Elayur Colony Sump			-	63mm PVC 4 KSC – 50    M

Branch Main to Variyankavar East Sump		-	90mm PVC 4 KSC – 80    M

Branch Main to Devanur Sump			-	150mm AC CL-15 – 3985 M

Branch Main to Sengamedu Sump (Varatharajan Pettai) -	200mm AC CL-15 – 5574  M

# Gravity Main – I

From Surakuli Standpost to Viluthudaiyan

150mm AC CL-10	-	2616  m

140mm PVC 4 KSC	-	2958  m

110mm PVC 4 KSC	-	3075  m

90mm PVC 4 KSC	-	1395  m

63 mm PVC 6 KSC	-	   613 m

-----------

Total			-	10657 m

-----------