## folder
TAMIL NADU WATER SUPPLY AND DRAINAGE BOARD
OFFICE OF THE CHIEF ENGINEER,
OPPOSITE TO MATTUTHAVANI BUS STAND,
1/1, SAMBAKULAM, MADURAI -625007
OPERATION AND MAINTENANCE OF CWSS TO NANGUNERI, THISAYAVILAI TOWN PANCHAYATS AND 297 RURAL HABITATIONS IN TIRUNELVELI DISTRICT including repair and rectification works for the period from 16.07.2022 to 31.03.2023 (2nd Call)
BILL OF QUANTITES

## BillofQty
NAME OF SCHEME :- OPERATION AND MAINTENANCE OF CWSS TO NANGUNERI, THISAYAVILAI TOWN PANCHAYATS AND 297 RURAL HABITATIONS IN TIRUNELVELI DISTRICT FOR THE YEAR 2022-2023
BILL OF QUANTITIES
General
The Bill of Quantities shall contain items for the construction, installation, testing, commissioning and maintenance of the Works to be carried out by the Contractor
The Bill of Quantities will be used to calculate the Contract Price. The contractor shall be paid for the quantum of work done at the rate furnished for each item in the Bill of Quantities.
Where there is a discrepancy between the rates in words and figures, the lesser of the two will only be taken into consideration.
Where there is a discrepancy between the unit rate and line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern.
Where there is an arithmetical discrepancy in the page total as well as grand total, the corrected total by the Employer will govern
The rates furnished in the BOQ shall be for carrying out the work in conformity to the BIS, TNBP and Technical Specifications and other Terms and Conditions set out in the Bid Document
All pages in the BOQ should be signed without omission. All corrections/over writing should be properly attested by the Bidder.
Change in the Quantities
If the final quantity of the work done differs from the quantity in the Bill of Quantities for the particular item/items, the rates as in the agreement for the relevant items shall be paid.
GST
GST is applicable as per GO. 296, Finance(salaries) Dept. Dt. 09.10.2017, GOI, Ministry of finance – central tax (Rate) New Delhi, notification No. 11/2017/ Dt. 28.06.2017 and as amended from time to time.From every payment made to the firm/ contractor, deduction at source towards GST shall be made for civil works contract as per Government of India, Ministry of Finance/ Department of Revenue, New Delhi Notification No. 20 / 2017 – Central Tax (Rate) / Dt.22.08.2017 subject to issue of amendments from time to time.
Name of Work :
OPERATION AND MAINTENANCE OF CWSS TO NANGUNERI, THISAYAVILAI TOWN PANCHAYATS AND 297 RURAL HABITATIONS IN TIRUNELVELI DISTRICT including repair and rectification works for the period from 16.07.2022 to 31.03.2023 (2nd Call)
-----------------------------------------------------------------------------------------------------------------
Sl.No. Description of Quantity Specifi Unit Rate Amount
Item of Work cation ---------------------------
in in
Figures Words
-----------------------------------------------------------------------------------------------------------------

## Gl_ABS
GENERAL ABSTRACT
Name of Scheme: OPERATION AND MAINTENANCE OF CWSS TO NANGUNERI, THISAYAVILAI TOWN PANCHAYATS AND 297 RURAL HABITATIONS IN TIRUNELVELI DISTRICT
SCHEDULE - A | NAME OF COMPONENT | Amount Rs. Ps.
1 | OPERATION AND MAINTENANCE OF CWSS TO NANGUNERI, THISAYAVILAI TOWN PANCHAYATS AND 297 RURAL HABITATIONS IN TIRUNELVELI DISTRICT including repair and rectification works for the period from 16.07.2022 to 31.03.2023 | 0
| TOTAL | 0

## Schedule A 1
Schedule - A 1
NAME OF WORK :OPERATION AND MAINTENANCE OF CWSS TO NANGUNERI, THISAYAVILAI TOWN PANCHAYATS AND 297 RURAL HABITATIONS IN TIRUNELVELI DISTRICT
NAME OF WORK : OUTSOURSING OF OPERATION AND MAINTENANCE OF CWSS TO NANGUNERI, THISAYAVILAI TOWN PANCHAYATS AND 297 RURAL HABITATIONS IN TIRUNELVELI DISTRICT including repair and rectification works for the period from 16.07.2022 to 31.03.2023
Sl.No. | Description of work | Quantity |  | TNBP No. Other specification | Unit | Rate |  | Amount
[6 empty] | in figures | in words
1 | Operation and Maintenance of the Electro Mechanical installations, equipments, components, pipelines valves and appurtenances, water retaining structures including protector of all schemee components from damages/ theft undertaking legal actions for such untoward incidents, preventive maintenance, disinfection and deliverance of water as per quality standards and supply of earmarked quantity of water to the beneficiaries as per Annexure 10.62 MLD, carrying out the O&M as per standard operating procedures, Acts and rules in force and as directed by TWAD Board Oficers and excluding cost towards attending leak, burst repair and replacement works to electro mechanical installations consumables for disinfection of water, cleaning of all water retaining structure, electricity etc complete and as directed by TWAD Board officers (259*10.62) | 2750.58 | ML | Special specifications | One ML |  |  | 0
2 | Attending Burst in the pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract - Part II. etc complete and as directed by TWAD Board officers | [6 empty] | 0
i) | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of PSC pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. |  |  | SS 20 B,23, 95 and Special specifications |  |  |  | 0
a) | For Pipes of various sizes ( AC & PSC) | 588.008 | m3 |  | One cubic metre |  |  | 0
3 | Supply and delivery of lead wool as per sample including loading, umloading and transportation charges etc. complete and as directed by TWAD Bd. Officers |  |  | Special specifications |  |  |  | 0
i | 150 mm AC of Various Classes | 4 | Kg |  | One kilogram |  |  | 0
ii | 200 mm AC of Various Classes | 45 | Kg |  | One kilogram |  |  | 0
iii | 300 mm AC of Various Classes | 40 | Kg |  | One kilogram |  |  | 0
iv | 400 mm AC of Various Classes | 16 | Kg |  | One kilogram |  |  | 0
v | 500 mm dia PSC Pipe Various Classes | 200 | Kg |  | One kilogram |  |  | 0
vi | 400 mm dia PSC Pipe Various Classes | 60 | Kg |  | One kilogram |  |  | 0
vii | 350 mm dia PSC Pipe Various Classes | 100 | Kg |  | One kilogram |  |  | 0
4 | Supply and delivery of Hard crete oil as per sample including loading, umloading and transportation charges etc. complete and as directed by TWAD Bd. Officers |  |  | Special specifications |  |  |  | 0
i | 150 mm AC of Various Classes | 4 | lit |  | One litre |  |  | 0
ii | 200 mm AC of Various Classes | 45 | lit |  | One litre |  |  | 0
iii | 300 mm AC of Various Classes | 60 | lit |  | One litre |  |  | 0
iv | 400 mm AC of Various Classes | 24 | lit |  | One litre |  |  | 0
v | 350 mm dia PSC Pipe Various Classes | 50 | lit |  | One litre |  |  | 0
vi | 500 mm dia PSC Pipe Various Classes | 125 | lit |  | One litre |  |  | 0
vii | 400 mm dia PSC Pipe Various Classes | 30 | lit |  | One litre |  |  | 0
5 | Supply and delivery of cement |  |  | Special specifications |  |  |  | 0
i | 150 mm AC of Various Classes | 10 | Kg |  | One kilogram |  |  | 0
ii | 200 mm AC of Various Classes | 105 | Kg |  | One kilogram |  |  | 0
iii | 300 mm AC of Various Classes | 90 | Kg |  | One kilogram |  |  | 0
iv | 400 mm AC of Various Classes | 36 | Kg |  | One kilogram |  |  | 0
v | 350 mm dia PSC Pipe Various Classes | 125 | Kg |  | One kilogram |  |  | 0
vi | 500 mm dia PSC Pipe Various Classes | 250 | Kg |  | One kilogram |  |  | 0
vii | 400 mm dia PSC Pipe Various Classes | 70 | Kg |  | One kilogram |  |  | 0
6 | Dewatering using 3HP to 70HP diesel engine pumpset including Hire charges, cost of Diesel, Engine oil, pump operator, labour charges, conveyance of pumpset and fuel to site and back, loading, unloading and any other incidental charges etc., complete and as directed by the TWAD Board officers. |  |  | Special specifications |  |  |  | 0
i | 150 mm AC of Various Classes | 2 | Hours |  | One hour |  |  | 0
ii | 200 mm AC of Various Classes | 15 | Hours |  | One hour |  |  | 0
iii | 300 mm AC of Various Classes | 10 | Hours |  | One hour |  |  | 0
iv | 400 mm AC of Various Classes | 4 | Hours |  | One hour |  |  | 0
v | 500 mm dia PSC Pipe Various Classes | 200 | Hours |  | One hour |  |  | 0
vi | 400 mm dia PSC Pipe Various Classes | 60 | Hours |  | One hour |  |  | 0
vii | 350 mm dia PSC Pipe Various Classes | 125 | Hours |  | One hour |  |  | 0
7 | Refilling with excavated soil (other than sand)complying with standard specification in layers of 15cm watered well rammed and consolidated after the pipes and specials are laid,jointed and tested etc. and removing and depositing the surplus earth at the places shown by the TWAD Board Officers. |  |  | SS 25 and Special specifications |  |  |  | 0
a | For Pipes of various sizes ( AC & PSC) | 588.008 | m3 |  | One cubic metre |  |  | 0
8 | Attending Leak in the pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract - Part II. etc complete and as directed by TWAD Board officers | [6 empty] | 0
a | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of AC pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. |  |  | SS 20 B,23, 95 and Special specifications |  |  |  | 0
i | For Pipes of various sizes ( AC & PSC) | 134.346 | m3 |  | One cubic metre |  |  | 0
9 | Supply and delivery of Leak Arresting CID joint Class 15 - as per IS 8794/1988 etc., complete and as directed by the TWAD Board officers. |  |  | IS 8794 / 1988 and Special specifications |  |  |  | 0
i | 400 mm dia AC Class 15 Pipe | 1 | No. |  | each |  |  | 0
ii | 300 mm dia AC Class 15 Pipe | 8 | Nos |  | each |  |  | 0
iii | 200 mm dia AC Class 15 Pipe | 8 | Nos |  | each |  |  | 0
iv | 150 mm dia AC Class 15 Pipe | 3 | Nos |  | each |  |  | 0
v | For 500 NB PSC of various classes Pipe | 5 | Nos |  | each |  |  | 0
vi | For 400 NB PSC of various classes Pipe | 3 | Nos |  | each |  |  | 0
vii | For 350 NB PSC of various classes Pipe | 5 | Nos |  | each |  |  | 0
10 | Dewatering using 3HP to 70HP diesel engine pumpset including Hire charges, cost of Diesel, Engine oil, pump operator, labour charges, conveyance of pumpset and fuel to site and back, loading, unloading and any other incidental charges etc., complete and as directed by the TWAD Board officers. |  |  | Special specifications |  |  |  | 0
i | 400 mm AC Class 15 | 3 | Hour |  | One hour |  |  | 0
ii | 300 mm AC Class 15 | 24 | Hour |  | One hour |  |  | 0
iii | 200 mm AC Class 15 | 16 | Hour |  | One hour |  |  | 0
iv | 150 mm AC Class 15 | 6 | Hour |  | One hour |  |  | 0
v | 500 mm dia PSC Pipe Various Classes | 20 | Hour |  | One hour |  |  | 0
vi | 400 mm dia PSC Pipe Various Classes | 12 | Hour |  | One hour |  |  | 0
vii | 350 mm dia PSC of various classes | 15 | Hour |  | One hour |  |  | 0
11 | Refilling with excavated soil (other than sand)complying with standard specification in layers of 15cm watered well rammed and consolidated after the pipes and specials are laid,jointed and tested etc. and removing and depositing the surplus earth at the places shown by the TWAD Board Officers. |  |  | SS 25 and Special specifications |  |  |  | 0
a | For Pipes of various sizes ( AC & PSC) | 134.346 | m3 |  | One cubic metre |  |  | 0
12 | Attending Burst in the pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract - Part II. etc complete and as directed by TWAD Board officers | [6 empty] | 0
i) | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of AC pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. |  |  | SS 20 B,23, 95 and Special specifications |  |  |  | 0
a | For PVC Pipes of various classes | 266.844 | m3 |  | One cubic metre |  |  | 0
b | For AC Pipes of various classes | 211.597 | m3 |  | One cubic metre |  |  | 0
c | For PSC Pipes of various classes | 35.775 | m3 |  | One cubic metre |  |  | 0
13 | Supply and delivery of the following sizes of pipes and specials confirming to IS other specifications as amended from time to time with ISI marking as specified in ISI and having the required working pressure and delivery at site of work including loading, unloading, freight, stacking and transit, insurance charges, etc., complete and as directed by TWAD Board officers. |  |  | Special specifications |  |  |  | 0
i | 50mm PVC 6KSC | 20 | m |  | One metre |  |  | 0
ii | 63mm PVC 4KSC | 60 | m |  | One metre |  |  | 0
iii | 75mm PVC 4KSC | 10 | m |  | One metre |  |  | 0
iv | 90mm PVC 4 KSC | 30 | m |  | One metre |  |  | 0
v | 110mm PVC 4KSC | 50 | m |  | One metre |  |  | 0
vi | 140mm PVC 4KSC | 30 | m |  | One metre |  |  | 0
vii | 160mm PVC 4KSC | 4 | m |  | One metre |  |  | 0
viii | 200mm PVC 4KSC | 10 | m |  | One metre |  |  | 0
ix) | 150 mm DI K7 Class | 20 | m |  | One metre |  |  | 0
x | 200 mm DI K7 Class | 8 | m |  | One metre |  |  | 0
xi | 300 mm DI K7 Class | 12 | m |  | One metre |  |  | 0
xii | 400 mm DI K7 Class | 20 | m |  | One metre |  |  | 0
xiii) | 355.6 mm x 4 mm thick MS PIPE | 8 | m |  | One metre |  |  | 0
xiv | 406.4 mm x 4 mm thick MS PIPE | 4 | m |  | One metre |  |  | 0
xv | 508 mm x 6.3 mm thick PIPE | 4 | m |  | One metre |  |  | 0
14 | Supply and delivery of following sizes of Specials conforming to IS specifications at site of work including loading, unloading, transportation, insurance, etc., Complete and as directed by TWAD Bd. officers. |  |  | Special specifications |  |  |  | 0
i | 50 mm PVC Coupler Fabricated 6 KSC | 20 | Nos |  | each |  |  | 0
ii | 63 mm PVC Coupler Fabricated 4 KSC | 60 | Nos |  | each |  |  | 0
iii | 75 mm PVC Coupler Fabricated 4 KSC | 10 | Nos |  | each |  |  | 0
iv | 90 mm PVC Coupler Fabricated 4 KSC | 30 | Nos |  | each |  |  | 0
v | 110 mm PVC Coupler Fabricated 4 KSC | 50 | Nos |  | each |  |  | 0
vi | 140 mm PVC Coupler Fabricated 4 KSC | 30 | Nos |  | each |  |  | 0
vii | 160 mm PVC Coupler Fabricated 4 KSC | 4 | Nos |  | each |  |  | 0
viii | 200 mm PVC Coupler Fabricated 4 KSC | 10 | Nos |  | each |  |  | 0
ix) | 150mm MJ Collars for DI pipe | 2 | Nos |  | each |  |  | 0
x | 200mm MJ Collars for DI pipe | 2 | Nos |  | each |  |  | 0
xi | 300mm MJ Collars for DI pipe | 2 | Nos |  | each |  |  | 0
xii | 400mm MJ Collars for DI pipe | 2 | Nos |  | each |  |  | 0
xiii) | 350mm PSC Collars for MS pipe | 4 | Nos |  | each |  |  | 0
xiv) | 400mm PSC Collars for MS pipe | 2 | Nos |  | each |  |  | 0
xv) | 500mm PSC Collars for MS pipe | 2 | Nos |  | each |  |  | 0
15 | Removing following the burst Pipes from the pipe line and removal of slushy soil and baling out water and replacing the pipe line with sound pipe including jointing and cost of refilling the pipe line with water for retesting the pipe line etc complete (excluding cost of sound pipe and jointing materials and earth work) and as directed by the TWAD Board Officers |  |  | Special specifications |  |  |  | 0
i | 50mm PVC 6KSC | 10 | Nos |  | each |  |  | 0
ii | 63mm PVC 4KSC | 30 | Nos |  | each |  |  | 0
iii | 75mm PVC 4KSC | 5 | Nos |  | each |  |  | 0
iv | 90mm PVC 4 KSC | 15 | Nos |  | each |  |  | 0
v | 110mm PVC 4KSC | 25 | Nos |  | each |  |  | 0
vi | 140mm PVC 4KSC | 15 | Nos |  | each |  |  | 0
vii | 160mm PVC 4KSC | 2 | Nos |  | each |  |  | 0
viii | 200mm PVC 4KSC | 5 | Nos |  | each |  |  | 0
ix) | 150 mm dia AC Class 15 Pipe | 5 | Nos |  | each |  |  | 0
x | 200 mm dia AC Class 15 Pipe | 2 | Nos |  | each |  |  | 0
xi | 300mm dia AC Class 15 Pipe | 3 | Nos |  | each |  |  | 0
xii | 400mm dia AC Class 15 Pipe | 5 | Nos |  | each |  |  | 0
xiii) | For 350 mm PSC Pipes of various classes | 2 | Nos |  | each |  |  | 0
xiv | For 400 mm PSC Pipes of various classes | 1 | No. |  | each |  |  | 0
xv | For 500 mm PSC Pipes of various classes | 1 | No. |  | each |  |  | 0
16 | Carrying out the repair works occuring during the maintenance period in the Electrical, Mechanical and Elctro-mechanical items to bring back the scheme / components into normal running conditition as per specification including all charges for dismantling, repair, reinstallation, conveyance, cost of materials and all other incidental charges within the stipulated time limit etc., complete as specified in Clause 2.2.6 of General conditions of Contract Part II.B74 complete and as directed by the TWAD Board officers. |  |  | Special specification and as per IE rules |  |  |  | 0
i) | Rewinding of motor and reconditioning pump and repair works to 5 HP Submersible Pump Set (580 LPM X 16 M) (600 LPM X 25 M ) (715 LPM X 15 M ) including cost of all material, conveyance ,labour charges for removing and re-erection of Submersible pumpset at Pathamadai Head Works - 15Nos | 7 | Nos |  | each |  |  | 0
ii) | Rewinding of motor and reconditioning pump and repair works to 7.5 HP Submersible Pump Set (including cost of all material, conveyance ,labour charges for removing and re-erection of Submersible pumpset at Pathamadai Head Works, Keelakaruvelankulam, Singikulam, Thisayanvilai, Chidambarapuram pump room - 5 Nos | 1 | Nos |  | each |  |  | 0
iii) | Rewinding of motor and repair works to 90 HP VT pumpset (7220 lpm x 39 m Head ) including cost of all material, conveyance ,labour charges for removing and re-erection of VT pumpset at Pathamadai Head Works Pump Room - 1 No | 1 | No |  | each |  |  | 0
iv) | Rewinding of motor and repair works to 75 HP VT pumpset (4623 lpm x 45 m Head ) including cost of all material, conveyance ,labour charges for removing and re-erection of VT pumpset at Pathamadai Head Works Pump Room - 1 No | 1 | No |  | each |  |  | 0
v) | Rewinding of motor and repair works to 120 HP HSC pumpset ( 5184 lpm x 51 m Head ) including cost of all material, conveyance, labour charges for removing and re-erection of centrifugal HSC Motor at Singikulam Booster Sump Pump Room - 1 Nos | 1 | No. |  | each |  |  | 0
vi) | Rewinding of motor and repair works to 60 HP HSC pumpset (3253 lpm x 52 m Head) (3525 lpm x 37 m Head) including cost of all material, conveyance, labour charges for removing and re-erection of centrifugal HSC Motor at Singikulam & Mavadi Pump Room - 2 Nos | 1 | Nos |  | each |  |  | 0
vii | Rewinding of motor and repair works to 12.5 HP centrigugal pumpset (700 lpm x 16 m Head ) including cost of all material, conveyance, labour charges for removing and re-erection of centrifugal Motor at Vadakkankulam Pump Room - 1 Nos | 1 | No. |  | each |  |  | 0
viii | Rewinding of motor and repair works to 15 HP centrigugal pumpset (510 lpm x 75 m Head) including cost of all material, conveyance, labour charges for removing and re-erection of centrifugal Motor at Vadakkankulam Pump Room - 1 Nos | 1 | No. |  | each |  |  | 0
ix) | Rewinding of motor and reconditioning pump and repair works to 4 HP Submersible Pump Set (200LPM X 40M) (125 lpm x 40 m) including cost of all material, conveyance, labour charges for removing and re-erection of Submersible pumpset at Ittamozhi, Rajivgandhi Nagar & Patrakattivilai Pumproom - 3 Nos | 1 | Nos |  | each |  |  | 0
x | Rewinding of motor and reconditioning pump and repair works to 10 HP Submersible Pump Set (120 LPM X 47 M ) including cost of all material ,conveyance ,labour charges for removing and re-erection of Submersible pumpset at South Vijayanarayanam Pumproom - 1 Nos | 1 | No. |  | each |  |  | 0
xi | Rewinding of motor and reconditioning pump and repair works to 3 HP Submersible Pump Set including cost of all material ,conveyance ,labour charges for removing and re-erection of Submersible pumpset at Perumal Nagar, Thisayanvilai, Samuga Rengapuram, Radhapuram, Vadakkankulam, Alaganeri, Avaraikulam & Kasthuri rengapuram Pumproom - 8 Nos | 1 | Nos |  | each |  |  | 0
xii | Rewinding of motor and reconditioning pump and repair works to 2 HP Centrifugal Pump Set including cost of all material ,conveyance ,labour charges for removing and re-erection of Centrifugal pumpset at South Vijayanarayanam, Marukalkurichi, Mavadi, Radhapuram, Vadakkankulam & Alganeri Pumproom - 6 Nos | 1 | Nos |  | each |  |  | 0
17 | Repair and reconditioning works in the following HSC pumpset including cost of all material exluding Bronze impeller ,conveyance ,labour charges for removing and re-erection of Vertical turbine pumpset at Pump Room |  |  | Special specifications |  |  |  | 0
i | Head works ( 4623 LPM x 45m) - 75HP VT pset | 1 | No. |  | each |  |  | 0
ii | Singikulam (5184 LPM x 51m)- 120 HP HSC Pset | 1 | No. |  | each |  |  | 0
iii | Singikulam (3253 LPM x 52m)- 60 HP HSC Pset | 1 | No. |  | each |  |  | 0
iv | South Vijaya Narayanam (1960 LPM x 33)- 30 HP HSC Pset | 1 | No. |  | each |  |  | 0
v | Radhapuram (1445 LPM x 45m)- 30 HP HSC Pset | 1 | No. |  | each |  |  | 0
18 | Repair and reconditioning of starter | [6 empty] | 0
i) | Supply and delivery of 18 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No. |  | each |  |  | 0
ii) | Supply and delivery of 25 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No. |  | each |  |  | 0
iii) | Supply and delivery of 40 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No. |  | each |  |  | 0
iv) | Supply and delivery of 250 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No. |  | each |  |  | 0
v) | Supply and delivery of 400 Amps\440V Electro magnetic Contactors Suitable for Starter in AC Three Phase rating Conforming to IS/IEC 60947-4-1 | 1 | No. |  | each |  |  | 0
vii) | Supply and delivery of Directly operated Bi metallic Thermal Overload relay upto 5 A - 10 A which operates in case of overload and also in case of under voltage with manual and auto reset mode | 4 | Nos |  | each |  |  | 0
viii) | Supply and delivery of Directly operated Bi metallic Thermal Overload relay upto 10 A - 20 A which operates in case of overload and also in case of under voltage with manual and auto reset mode | 4 | No. |  | each |  |  | 0
ix) | Supply and delivery of Directly operated Bi metallic Thermal Overload relay upto 20 A - 30 A which operates in case of overload and also in case of under voltage with manual and auto reset mode | 5 | No. |  | each |  |  | 0
19 | Attending cable fault by replacing the cable 9 Nos of IW | [6 empty] | 0
i) | Supply, delivery of 1.1 KV Grade 3 core 50 Sq. mm PVC insulated and steel Armoured aluminium cable as per I.S.1554 for following Wells submersible motor to main panel board. | 495 | m | IS 1554, 7098 (part I)/ 1988 with ISI Marking and Special Specification | One metre |  |  | 0
ii | Laying of 1.1 KV Grade 3 core 50 Sq. mm PVC insulated steel Armoured aluminium cable as per I.E. rules to be laid in between Well Submersible motor and main panel board. | 495 | m |  | One metre |  |  | 0
iii | Jonting the 1.1KV grade 3 Core 50 SQ mm PVC Insulated Steel armoured aluminum cable as per I E Rules including Jointing materials etc complete directed by the TWAD Board officers | 12 | nos |  | One metre |  |  | 0
20 | Repairing/ reconditioning of Sluice valve (for line valve/ for Scour valve) including all material, labour (Specify type of sluice valve and type of repair to be carried out) |  |  | Special Specification |  |  |  | 0
i) | 350 mm CI Sluice valve | 2 | Nos |  | each |  |  | 0
ii) | 350 mm CI NRV valve | 1 | No. |  | each |  |  | 0
iii | 150 mm CI Sluice valve | 1 | No. |  | each |  |  | 0
iv | 100 mm CI Sluice valve | 2 | Nos |  | each |  |  | 0
v | 100 mm CI NRV valve | 1 | No. |  | each |  |  | 0
vi | 250 mm CI Sluice valve | 1 | No. |  | each |  |  | 0
vii | 100mm Double air valve | 1 | No. |  | each |  |  | 0
viii | 80 mm Double air valve | 2 | Nos |  | each |  |  | 0
ix) | 50 mm Double air valve | 4 | Nos |  | each |  |  | 0
x | 40 mm Double air valve | 10 | Nos |  | each |  |  | 0
21 | Supply, delivery and fixing of following size of Gate valves in OHT's |  |  | Special Specification |  |  |  | 0
i) | 125 mm Gate valve | 1 | No |  | each |  |  | 0
ii) | 100 mm Gate valve | 2 | Nos |  | each |  |  | 0
iii) | 80 mm Gate valve | 2 | Nos |  | each |  |  | 0
iv) | 65 mm Gate valve | 2 | Nos |  | each |  |  | 0
v) | 50 mm Gate valve | 3 | Nos |  | each |  |  | 0
vi) | 40 mm Gate valve | 2 | Nos |  | each |  |  | 0
22 | Supply and delivery Power capacitor for power factor improvement with oil filled with discharge resistance 3 phase 415/440V 50 HZ conforming to ISS:2834 with ISI marking | 44 | KVAR | Special Specification | each KVAR |  |  | 0
23 | Removal of sediments and deposition of sludge, silt,Particles inside the sump at various capacities by engaging required labours and diesel pumpsets and cleaning the side wall using wire brushes, brooms, collecting , lifting of the deposited slit particles on above the sump and washing side wall and the slab using bleaching powder etc., complete and as directed by TWAD Board officers
i) | Sump at variuos capacity
a) | Pathamadai (Headworks) | 1 | Nos |  | each |  |  | 0
b) | Singikulam | 1 | Nos |  | each |  |  | 0
c) | Singikulam | 1 | Nos |  | each |  |  | 0
e) | SouthVijayanarayanam | 1 | Nos |  | each |  |  | 0
f) | Thisayanvilai | 1 | Nos |  | each |  |  | 0
g) | PerumalNagar | 1 | Nos |  | each |  |  | 0
h) | Mavadi | 1 | Nos |  | each |  |  | 0
i) | Radhapuram | 1 | Nos |  | each |  |  | 0
j) | Vadakkankulam | 1 | Nos |  | each |  |  | 0
k) | Samugarengapuram | 1 | Nos |  | each |  |  | 0
l) | Alaganeri | 1 | Nos |  | each |  |  | 0
m) | Avaraikulam | 1 | Nos |  | each |  |  | 0
n) | Ittamohi | 1 | Nos |  | each |  |  | 0
o) | Pettaikulam | 1 | Nos |  | each |  |  | 0
p) | Rajivgandhinagar | 1 | Nos |  | each |  |  | 0
ii) | Desilting of 9 Nos of Infiltration well at ponnankurichi | 66.1 | m3 |  | each |  |  | 0
| Total | [6 empty] | 0
0
0