## folder
TAMIL NADU WATER SUPPLY AND DRAINAGE BOARD
OFFICE OF THE CHIEF ENGINEER,
OPPOSITE TO MATTUTHAVANI BUS STAND,
1/1, SAMBAKULAM, MADURAI -625007
Operation and Maintenance of CWSS to 755 Rural Habitations in Virudhunagar District including repair and rectification works For the period from 16.07.2022 to 31.03.2023
BILL OF QUANTITES( 2nd Call)

## BillofQty
NAME OF SCHEME :- CWSS to 755 Rural habitations in Virudhunagar District, (Sattur,Vembakottai, Sivakasi, Virudhunagar, Aruppukottai, Watrap and Srivilliputhur unions) - Head works, Treatment plant, MSR, SRs, pumping main and feeder main.
BILL OF QUANTITIES
General
The Bill of Quantities shall contain items for the construction, installation, testing, commissioning and maintenance of the Works to be carried out by the Contractor
The Bill of Quantities will be used to calculate the Contract Price. The contractor shall be paid for the quantum of work done at the rate furnished for each item in the Bill of Quantities.
Where there is a discrepancy between the rates in words and figures, the lesser of the two will only be taken into consideration.
Where there is a discrepancy between the unit rate and line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern.
Where there is an arithmetical discrepancy in the page total as well as grand total, the corrected total by the Employer will govern
The rates furnished in the BOQ shall be for carrying out the work in conformity to the BIS, TNBP and Technical Specifications and other Terms and Conditions set out in the Bid Document
All pages in the BOQ should be signed without omission. All corrections/over writing should be properly attested by the Bidder.
Change in the Quantities
If the final quantity of the work done differs from the quantity in the Bill of Quantities for the particular item/items, the rates as in the agreement for the relevant items shall be paid.
GST
GST is applicable as per GO. 296, Finance(salaries) Dept. Dt. 09.10.2017, GOI, Ministry of finance – central tax (Rate) New Delhi, notification No. 11/2017/ Dt. 28.06.2017 and as amended from time to time.From every payment made to the firm/ contractor, deduction at source towards GST shall be made for civil works contract as per Government of India, Ministry of Finance/ Department of Revenue, New Delhi Notification No. 20 / 2017 – Central Tax (Rate) / Dt.22.08.2017 subject to issue of amendments from time to time.
Name of Work :
Operation and Maintenance of CWSS to 755 Rural Habitations in Virudhunagar District including repair and rectification works For the period from 16.07.2022 to 31.03.2023
-----------------------------------------------------------------------------------------------------------------
Sl.No. Description of Quantity Specifi Unit Rate Amount
Item of Work cation ---------------------------
in in
Figures Words
-----------------------------------------------------------------------------------------------------------------

## Gl_ABS
GENERAL ABSTRACT
Name of Scheme: CWSS to 755 Rural habitations in Virudhunagar District, (Sattur,Vembakottai, Sivakasi, Virudhunagar, Aruppukottai, Watrap and Srivilliputhur unions) - Head works, Treatment plant, MSR, SRs, pumping main and feeder main.
SCHEDULE - A | NAME OF COMPONENT | Amount Rs. Ps.
1 | Operation and Maintenance of CWSS to 755 Rural Habitations in Virudhunagar District including repair and rectification works For the period from 16.07.2022 to 31.03.2023 | 0
| TOTAL | 0

## Sch A 1
SCHEDULE - A 1
Name of Scheme: CWSS to 755 Rural habitations in Virudhunagar District, (Sattur,Vembakottai, Sivakasi, Virudhunagar, Aruppukottai, Watrap and Srivilliputhur unions) - Head works, Treatment plant, MSR, SRs, pumping main and feeder main.
Name of Work: Operation and Maintenance of CWSS to 755 Rural Habitations in Virudhunagar District including repair and rectification works For the period from 16.07.2022 to 31.03.2023
Sl No | Description of item of works | Quantity |  | TNBP No. Other specification | Unit | Rate |  | Amount
[6 empty] | in figures | in words
1 | Operation and Maintenance of the Electro Mechanical installations, equipments, components, pipelines valves and appurtenances, water retaining structures including protector of all schemee components from damages/ theft undertaking legal actions for such untoward incidents, preventive maintenance, disinfection and deliverance of water as per quality standards and supply of earmarked quantity of water to the beneficiaries as per Annexure 17.30 MLD, carrying out the O&M as per standard operating procedures, Acts and rules in force and as directed by TWAD Board Oficers and excluding cost towards attending leak, burst repair and replacement works to electro mechanical installations consumables for disinfection of water, cleaning of all water retaining structure, electricity .(17.30*259=4480.70) | 4480.7 | ML | Special specifications | one ML |  |  | 0
2 | Attending Bursts in the pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract - Part II. | [6 empty] | 0
a | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of PVC pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. |  |  | SS 20 B,23, 95 and Special specifications |  |  |  | 0
i | Ist Depth of 2m - Pipe of various classes | 239.386 | cum |  | One cubic metre |  |  | 0
3 | Removing following the burst Pipes from the pipe line and removal of slushy soil and baling out water and replacing the pipe line |  |  | Special specifications |  |  |  | 0
i | 50 mm PVC 4KSC | 10 | Nos |  | each |  |  | 0
ii | 63mm PVC 4KSC | 10 | Nos |  | each |  |  | 0
iii | 75mm PVC 4KSC | 10 | Nos |  | each |  |  | 0
iv | 90mm PVC 4 KSC | 10 | Nos |  | each |  |  | 0
v | 110mm PVC 4KSC | 11 | Nos |  | each |  |  | 0
vi | 140mm PVC 4KSC | 11 | Nos |  | each |  |  | 0
vii | 160mm PVC 4KSC | 10 | Nos |  | each |  |  | 0
viii | 200 mm PVC 4KSC | 12 | Nos |  | each |  |  | 0
4 | Supply and delivery of the following sizes of unplastisized PVC Rigid pipes and specials confirming to IS other specifications as amended from time to time with ISI marking as specified in ISI and having the required working pressure and delivery at site of work including loading, unloading, freight, stacking and transit, insurance charges, etc., complete and as directed by TWAD Board officers. |  |  | IS 4985/2000 and Special Specification |  |  |  | 0
i | 50 mm PVC6 KSC | 10 | m |  | One metre |  |  | 0
ii | 63mm PVC 4KSC | 10 | m |  | One metre |  |  | 0
iii | 75mm PVC 4KSC | 10 | m |  | One metre |  |  | 0
iv | 90mm PVC 4 KSC | 10 | m |  | One metre |  |  | 0
v | 110mm PVC 4KSC | 11 | m |  | One metre |  |  | 0
vi | 140mm PVC 4 KSC | 11 | m |  | One metre |  |  | 0
vii | 160mm PVC 4KSC | 10 | m |  | One metre |  |  | 0
viii | 200mm PVC 4KSC | 12 | m |  | One metre |  |  | 0
5 | Supply and delivery of following sizes of PVC Specials conforming to IS specifications at site of work including loading, unloading,transportation, insurance, etc., Complete and as directed by TWAD Bd. officers. |  |  | Special Specification |  |  |  | 0
| PVC COUPLER FABRICATED | [6 empty] | 0
i | 50 mm PVC Coupler Fabricated 4 KSC | 20 | Nos |  | each |  |  | 0
ii | 63 mm PVC Coupler Fabricated 4 KSC | 20 | Nos |  | each |  |  | 0
iii | 75 mm PVC Coupler Fabricated 4 KSC | 20 | Nos |  | each |  |  | 0
iv | 90 mm PVC Coupler Fabricated 4 KSC | 20 | Nos |  | each |  |  | 0
v | 110 mm PVC Coupler Fabricated 4 KSC | 22 | Nos |  | each |  |  | 0
vi | 140 mm PVC Coupler Fabricated 4 KSC | 22 | Nos |  | each |  |  | 0
vii | 160 mm PVC Coupler Fabricated 4 KSC | 20 | Nos |  | each |  |  | 0
viii | 200 mm PVC Coupler Fabricated 4 KSC | 24 | Nos |  | each |  |  | 0
6 | Attending Leaks in the pipelines of this CWSS for the following items, as per the standard procedure including earthwork excavation, dewatering, removing, relaying, jointing, civil works, cost of materials and all other incidental charges, etc complete within the stipulated time limit as specified in Clause 2.2.5 of General conditions of Contract - Part II. | [6 empty] | 0
a | Earth work excavation and depositing on bank in hard stiff clay, stiff black cotton soil, hard red earth, shales, murrams, ordinary gravel stoney earth mixed with small sized boulders etc., for leak rectification works for the following sizes of PVC pipes with standard trench width and depth etc., complete and as directed by the TWAD Board officers. |  |  | SS 20 B,23, 95 and Special specifications |  |  |  | 0
i | Ist Depth of 2m - Pipe of various classes | 231.175 | cum |  | One cubic metre |  |  | 0
7 | Dewatering using 3HP to 70HP diesel engine pumpset including Hire charges, cost of Diesel, Engine oil, pump operator, labour charges, conveyance of pumpset and fuel to site and back, loading, unloading and any other incidental charges etc., complete and as directed by the TWAD Board officers. |  |  | Special specifications |  |  |  | 0
i | 600 mm DI K7 Pipe | 36 | Hrs |  | One hour |  |  | 0
ii | 400 mm DI K7 Pipe | 16 | Hrs |  | One hour |  |  | 0
iii | 350 mm DI K7 Pipe | 20 | Hrs |  | One hour |  |  | 0
iv | 300 mm DI K7 Pipe | 24 | Hrs |  | One hour |  |  | 0
v | 250 mm DI K7 Pipe | 24 | Hrs |  | One hour |  |  | 0
vi | 200 mm DI K7 Pipe | 24 | Hrs |  | One hour |  |  | 0
8 | Supply of Cement ( D.I Pipes) including including charges etc., etc.complete and as directed by TWAD Board Officers., |  |  | Special specifications |  |  |  | 0
i | 600 mm DI K7 Pipe | 60 | Kg |  | One Kilogram |  |  | 0
ii | 400 mm DI K7 Pipe | 32 | Kg |  | One Kilogram |  |  | 0
iii | 350 mm DI K7 Pipe | 25 | Kg |  | One Kilogram |  |  | 0
iv | 300 mm DI K7 Pipe | 30 | Kg |  | One Kilogram |  |  | 0
v | 250 mm DI K7 Pipe | 24 | Kg |  | One Kilogram |  |  | 0
vi | 200 mm DI K7 Pipe | 32 | Kg |  | One Kilogram |  |  | 0
9 | Supply and delivery of Lead wool for leak work D.I. pipe line inculding loading, unloading transporting charges etc.TWAD Board Officers., |  |  | Special specifications |  |  |  | 0
i | 600 mm DI K7 Pipe | 30 | Kg |  | One Kilogram |  |  | 0
ii | 400 mm DI K7 Pipe | 16 | Kg |  | One Kilogram |  |  | 0
iii | 350 mm DI K7 Pipe | 15 | Kg |  | One Kilogram |  |  | 0
iv | 300 mm DI K7 Pipe | 18 | Kg |  | One Kilogram |  |  | 0
v | 250 mm DI K7 Pipe | 12 | Kg |  | One Kilogram |  |  | 0
vi | 200 mm DI K7 Pipe | 16 | Kg |  | One Kilogram |  |  | 0
10 | Refilling with excavated soil (other than sand)complying with standard specification in layers of 15cm watered well rammed and consolidated after the pipes and specials are laid,jointed and tested etc. and removing and depositing the surplus earth at the places shown by the TWAD Board Officers. |  |  | SS 25 and Special specifications |  |  |  | 0
a | For PVC/DI/MS Pipes of various classes | 231.175 | cum |  | One cubic metre |  |  | 0
11 | Rewinding of Motors in pumping stations in the Electrical, Mechanical and Elctro-mechanical items to bring back the scheme / components into normal running conditition as per specification including all labour charges, cost of materials and all incidental charges within the stipulated time limit etc., complete as specified in Clause 2.2.6 of General conditions of Contract Part II. |  |  | Special specifications |  |  |  | 0
a | Rewinding of coil for 100 HP Motor of HSC Pumpsets including all material, labour, etc | 1 | No |  | Each |  |  | 0
b | Rewinding of coil for 120 HP Motor of HSC Pumpsets including all material, labour, etc | 1 | No |  | Each |  |  | 0
c | Rewinding of coil for 50 Hp Vertcal Pumpsets including all material, labour, etc | 1 | No |  | Each |  |  | 0
12 | Carrying out the repair works occuring during the maintenance period in the Electrical, Mechanical and Elctro-mechanical items to bring back the scheme / components into normal running conditition as per specification including all charges for dismantling, repair, reinstallation, conveyance, cost of materials and all other incidental charges within the stipulated time limit etc., complete as specified in Clause 2.2.6 of General conditions of Contract Part II.B74 |  |  | Special specifications |  |  |  | 0
a | Repairing / reconditioning of Pump for 100 HP HSC Pumpsets including all material, labour, etc. | 1 | No |  | Each |  |  | 0
b | Repairing / reconditioning of Pump for 120 HP HSC Pumpsets including all material, labour, etc. | 1 | No |  | Each |  |  | 0
13 | Cleaning of all storage points like sumps, elevated reservoirs of various capacities available in this scheme at a frequency of once in two months including scrapping the inner side of compartment completely, scouring / dewatering / desilting using required machineries, materials, labour and all other incidental charges, application of bleaching powder/ solution etc complete. |  |  | Special specifications |  |  |  | 0
a | 0.15 capacity of sump | 7 | Nos |  | Each |  |  | 0
b | 0.20 capacity of sump | 4 | Nos |  | Each |  |  | 0
c | 0.25 capacity of sump | 13 | Nos |  | Each |  |  | 0
d | 0.30 capacity of sump | 12 | Nos |  | Each |  |  | 0
e | 0.35 capacity of sump | 12 | Nos |  | Each |  |  | 0
f | 0.40 capacity of sump | 9 | Nos |  | Each |  |  | 0
g | 0.45 capacity of sump | 11 | Nos |  | Each |  |  | 0
h | 0.50 capacity of sump | 10 | Nos |  | Each |  |  | 0
i | 0.55 capacity of sump | 13 | Nos |  | Each |  |  | 0
j | 0.6 capacity of sump | 8 | Nos |  | Each |  |  | 0
k | 0.65 capacity of sump | 7 | Nos |  | Each |  |  | 0
l | 0.7 capacity of sump | 2 | Nos |  | Each |  |  | 0
m | 0.75 capacity of sump | 3 | Nos |  | Each |  |  | 0
n | 0.80 capacity of sump | 6 | Nos |  | Each |  |  | 0
o | 0.85 capacity of sump | 7 | Nos |  | Each |  |  | 0
p | 0.90 capacity of sump | 1 | No |  | Each |  |  | 0
q | 0.95 capacity of sump | 2 | Nos |  | Each |  |  | 0
r | 1.00 capacity of sump | 2 | Nos |  | Each |  |  | 0
s | 1.05 capacity of sump | 1 | No |  | Each |  |  | 0
t | 1.15 capacity of sump | 3 | Nos |  | Each |  |  | 0
u | 1.20 capacity of sump | 2 | Nos |  | Each |  |  | 0
v | 1.30 capacity of sump | 1 | No |  | Each |  |  | 0
w | 1.55 capacity of sump | 1 | No |  | Each |  |  | 0
x | 1.65 capacity of sump | 1 | No |  | Each |  |  | 0
y | 1.75 capacity of sump | 1 | No |  | Each |  |  | 0
z | 1.85 capacity of sump | 1 | No |  | Each |  |  | 0
aa | 1.95 capacity of sump | 1 | No |  | Each |  |  | 0
ab | 2.05 capacity of sump | 2 | Nos |  | Each |  |  | 0
ac | 2.35 capacity of sump | 1 | No |  | Each |  |  | 0
ad | 2.45 capacity of sump | 1 | No |  | Each |  |  | 0
ae | 2.50 capacity of sump | 2 | Nos |  | Each |  |  | 0
af | 2.55 capacity of sump | 2 | Nos |  | Each |  |  | 0
ag | 2.85 capacity of sump | 1 | No |  | Each |  |  | 0
ah | 3.10 capacity of sump | 1 | No |  | Each |  |  | 0
ai | 3.35 capacity of sump | 1 | No |  | Each |  |  | 0
aj | 3.5 capacity of sump | 1 | No |  | Each |  |  | 0
ak | 3.65 capacity of sump | 1 | No |  | Each |  |  | 0
al | 3.75 capacity of sump | 1 | No |  | Each |  |  | 0
am | 4.5 capacity of sump | 1 | No |  | Each |  |  | 0
an | 5.75 capacity of sump | 1 | No |  | Each |  |  | 0
ao | 6.4 capacity of sump | 1 | No |  | Each |  |  | 0
ap | 11.55 capacity of sump | 1 | No |  | Each |  |  | 0
aq | 9.5 capacity of sump | 3 | Nos |  | Each |  |  | 0
| Total | [6 empty] | 0