TENDER DOCUMENT

TAMILNADU WATER SUPPLY AND DRAINAGE BOARD

| NAME OF WORK: | TWAD BOARD – MAINTENANCE DIVISION – EDAPPADY - Providing 0.30 LL Water to Periyar University College of Arts and Science at Edappady under CWSS to Edappady, Rasipuram Municipalities, 7 Town Panchayats and 580 Rural Habitations in Salem and Namakkal Districts. . |
| --- | --- |

BID  DOCUMENT

Executive  Engineer, TWAD Board ,

Maintenance  Division , Edappady.

Last date of submission:  Upto 3.00 Pm on 20.07.2022.

TAMIL NADU WATER SUPPLY AND DRAINAGE BOARD

TENDER DOCUMENTS   -  ON TURNKEY BASIS

| 1 | Tender Notice No. | IFB No.04 /.F.FULL DEPOSIT WORK / DO / EDY / 2022-23/ Dated 14.07.2022 |
| --- | --- | --- |
| 2 | Name of work | TWAD BOARD – MAINTENANCE DIVISION – EDAPPADY - Providing 0.30 LL Water to Periyar University College of Arts and Science at Edappady under CWSS to Edappady, Rasipuram Municipalities, 7 Town Panchayats and 580 Rural Habitations in Salem and Namakkal Districts |
| 3 | Amount of E.M.D. | Rs.25000.00 EMD in the form of NSC/DD/Pay order/ FD in favour of Executive Engineer, TWAD Board, Maintenance Division,Edappady. |
| 4 | Eligible class of contractor | Class III and above Registered contractor in TWAD Board/ any other state or Central Government |
| 5 | Period of sale of Tender schedule | 15.07.2022 to 29.07.2022 |
| 6 | Last date for submission of tender | 01.08.2022 Up to 3.00pm |
| 7 | Date and time of opening of tender | 01.08.2022 at 3.30 pm |
| 8 | Tender should be valid | for 90 days |
| 9 | Cost of tender schedule | Rs.1180/- (Rs.1000 + 12 % GST Rs. 180 ) (Not Refundable) |
| 10 | Tender Schedule Issued to | Thiru / M/s. |
|  | Vide Receipt No. & date. |  |
|  | Certified that the undersigned has verified and enclosed all the pages in this document without any omission |  |

EMD in the Form of NSC/ DD/PD /FD

Executive Engineer / TWAD

Maintenance Division / Edappady.

## LETTER OF CONSENT

I agree to abide by all the detailed specifications, terms and conditions stipulated in the TWAD Board manual for Rural Water supply schemes communicated vide Board’s circular No.44/CM/AE 1/Rural/Manual/2002/dt.28.05.2002 which I have read and understood.

Signature of the Contractor.

## TAMIL NADU WATER SUPPLY AND DRAINAGE BOARD

## LETTER OF TENDER

Date:

To

The Executive Engineer,

TWAD Board,

Maintenance  Division,Edappady.

Sir,

- I/we do hereby tender and if this tender be accepted undertake to execute the works covered by this tender as described in the specifications deposited in the office of the Executive Engineer, Maintenance Division, TWAD Board, Edappady  With such variations by way of alternations or additions to and omissions from the said works and in accordance with the detailed standard specifications and General conditions of contract stipulated in the TWAD Board Manual for Rural Water supply schemes ……. % Excess/Less over the department value of Rs                  ……………… ………………… …………………….. …………………………. ……… ………………………………………….. or such other sums as may be arrived at under the clause of the contract terms and conditions of TWAD Board relating to payment by final measurements at unit prices.

- I/we have also quoted the tender / excess/Less percentage in the bill of quantities (Abstract of BOQ annexed) in words and figures for which I / we agree to execute the work and receive payment on measured quantities as per the General conditions of the contract.

- I/we do hereby distinctly and expressly declare and acknowledge that before the submission of my / our tender.  I / we have carefully followed the instructions, in the tender and have read, the Tamil Nadu building practice, the general conditions to contract therein and the TWAD Board manual for Rural Water Supply Schemes that I / we have made such examination of the contract documents , specifications, quantities and of the location where the said work is to be done and such investigation of work required to be done and in regard to the materials required to be furnished as to enable me / us to thoroughly understand the intention of same and the requirements, covenants, stipulations and restrictions contained in the contract and in the said specifications and distinctly agree that I / we will not thereafter make any claim of demand upon the TWAD Board upon or arising out of any alleged misunderstanding or misconception of mistake on my / our own part of the said requirements, covenants, stipulations, restrictions and conditions.

- I / we enclose an Income tax verification certificate and Sales tax clearance certificate.

- ** a. I / we enclose……………………………………………………………the sum of Rs…………………. (Rupees…………………………………………………………… in the form of …………………………………………………as prescribed in the tender notice towards bid security (Earnest Money Deposit) which will not carry any interest.

Note: ** to be scored out if not applicable.

- If my / our tender is not accepted, the bid security shall be returned to me / us on my / our application when intimation is sent to me / us of rejection.  If my / our tender is accepted.  I / we do hereby agree to produce the performance security (Security Deposit) in the manner and form prescribed under clause 23, of the instruction to the bidders for the due fulfillment of contract.  If upon intimation being given to me/us by the tender accepting authority of acceptance of tender.  I / we fail to make the performance security in the prescribed form, then, I / we agree to the forfeiture to the bid security.  Any notice, required to be served on me/us hereunder shall be sufficient service on me/us if delivered to me/us personally or forwarded to me/us by post to (Registered or ordinary) or left at my / our address given herein, such notice shall, if sent by post be deemed to have been served on me / us at the time when in due course of post if would be delivered at the address which it is sent.

- I / we fully understand that on receipt on communication of acceptance of tender from the accepting authority, there emerges a valid contract between me / us and the TWAD Board represented by the officer accepting agreement and the TWAD Board manual for Rural Water supply schemes – Detailed standard specifications and General conditions of contract and the tender documents issued by the board, i.e., Tender notice, Tender with schedules, General conditions to the contract and special conditions of the tender, Negotiation letters, Communication of acceptance of tenders, shall constitute the contact for this purpose and be the foundation of rights of both the parties as defined in clause of the tender notice, provided that, it shall be open to the acceptance authority to insist on execution of any written agreement by tenderer if administratively considered necessary of expedient.

- I / we have also have carefully examined the TWAD Board manual for Rural Water Supply schemes- Detailed Standard Specification and General conditions of contract and Tamil Nadu Building practice in acknowledgement of being bound by all conditions of the clauses of the TWAD Board manual for Rural Water Supply schemes- Detailed standard specifications and General conditions of contract and all specifications for items of works described by specification number in Bill of quantities (Schedule A).

- In consideration of the payment of Rs…………………..(Rupees………………..  …………………………………………………………or such other sums as may be arrived at under the clause of the general conditions to the contract relating payment by final measurement at unit prices.  I / we agree subject to said conditions to execute and complete the works shown upon the Schedule A serially from No.                to             .                    inclusive (Schedule B) and described in the Technical specification for works and materials and to the extent or probable quantities shown (Schedule A) with such variations by way of addition to or alternations, deductions from the said work and method of payment there after as are provided in the said conditions.

- I / we agree that time shall be considered as the essence of this contract and commence the work as soon as this tender is accepted by the competent authority and to show progress as defined in the tabular statement (Schedule C) “Rate of Progress” subject nevertheless to the provisions for extensions of time contained in clause 55 of the general conditions to the contract.

- I / we agree that upon the terms and conditions of this contract being fulfilled and performed to the satisfaction of the Executive Engineer, the security deposited by me / us as herein before recited or such portion there of as I / we may be entitled to under the said conditions to be paid back to me / us provided in clause 8 of the special conditions or contract.

- The term Executive Engineer in the said condition shall mean the Executive Engineer, TWAD Board in charge of the Division having jurisdiction for the time being over the work, who shall be competent to exercise all the powers and privileges referred here in favour of the TWAD Board who has been duly authorized by the TWAD Board.

- I am /we are professionally qualified an my / our qualifications are as follows………………. I / we in pursuance of schedule E undertake to employ the following technical staff for supervising the work and will see one of them is always at site during working hours personally checking all items of works and paying extra attention to such work as may require special attention.

eg. Reinforced Cement Concrete etc.,

| Sl. No. | Name of Technical staff proposed to be employed | Qualification | Experience |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |

- i / We agree in the event of any dispute arising between the parties hereto in respect of any of the matter comprised in this contract, the same shall be settled by a competent court having jurisdiction, over the place where the contract is award and agreement is concluded and by no other court.

- I / We undertake to assume full responsibility for the stability and soundness of the works structures that will be excluded by me / us as per this contract.

- I / We undertake and agree that I / We will not withdraw this tender during the period for validity of my / our tender as indicated in my / our tender and also during such extended period as agreed to by me / us such period to date from the last date by which tenders are due to be submitted and if I / We do so with draw.  I / We agree to forfeit the Bid security to the TWAD Board.

- I / We understand that the Board is not bound to accept the lowest or any tender the Board may received.

Dated this…………………………………………….. day of ………………………………..

Signature of the Tenderer

Address

### INSTRUCTIONS TO BIDDERS

- Descriptive of works:

Execution on turnkey basis,

.   The tenderer is required to examine carefully all instructions, conditions, forms terms, specifications and drawings in the tender documents and in the TWAD Board manual for Rural Water Supply Schemes – Detailed standard specifications and general conditions of contract.  Failure to comply with the requirements of the bid will be tenderers own risk.  Tenderers which are not responsive to the requirements of the tender documents are liable to be rejected.

- Qualifications criteria

The bidder should have registered as Class  II and above   contractor in TWAD Board / Any other State / Central Government / Undertaking.  The Bidder who is not registered in the TWAD Board should get registered his name in the appropriate class of registration before conclusion of agreement in the event of his tender is accepted.

2.1. PERFORMANCE ELIGIBILITY.

The bidder individually should have completed and commissioned the following work for any of the Central/State Government Departments/Quasi Government / Private Organisations / Government under takings during last five financial years.

Eligibility

The Bidders should have Supplied, laid, jointed completed HDPE pipes in last five years

Note:          i) The performance eligibility shall pertain to the similar works executed by the tenderer in any of the Central/State Government Departments / Quasi Government / Private Organisations and Government Undertakings.  The performance experience should be supported by performance certificates issued by the concerned organization by an officer not less than the rank of Executive Engineer/responsible person of the private organization.

The experience gained in the last five years alone shall be taken into account to assess the performance eligibility of the bidder.

ii) The tenderer should enter into proper agreement with sub contractor                  proposed to be sub let and furnish the documentary evidence along with bid.

.2.2    Performance certificate:

    - As per site bid condition, the performance experience, should be supported by performance certificates issued by the concerned organization by an officer not less than the rank of Executive Engineer /responsible person of the private organization. The experience certificate issued by an officer below the rank of Executive Engineer or on behalf of the Executive Engineer should not be considered.

    - For the experience certificate obtained from the departments outside the state, clarification may be obtained from the concerned department whenever felt necessary as to whether the details furnished in the certificates are genuine, before finalisation of evaluation at Circle level.

The bills /claim should be prepared by the contractor as per agreement and in accordance with the works executed and submitted to the Department.

- Method of Tendering

If the tender is made by an individual, the tender documents shall be signed by the individual with his name and address.

If the tender is made by a registered firm, it shall be signed by the Managing Partner will full name of the firm and address.

If the tender is made by a limited company or a limited corporation, it shall be signed by a duly authorized person holding the power or attorney for signing the tender in which case a certified copy of the power of attorney shall accompany the tender.  Such limited company or corporation may be required to furnish satisfactory evidence of its existence before the contract is awarded.

- The bids from the contractors / firms shall be accompanied by an attested copy of the valid Income Tax Clearance Certificate and latest GST Certificate.  If the firm / contractor is not liable to the GST Department, the firm / contractor should produce a valid certificate issued by the competent authority to this effect.

- The bidder is excepted to examine carefully all instructions, conditions, forms, terms, specifications in the bidding documents.  Failure to comply with the requirements of bid submission will be at bidder’s own risk, bids which are not substantively responsive to the requirements of the bidding documents are liable to be rejected.

- Amendment of bidding documents

At any time prior to the deadline for submission of bids, the Employer may, for any reason, whether at his own initiative or in response to a clarification requested by a prospective bidder, modify the bidding documents by the issuance of the addendum / corrigendum.

The Addendum / Corrigendum will be sent in writing or by cable to all prospective bidders who have purchased the bidding documents and will be binding upon them prospective bidders shall promptly acknowledge the receipt of communication thereof to the employer.

In order to afford prospective bidders reasonable time in which to take an addendum / corrigendum into account in preparing their bids, the employer may at his discretion, extend the deadline for the submission of the bids.

- Language of Bid

The bid prepared by the bidder and all correspondence and documents relating to the bid exchanged by the bidder and the employer  shall be written in English / Tamil language.

- Documents comprising the bid

The bid to be prepared by the bidder shall be comprise the entire documents in full say the tender documents and appendix there to the bid security, the bill of quantities and the rates there of the schedules of supplementary information, the information on eligibility criteria supported by the relevant documentary evidence and any other materials required to be completed and submitted in accordance with the instructions to bidders embodies in these bidding documents.  The forms, bill of quantities and schedules shall be used without exception subject to extensions of the schedules in the same format.

- Prices

The prices offered by the contractor shall remain firm for the entire project period and no variation in price shall be allowed on any account.

- Bid  validity

The bids shall remain valid and open for acceptance for a period of 90 days after the date of opening of the bids.  In exceptional circumstances prior to expiry of the original validity period, the employer request the bidder for a specified extensions of the period of validity.  The request & responses there to shall be made in writing or by cable.  A bidder may refuse the request without forfeiting his bid security.  The bidder agreeing to the request will not be required nor permitted to modify his bid, but will be required to extend the validity of his bid security shall continue to apply during the extended period of bid validity.

- Bid Security (Earnest Money Deposit)

The bidder shall furnish as part of his bid, the bid security (Earnest Money Deposit) of Rs.25000/- ( Rupees  Twenty  five thousand  only)  in any one of the following forms duly pledged or drawn in favour of the Executive Engineer, TWAD Board, Maintenance Division, Edappady.

- Demand draft drawn in a Nationalized Bank in favour of the Executive Engineer concerned.

- Deposits at call receipt of scheduled banks pledged in favour of the Executive Engineer concerned.

- Government Security and National Savings Certificate pledged in the favour of the Executive Engineer concerned (Purchased within the State of Tamilnadu)

- Post office savings bank deposits pledged in favour of the Executive Engineer concerned (Purchased within the State of Tamilnadu)

- Fixed deposit receipts from Schedule Bank pledged in favour of the Executive Engineer concerned.

Any bid not accompanied by an acceptable form of bid security will be rejected by the Engineers as non responsive.

The bid security of unsuccessful bidder will be returned without any interest within 15 days after a decision is taken on the tender.

- Signing of bids

The original bid shall be filled by typing or by writing in indelible ink and shall be signed by the authorized signatory to bind the bidder to the contract.  Proof of authorization shall be furnished in the form of power of attorney duly signed executed and this should accompany the bid.  All pages of the bid shall be signed and wherever entries of amendments as directed by the employer are made, they should be properly attested by the signatory to the bid.

The complete bid shall be free of alternations, interlineations or erasures except those that were instructed to be carried out by the employer.  In case necessity arose to correct the errors committed by the bidder, in the abstract of BOQ the same shall be properly attested by the signatory to the bid.

Each bidder is entitled to submit only one bid.  No bidder will have the option of participating more than one bid of amount.

- Deadline for submission of bids

The tender shall be received by the Executive Engineer, at his office at Maintenance Division, TWAD Board, ,Edappady.. not later than 3 p.m. on 1.08.2022 the Engineer may at his discretion, extend the deadline for submission of bids by issuing and amendment in accordance with Clause 7 above, in which case all rights and obligations of the Engineer and the bidders previously subject to the original deadline shall thereafter be subject to the new deadline as extended.

- Mode of submission of bid documents

The bid documents are to be dropped in the tender box or sent by registered mail in the following address before the expiry of the deadline fixed for submission of bid documents.

The Executive Engineer, TWAD Board, Maintenance  Division, Edappady TWAD Board under no circumstances shall be responsible for the delay or loss of damage to the bid documents in transit.

- Late Bids

Any bids received by the Executive Engineer, after the deadline for submission of bids prescribed in accordance with clause 14 above, will not be considered and the same will be returned to the bidder unopened.

- Bid Opening

The tender will be opened by the Executive Engineer at 3.30 PM on …………………. in the premises of the Office of the Executive Engineer, Maintenance Division, ,Edappady The bidders or their authorized representative desirous of attending opening of the bids may do so with proper authorization to represent. The Engineer will examine the bids to determine whether the document are complete, whether the requisite bid security has been remitted to the required value and in the manner prescribed whether the documents have been properly signed / attested and ascertained whether the bids are generally in order.

During the opening of bids, the Engineer will announce the names of the bidders, written notification of bid modifications if any, the compliance with reference to the remittance of bid security and such other details as the employer may consider appropriate.

- Clarification of Bids

For any clarification in the bid and for negotiations the bidder shall attend the office of the Executive Engineer, Maintenance  Division, Edappady.  Whenever he is called upon to do so.

- Responsiveness of the Bids

The bids shall be treated as substantively responsive based on the satisfaction of the required capacity, capability and financial resources.  For the purpose the bid should conform to all terms, conditions and specification of the bidding documents without material deviation or reservation.

The Executive Engineer reserves the right to determine and evaluate the bids with regard to their response substantively.

If a bid in the opinion of the Executive Engineer is found to be substantially not responsive, the Executive Engineer reserves the right to reject that bid and may not subsequently be made responsive by the bidder by carrying out corrections or withdrawal of the non-conforming deviation or reservation.  However the decision of the employer shall be final and bidding in all these matters.

- Evaluation and comparison of Bids

The Executive Engineer will evaluate and compare only the bids which are determined to be substantively responsive with reference to the requirements and parameters fixed for qualification.

The value based on the excess / less percentage quoted in the bid will only be taken into account for deciding the successful bidder.

- Right to accept or reject the bids

The Executive Engineer reserves the right to accept or reject any or all the bids without assigning any reasons therefore.  Under such circumstances, the Engineer will neither be under any obligation to inform the bidder or the bidders of the grounds for the action of the Engineer nor will be responsible for any liability incurred by the bidder on this account.

- Notification of Award

The Engineer will promptly inform the successful bidder of the contract before the expiry of the validity period and in the case of extended periods, before the expiry of the extended periods.  The award of the contract will be in the writing and in the event of award of contract being informed through cable, the same shall be confirmed though a written communication by the Engineer.  The award of contract shall be in the form of work order and shall notify the total value at which the Engineer has accepted the works to be executed.  The notification of the award will constitute the formation of the contract.

- Performance Security (Security Deposit) and Agreement

The successful bidder on getting the work order from the Engineer shall remit the performance security at 2% of the value of contract in the form of NSC / Post Office saving deposit A/c pledged in favour of the Executive Engineer, TWAD Board, maintenance Division, 41-B, III- Gate kadai, LRN Complex,Vellandivalasu,Edappady within 15 days from the date of work order and promptly enter into an agreement with the Executive Engineer in the form specified for this purpose.  The agreement should be executed within 15 days from the work order in the non judicial stamp paper of value not less than Rs. 100 purchased in the name of the contractor at his cost.  The remittance of the required security deposit in the proper form and the conclusion of agreement shall constitute the formal fulfillment of the contract.

#### 23          FOR TENDERS RECEIVED WITH MINUS PERCENTAGE

i) for tenders with any plus percentage and upto (-)5% over departmental value

@ 2% of the contract value.

i) for tenders with any percentage (-)5% upto (-)15% over departmental value @ 		   	    	   4% of the contract value.

ii) for tenders above (-)15% over departmental value @ 4 % of the Contract value and the 50 % of the difference cost between department value and tenderer value .

- Forfeiture of Bid Security (Earnest Money Deposit)

In the event of the successful bidder, upon receipt of work order should respond with the remittance of performance security and execution of the agreement within a maximum of 30 days from the date of work order, failure of which will be liable for the forfeiture of the bid security remitted by the bidder along with the bid documents.

### PRICE BID

  - Bill of quantities shall be read in conjunction with the instructions to bidders and TWAD Board manual for Rural Water Supply Schemes- Detailed standard specifications general conditions of contract and drawing.

  - The quantities given in the bill of quantities are estimated and provisional and are given to provide a common basis for bidding.  The basis of payment will be actual quantities of work ordered and carried out, as measure by the Engineer and agreed valued at the rate and prices tendered in the priced bill of quantities, where applicable and otherwise at such rates and price as the Engineer may fix within the terms of the contract.

  - The rates and prices tendered in the priced bill of quantities shall, except in so far as it is otherwise provided under the contract, include all constructional plant, labour supervision, materials, erection, maintenance, insurance profit, taxes and duties together with all general risks, liabilities and obligations set out or implied in the contract.

  - All pages in the BOQ should be signed without omission.

  - All corrections/over writing should be properly attested by the bidder.

  - The total amount arrived based on the excess/less quoted on the “Abstract of BOQ” will only be taken as final value for comparison and finalization of the tender.

  - If there is any variation in the percentage quoted in words and figures, the lesser of the two will only be taken into consideration.

  - The percentage quoted in the bid should be upto two decimal only.

  - If the tenderer failed to score out the work either of “Excess” or “Less” the work less along will be taken into consideration.

SCHEDULE-C

RATE OF PROGRESS

---

The fifteenth day from the date of issue of work order shall be reckoned as the start date of contract period.

The date of acceptance of agreement…………………………………

The date of handing over of site………………………………………..

The entire project must be completed in all respects within  30 days.

The rate of progress for each component covered in the contract shall be as in the following schedule.

| Sl. No. | Name of Component | Period from commencement | Completion in term of %age |
| --- | --- | --- | --- |
| 1 | TWAD BOARD – MAINTENANCE DIVISION – EDAPPADY - Providing 0.30 LL Water to Periyar University College of Arts and Science at Edappady under CWSS to Edappady, Rasipuram Municipalities, 7 Town Panchayats and 580 Rural Habitations in Salem and Namakkal Districts. | 30 days | 100%(One hundred percentage in all respects) |

SCHEDULE-D

MATERIALS

---

All the materials required for the work should be arranged by the contractor himself at his cost.  He shall be responsible for transport of all materials of site of work, storing properly at site of work and for the safe custody of all materials including all incidental and handing charges.

The contractor shall ensure that the materials procured conform to the relevant BIS specification set out in the bid documents and also good quality.  If the material is not covered by BIS they should confirm to the departmental specifications and departmental requirements.

The contractor shall arrange at his cost for the inspection of the materials at the manufacturing place or at other places by the departmental officer wherever necessary.  The contractor shall provide all the assistance necessary including instruments, machineries and materials that are normally required for carrying out the testing/measuring the quality/quantity of the materials and workmen ship.  Any materials rejected after testing by the Engineer-in-charge or his respective should not be used on the works.

The Engineer in charge shall have the right to order the removal of such materials which in his opinion are substandard stipulating a time limit for the removal of the same and replacement with quality materials.

Supply by Board

If in case any of the materials required for the work are available with the board, the Executive Engineer in charge of the work shall have discretion to issue such materials to the contractor for use in the work and such of these items under the agreement shall be treated as authorized omission from the scope of the contract.

SCHEDULE – E

TECHNICAL STAFF TO BE EMPLOYED

The contractor shall employ the following technical staff as per the prescribed rules.

Name of the member of technical		:

Staff to be employed			:

Qualification					:

The details of value, scale and minimum qualification prescribed for the employment of technical staff, the rate of penalty for the failure on the part of the contractor to employ the technical staff for the work etc. are as follows.

| Sl. No. | Value of Contract | Scale & Minimum Qualification prescribed for the employment of technical staff | Rate of penalty |
| --- | --- | --- | --- |
| 1 | Above Rs. 1.00 Lakh & upto Rs. 5.00 Lakh | One LCE / DCE / LSE or retired JE / LSE (Civil) of TWAD (or) other Engineering Department | Rs. 2,000/- per month |
| 2. | Above Rs. 5.00 Lakhs & upto Rs. 10.00 Lakhs | One B.E., (Civil) or equivalent degree holder with atleast one year experience (or) other Engg. Dept. | Rs. 5,000/- per month |
| 3. | Above Rs. 10.00 Lakhs & upto Rs. 25.00 Lakhs | One B.E., (Civil) or equivalent Engineering Department holder with atleast three years experience (or) retired AEE of TWAD or other Engg. Dept. in addition to one LCE / DCE / LSE holder | Rs. 7,000/- per month (Degree Rs. 5,000/- Diploma Rs. 2,000/- |
| 4 | Above Rs. 25.00 Lakhs | One B.E., (Civil) or equivalent Engineering Degree holder with atleast three years experience (or) retired AEE to TWAD or other Engg. Dept. in addition to two LCE / DCE / LSE holder | Rs. 9,000/- per month (Degree Rs. 5,000/-, Diploma Rs. 2,000/- |

If the contractor fails to employ the technical staff to the technical departmental requirements, the contractor is liable to pay the penalty as indicated above during the period of such non employment of technical staff.

V. PAYMENTS AND RECOVERIES

- Payment  Schedule

- Payment shall be made in stages for each component as envisaged under:

CIVIL WORKS:

Payment may be released up to

> 90% of the measured and check measured quantity

> 5% on commissioning of the scheme

and

> balance   5% on completion of maintenance period

PUMPING MAIN, BOOSTER MAIN  FEEDER MAIN, GRAVITY MAIN AND D’SYSTEM

- For  Pipes &  allied works

After supply at site                                               	- 	  75%

After laying, jointing and testing of pipe               	- 	  80%

After satisfactory completion of trial run		-	  90%

After commissioning of the entire length of main 	-   	  95%

After completion of full maintenance period	- 	100%

of the scheme as a whole

2.	Mechanical  items in pumping plant & treatment plant

After receipt of materials  at site                          	- 	  75%

After  erection                                                      	- 	  90%

After commissioning                                            	- 	  95%

After completion of the maintenance period       	- 	100%

The bill will be prepared at the end of every month and payment will be made accordingly.

Note:

- The percentage of payment mentioned above is with reference to the total value of each component as per the agreement entered into by the firm/contractor except pumping main and distribution system.

- The payment shall be made for each component as per the actual measurement upto the percentages mentioned above for the stage of progress of each component.  In the case of actual value of works carried out becoming lesser than the percentage limits prescribed for the stages, the payments shall be restricted to the actuals.

- 5% of the value of every running bill shall be retained by the Employer as additional performance security.

- Payments shall become eligible only for finished items of works in all respects.

  - Preparation of bills:

The Contractors will submit their bills every month in the M.Book format for the Quantity only of the relevant running bill duly signed.  This will be treated as claim of the Contractor to consider payment every month.

The Contractor shall submit their bills to the Executive Engineer or any of his subordinate officer under his control as directed by the Executive Engineer.  The Executive Engineer shall be responsible to scrutinize and make payment to the Contractor within 6 weeks from the date of submission of bills by the Contractor concerned.

43.  	Release of Performance Security & Retention Amount

  - In addition to the withheld amount, 40% of the amount of each bill of the contract    shall be deducted and will be retained till the date of receipt of certificate of water tightness from the Executive Engineer, TWAD Board.  The whole of the above sum of together with any recovery from the payments already made to the contractor as may be

  - Executive Engineer shall be forfeited to the TWAD Board if the RCC reservoir develops structural defects or leaks.  The above recovery shall be exclusive of the amount deposited towards security deposit.  The fact of carrying out water tightness test should be recorded in the M. Book.  The last part bill should be passed only after above certificate is issued.  However, the contractor shall be permitted to execute an indemnity bond in lieu of the recovery of 40% in each bill in prescribed form in non judicial stamp paper for a value of Rs.22.50 towards water tightness and structural stability of the reservoir/water retaining structure.  The period of guarantee required by the contract shall be two years from the date of completion and commissioning (with filling of water up to maximum water level in the case of  service reservoir/over head tanks/water retaining structure).  If defects are noticed within the stipulated period of 24 months of satisfactory performance, the defects  should  be  rectified  by  the contractor at  his own  cost and  the  performance period

again shall be reckoned from the date of completion of the rectification of defects by the  contractor.  In  the  case  of  service reservoir/over  head  tanks and  other water

retaining structures during this period, structure under full working head of water should show no sign of leakage.  The test for water tightness should be arranged to be  carried out and completed within 30 days from the date of intimation by the Engineer in charge.  The testing of the service reservoir/over head tank and other water retaining structures should be done by the contractor at his own cost inclusive of all necessary equipment, water etc., complete.  The test for water tightness of the structure as well as materials of construction used shall be conducted in conformity with the standard specifications as per I.S. 3370 (Part-I) – 1965 as amended from time to time and the other specifications as mentioned in the Bid Document.

  - The security deposit less any amount due to the Board and 2 ½ % out of the total 5% of the retention amount made in every running bill shall be released in final bill which shall be prepared after the works are completed in all respects and after completion of maintenance period.

  - In respect of building works, RCC reservoir and other works where water tightness and soundness are to be watched for more than 6 months notwithstanding above clause, the balance 2 ½ % out of the total 5% retention amount from final bill in respect of contract for original construction or original building works, construction of RCC reservoir work etc., will

be retained by Engineer in charge and paid to then contractor after a period of 24 months of satisfactory performance of entire civil works including maintenance period and on production of irrevocable Bank Guarantee in a prescribed form for the above amount for a further period of 3 years beyond the above said 2 years to ensure structural stability.

44. 	Recovery of money payable to the TWAD Board

  - All losses, costs, damages and expenses and other money payable to the Board by

the contractor under any stipulation in the contract, may be retained out of any money due or which may subsequently become due from the Board to the contractor under any contract or otherwise whatsoever and in case such money then due or to become due to the contractor by the Board shall be insufficient to pay such losses, costs, damages, and other money payable to the TWAD Board by the contractor, it shall be lawful for the Engineer in charge without any further consent on the part of the contractor to sell or dispose of any securities deposited in the Board by the contractor as aforesaid and with and out of the proceeds of such sale, after payment of all expenses connected therewith or reimburse and pay to the Board all such losses, cost, damages and expenses and other money payable to the contractor.  And in case such proceeds of sale of the said securities shall be insufficient for such purpose then and in that case it shall be lawful for the Board to recover the residue thereof, if necessary by legal proceedings and or by resorting to revenue recovery act against the contractor.

45. 	Income Tax

  - During the course of the contract period, deduction of income tax shall be made at

the prevailing rates from every payment as may be specified by the Income Tax Department.

46. 	GST

  - From every payment made to the firm/contractor, deduction at source towards tax

shall be made at 2 % for civil works contract and at 4% for all other works contract as per Tamilnadu General Sales Tax (Fifth Amendment) Act (Act No.15 of 1999)

47. 	EXCISE DUTY

As per  the G.O

48. 	FUND CONTRIBUTION FOR  MANUAL WORKERS

Towards contribution of fund for the benefit of manual workers employed in the construction works an amount equivalent to 1% of estimate amount will be paid by the Employer direct to the Labour Welfare Board

49	The conditions for price adjustment shall be as follows.

The amounts payable to the Contractor shall be adjusted for rises or falls in the cost of specified materials and all labour, by the addition or deduction of the amounts determined by the formulae prescribed in this Clause. To the extent that full compensation for any rise or fall in costs is not covered by the provisions of this or other Clauses, the Accepted Contract Amount shall be deemed to have included amounts to cover the contingency of other rises and falls in costs.

- Price adjustment shall be applicable from the date of commencement. Price adjustment shall be applicable upto the end of the Contract period. These Price adjustments shall be made once in a quarter at the interval of 3 months. The quarter will be reckoned with reference to the quarter of the calendar year in which the Agreement is signed for the purpose of calculation of Price Adjustment.

- If the Contractor fails to complete the whole of the Works within the time for completion prescribed under Clause 43.1, adjustment of prices thereafter until the date of completion of the Works shall be made using either the indices or prices relating to the prescribed time for completion or the current indices or prices, whichever is more favorable to the Employer, provided that if an extension of time granted pursuant to Clause 44 the above provision shall apply only to adjustments made after the expiry of the extension of time.

## SPECIAL CONDITIONS OF CONTRACT

- Royalty Charges

Except where otherwise stated, the contractor shall pay all signorage and other royalties rent and other payments or compensation, if any for getting stone, sand, gravel day or other materials required for the work.  The contractor is not eligible for any payment in this regard from the Board.

- Earthwork Excavation

The bidder should be carefully inspect the site to access the prevalence of differing soil classifications and quote his rate for trench excavations that are likely to be encountered and no extra will be paid for excavation of trench on account of any variations in the classifications of soil met with during actual execution.

- Penalty for the Slow Progress

If the contractor fails to maintain the rate of progress of the work as stipulated in Schedule C, the Engineer shall have the power to impose as penalty of such amount as he may deemed fit for every day that the work remains un commenced or unfinished.  However total amount of penalty imposed during the stipulated period of completion of the work shall not exceed 5% of the contract value.

The programme schedule drawn for the project entrusted on turnkey basis, should be kept up the firm / contractor without any slippage.  The Executive Engineer concerned shall monitor properly the execution of the work with reference to the programme schedule stipulated.  The Executive Engineer on identification of any defective construction or any on the programme schedule in any of the components shall issue a show cause notice either by RPAD or through slippage personal service to the firm / contractor for rectification of the defective construction / slippage in the programme schedule giving 15 days time for furnishing the reasons therefore by the firm / contractor.  In cases where the reasons adduced by the firm / contractor are not convincing, the penalty contemplated in the agreement condition shall be invoked.  If the delay is due to reasons beyond the control of the contractor, the penalty need not be levied.

The penalty levied on the firm / contractor is however subject to modification at the discretion of the next higher authority for valid reasons which are to be recorded.

- Liquidated Damages

If the contractor fails to complete the work or part thereof within the stipulated completion period, he shall be liable to pay liquidated damages at Rs. 500 per day of delay for each in complete part till the date of completion and handling over to the department.  The amount of liquidated damages shall however be restricted to a maximum of 5% of the contract value.  This is without prejudice to the right of the Engineer to terminate the contract treating time as essence of contract.

For imposing liquidated damages detailed show cause notice, shall be served on the defaulting firm / contractor either by RPAD or through personal service.  The first notice shall be served allowing 15 days time to the firm / contractor for furnishing the reply by them.  On expiry of 15 days time, from the date of the first notice, the second notice shall be served allowing 7 days time to the firm / contractor for furnishing the reply by them.  On expiry of 7 days time from date of second notice third notice shall be served allowing 3 days time to the firm / contractor for furnishing the reply by them.  On receipt of the reply, it shall be verified by the Engineer in charge and the liquidated damages clause shall be involved by issuing the explicit speaking order to the firm / contractor.  Similarly the non receipt of any reply from the firm / contractor shall attract imposition of the liquidated damages clause automatically and in the case also, the liquidated damages shall be imposed by  issuing an simplicity speaking order to the firm / contractor.

- Execution of work by the contractor

The contractor shall execute the whole and every part of the work in the most substantial and work man like manner and both as regards materials and every other respect in strict accordance with specification.  The contractor shall also confirm exactly fully and faithfully to the designs drawing and instructions in writing relating to the work signed by the Engineer incharges.  And completion of the entire work as per the specifications of the Engineer incharge, the contractor shall obtain the completion certificate from the Executive Engineer.

- Alternation to specification and design

The Engineer incharge shall have the power to make any alternation or additions to the original specification, drawing, design and instructions that may appear to him to be necessary during the progress of work and the contractor shall bound to carry out the work in accordance  with the instruction in this connection which may be given to him in writing signed by the Engineer incharge and such alternation shall not invalidate the contract and such works shall be carried out by the contractor on the same condition in all respects on which he agreed to do the main work.  The rates for such additional works will be fixed by the Executive Engineer as per rules in force.

- Contractor Liability

During the period of 6 months from the date of completion as certified by the Executive Engineer the said work is found to be defective in any manner whatsoever, the contractor shall forthwith, on receipt of notice in that behalf from the Executive Engineer duly commence execution and completely carry out at his cost in every respect all the work that may be necessary for rectifying and setting right the defect specified therein strictly accordance and in the manner prescribed and under the supervision of the Engineer in charge.

In the event of the contractor failing or neglecting to carry out the rectification work within the period prescribed therefore, in the said notice, the Engineer incharge will get the same executed and carried out departmentally or by any other agency at the risk and cost of the contractor.  The contractor shall fort a with on demand, pay to the Board the amount of such costs, charges and expenses sustained or incurred by the Board of which the certificate of the Executive Engineer shall be final and binding on the contractor.  If the contractor fails to pay the same on demand, the Board shall be entitled to deduct the same from any amount which may then be payable or become payable by the Board to the contractor, either in respect of the said work or any other work whatsoever or from the amount of Security Deposit.

- Withheld amount in Running Bill

In addition to the initial security, an amount of 5% of the total value of each bill will be recovered as additional Security Deposit.  The Security Deposit less any amount due to the Board and 2 ½ % out of the held amount shall be released in final bill which shall be prepared after the works completed in all respect

9 )PAYMENTS AND RETENTION:

Payment will be made to the contractor a sum equal to 95 % of the value of the finished work done by the contractor on each running bill and the balance of 5 % will be withheld and retained as security for the due fulfillment of the contract. The contractor will receive the final payment of all the moneys due or payable to him under or by virtue of contract except security deposit and

the retention amount equal to 2 ½ % of the total Value of work done provided there is no recovery from or forfeiture by the contractor to be made. The amount withheld from or forfeiture  by the contractor to be made. The amount withheld from the final bill will be returned and paid to the contractor together with Security Deposit after 6 Months from the date of passing final bill.

- In respect of Pipe laying work and allied works, the retention amount of 2 ½ % from the final bill will be retained by the Engineer and paid to the contractor  together with the Performance security Deposit  after a period of 6 months of satisfactory performance of the entire civil works,

- Deductions from bills:

- 5% of the value of every running bill shall be retained by the board as additional performance security (WHA).

- Deduction of income tax shall be made at the prevailing rate as many be specified by the income tax department from the bills from time to time.

- Deduction of source towards sales tax shall be made at 4% for all other works contract as per Tamilnadu General Sales Tax (Fifth Amendment) Act (Act No. 15 of 1999).

- As per B.P. Ms. No. 151/C/Wing/dt. 27.08.2004, a recovery of 1% of contract value should be made from your bill as “Contribution towards the fund constituted for the benefit of registered manual contract workers of the Tamilnadu Construction Welfare Board.

9a.	Recovery of money payable to the TWAD Board

All losses, cost, damages and expenses and other money payable to the board by the contractor under any stipulation in the contract, may be retained out of any money due or which may subsequently become due from Board to the contractor under any contract or otherwise how so ever and in case such money then due or become due to the contractor by the Board shall be insufficient to pay such losses, cost, damages and other money payable to the TWAD Board by the contractor.  It shall be lawful for the Engineer without any further consent on the part of the contractor, to sell or dispose of any or all the Government promissory notes for the securities deposited in the Board by the contractor as aforesaid and with and out of the proceeds of such sale, after payment of all expenses connected therewith or reimburse and pay to the Board all such losses, cost, damages and expenses and other money payable to the contractor, and in case

such proceeds of sale of the said Government promising notes or securities shall be insufficient for such purpose then and in that case it shall be lawful for the Board to recover the residue thereof if necessary by legal proceedings and or by resorting to revenue recovery act against the contractor.

10.	Foreclosure of works

After the award of contract, if at any time the Engineer for any reason whatsoever does not require the whole or any parts of the works to be carried out shall give notice to this effect to the contractor.  The contractor shall not have any claim towards compensation or whatsoever, on account of any profit or advantage which he might have derived from the execution of such works.

11.	Risk Insurance

The contractor may take risk insurance at his cost against loss or damages to the construction against unprecedented floods and other acts of good.  The contractor will not be eligible for any payment by the Board on this account.

12.	Forfeiture of Bid Security (EMD)

The bid security shall be forfeited on the following grounds.

- In the case of bidder with drawing or modifying his bid during the period of validity.

In the case of a successful bidder falling to furnish the prescribed performance

Security Deposit within the stipulated time.

- In the case of successful bidder failing to enter into agreement within the stipulated time.

In case of bidder severing the conditions after intimation of the acceptance of the bid.

13.	Forfeiture of performance security (Security Deposit)

In case of the contractor, after award of work, failing to carry out the work in accordance with the specifications, terms and conditions of the contract leading to termination of contract, the performance security will be forfeited to the Board.

14.	Jurisdiction of Court

In the event of any dispute arising between parties here to in respect of any of the matter comprised in this contract, the same shall be settled by a competent court having jurisdiction over the place where contract is awarded and agreement is concluded and by no other court.

VIII – FORM OF AGREEMENT

TAMILNADU WATER SUPPLY AND DRAINAGE BOARD

Forwarding Slip to The Lump sum Agreement No.

1. Name of Work                                               :

Estimate Amount                                           :

Sanctioned in Original Estimate No.              :

Revised Estimate No.                                   :

2.   Name of Contractor and Address               :

3.   Original    or Supplemental                           :

4.   If Supplemental, Original Agreement No.      :

5.   Approximate value of work                             :

to be done under this  Agreement                 :

6.   If  this is Supplemental, approximate value

of works to be done under Original

Agreement                                                      :

- If bids have been called for, is the lowest       :

tender accepted?

If not reasons to be recorded

8.     Has the contractor; signed the divisional         :

copy of TNBP and Its addenda volume

brought upto date.

9.     Is data furnished for all items of                    :

works noted in the Schedule

10.   Are the raters in Agreement within the          :

estimate rates or schedule of rates

whichever is less and the Lump sum

provision sufficient or likely to be

exceeded.

II. Additional Information

A.  Original Agreement

- Original Agreement amount of tender excess :

and percentage over the estimate rate.

2.    If confessional rate of EMD & SD have          :

been allowed ref. to sanction thereof

B. Supplemental Agreement

1. Whether the approval of the competent            :

authority has been obtained for the rates as

required as per B.P.Ms.No.198

dated 5.5.1998

2. If entrusted without tenders whether sanction   :

is necessary with reference to total value of

work covered by the supplemental agreement

so far accepted.

TAMILNADU WATER SUPPLY AND DRAINAGE BOARD

Form of Agreement (Lump sum)

Articles of Agreement made this--------------------------------------------------

Day of ----------------------------------------------------------------------------------------------------

between Thiru----------------------------------------------------------------------------------------------

hereinafter referred to as the contractor which expression shall where the context so admits include his heirs, executors, administrators and legal representatives of the one  part and the Tamil Nadu Water Supply and Drainage Board (hereinafter called the Employer) which expression shall where the context so admits include its successors in office and assigns) of the other part.  Whereas the contractor delivered to the Employer the bid which was opened on --------------------------------------------------------------------------------------------------------------------------------------------------------------------whereby the contractor offered and undertook to carryout the works specified under this contract and allied work, i.e. (name of work)  ---------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------	In the State of Tamil Nadu in India, and provide the works, materials matters and things described or mentioned in these presents at the prices set forth in the schedule annexed to such bid and the contractor also undertook to do all extra and varied works which might be ordered as part of the contract on the terms provided for in the conditions and specifications hereto annexed and the Employer accepted such tender in pursuance where of the parties hereto have entered into this contract.

And whereas the contractor in accordance with the terms of the said Bid has deposited in the Office of the -----------------------------------------Engineer, TWAD,--------------------------------as performance security for the due and faithful performance by the contractor of this contract, the sum of  Rs. ------------------(Rupees-----------------------------------------------------------------------------------)

And whereas the contractor fully understands that on receipt of communication of acceptance of bid from the accepting authority, there emerges a valid contract between the contractor and the Employer represented by the Officer accepting  the agreement and the bid documents i.e. invitation for bids, letter of application, bill of quantities and other schedules, general conditions of the contract, technical specifications of the bid, negotiation letter, communications of acceptance of bid, shall constitute the contract for this purpose and be the foundation off rights of both the parties, as defined in clause 8.1 of "“Bid Documents "Now hereby agreed that in consideration of payment of the said sum of Rs.

(Rupees

) or such other sum as may be arrived at under the clause of the General conditions of the contract relating to payment by final measurement at unit prices, the contractor shall and well within the time specified in his bid thoroughly and efficiently and in a good workman like manner perform, provide, execute and do all the works, materials matters of things incidental to or necessary for the entire completion of the works specified under this contract and necessary works including all works shown in the drawings hereinafter referred to or described or set forth the said specifications and schedule hereto annexed and in accordance with such further drawings and instructions as the Engineer of the Board or

other Engineer duly authorised in that behalf (thereinafter) and in the annexed documents referred to as the Engineer) shall at any time in accordance with the said schedule (Bill of Quantities) and specifications provide and give together, with any alterations in the works or additions thereto, in the time and manner in such schedule (Bill of Quantities) and specifications stipulated to the entire satisfaction of the Engineer, the Employer for themselves and their successors convenient and agree with the Contractor that during the progress of the works and on the completion of contract to the satisfaction of the Engineer,  the Employer shall and will from time to time on receiving the certificates in writing of the Engineer pay to the contractor according to such certificates and the terms of this contract the price or sum mentioned in such certificates as due to the contractor under the terms of this contract subject nevertheless to deductions or additions thereto or there from which may be lawfully made under terms of his contract.  It is hereby mutually agreed and declared as follows.

- All certificates or notice or orders for items or for extra varied or altered works which are to be the subject of an extra or varied or altered works charge shall be in writing whether so described in the contract or not and unless in writing shall not be valid or binding or be of any effect whatsoever.

b)   The term contract include these presents and the invitation for bid, bid documents, bill of quantities and other schedules, general conditions and specifications hereto annexed and the plans drawings herein and hereafter referred to.

c)         If the contractor claims that the decisions or the instructions of the Employer are unjustified and that accordingly, he is entitled to extra payments on account thereof he shall forthwith notify this to the Employer to record his decisions and reasons therefor in writing and shall within two weeks state his claims in writing to the Employer thereafter.  The Employer shall thereafter within four weeks of the receipt of the claim, reply to the points raised in the claim.  Unless resolved by negotiation or discussions immediate thereafter, within further four weeks the question of liability for such payment will be treated as a dispute.

d)     In the contract whenever, there is as discretion or exercise of will, by the Employer during the progress of the work, the mode or manner of the exercise of discretion shall not be a matter for dispute.

- The decision of the Employer shall be final conclusive and binding on all, Parties to the Contract upon all questions relating to the meaning of specifications, designs, drawings and instructions, and as to the quality of workmanship or material used on the work or any matter arising out of or relating to the specifications, designs and drawings and instructions concerning the works or the erection of or failure to execute the same arising during the course of works.  The above shall not be the subject matter of dispute and in no case shall the work be stopped consequent on such a dispute arising and the work shall also be carried out by the contractor strictly in accordance with the instructions of the Employer.

- In case  any question, difference or dispute shall arise on ,matters other than clauses (d) and (e) above and except any of the “excluded matters” mentioned in bid documents touching the construction of any clause herein contained on the rights, duties and liabilities of the parties hereto or any other way touching or arising out of  these presents, the same shall.

i)    In the event of any dispute arising between parties here to in respect of any of the matter comprised in this contract, the same shall be settled by a competent court having jurisdiction over the place where contract is awarded and agreement is concluded and by no other court.

ii) Provided always the contractor shall not except with the consent in writing of the Engineer in any way, delay carrying out works in any such matter, question or dispute being referred to court but shall proceed with the works with all the diligence and shall until the decision of the Employer and no award of Competent Civil Court shall relieve the contractor of his obligations to adhere strictly to the  instructions of the Engineer with regard to the actual carrying out of the works.

g)      Time shall be considered as essence of the contract and the contractor hereby agree to commence the work immediately on 15th day from the date of issuing of work order complete the work within 12 months and to show progress at the stipulated milestone.

In witness where of the contractor

and the                               Employer on behalf of the Board have caused their common seal to be affixed the day and year first above written Signed, sealed and delivered by the said.

In the presence of

Signature of Contractor

Name and Seal.

Signature, Name and

Designation of Witness.

Signed by on behalf of

TWAD Board.

Signed, Name and Designation of Witness

Executive Engineer/TWAD BOARD

Maintenance Division/Edappady.

LETTER OF NEGOTIATION

In pursuance of negotiation with the Executive Engineer/Superintending Engineer/Chief Engineer of 					Division/Circle/Region on

I/We agree to reduce the rates for the items in the BOQ as follows.

Sl.No.                Item No. In the BoQ                        Reduced rate/unit

Signature of Contractor

INDEMENITY BOND

This deed of indemnity bond executed at                      (place) on this

Day of                       (month)                        year by and

between Thiru/ Tmt.                                                         (Name)

widow/Wife/Son/Daughter of Thiru/Tmt residing at

(Full Address) (hereinafter called

“Contractor” which expression unless excluded by or repugnant to the context

include his/her heirs, executors administrators and legal representatives) to and in favour of the TWAD Board (hereinafter called” the Engineer, which expression shall unless excluded by or repugnant to the context include its successor and assigns) represented by the Superintending Engineer of                                     Circle/Executive Engineer of division.  Assistant Executive Engineer of                       sub division(Place)shown as follows.

2.              Whereas the contractor has submitted the bid for               (description of work) at                          (place of work or supply) and such bid has been accepted subject to the relevant conditions to contract appended to Tamil Nadu Building Practice and other conditions issued along with bid documents.

- And where as in pursuance of the terms of contract, that a sum equal to 21/2% of the total value of work  done have been retained with the Employer for a period of two years reckoned from the date of completion of the work in order to enable the departmental officers to watch the effect of all seasons on the work and the structural stability of the work executed by the contractor.

- And whereas it was decided to refund the said sum equal to 21/2% of

the total value of the work done retained with the Employer on the expiry of two years period reckoned from the date of completion of work provided that the contractor execute an indemnity bond for a period of three years indemnifying the Board against any loss or expenditure incurred to rectify any defect noticed due to the faulty workmanship by the contractor or substandard material used by the contractor during the period of three years.

- Now this deed of indemnity witness that in consideration of the contract entrusted to the contract or by the Employer, the contractor has agreed to the following terms and conditions and executed this indemnity bond in conformation of all and undertakes to comply with the terms referred to infra.

6.                The contractor both hereby indemnify the Employer against any loss or damage that may be caused to the Employer in respect of rectification of any defect noticed due to the faulty workmanship by the contractor, or substandard material so used by other contractor in the execution of work entrusted to the contractor during the period of three years i.e. from                  up to              (dates to be specified)

7.                  It is hereby confirmed that in all other respects, the agreement conditions will be binding between the parties.

In witness whereof Thiru/Tmt/Miss

Contractor has signed this deed on this day                                               of month year.

Witness:

SPECIMEN FORMAT FOR PERFORMANCE BANK-GUARANTEE

PERFORMANCE BANK GUARANTEE (UNCONDITIONAL)

To

……………………………………………………. ( name of Employer )

…………………………………………………..( address of Employer)

WHEREAS ………………………………………………….(name and address of Contractor) (hereinafter called “ the Contractor :”) has undertaken, in pursuance of contract No. ………………………… dated: ………………….to execute…………………………..( name of contract and brief description of works)( hereinafter called “ the Contract”)

AND WHEREAS it has been stipulated by you in the said Contract that the Contractor shall furnish you with a Bank Guarantee by a recognized bank for the sum specified therein as security for compliance with his obligations in accordance with the Contract:

AND WHEREAS the contractor has requested us to give the Bank Guarantee

AND WHEREAS we have agreed to give the contractor such a bank Guarantee unconditionally and irrevocable to guarantee as primary obligator and not as mere surety, all the payments to the ………………………………………………….

NOT THEREFORE we hereby affirm that we are the Guarantor and responsible to you, on behalf of the Contractor, upto a total of ……………………( amount of Guarantee)……………………………… ……………………………………….( amount in words), such sum being payable in the types and proportions of currencies in which the Contract Price is payable, and we undertake to pay you unconditionally and irrevocably upon your first written demand and without cavil or argument, any sum or sums within the limits of ………………………………………….( amount of guarantee) as aforesaid without your needing to prove or to show grounds or reasons for your demand for the sum specified therein.

We hereby waive the necessity of your demanding the said dept from the contractor before presenting us with the demand.

We further agree that no change or addition to or other modification of the terms of the contract or of the works to be performed thereunder or of any of the contract documents which may be made between you and the contractor shall in any way release us from any liability under this guarantee, and we hereby waive notice of any such change, addition or modification.

The Bank Guarantee is encashable at ………………………………….branch of ………………………..Bank in ………………………………Town in Tamil Nadu Only.

This guarantee shall be valid until 28 days from the date of expiry of the defects liability period.

SIGNATURE AND SEAL OF THE GUARANTOR.

Name of Bank…………………………………..

Address………………………………………….

Date………………………………………………

Bill of Quantities

General

The Bill of Quantities shall contain items for the construction, installation, testing, commissioning and maintenance of the Works to be carried out by the Contractor

The Bill of Quantities will be used to calculate the Contract Price. The contractor shall be paid for the quantum of work done at the rate mentioned for each item in the Bill of Quantities

Item for which no rate or price has been entered in will not be paid for by the Employer when-executed and shall be deemed covered by the other rates and prices in the Bill of Quantities

The rates quoted in the BOQ shall be for carrying out the work in conformity to the BIS, TNBP and Technical Specifications and other Terms and Conditions set out in the Bid Document

All pages in the BOQ should be signed without omission. All corrections/ over writing should be properly attested by the Bidder.

- The total amount and excess / Less quoted in the “ Abstract  of BOQ” will only be taken as the final value for comparison and the finalisation of the tender.

- If there is any variation in the Percentage quoted in words and figures, the lesser of the two will only be taken in to consideration.

- The percentage quoted in the bid shall be up to two decimal only.

- If the tenderer failed to scour out the word either of “ excess or less” the word less alone will be taken in to consideration.

- If two or more tenderers / Firms have quoted the same percentage excess or less over the departmental rate in the abstract of BOQ then the successful tenderer will be decided by LOT SYSTEM provided they satisfy all other requirements in the presence of tenderers of their authorised representatives who chose to be present during the tender opening.

Change in the Quantities

If the final quantity of the work done differs from the quantity in the Bill of Quantities for the particular item/ items, the rates as in the agreement for the relevant items shall be paid

NAME OF WORK:

TWAD BOARD – MAINTENANCE DIVISION – EDAPPADY - Providing 0.30 LL Water  to  Periyar University College of Arts and Science at Edappady under CWSS to Edappady, Rasipuram Municipalities, 7 Town Panchayats and 580 Rural Habitations in Salem and Namakkal  Districts.

| SI. No. | Description of Item of Work. | Quantity. | Unit. | Rate |  | Amount |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | In Figures | In Words |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| FURNISHED SEPARATLY |  |  |  |  |  |  |

TECHNICAL SPECIFICATION

TECHNICAL BID DOCUMENT

TECHNICAL SPECIFICATIONS.

INDEX.

Sl.No.			Description

I		Materials

II		Civil Works

III		Pipe Laying works

IV		Maintenance period

I		Reference

I. MATERIALS

## I. MATERIALS

All materials required for the works shall be procured and supplied by the contractor himself. The materials shall be of good quality and conforming to relevant BIS. The materials which are classified for ISI marking should be supplied with ISI marking only.

### 1. 	Cement and Steel

1.1. 	The entire quantity of cement and steel required for the work will be  procured by the contractor.  The contractor is responsible for all transport and storage of the materials and shall bear all related cost.  The Employer shall be entitled at any reasonable time to examine the cement and steel supplied by the contractor.

1.2.  	The cement procured by the contractor shall comply with requirements of IS 269/1976 with  the latest revision thereof  for ordinary portland cement.  It shall be of the best normal setting quality unless specially rapid hardening or quick  setting quality  if expressly instructed by the Engineer to be supplied.  Each bag shall bear ISI  Certification mark and as per specification no.  10 of TNBP Volume I.

#### 1.3 	The steel bars shall comply with the requirements set forth in the IS 432 Part I,IS 1139,IS 1786 as the case may be with the latest revision thereof and the test as  described for ultimate tensile strength, bond test and elongation tests.

All reinforcing steel shall be clean and free from oil, grease, loose scales or rust or other coatings of any character which  would reduce or destroy the bend.  Each band containing the bars shall bear the ISI Certification mark.

1.4 	All the samples of construction materials should be Tested in the Meterial Testing Laboratories located  with in the region  ( Coimbatore) to ensure the quality of the material. If the sample  could not be tested in the Coimbatore Laboratory due to some  unavoidable  reasons, the sample may be Tested in any one of the other 3  Materials  Testing  Laboratories located at  Madurai, Trichy and  Tindivanam. Two samples should be  taken by the Engineer in charge in the presence of the contractor or his authorised representatives or  the technical personnel employed by the Contractor as in the agreement.  The contractor shall without extra cost provide samples and cooperate in the testing of the cement/steel.  One sample shall be got tested and the other sample shall be retained by making clear identification in the sample by the Engineer  in charge so as to identify at a later date.  The cost of such test shall be borne by the contractor.

1.5 	All cement shall be procured in bags and shall be stored in a dry place for which the contractor shall be responsible.  Consignment of bagged cement  shall be  properly stacked in a manner which will permit easy access for inspection and definite identification.  Cement shall be used in approximately in the chronological  order in which it is received, but cement that has been stored for a period  longer than 4 months from the date of initial sampling shall not be used unless  it has been  retested at the expenses of the contractor and passed by the Engineer in charge as good quality on the retest.  Cement aged more than 180 days from the date of initial sampling shall be rejected.

1.6 	Cement which has become caked or perished shall on no account be used on the works and shall be rejected. Although the Engineer may have passed any consignment, he shall however have the power at the subsequent time to reject such consignment if he finds that any deterioration in the quality thereon has taken place.

1.7 	A record of the quantity cement /steel procured with the name  of dealer, bill number and date shall be maintained by the contractor. This should be produced for examination by the Engineer in charge at any time.  The age of the cement shall be  reckoned from the date of manufacture and it shall be verified by the  Engineer in charge.

1.8 	The rejected consignment of cement and steel should be removed from the site within two days.

2.          Aggregates.

2.1       Sand for use in masonry and plaster works shall confirm inrelevant specification in TNBP (Specification No. 7) and I.S.2116/1985, I.S.1542/1977.

  - The course and fine aggregates for concrete shall conform to I.S.383/1970 and as specified in the relevant clauses of I.S.456/1978.  Other aggregates free from deleterious materials shall be used at the concurrence and approval of the Engineer after sufficient tests have been carried out at the contractors cost.

2.3.       The maximum quantities of deleterious materials in the aggregates, as determined in accordance with I. S. 2386/(Part  II/1963 shall not exceed the limits given in table 1 of I.S. 383. Unless otherwise specified all course aggregate in RCC shall be graded aggregateof 20 mm nominal size. All aggregates shall be stored in hard impervious surface to ensure exclusion of all foreign materials and as per IS 4082/1977 and specification no 5 of TNBP Volume 1.

- Water required for Construction.

3.1.   The water used in the construction shall be of potable quality and shall be tested at the contractor’s cost. The contractor has to make his own arrangements at his cost for water required for construction, testing, filling, etc., either from local bodies or from elsewhere by paying thecharges directly and arranging tanker etc., as per necessity. No claim for   extra   payment on account of non availability of water near by extra lead for bringing water shall be entertained. All required piping arrangements and pumping if required for water shall be made by the   contractor at his cost. Water formortar mixing and curing of concrete shall be free from harmful mater or other substances that may be deleterious to concrete or steel and taken from a source approved by the Engineer. Ground water for mixing and curing shall conform to the provisions in the class 4.3 of IS 456/1978.4

- Admixtures.

Only where abeneficial effect is produced shall any admixture be used and that too after test has been carried out to convince the Engineer that no harmful effect will be produced by the use of such admixture and after approval by the Engineer.  The admixture shall conform to IS 9103/1972.

- Form work and Centering

  - Steel /wooden form centering shall be used. If wooden form work is used, it shall consist of planks not less than 40mm thick and strong props. This shall be provided complying with clause 10 of IS 456/1978 and specification no. 30.8. of TNBP. The timber for form works shall be best hard wood and got approved by the Engineer in charge. This shall be deemed to be included in the items of contract even otherwise specified.

- Separator (Cover Block)

  - For bottom cover of beams, slabs etc., separators of pre cast cement mortar blocks of suitable size with wire embedment as directed shall be used and tied to the reinforcement.  Between layers of reinforcements,separators consisting of pieces of bars of suitable diameter shall be used. The  required cover shall be provided as per clause 24-4 of IS 456/1978

- Pipes, Specials and Valves.

  - General.

7.1.1.    All types of pipes required for the works should be of good quality conforming to relevant BIS and should be procured from reputed manufacturer or his authorized dealer.  Each pipe should bear the trade mark of the manufacturer, the nominal diameter, class, weight, batch number and the last two digits of the year of manufacture suitably and legibly marked on it. The Engineer shall have the right to conduct any test to ascertain the quality of the pipes supplied by the contractor. The contractor should make all necessary arrangements for testing the pipes. All the charges and expenses towards the testing shall be borne by the contractor. The materials which are classified for ISI marking should be supplied with ISI marking only.

7.1.2.   If on examination of any sample from any portion of the supply, the material is found to be sub standard and not fully in accordance with the relevant specification, the entire consignment shall be rejected. In case of doubt whether the materials   confirm to the specification or not, the decision of the Executive Engineer shall be final.

  - C. I D/F pipes.

7.6.1. The CI D/F pipes procured for use in the work should conform to the relevant BIS specification and suitable for use in the work.

7.3. Valves.

    - The Contractor should procure reputed make of sluice valves, scour, reflux valves and air valves from the manufacturer orhis authorised dealer and they should conform to the relevant BIS specification and suitable for use in the work. The valves shall bear ISI marks.

  - CI  Specials and Fittings

7.4.1   The Specials and fittings should be in conformity to the relevant BISspecification.

  - Testing of Pipes

    - The manufacturer test certificate third party inspection certificate should be produced by the contractor for the pipes used in the work. The engineer shall have the right to test the pipes, wherever felt necessary for its quality.  All testing charges should be borne by the contractor.

    - Testing of materials to be used in works, for the quality of finished items shall generally be done by the contractor at his own cost in the laboratory approved by the Employer by providing requisite materials transport of test specimen and other  assistance required  thereof.

- Special Condition for Departmental supply of materials:

The Contractor should agree to utilise the available materials in TWAD Divisional Stores, which are required for this work, after ascertaining the quality of materials at the stores itself.

These quantities of materials so issued will be treated as authorised omission in the contract.

It is the responsibility of the Contractor to convey the Departmental materials to the site of work and the cost thereon will be paid as per Departmental rules in force.

.

II. CIVIL WORKS.

- General.

  - Tamil Nadu Building Practice (TNBP) shall be strictly followed for carrying out different items of the work for which no standard specifications are available and no alternate specification have been given under the description of works.

  - Where any provision of the TNBP is repugnant to or at variance with any provision under BIS or description of work, technical specifications and conditions of contract, the provisions of the later shall be deemed to supersede the provision of the TNBP.

- Earth work.

  - Specification.

Tamilnadu Detailed Building Practice (specification No.23 to the extent applicable) shall be followed for earthwork excavation.

  - Conveyance.

The excavated earth, blasted rubble etc., shall be conveyed and deposited in the departmental lands within 150m of plant site and as directed by the Engineer in charge.

  - Stacking.

Where the location of the work is such and does not permit the deposition of excavated earth while digging trenches for laying pipes, the excavated earth should be conveyed to a convenient place and deposited there temporarily, as directed by the Engineer-in-charge.  Such deposited soil shall be reconvened to the site of work for the purpose of refilling of trenches, if it is suitable for refilling.  The unit rate for trench work of excavated and refilling shall include the cost of such operation.

2,4. Disposal of surplus Earth.

The excavated soil which is surplus to that required for filling and after allowing for settlement will have to be removed, spread and sectioned at places shown on the site during excavation for purpose of widening or leveling the road.  Sectioning is to be done as detailed in TNBP, It is to be understood that no extra payment, will be made for this and the unit rate for trench work of excavation and refilling shall made for this and the unit rate for trench work of excavation and refilling shall include the cost removal of surplus earth to disposal site approved by the Engineer in charge, its spreading and sectioning at the bidder’s expense.

  - Shoring, Strutting and Baling out water.

The rate for excavation of trench work shall include charges of shoring, strutting, bailing out water wherever necessary and no extra payment will be made for any of these contingent works. While baling out water, care should be taken to see that the bailed out water is properly channelised to flow away without stagnation or inundating the adjoining road surfaces and properties.

- Concrete.

  - Specification.

Concrete for use in the works shall generally comply with TNBP (specification No.30)and the relevant BIS. The concrete mix shall be in specified proportions satisfying the maximum aggregate size, water cement ratio and required cube strength and workability as per IS 456-1978. Such concrete must be adequately vibrated to form solid mass without voids. The entire concreting works should be done only with the prior approval and in the presence of Engineer-in-charge.

  - Mixing Concrete.

The concrete shall be proportioned as far as cement and aggregates are considered by volume. The amount of water required being measured either by weight or volume the adjustments must be made to frequent intervals at the discretion of the Engineer or his assistant to account for the moisture content of the aggregates. The mixing operation shall be performed only in a mechanical concrete mixer and shall continue until the whole batch of uniform consistency and colour. The mixing of concrete shall be done in accordance with clause 8 and 9 of IS 456-1978.

  - Transporting, Placing and Compacting Concrete.

    - Transportation, placing and compaction of concrete mix by mechanical vibrators shall be done in accordance with clause 12 of IS 456-1978.  It is imperative that all concreting operations be done rapidly and efficiently with minimum rechandling and adequate manpower shall therefore be employed to ensure this.

    - The forms shall be first cleaned and moistened before placing concrete.

    - The mix should not be dropped from such a height as it may cause segregation and air entrainment.  When the mix is placed in position, no further water shall be added to provided easier workability.

    - No concrete mix shall be used for the work if it has been left for a period exceeding its initial setting time before being deposited and vibrated into its final position in the member.

    - While one concrete is being placed in position it shall be immediately spreaded and ramped sufficiently and suitable to attain dense and complete filling of all spaces between and around the reinforcement and in to the corners of form work for ensuring a solid mass entirely free from voids.

    - Construction joints required in any of the structural members shall be provided generally complying with clause 12.4 of IS 456-1978 and as directed by the Engineer-in-charge. The efficiency of tempering and consolidation will be judged by complete absence of air pockets, voids and honey combing after removal of form works.

3.4     Curing.

    - Curing shall be done to avoid excess shrinkage or harmful effort to the members generally complying with clause 12.5 of IS 456-1978.

    - The method adopted shall be effective and anyspecial method used must be approved by the Engineer and be subject to complete supervision.

    - Any deficiency in concreting such as cracking, excessive honey combing exposure of reinforcement or other fault which entail replacement of the defective part by fresh concrete and water over remedy reasonable required without hampering the structural safety and architectural concept, all at the cost of contractor.        .

  - Removal of Form Work.

3.5.1     Removal of form work shall be done as per TNBP and BIS and as directed by the engineer in such a manner that no damage is caused to the structures.  The striping time shall not be less than that indicated in clause 10.3 of IS 456-1978.

  - Testing of Concrete

    - During the course of construction works, preparation of test specimens, curing and casting of concrete shall be done in accordance with IS 1199 and IS 516 to ascertain the strength requirements and acceptance criteria indicated in IS 456-1978. The contractor shall provide all apparatus, labour and arrange to test the cubes at his own cost at the test laboratory decided by the Engineer.

    - In addition to the above tests, any other test which may if desired by the Engineer-in-charge be carried out from time to time as per relevant specifications at the cost of contractor.  In case the concrete does to meet the strength required, all corrective measures shall be taken at once at the contractor’s cost.

    - The inspection and testing of structures shall be done in accordance with clause 16 of IS 456/1978.

- Masonry

  - All masonry works such as Random Rubble/Brick work must be done as per TNBP Specification and Bid schedule specification.

- Plastering.

  - Plastering would be 12mm, 20mm and 25mm thick cement plaster .either plain or waterproof as may be specified.

  - The plastering items shall be executed in thickness and cement mortar of proportion as detailed in respective items in the BOQ.  Similarly the plastering shall be either ordinary or waterproof as specified in respective item in the BOQ.

  - In case of water proof plaster standard approved water proofing compound shall be mixed in cement mortar in required percentage as directed and then the plaster is applied.

  - The finishing shall be either smooth or rough as may be directed by the Engineer unless otherwise specifically mentioned in the BOQ.

  - Neat finish wherever directed by the Engineer shall be done at no extra cost.

  - Curing and watering shall be one as directed and plaster shall be in alignment and level. Any sub standard work is liable to be rejected and shall have to be re-done at contractors cost.  Sand to be used shall be of approved quality only. Cost of all scaffolding shall be included in the rates quoted in the BOQ.

General

In the above source creation, after completion of source, yield tests are to be conducted by the contractor at his cost, and safe yield has to be arrived at.

# III.PIPE LAYING  WORKS

- General

  - The earthwork for the pipe laying work shall generally conform to the details given below.

| Sl. No. | Dia of Pipe In mm |  | Depth of bottom of pipe below ground level in m | Width of trench at bottom in m |
| --- | --- | --- | --- | --- |
| 1 | CI/ DI/ MS Pipes | 80 | 1.05 | 0.75 |
| 2 |  | 100 | 1.05 | 0.75 |
| 3 |  | 125 | 1.05 | 0.75 |
| 4 |  | 150 | 1.05 | 0.75 |
| 5 |  | 200 | 1.10 | 0.80 |
| 6 |  | 250 | 1.20 | 0.80 |
| 7 |  | 300 | 1.35 | 0.80 |
| 8 |  | 350 | 1.45 | 0.90 |
| 9 |  | 400 | 1.55 | 0.90 |
| 10 |  | 450 | 1.70 | 1.00 |
| 11 |  | 500 | 1.85 | 1.00 |
| 12 |  | 525 | 1.85 | 1.00 |
| 13 |  | 600 | 2.05 | 1.10 |
| 14 |  | 700 | 2.30 | 1.20 |
| 15 |  | 750 | 2.45 | 1.25 |
| 1 | PVC Pipes | 40 | 1.05 | 0.60 |
| 2 |  | 50 | 1.05 | 0.60 |
| 3 |  | 63 | 1.05 | 0.60 |
| 4 |  | 75 | 1.05 | 0.60 |
| 5 |  | 90 | 1.05 | 0.60 |
| 6 |  | 110 | 1.05 | 0.60 |
| 7 |  | 125 | 1.05 | 0.60 |
| 8 |  | 140 | 1.05 | 0.60 |
| 1 | GI Pipes | 15 | 1.05 | 0.75 |
| 2 |  | 20 | 1.05 | 0.75 |
| 3 |  | 25 | 1.05 | 0.75 |
| 4 |  | 32 | 1.05 | 0.75 |
| 5 |  | 40 | 1.05 | 0.75 |
| 6 |  | 50 | 1.05 | 0.75 |
| 7 |  | 65 | 1.05 | 0.75 |
| 8 |  | 80 | 1.05 | 0.75 |
| 9 |  | 100 | 1.05 | 0.75 |
| 10 |  | 125 | 1.05 | 0.75 |
| 11 |  | 150 | 1.05 | 0.75 |

  - Wherever necessary, sand cushioning for the bed shall be given as per IS Standards and as directed by the Engineer in charge.  The pipe should be laid true to the alignment line and grade Wherever necessary, appropriate bends should be used. The   pipes laid must be jointed properly and carefully by using approved type of jointing materials.

  - After the pipes are laid and jointed, the pipelines are to be subjected to hydraulic pressure test as detailed in the relevant BIS Specification for various types as indicated below.

Cast iron Pipes                       As per   lS 3114/1994

Ms Pipes                                As per  IS 3589/2001

PVC Pipes                             As per   IS 7634/ 1975

GI Pipes			As per  IS 1239/ 1990

DI Pipes			As per  IS 8329/ 2000

In portion of pipeline, where the pipes have developed cracks or sweating, such pipes with jointing materials shall be removed and re laid with new pipes at the contractor’s cost and the pipe line shall be re tested to the entire satisfaction of the Engineer in charge.  No extra payment will be made on this account.  The bidder has to make his own arrangements for the procurement of the required equipments for testing of pipes which shall be subjected to such test as the Engineer-in-charge deems fit to ensure the accuracy of the gauge.

  - Refilling shall be done with proper compaction with excavated earth.  In no case the contractor shall be allowed to refill the trenches in hard excavated portion to be refilled by the boulders or excavated stuffs.  This portion of trench shall be refilled by the soft strata from excavated stuff from distance place at no extra cost.  The refilling shall be done in 15 cm thick layers duly watering and compacting each layer.  The refilling may be done up to a height of 20 to 30 cm than the natural ground level to allow that sinking afterwards.  If the refilling gets sunk below the natural ground level at anytime till the completion of the work, the contractor at his cost should make good the refilling to the required level as may be directed by the Engineer in charge.

  - In case of pipe trenches, the Engineer may reduce the width of trench wherever a hard strata is met with, if he feels adequate and just sufficient to lay the pipe line in order to reduce the hard rock quantity.  In such case the contractor will be paid as per the actual measurement.

  - If the work is in a residential area, the contractor should carry out the excavation carefully to avoid collapse of any structure.

  - Valves shall be provided with valve pits with proper cover to bear the loads coming on it as per bid documents and departmental drawings and specification Public fountains, Fire hydrants shall be provided as per type design and specification.

  - Adequate protective measures should be taken against surge pressure.  Zero velocity valves and air cushion valves should be provided at the appropriate places Thrust blocks and anchor blocks should be provided at all bends and appropriate places.

  - Water required for testing the pipeline shall be arranged by the contractor at his cost.

- Laying ofC.I /D.I Pipes

  - The laying and jointing of cast iron pipes shall be carried out as follows:

Before laying the pipes, the contractor shall carefully brush them to remove any soil, stones or other materials which may be therein.  An even and regular bed having been prepared and joint pit excavated to form a recess under the socket of each pipe of no greater   depth and width than to enable the pipe jointing  to be property done.  Each pipe shall then be carefully lowered and placed singly in the trench and shall rest in the solid ground for a distance of not less than two thirds of its entire length.  In places where the soil is not hard, cement concrete bed blocks or timber piles have to be provided under the pipes if directed by the Engineer in charge.

2.2	Pipes not Truly Laid

Any pipe or pipes laid, which on inspection are found to diverge from the true lines and levels shall be removed and re laid to the true lines and levels and the old jointing properly cleared off the pipes and fresh joints made by the contractor at his expense.  Any pipes damaged in removal shall be replaced by the contractor at his cost.

  - Cutting of C.I /D.I Pipes

Where necessary and as ordered by the Engineer in charge, the Contractor shall cut the pipes and fix and joint common collars for jointing spigot ends.  The cut ends of the pipe shall be made truly at right angles with the axis of the pipe.

  - Covering up Open Ends

The Contractor shall take particular care to ensure that the apertures and open ends of pipes are carefully covered whenever the workmen are not actually employed therein.

  - Jointing of C.I Pipes

The trench must be kept quite dry during jointing unless in any particular case the 
Engineer permits laying of the pipe in wet conditions.  Plain spigot and socket pipes shall be joined as follows.

- Lead Joints

Generally lead joints shall be used for all sizes.  In the case of 100 mm pipes,

Cement joints may be used if specified in which case for every ten cement joints, one lead joint shall be used.  Provision of lead joints shall also be made at street crossings, at closing joints and for all specials and as determined by the Engineer depending upon the site condition.

The spigot of the pipe must be forced well home into its socket and must be centered, so that the joint may be of even thickness all round.  As many laps of white hemp spun yarn as may be needed to leave the space required for the lead shall be driven to the bottom of the socket without being forced through the joint into the pipe but carefully driven home with a caulking tool.  The proper depth of each joint shall be tested before running the lead by passing completely round it a wooden gauge, notched out to the correct depth of lead, the notch being held close against the face of the socket. The joints shall then be run with molten lead insufficient quantity so that after being caulked solid, the lead may project 3 mm beyond the face of the socket against the outside of the spigot but must be flush with outside edge of the socket.

For pouring lead in the joints, a ring of hemp rope covered with clay shall be wrapped around the pipe at the end of the socket leaving an opening at the top of the socket into which the lead can be poured.  The hemp rope shall be supported by clay packing so as to withstand the operation of lead pouring.

The lead used shall be carefully skimmed of all scale, when melted in a cast iron pot or patent melting machine.  Sufficient lead shall then be taken by a ladle and run hot into the joint, and the joint filled at one running. The joint shall then be caulked when cool by a suitable caulking tool and a 2 kg hammer and the joint left neat and smooth.

The weight of lead and hemp which shall be used in each joint shall be in conformity with the table given below or as specified by the Engineer.

Quantity of lead and spun yarn for different sizes of pipes

| Nominal size of pipe (in mm) | Lead / Joint (in Kg.) | Depth of Lead joint (in mm) | Spun yarn per joint (in Kg.) |
| --- | --- | --- | --- |
| 80 | 1.8 | 45 | 0.10 |
| 100 | 2.2 | 45 | 0.18 |
| 125 | 2.6 | 45 | 0.20 |
| 150 | 3.4 | 50 | 0.20 |
| 200 | 5.0 | 50 | 0.30 |
| 250 | 6.1 | 50 | 0.35 |
| 300 | 7.2 | 55 | 0.48 |
| 350 | 8.4 | 55 | 0.60 |
| 400 | 9.5 | 55 | 0.75 |
| 450 | 14.0 | 55 | 0.95 |
| 500 | 15.0 | 60 | 1.00 |
| 600 | 19.0 | 60 | 1.20 |
| 700 | 22.0 | 60 | 1.35 |
| 750 | 25.0 | 60 | 1.45 |
| 800 | 31.5 | 65 | 1.53 |
| 900 | 35.0 | 65 | 1.88 |
| 1000 | 41.0 | 65 | 2.05 |
| 1100 | 46.0 | 65 | 2.40 |
| 1200 | 50.0 | 70 | 2.60 |
| 1500 | 66.5 | 75 | 2.80 |
| 8 Inches | 4.54 | 2.00 Inches | 0.29 |
| 9 " | 5.10 | 2.00 " | 0.31 |
| 10" | 5.67 | 2.00 " | 0.34 |
| 12 " | 6.58 | 2.00 " | 0.48 |
| 14 " | 9.30 | 2.50 " | 0.63 |
| 15 " | 9.98 | 2.50 " | 0.68 |
| 16 " | 10.66 | 2.50 " | 0.74 |
| 18 " | 14.06 | 2.50 " | 0.95 |
| 20 " | 16.33 | 2.50 " | 1.04 |
| 21 " | 17.92 | 2.50 " | 1.08 |
| 24 " | 20.41 | 2.50 " | 1.21 |
| 27 " | 23.13 | 2.50 " | 1.33 |
| 30 " | 25.86 | 2.50 " | 1.46 |
| 33 " | 28.35 | 2.50 " | 1.65 |
| 36 " | 31.58 | 2.50 " | 2.40 |

Note:

The quantities of lead and spun yarn given in the table are provisions and variation of 20 percent is permissible.

- Flanged Joints

Flanged joint should be made by painting the facing of the flange with white lead freely and bolting up evenly on all sides.  A thin fiber of lead wool may be very useful in making the joints water tight where facing of the pipes is not true.

When packing must be used, it should be of rubber insertion of approved thickness.  The packing should be of the full diameter of the flange with proper pipe hole and bolt holes cut out evenly on both the inner and outer edges.  Where the flange is not fully faced, the packing may be of the diameter of the packing strip only.  Proper placing of the packing should be checked before another pipe is joined on.

- Cement Joints

The cement for the joints shall conform to IS 269/ 1996 specification for ordinary, rapid hardening and low heat Portland cement.

Cement and water taken in proportion 8:1 by weight shall be thoroughly mixed.  The mixture shall be such that when it is tightly compressed by hand into a ball and the ball is broken into two pieces the break shall be clean.  If the hand becomes water stained, it has to be considered that the water is excessive.  If there is evidence of crumbling in the break, water added is less than required.  The cement mixture shall ring with metallic sound while caulked.

Cement which has been wet for more than one hour or which has undergone initial set shall not be used for jointing.

##### Making the joints

When new pipes are laid close ahead of a newly made cement joint, the disturbance caused during the forcing home of the pipe ends into the sockets during the adjustment of the pipe to proper alignment may damage the new joint.  To avoid this damage, jointing shall be done only when there are atleast six pipes laid to the final grade and alignment ahead of the joint to be made.  Starting at the bottom of the joint space shall be filled with wetted cement and caulked. The remaining joint space shall than be refilled with cement and caulked until the joint is practically flush with the face of the socket. The mixture shall be thoroughly compacted to make a water tight joint.

No water shall be allowed to touch the joint until the initial set had taken place. Immediately after initial set has taken place, the joint shall be covered with wet burlap, or other approved wet materials to ensure complete hydration of the cement.  No water shall be allowed into the pipe until the elapse of 12 hours after the last joint in the line is made.  Filling the pipe with water without pressure after this interval will be beneficial to curing of the joint.

- Rubber Ring Joints

In the case of rubber ring joints or push on joints, the groove and the socket shall be thoroughly cleaned before inserting the rubber gasket.  While inserting the gasket it shall be made sure that it faces the proper direction and that it is correctly seated in the groove.  After cleaning dirt or foreign materials from the plain end, lubricant shall be applied in accordance with the pipe manufacturer’s recommendations.

The Contractor shall make sure that the plain end is beveled as square as sharp edges may damage or dislodge the gasket and cause a leak.  When the pipe is cut at site, the plain end shall be beveled with a heavy file or grinder to remove all sharp edges.

The plain end of the pipe shall be pushed into the socket of the pipe and while pushing, the pipe shall be kept straight.  If any deflections are to be made in the alignment, it may be made after the joint is assembled.  A timber header shall be used between the pipe and crow bar or jack to avoid damage to the pipe while the plain end of the pipe is pushed into the socket either with a crow bar or jack, or lever puller.

  - Fixing Sluice Valve

The sluice valves to be fixed on the pipelines shall be examined, cleaned and placed in the positions as shown in the drawings.  The valves shall be placed on the pipeline and valve chambers constructed according to drawings.  The depth at which the valve is to be laid and the dimensions of concrete and masonry shall be varied when necessary under the orders of the Engineer.

As the pipes in some instances may be required to be fixed at a less depth than will permit the top of the valve spindle being below the level of the road (but this may only be incases where the position of the valve is to one side of the metalloid road) the walls of the valve chamber shall in such cases be carried upto such height at may be ordered, and the chamber shall have such covering as the Engineer may direct.

The valve shall be supported in the valve chamber so that no stress or strain occurs in the flange or other joints of the valve.

The valve shall be carefully protected from slime or dust by a suitable mat or gunny covering and the pit itself shall be cleared of all unwanted material.

  - Fixing Scour Valve

Scour valves shall be fixed at places shown in the drawings or as directed by the Engineer, and the scour connections from the main shall be carried out completely as per drawings.

  - Fixing Air Valve

Air valves shall be fixed at the summits of pipe lines or at places as may be directed by the Engineer. The air valve connections etc., shall be carried out as per drawing.

  - Interconnection Work

The Interconnection Work between the existing main and proposed main to be laid under this contract shall proceed from the new main to the existing main.  Before actually proceeding with the interconnection work, the Contractor shall make ready necessary tools and plants required for the work at site, such as pumpsets, shoring materials etc., He shall also keep ready at site necessary pipes, specials, valves if any required for the work.  The Contractor shall keep necessary skilled workmen of sufficient strength at site and once the work is commenced, the entire interconnection works shall proceed without interruption by engaging labour for carrying out the work on a continuos basis both day and night till the work is completed.  The work shall be executed as per programme drawn up by the Engineer and shall be completed within the time ordered by the Engineer, for each individual interconnection.  The work shall be carried out under the direction of the Engineer from the beginning to end.

Laying of Specials, valves (except straight pipes from the branch of the new main to the connecting point in the existing main) including conveying specials etc., from the stores or site of stacking, excavation, timbering, pumping out water from the trenches, lowering, aligning, jointing specials and valves cutting the existing mains, baling out water, inserting the necessary branches, jointing, testing, refilling etc ., shall comprise as one unit of work and will be paid at the lumpsum rate quoted in the schedule for interconnections.

  - Works to be left Water tight

The Contractor shall construct the pipes chambers and all other Works so that they shall be water tight.  Should any leakage appear, it shall be made good by him at his expense by removing and reconstructing the portions of the Work so affected or by other method which will render the Work thoroughly water tight to the satisfaction of the Engineer.

2.11  Cleaning of Mains

During the execution of the work the contractor shall keep the interior surface of the mains free from cement, brick, soil or other superfluous matter and shall hand over the mains perfectly clean and free from deposit on completion.

2.12 Masonry chambers

Chambers for sluice valves, inspection, scour valves, air valves shall be constructed on the pipes in the positions as shown in the drawings or in such positions as the Engineer may direct.  The work shall be done strictly in accordance with the detailed drawings or as ordered by the Engineer.  The excavation shall not be made lower than necessary to admit of the earth being properly timbered.  The bottom of the excavation shall be properly leveled, rammed and a bed of concrete laid thereon.  When the concrete has sufficiently set the building of the brick walls shall then be proceeded with and all iron work fixed in as the building proceeds.  The inside of all chambers shall be plastered with cement mortar 20 mm thick and the outside with cement mortar 12mm thick.  The chamber shall be topped with pre-cast R.C.C. Slab 1:½ : 3 or cast iron surface box of valve cover as ordered by the Engineer.  The surface box or valve cover shall be fixed on the top of the R.C.C. slab by a layer of; cement mortar and sides of the surface box or valve cover covered over with cement concrete.

Where pipes pass through walls of chambers relieving arches shall be turned neatly over the upper half of the pipes or R.C.C. lintels shall be provided to avoid load of the walls transmitted to the pipes.

Cast Iron steps shall be built in each chamber as the Work proceeds on being inserted to every 4 courses of brick work, horizontal distance center to center of each row being 30 cms.

The Contractor shall include in his rate for brick work cost for fixing steps, frame, cover etc., for completing all chambers in accordance with the drawings and with the above specifications.

  - Testing of Main-Hydrostatic Test

After laying and jointing the pipes and specials, the pipe lines shall be tested for hydrostatic pressure in such length as may be specified by the Engineer.

The test pressure shall be equal to 50% or such other higher percent as may be specified in excess of the pressure the pipe will have to withstand subsequently subject to a minimum test pressure of 7 kg/sq.cm. in the case of lead joints.  However in the case of cement joints, the joints may be tested to a minimum test pressure 3.5 kg/sq.cm.

If cement joints show seepage or slight leakage, such joints shall be cut out and replaced as directed by the Engineer and the test repeated.

The contractor shall make his own arrangements to procure, necessary equipments, apparatus etc., required for testing and shall provide necessary labour for filling with water the length of pipes to be tested, fixing all apparatus and for carrying on the testing operations until the length of pipes specials and connections are finally passed by the Engineer.

The length to be tested shall be provided with two blank flanges fastened on in the usual manner by collar bands and bolts to the end pipes or if the length to be tested shall have a sluice value at each end, such blank flanges may be dispensed with.

The length of pipes to be tested shall first be filled in with water from a higher section of pipes already laid or with clean water shall be arranged at the contractor’s expense with the approval of the Engineer.

Before the actual testing pressure is applied any air which has lodged in the length of pipes to be tested shall be got rid of, by screwing on at the highest part of the length of pipes or temporary air valve, or, by opening  a temporary stop-cock or by other mean as the Engineer may direct.

The test pressure shall then be applied to the length of pipes under test by a hand or powered hydraulic test pump.  The connection of the test pump to the length of pipes shall either be at the union connection provided at a blank flange or shall be at a temporary stop cock or fountain connections as the Engineer may in the circumstances direct.

The actual test shall be made by pumping water into the length of pipes under test, until the test pressure as specified above has been reached on the pressure gauge.

The test pressure shall be maintained for one hour or for such other period of time as may set by the Engineer and each joint will be inspected.  While the pressure is on, the pipes should be struck smartly with a 2 kg hammer.

When a flange joint is found to be leaking, care shall be taken that while tightening up the flanges, the neighboring joints are not affected.

If the length of pipe line under test is found to be satisfactory and no leaks or sweatiness are found at the pipe joints or at the joints of specials and connections then this length of pipe line will be passed by the Engineer.

But should any pipe, joint, special or connection be found to sweat or leak, the contractor shall make good at his cost such defective joint and the length of pipe line shall be re tested by the Engineer until all pipes, joints, specials and connection are found to be satisfactory.

If any pipe or special leaks or bursts, the damaged portion shall be removed and new pipes or specials shall be laid and jointed at the contractor’s cost.

2.14 Restoring Road Surface

The surface of the road or ground shall be finished off to the proper level with the same kind of materials the surface consisted of before the excavation commenced, except in the case of superior roads and tarred roads in which case the surfaces should be finished off with water bound macadam surface.  Should any settlement occur after refilling is completed, and upto the end of the period of maintenance, it shall be made good at once and the surface restored to the satisfaction of the authority under whose jurisdiction such road or ground may be, all at the cost of the contractor.

2.15 Collection of Rubbish

The Contractor shall, at his cost, on the completion of the Work remove all water and all materials or rubbish of every description which may have been collected in the works find a deposit thereof and anything which may have collected within the works, during the period of maintenance shall also be removed before the Works are finally accepted by the Employer.

# IV. MAINTENANCE PERIOD

- It is the sole responsibility of the contractor to maintain the entire project successfully for the maintenance period of 1 months from the successful Commissioning of the project. Under this scope

- The following measures are to be taken essentially by the contractor

- Necessary maintenance crew with supervisory staff shall be deployed.  The staff pattern proposed by the contractor for the maintenance of the completed project should be got approved by the Employer one month before the issue of completion certificate.  The entire strength of maintenance crew with the supervisory personnel should be available from the first day of the maintenance period.

- The contractor should keep all spares required for replacements at the head works, pumping main, distribution system, pumpsets etc readily available to ensure uninterrupted water supply to the beneficiaries.

- All the equipments that goes out of order during the course of the maintenance period shall be rectified/replaced immediately to ensure uninterrupted water supply.  If any equipment/machinery is found to be defective either due to manufacture or due to unsatisfactory maintenance, the same should be replaced by the contractor at his cost.

- The contractor is responsible for the incidence of any theft, malpractice etc within the project area during the maintenance period and the contractor shall keep the Employer indemnified.

- During the period of maintenance, all costs towards labour, spares, consumables, chemicals, repairs and renewals shall be borne by the firm / Contractor.

- The electrical energy charges payable to TNEB during the maintenance period shall be borne by the Employer

- Complete quality service shall be ensured by the contractor during the maintenance period.

- Necessary log books indicating the quantity of water pumped, and maintenance carried out and repairs attended with details of spares changed shall be maintained by the contractor on a day to day basis and produced to the Engineer in charge whenever called for

- Date of commencement of maintenance will be from the date of commissioning of the schemes in all respects i.e. after supply effected to all beneficiaries covered under this scheme.

- In case where the work could not be completed due to the reasons beyond the control of the contractor viz. due to delay in getting permission from Railways/ Highways etc. authorities, the partial commencement of the maintenance will be permitted for other completed works/ components from the date in which these components / works were commissioned and water supply affected to the beneficiaries and of separate maintenance period may be adopted as per agreement conditions for he component after its completion.

V.  REFERENCE TO SPECIFICATIONS/CODE OF PRACTICE

| Ordinary Portland Cement (33 Grade) | 269-1976 |
| --- | --- |
| 43 Grade Ordinary Portland Cement | 8112-1989 |
| Pozzolona Portland Cement | 1489-1991 |
| Hydrophobic Portland Cement | 8043-1978 |
| Rapid Hardening Portland Cement | 8041-1990 |
| Low Heat Portland Cement | 12600-1989 |
| Standard sand for testing of cement | 650-1966 |
| Methods of Test for Pozzolonic Materials | 1727-1967 |
| Methods of sampling and test for water & waste water (Physical & chemical) | 3025-1984 (Part 1 to 37) |
| Methods of Sampling hydraulic Cement | 3535-1986 |
| Methods of Physical tests for hydraulic Cement | 4031-1988 (1 to 14) |
| Methods of Chemical analysis of hydraulic cement | 4032-1985 |
| Aggregates coarse & Fine from Natural resources | 383-1970 |
| For concrete. | 4082/1977 |
| Sand for Masonry Mortar | 2116-1965 1542/1977 |
|  | 2386-1963 (Part 1 to 8) |
| Methods of tests for aggregates for concrete |  |
| Part 1-Particle size and shape | 2386-1963 (Part-1) |
| Part II-Estimation of deleterious Materials & Organic impurities | 2386-1963 (Part III) |
| Soundness | 2386-1963 (Part-III) |
| Methods for sampling of aggregates for concrete | 2430-1986 |
| Specifications for test sieves Wire cloth test Sieves | 460-1978 (Part – I) |
| Common Burnt clay building bricks | 1077-1976 |
| Mild Steel and Medium tensile steel bars and hard Drawn steel wire, concrete reinforcement, Part-I-Mild Steel & Medium tensile steel Bars Part-II-Hard drawn steel wire | 432-1982 |
| High Strength deformed steel bars and wires for Concrete reinforcement | 1786-1985 |
| High Tensile Steel for PSC Pipes | 1784-1986 (Part-I) |
| Bending and flexing of bars for concrete reinforcement | 2502 – 1969 |
| Recommendations for detailing of reinforcement in reinforced concrete works | 5525-1969 |
| Method for tensile testing of steel wire | 1521-1972 |
| Method of test for determining modulus of elasticity | 2854-1964 |
| Glossary of terms relating to cement concrete | 6461-1972 (Part 1 to 12) |
| Methods of test for strength of concrete | 516-1959 |
| Methods of sampling and analysis of concrete | 1990-1959 |
| Methods of testing bond in reinforced concrete Pull out test | 2770-1967 |
| Methods of test for permeability of cement Mortar and concrete | 3085-1965 |

| Methods of test for splitting tensile strength Of concrete cylinders | 5816-1970 |
| --- | --- |
| Methods of tests for determining setting time of Concrete by penetration resistance | 8142-1976 |
| Code of practice for construction of | 2911 (Part I) |
| Pile foundations (concrete piles) | Sec-1-1979 |
| Driven cast-in-situ concrete piles | Sec-2-1979 |
| Bored cast –in-situ piles | Sec-3-1979 |
| Driven pre-cast concrete piles Bored pre-cast concrete piles | Sec-4-1984 |
| Code of practice for construction of raft foundation | 2950-1981 |
| Design Aids for reinforced concrete | SP 16-1980 |
| Explanatory Hand Book on Codes for earth w Engineering | SP 22-1982 |
| Explanatory Hand Book on IS Code 456-19 | SP24-1983 |
| Hand Book on causes and prevention of cracks in buildings | SP 25-1984 |
| Hand Book on concrete reinforcement & detailing | SP 34-1987 |
| Brick Masonry | 2212-1962 |
| Construction of Stone Masonry | 1957-1967 |
| Asbestos cement pressure pipes | 1592-1989 |
| Concrete pipes with and without reinforcement | 458-1988 |
| P.S.C Pipes (including fittings) | 784-1978 |
| Methods of tests for concrete pipes | 458-1988 3597-1985 |
| Materials for M.S. Specials Specifications for M.S. Specials for P.S.C. Pipes. | 22-1976 & 2062-1980 |
| Specifications for Steel cylinders reinforced Concrete pipes. | 1916-1989 |
| Methods of tests of concrete pipes | 3597-1985 |
| Specials for steel cylinders reinforced concrete pipes | 3597-1985 |
| Cast iron specials for asbestos cement pressure Pipes for water, gas & sewage | 5531-1988 |
| Methods of test for asbestos cement products | 5913-1989 |
| Dimensional requirement for rubber sealing rings For CID joints in asbestos cement pipes | 10292-1988 |
| Centrifugally Cast (Spun)Iron pressure pipes for Water, gas and sewage Including fittings. | 1536-1989 |
| Specifications for Centrifugally Cast (Spun)D.I. pipes for Water, Gas and Sewage. | 8329-1990 |
| D.I.Fittings for pipes for water,gas & sewerage | 9523-1980 |
| Dimensional requirements of rubber gaskets for Mechanical joints and push on joints for the use With C.I.D.I.Pipes. | 12820-1986 |
| C.I.Specials for Mechanical and push on flexible joints for pressure pipe lines for water, gas &sewage | 13382-1992 |
| Horizontally cast iron double flanged pipes for water. Gas and sewage | 7181-1986 |
| Cast iron fittings for pressure pipes for water, gas And sewage | 1538-1976 (Part 1 to 24) |
| Cast iron detachable joints for use with Asbestos Cement pressure pipes | 8794-1988 |
| Rubber rings for jointing C.I.Pipes, R.C.C.Pipes & AC Pipes. | 5382-1969 |

| Rubber rings for jointing P.S.C.Pipes | 5382-1985 |
| --- | --- |
| Rubber rings for jointing AC Pipes with AC couplings | 10292-1985 |
| Pig Lead (caulking lead) | 782-1978 |
| Hemp yarn | 6587-1966 |
| Rubber Insertion to be used in jointing CIDF pipes | 638-1979 |
| Bolts & Nuts to be used in jointing CIDF Pipes | 1363-1967 |
| Unplasticized PVC Pipes for potable water supplies | 4985-1988 |
| Injection moulded PVC socket fittings with Solvent cement joints for water supplies. | 7834-1987 (Part 1 to 8) |
| Fabricated PVC fittings for potable water supplies | 10124-1988 (Part 1 to 13) |
| Methods of test for unplasticized PVC pipes for potable water supplies | 12235-1986 (Part 1 to 11) |
| Sluice valves for water works purposes (50 to 300 mm Dia size) | 780-1984 |
| Sluice valves for water works purposes (300 to 1200 ;mm Dia size) | 2906-1984 |
| Surface boxes for sluice valves | 3950-1979 |
| Manhole covers for sluice valves | 1726-1974 |
| Laying of Asbestos Cement Pressures Pipes | 6530-1972 |
| Laying of Concrete pipes | 783-1985 |
| Laying of Cast-Iron Pipes | 3114-1985 |
| Laying of PSC Pipes | 126 of APSS & 783-1985 |
| Laying of DI Pipes | 12288-1987 |
| Laying and jointing of unplasticized PVC Pipes | 7634-1975 (Part 3) |
| Batch type concrete mixer | 1791-1968 |
| Sheep foot roller | 4616-1968 |
| Safety code for excavation works | 3764-1966 |
| Safety code for scaffolds and ladders |  |
| Part-I Scaffolds | 3696-1966 (Part I) |
| Part II-Ladders | 3696-1966 (Part-II) |
| Safety code for piling and other deep foundations | 5121-1969 |
| Safety code for working with construction machinery | 7293-1974 |
| TamilNaduBuilding Practice | Volume-I Volume-II |
| Government of India Manual on Water Supply and Treatment | May 1999 (Revised) |
| Gravel for packing | 4091-1967 |
| Hard drawn Steel Wire | 1785-1983 (Part I and II) |
| Structural Steel | 226-1975 |
| Hard rolled mils steel for concrete | 1139-1966 |
| Hard drawn Steel Wire | 1566-1982 |
| American Society for Testing of Materials | 1566-1982 |
| British Standard | 2494-1955 Part I |
| Welding Electrodes | 814-1970 |
| Steel Sheets | 225-1975 |
| Guinitting | 7322-1994 |
| Welded Joints | 3589-1966 and 2041-1962 |

| Tensile Test | 223-1950 |
| --- | --- |
| Mechanical and Electrical Works |  |
| Turbine Pump | 1710-1972 |
| Submersible Pump | 8030-1976 |
| Submersible Motor | 9283-1979 |
| Earthing | 3043-1966 |
| Transformer | 1180-1964 |
| Generator | 22 53-4722 |

UNDERTAKING

I accept to remit (or) give my concurrence to deduct from the bill the excess amount if found on account of any other in the departmental rates even after accepted agreement for the work of  TWAD BOARD – MAINTENANCE DIVISION – EDAPPADY - REPLACEMENT OF 600 MM DIA PSC PIPE  WITH 600 MM MS  PIPE ACROSS   NHAI CULVERT AT KM 18/500 ( FROM LS 18.75 M TO 43.75 M )  Perpendicular to LS 28910.24 m      IN CWSS TO RASIPURAM – EDAPPADY MUNICIPALITIES , 7 TP’S AND 580 RURAL HABITATIONS IN SALEM  AND NAMAKKAL DISTRICTS UNDER JAL JEEVAN MISSION 2020-2021.